## Slide 1
engineering type: 5D3.9
SLAC drawing number: SA-380-331-12 (Scandatronix BEMA-2212)
SLAC magnet bar-code: 4515
vendor serial number: 16082-1
when measured: 13-Dec-2017 11:52:02
when analyzed: 18-Dec-2017
MAD assignment: BCXH2

## Slide 3
quadrupole field uncorrected
quadrupole field corrected

## Slide 4
name: BCXH2 trim
# of main coil turns: 40
# of trim coil turns: 14
ratio of turns (Nmain/Ntrim): 2.8571
ratio of slopes (measured): 3.6675
IMMO (amps): [-1,+1]
BMMO (main coil amps): [-0.2726,+0.2726]
Itrim = 0
Imain = 0
wiredat.ru2

## Slide 5
Itrim = 0
Imain = 20
Setup/wiredat.ru3