## Slide 1
engineering type: 5D3.9
SLAC drawing number: SA-380-331-12 (Scandatronix BEMA-2212)
SLAC magnet bar-code: 4517
vendor serial number: 16082-3
when measured: 21-Nov-2017 10:53:35
when analyzed: 28-Nov-2017
MAD assignment: BCXH1

## Slide 3
name: BCXH1 trim
# of main coil turns: 40
# of trim coil turns: 14
ratio of turns (Nmain/Ntrim): 2.8571
ratio of slopes (measured): 3.9181
IMMO (amps): [-1,+1]
BMMO (main coil amps): [-0.2552,+0.2552]
Itrim = 0
Imain = 0
wiredat.ru2