## Slide 1
quadrupole component removed
b1/b0 tolerance
BCXH4: ΔBL/BL0 vs X @ 26 A

## Slide 3
engineering type: 5D3.9
SLAC drawing number: SA-380-331-12 (Scandatronix BEMA-2212)
SLAC magnet bar-code: 4518
vendor serial number: 16082-4
when measured: 07-Dec-2017 14:45:47
when analyzed: 11-Dec-2017
MAD assignment: BCXH4

## Slide 4
name: BCXH4 trim
# of main coil turns: 40
# of trim coil turns: 14
ratio of turns (Nmain/Ntrim): 2.8571
ratio of slopes (measured): 3.9393
IMMO (amps): [-1,+1]
BMMO (main coil amps): [-0.2538,+0.2538]
Itrim = 0
Imain = 0
wiredat.ru2