## Slide 1
engineering type: 0.788D11.5
SLAC drawing number: SA-237-005-02-R2
SLAC magnet bar-code: 4524
vendor serial number: 7
when measured: 09-Jul-2018 16:20:33
when analyzed: 11-Jul-2018
MAD assignment: BCX351

## Slide 2
name: BCX351 Trim
# of main coil turns: 48
# of trim coil turns: 82
ratio of turns (Nmain/Ntrim): 0.5854
ratio of slopes (measured): 0.5864
IMMO (amps): [-3,+3]
BMMO (main coil amps): [-5.1155,+5.1155]
Itrim = 0
Imain = 0

## Slide 3
quadrupole component
artificially removed
BCX351: ΔBL/BL0 vs X @ 250 A