## Slide 1
engineering type: 0.788D11.5
SLAC drawing number: SA-237-005-02-R2
SLAC magnet bar-code: 4527
vendor serial number: N/A
when measured: 02-Mar-2018 15:21:34
when analyzed: 05-Mar-2018
MAD assignment: BCXDLU4

## Slide 2
name: BCXDLU4 trim
# of main coil turns: 48
# of trim coil turns: 82
ratio of turns (Nmain/Ntrim): 0.5854
ratio of slopes (measured): 0.5842
IMMO (amps): [-3,+3]
BMMO (main coil amps): [-5.1356,+5.1356]
Itrim = 0
Imain = 0

## Slide 3
quadrupole component
artificially removed
BCXDLU4: ΔBL/BL0 vs X @ 250 A