## Slide 1
engineering type: 0.788D11.5
SLAC drawing number: SA-237-005-02-R2
SLAC magnet bar-code: 4542
vendor serial number: 35
when measured: 11-Jul-2018 14:43:17
when analyzed: 12-Jul-2018
MAD assignment: BCX352

## Slide 2
quadrupole component
artificially removed
BCX352: ΔBL/BL0 vs X @ 250 A
Imain | b1/b0 % | b2/b0 %
250.04 | 0.0589 | 0.2602
tolerance | 0.5 | 100
Harmonic content vs Imain @ r = 2 cm
hardat.ru3