## Slide 1
engineering type: 0.788D11.5
SLAC drawing number: SA-237-005-02-R2
SLAC magnet bar-code: 4547
vendor serial number: 3
when measured: 30-Apr-2018 09:07:25
when analyzed: 01-May-2018
MAD assignment: BCXDLD4

## Slide 2
name: BCXDLD4 trim
# of main coil turns: 48
# of trim coil turns: 82
ratio of turns (Nmain/Ntrim): 0.5854
ratio of slopes (measured): 0.5815
IMMO (amps): [-3,+3]
BMMO (main coil amps): [-5.1592,+5.1592]
Itrim = 0
Imain = 0

## Slide 3
quadrupole component
artificially removed
BCXDLD4: ΔBL/BL0 vs X @ 250 A