## Slide 1
engineering type: 1.0D38.37
SLAC drawing number: SA-344-100-01
SLAC magnet bar-code: 4554
vendor serial number: 15
when measured: 16-Oct-2018 16:51:32
when analyzed: 17-Oct-2018
MAD assignment: BXSP1S

## Slide 3
wirevsx.ru1
wirevsx.ru2
@ r= 20 mm
|b1/b0| = 0.014 [0.200] %
|b2/b0| = 0.446 [100.000] %

## Slide 4
name: BXSP1S Trim
# of main coil turns: 36
# of trim coil turns: 13
ratio of turns (Nmain/Ntrim): 2.7692
ratio of slopes (measured): 2.8802
IMMO (amps): [-6,+6]
BMMO (main coil amps): [-2.0831,+2.0831]
Itrim = 0
Imain < 150 A
Imain = 0