## Slide 1
engineering type: 1.0D38.37
SLAC drawing number: SA-344-100-01
SLAC magnet bar-code: 4557
vendor serial number: 17
when measured: 27-Nov-2018 15:29:38
when analyzed: 29-Nov-2018
MAD assignment: BRB1

## Slide 3
wirevsx.ru1
@ r= 20 mm
|b1/b0| = 0.007 [0.200] %
|b2/b0| = 0.548 [100.000] %

## Slide 4
name: BRB1 Trim
# of main coil turns: 36
# of trim coil turns: 17
ratio of turns (Nmain/Ntrim): 2.1176
ratio of slopes (measured): 2.1966
IMMO (amps): [-6,+6]
BMMO (main coil amps): [-2.7314,+2.7314]
Itrim = 0
Imain < 185 A
Imain = 0
wiredat.ru3