## Slide 1
engineering type: 1.0D38.37
SLAC drawing number: SA-344-100-01
SLAC magnet bar-code: 4561
vendor serial number: N/A
when measured: 26-Oct-2018 13:03:48
when analyzed: 22-Nov-2018
MAD assignment: BYSP2D

## Slide 3
wirevsx.ru1
@ r= 20 mm
|b1/b0| = 0.007 [0.020] %
|b2/b0| = 0.434 [0.050] %