## Slide 1
engineering type: 1.0D38.37
SLAC drawing number: SA-344-100-01
SLAC magnet bar-code: 4562
vendor serial number: N/A
when measured: 10-Dec-2018 10:35:37
when analyzed: 17-Dec-2018
MAD assignment: BYSP1D

## Slide 3
wirevsx.ru1
@ r= 20 mm
|b1/b0| = 0.026 [0.200] %
|b2/b0| = 0.427 [10.000] %

## Slide 4
name: BYSP1D Trim
# of main coil turns: 36
# of trim coil turns: 17
ratio of turns (Nmain/Ntrim): 2.1176
ratio of slopes (measured): 2.1935
IMMO (amps): [-6,+6]
BMMO (main coil amps): [-2.7353,+2.7353]
Itrim = 0
Imain = 0
wiredat.ru3