## Slide 1
engineering type: 1.0D22.265
SLAC drawing number: SA-344-100-37
SLAC magnet bar-code: 4568
vendor serial number: N/A
when measured: 18-Sep-2018 15:02:30
when analyzed: 20-Sep-2018
MAD assignment: BYSP1S
BYSP1S: BL vs Y
y (mm)

## Slide 3
@ r= 20 mm
|b1/b0| = 0.012 [0.500] %
|b2/b0| = 0.503 [100.000] %