## Slide 1
engineering type: 0.68D102.36T
SLAC drawing number: LCL0350-008597
SLAC magnet bar-code: 4580
vendor serial number: 5
when measured: 24-Sep-2019 15:53:26
when analyzed: 27-Sep-2019
MAD assignment: BX31

## Slide 3
name: BX31_Trim
# of main coil turns: 6
# of trim coil turns: 10
ratio of turns (Nmain/Ntrim): 0.6
ratio of slopes (measured): 0.6173
IMMO (amps): [-6,6]
BMMO (main coil amps): [-9.7191,+9.7191]
Imain = 0
wiredat.ru3
Itrim = 0