## Slide 1
engineering type: 0.68D102.36T
SLAC drawing number: LCL0350-008597
SLAC magnet bar-code: 4581
vendor serial number: 101
when measured: 30-Aug-2019 16:02:57
when analyzed: 04-Sep-2019
MAD assignment: BX35

## Slide 3
name: BX35_Trim
# of main coil turns: 6
# of trim coil turns: 10
ratio of turns (Nmain/Ntrim): 0.6
ratio of slopes (measured): 0.6184
IMMO (amps): [-6,6]
BMMO (main coil amps): [-9.7025,+9.7025]
Imain = 0
wiredat.ru3
Itrim = 0