## 0.788D11.5
MAD name | barcode | PS | master | MMS | imin | imax | bmin | bmax | p0 | p1 | p2 | p3 | p4 | p5
|  |  | ü | polarity | A | A | kG-m | kG-m | A | A/(kG-m) | A/(kG-m)2 | A/(kG-m)3 | A/(kG-m)4 | A/(kG-m)5
BCXDLU1 | 4549 | 4 |  | N | 0 | 250 | -0.0129 | -4.5253 | -0.72182 | -56.0143 | -2.6124 | -1.4863 | -0.38302 | -0.038793
BCXDLU2 | 4545 | 4 | ü | P | 0 | 250 | 0.0134 | 4.512 | -0.7524 | 56.2682 | -2.5165 | 1.3842 | -0.34666 | 0.034558
BCXDLU3 | 4526 | 4 |  | P | 0 | 250 | 0.0141 | 4.5017 | -0.79263 | 56.5095 | -2.9242 | 1.6554 | -0.41462 | 0.040523
BCXDLU4 | 4527 | 4 |  | N | 0 | 250 | -0.0128 | -4.519 | -0.7226 | -55.9871 | -2.6766 | -1.5282 | -0.39299 | -0.039922
BCXDLD1 | 4522 | 4 |  | N | 0 | 250 | -0.0132 | -4.5157 | -0.7411 | -56.1943 | -3.1793 | -1.88 | -0.48223 | -0.047522
BCXDLD2 | 4532 | 4 |  | P | 0 | 250 | 0.0134 | 4.5227 | -0.74915 | 56.131 | -2.583 | 1.4484 | -0.37284 | 0.037904
BCXDLD3 | 4546 | 4 |  | P | 0 | 250 | 0.0145 | 4.5066 | -0.81411 | 56.397 | -3.0098 | 1.7294 | -0.4353 | 0.042525
BCXDLD4 | 4547 | 4 |  | N | 0 | 250 | -0.0126 | -4.527 | -0.703 | -56.0154 | -2.7205 | -1.5559 | -0.40076 | -0.040413
BCX31B1 | 4537 | 14 |  | N | 0 | 250 | -0.0126 | -4.5218 | -0.71398 | -56.1626 | -2.8752 | -1.6354 | -0.41736 | -0.041702
BCX31B2 | 4535 | 14 | ü | P | 0 | 250 | 0.0128 | 4.512 | -0.71579 | 56.3112 | -2.6673 | 1.507 | -0.38797 | 0.039201
BCX31B3 | 4536 | 14 |  | P | 0 | 250 | 0.0135 | 4.5127 | -0.75421 | 56.3042 | -2.6836 | 1.4882 | -0.37688 | 0.037856
BCX31B4 | 4531 | 14 |  | N | 0 | 250 | -0.0131 | -4.5328 | -0.73425 | -56.1424 | -3.0997 | -1.7877 | -0.4577 | -0.045291
BCX32B1 | 4529 | 14 |  | N | 0 | 250 | -0.0132 | -4.5075 | -0.7514 | -56.3646 | -2.9439 | -1.6872 | -0.42696 | -0.042047
BCX32B2 | 4548 | 14 |  | P | 0 | 250 | 0.0141 | 4.5429 | -0.78349 | 55.9138 | -2.8457 | 1.6272 | -0.41761 | 0.041762
BCX32B3 | 4540 | 14 |  | P | 0 | 250 | 0.0149 | 4.5193 | -0.83804 | 56.3433 | -2.9183 | 1.6498 | -0.41889 | 0.041513
BCX32B4 | 4539 | 14 |  | N | 0 | 250 | -0.0125 | -4.5164 | -0.69731 | -55.8989 | -2.5925 | -1.4847 | -0.382 | -0.039
BCX321 | 4541 | 10 |  | N | 0 | 250 | -0.0133 | -4.5054 | -0.74778 | -56.4396 | -3.2107 | -1.8479 | -0.46516 | -0.045418
BCX322 | 4543 | 10 | ü | P | 0 | 250 | 0.0132 | 4.5095 | -0.74015 | 56.2034 | -2.7009 | 1.5229 | -0.38156 | 0.037723
BCX323 | 4525 | 10 |  | P | 0 | 250 | 0.0139 | 4.5385 | -0.77753 | 56.1489 | -2.8789 | 1.6274 | -0.41974 | 0.042164
BCX324 | 4530 | 10 |  | N | 0 | 250 | -0.0121 | -4.512 | -0.67785 | -56.219 | -2.8334 | -1.6194 | -0.41233 | -0.041098
BCX351 | 4524 | 11 |  | N | 0 | 250 | -0.0136 | -4.5311 | -0.77012 | -56.086 | -3.1366 | -1.8149 | -0.46499 | -0.046181
BCX352 | 4542 | 11 | ü | P | 0 | 250 | 0.0149 | 4.4996 | -0.83819 | 56.5545 | -3.1151 | 1.7774 | -0.44675 | 0.043721
BCX353 | 4528 | 11 |  | P | 0 | 250 | 0.0133 | 4.5199 | -0.74227 | 56.2565 | -2.9023 | 1.6668 | -0.42535 | 0.042076
BCX354 | 4538 | 11 |  | N | 0 | 250 | -0.0118 | -4.5183 | -0.66977 | -56.1597 | -2.676 | -1.5184 | -0.38967 | -0.039248
BCX361 | 4523 | 11 |  | N | 0 | 250 | -0.0128 | -4.509 | -0.72954 | -56.3877 | -2.858 | -1.6288 | -0.41477 | -0.041161
BCX362 | 4544 | 11 |  | P | 0 | 250 | 0.0127 | 4.5398 | -0.70309 | 55.6523 | -2.4811 | 1.4188 | -0.36929 | 0.038011
BCX363 | 4534 | 11 |  | P | 0 | 250 | 0.0144 | 4.5075 | -0.81072 | 56.4116 | -2.9651 | 1.7025 | -0.43067 | 0.042262
BCX364 | 4533 | 11 |  | N | 0 | 250 | -0.0126 | -4.5111 | -0.71588 | -56.1906 | -2.7094 | -1.5318 | -0.38901 | -0.038994
chicane | FINT
CCDLU | 0.8385
CCDLD | 0.8427
CC32B | 0.8418
CC36 | 0.8479
CC35 | 0.8441
CC32 | 0.8431
CC31B | 0.8472
average | 0.84361

## 1D19.7
MAD name | barcode | PS | master | MMS | imin | imax | bmin | bmax | p0 | p1 | p2 | p3 | p4 | p5
|  |  |  | polarity | A | A | kG-m | kG-m | A | A/(kG-m) | A/(kG-m)2 | A/(kG-m)3 | A/(kG-m)4 | A/(kG-m)5
BCX21 | 4503 | 3 |  | N | 0 | 200 | -0.0195 | -8.5353 | -0.46009 | -23.4348 | -0.60327 | -0.20853 | -0.030888 | -0.0017364
BCX22 | 4504 | 3 | ü | P | 0 | 200 | 0.0172 | 8.5597 | -0.3988 | 23.2333 | -0.46703 | 0.16797 | -0.026071 | 0.0015312
BCX23 | 4506 | 3 |  | P | 0 | 200 | 0.0196 | 8.5512 | -0.4548 | 23.2826 | -0.45846 | 0.15791 | -0.023934 | 0.0014023
BCX24 | 4505 | 3 |  | N | 0 | 200 | -0.0176 | -8.543 | -0.40896 | -23.2494 | -0.45399 | -0.15994 | -0.024318 | -0.0014226
Note: FINT = 0.6287

## 1.0D22.265
MAD name | barcode | PS | master | MMS | imin | imax | bmin | bmax | p0 | p1 | p2 | p3 | p4 | p5
|  |  | ü | polarity | A | A | GeV/c | GeV/c | A | A/(GeV/c) | A/(GeV/c)2 | A/(GeV/c)3 | A/(GeV/c)4 | A/(GeV/c)5
BYSP1S | 4568 |  |  | N | 0 | 125 | 0.1971 | 25.4301 | -1.0127 | 5.1443 | -0.028131 | 0.0015394 | -3.8987e-05 | 4.1127e-07
BYSP2S | 4571 |  |  | P | 0 | 125 | 0.2487 | 33.1047 | -1.007 | 4.0587 | -0.037338 | 0.0021124 | -5.4382e-05 | 5.3419e-07
BYSP1H | 4569 |  |  | N | 0 | 125 | 0.136 | 17.9933 | -0.98698 | 7.2675 | -0.056631 | 0.0044229 | -0.0001595 | 2.3906e-06
BYSP2H | 4570 |  |  | P | 0 | 125 | 0.1326 | 21.5551 | -0.80023 | 6.0416 | -0.043815 | 0.0034078 | -0.00012007 | 1.6591e-06
Note: FINT = 0.4725

## 1.0D38.37
MAD name | barcode | PS | master | MMS | imin | imax | bmin | bmax | p0 | p1 | p2 | p3 | p4 | p5
|  |  | ü | polarity | A | A | GeV/c | GeV/c | A | A/(GeV/c) | A/(GeV/c)2 | A/(GeV/c)3 | A/(GeV/c)4 | A/(GeV/c)5
BRB1 | 4557 | 5 |  | N | 0 | 265 | 0.0387 | 11.246 | -0.92562 | 23.9543 | -0.44284 | 0.095229 | -0.0087766 | 0.00031955
BRB2 | 4560 | 5 | ü | P | 0 | 265 | 0.0378 | 11.1657 | -0.90734 | 24.0721 | -0.4111 | 0.089075 | -0.0082205 | 0.00030052
BXSP1S | 4554 | 24 |  | P | 0 | 200 | 0.0885 | 18.9803 | -0.95918 | 10.8494 | -0.096743 | 0.0097338 | -0.00042334 | 7.4169e-06
BXSP2S | 4572 | 24 |  | P | 0 | 200 | 0.0876 | 18.9706 | -0.94842 | 10.8438 | -0.098786 | 0.010195 | -0.00045257 | 8.0581e-06
BXSP3S | 4559 | 24 |  | N | 0 | 200 | 0.0688 | 19.2402 | -0.73267 | 10.656 | -0.05751 | 0.004829 | -0.00018268 | 2.8963e-06
BRSP1H | 4558 | 23 |  | N | 0 | 200 | 0.1432 | 32.3885 | -0.90951 | 6.3568 | -0.03033 | 0.0017188 | -4.1853e-05 | 4.0678e-07
BRSP2H | 4555 | 23 | ü | P | 0 | 200 | 0.1451 | 32.3542 | -0.92244 | 6.3654 | -0.031837 | 0.0018631 | -4.6919e-05 | 4.6871e-07
BXSP1H | 4556 | 22 |  | N | 0 | 200 | 0.1794 | 37.8858 | -0.97447 | 5.4382 | -0.025591 | 0.001318 | -2.9179e-05 | 2.5777e-07
BYSP1D | 4562 | 18 |  | N | 0 | 200 | 0.0845 | 24.2201 | -0.71488 | 8.4666 | -0.038171 | 0.0026297 | -8.0856e-05 | 1.0206e-06
BYSP2D | 4561 | 18 | ü | P | 0 | 200 | 0.1078 | 23.99 | -0.926 | 8.6016 | -0.059455 | 0.0046765 | -0.00015961 | 2.1507e-06
BRCUS1 | 4563 |  |  | P | 0 | 200 | 0.1055 | 22.8966 | -0.94703 | 8.9884 | -0.066246 | 0.0055496 | -0.00020097 | 2.9385e-06
FINT | IMAIN
0.4861 | 200
0.4875 | 262 | [5 empty] | MAD | barcode | BL0 @ 4 GeV | ¦b1/b0¦ % @ r = 2 cm |  | ¦b2/b0¦ % @ r = 2 cm |  | trim?
[7 empty] | name |  | kG-m | tol | meas | tol | meas
[7 empty] | BRB1 | 4557 | 3.2659 | 0.2 | 0.0066 | 100 | 0.55 | ü
[7 empty] | BRB2 | 4560 | -3.2659 | 0.2 | 0.039 | 100 | 0.47
[7 empty] | BXSP1S | 4554 | -1.4751 | 0.2 | 0.008 | 100 | 0.45 | ü
[7 empty] | BXSP2S | 4572 | -1.4751 | 0.2 | 0.012 | 100 | 0.45 | needs trim
[7 empty] | BXSP3S | 4559 | 1.4751 | 0.5 | 0.019 | 100 | 0.43 | ü
[7 empty] | BRSP1H | 4558 | 0.86792 | 0.5 | 0.0025 | 100 | 0.486 | ü
[7 empty] | BRSP2H | 4555 | -0.86792 | 0.5 | 0.004 | 100 | 0.475
[7 empty] | BXSP1H | 4556 | 0.73754 | 1 | 0.004 | 100 | 0.45 | ü
[7 empty] | BYSP1D | 4562 | 1.1711 | 0.2 | 0.026 | 10 | 0.427 | ü
[7 empty] | BYSP2D | 4561 | -1.1711 | 0.02 | 0.007 | 0.05 | 0.434
[7 empty] | BRCUS1 | 4563 | -1.2212 | 0.2 | 0.0059 | 10 | 0.47 | ü
Note on C6: Woodley, Mark D.: in series with BLXSPS (master)
Note on C7: Woodley, Mark D.: in series with BLXSPS (master)
Note on C8: Woodley, Mark D.: in series with BLXSPS (master)
Note on C11: Woodley, Mark D.: in series with BLXSPH (master)

## 1.26D18.43
MAD name | barcode | PS | master | MMS | imin | imax | bmin | bmax | p0 | p1 | p2 | p3 | p4
|  |  | ü | polarity | A | A | GeV/c | GeV/c | A | A/(GeV/c) | A/(GeV/c)2 | A/(GeV/c)3 | A/(GeV/c)4
BYDSH | 4507 |  |  | N | 0 | 10 | 0.5747 | 41.2186 | -0.15089 | 0.26325 | -0.0012621 | 3.0477e-05 | -2.3904e-07
BYDSS | 4508 |  |  | N | 0 | 10 | 0.5831 | 41.2222 | -0.15318 | 0.26341 | -0.0012683 | 3.0365e-05 | -2.3447e-07
Note: FINT=0.5 (not measured)

## 1.26D103.3T
MAD name | barcode | PS | master | MMS | imin | imax | bmin | bmax | p0 | p1 | p2 | p3
|  |  | ü | polarity | A | A | GeV/c | GeV/c | A | A/(GeV/c) | A/(GeV/c)2 | A/(GeV/c)3
BX31B | 4510 | 20 |  | P | 0 | 170 | 0.0521 | 11.2912 | -0.79733 | 15.3183 | -0.035181 | 0.0016111
BX32B | 4509 | 20 |  | N | 0 | 170 | 0.049 | 11.3201 | -0.74668 | 15.2684 | -0.032785 | 0.0014523
Note: FINT = 0.4297
Note on C4: Woodley, Mark D.: in series with BYD1B (master), BYD2B, and BYD3B
Note on C5: Woodley, Mark D.: in series with BYD1B (master), BYD2B, and BYD3B

## 1.69D6.28T
MAD name | barcode | PS | master | MMS | imin | imax | bmin | bmax | p0 | p1 | p2 | p3 | p4 | p5
|  |  |  | polarity | A | A | kG-m | kG-m | A | A/(kG-m) | A/(kG-m)2 | A/(kG-m)3 | A/(kG-m)4 | A/(kG-m)5
BCX11 | 4511 | 2 |  | P | 0 | 380 | 0.0049 | 1.2167 | -1.494 | 311.4896 | -226.4068 | 627.2559 | -724.6822 | 298.5155
BCX12 | 4512 | 2 | ü | N | 0 | 380 | -0.0043 | -1.2103 | -1.3716 | -310.8061 | -218.7589 | -613.1484 | -717.465 | -299.6046
BCX13 | 4513 | 2 |  | N | 0 | 380 | -0.0044 | -1.2099 | -1.3535 | -311.0427 | -219.9518 | -616.809 | -721.8636 | -301.3899
BCX14 | 4514 | 2 |  | P | 0 | 380 | 0.005 | 1.2164 | -1.543 | 312.2084 | -228.3451 | 631.433 | -728.3906 | 299.5753
Note: FINT = 0.3893

## 1.69VD55.1
MAD name | barcode | PS | master | MMS | imin | imax | bmin | bmax | p0 | p1 | p2 | p3 | p4 | p5 | FINT
|  |  | ü | polarity | A | A | GeV/c | GeV/c | A | A/(GeV/c) | A/(GeV/c)2 | A/(GeV/c)3 | A/(GeV/c)4 | A/(GeV/c)5
BYD1B | 4521 | 20 | ü | N | 0 | 200 | 0.0264 | 15.7809 | -0.34137 | 12.9344 | -0.10883 | 0.014709 | -0.00083403 | 1.7619e-05 | 0.5513
BYD2B | 4520 | 20 |  | N | 0 | 200 | 0.027 | 15.7564 | -0.34895 | 12.9701 | -0.11476 | 0.01585 | -0.00092855 | 2.0297e-05 | 0.5513
BYD3B | 4519 | 20 |  | N | 0 | 200 | 0.0296 | 15.7398 | -0.38435 | 13.0051 | -0.12254 | 0.016988 | -0.0010023 | 2.2068e-05 | 0.5513
BYD1 | 000602 | 9 | ü | N | 0 | 300 | 0.1037 | 22.6824 | -1.4124 | 13.6529 | -0.28509 | 0.034939 | -0.0018805 | 3.8049e-05 | 0.5577
BYD2 | 000605 | 9 |  | N | 0 | 300 | 0.1079 | 22.5793 | -1.4678 | 13.6354 | -0.28112 | 0.034496 | -0.0018809 | 3.897e-05 | 0.5577
BYD3 | 000608 | 9 |  | N | 0 | 300 | 0.1058 | 22.6455 | -1.4378 | 13.6307 | -0.27133 | 0.032912 | -0.0017743 | 3.6322e-05 | 0.5577
Note on C4: Woodley, Mark D.: in series with BX31B and BX32B
Note on C5: Woodley, Mark D.: in series with BX31B and BX32B
Note on C6: Woodley, Mark D.: in series with BX31B and BX32B
Note on C7: Woodley, Mark D.: in series with BX31, BX32, BX35, and BX36
Note on G7: Woodley, Mark D.: measured to 320 A; power supply Imax = 300 A
Note on C8: Woodley, Mark D.: in series with BX31, BX32, BX35, and BX36
Note on G8: Woodley, Mark D.: measured to 320 A; power supply Imax = 300 A
Note on C9: Woodley, Mark D.: in series with BX31, BX32, BX35, and BX36
Note on G9: Woodley, Mark D.: measured to 320 A; power supply Imax = 300 A

## 2.0D38.37
MAD name | barcode | PS | master | MMS | imin | imax | bmin | bmax | p0 | p1 | p2 | p3 | p4 | p5
|  |  | ü | polarity | A | A | kG-m | kG-m | A | A/(kG-m) | A/(kG-m)2 | A/(kG-m)3 | A/(kG-m)4 | A/(kG-m)5
BRAM1 | 4904 | -1 |  | P | 0 | 280 | 0.0321 | 5.0641 | -1.887 | 58.9748 | -3.2464 | 1.176 | -0.19138 | 0.011899

## 3D8.8
MAD name | barcode | PS | master | MMS | imin | imax | bmin | bmax | p0 | p1 | p2 | p3 | p4 | p5
|  |  | ü | polarity | A | A | GeV/c | GeV/c | A | A/(GeV/c) | A/(GeV/c)2 | A/(GeV/c)3 | A/(GeV/c)4 | A/(GeV/c)5
BRCUSDC1 | 4576 | -1 | ü | P | 0 | 6 | 0.1666 | 10.9078 | -0.098061 | 0.59024 | -0.008332 | 0.0011327 | -9.0243e-05 | 2.9704e-06 | 210 turn coil PF-236-406-03
BRCUSDC2 | 4575 | -1 |  | P | 0 | 6 | 0.1124 | 10.8472 | -0.066257 | 0.59077 | -0.0096881 | 0.0014816 | -0.0001216 | 3.9319e-06
BYCUS1 | 4574 | -2 |  | P | 0 | 6 | 0.2606 | 19.5423 | -0.087833 | 0.33841 | -0.005166 | 0.00043141 | -1.7956e-05 | 2.9706e-07 | 342 turn coil PF-236-406-51
BYCUS2 | 4573 | -2 | ü | N | 0 | 6 | 0.3315 | 19.5367 | -0.11262 | 0.34161 | -0.0057047 | 0.00049808 | -2.1535e-05 | 3.6515e-07
FINT | IMAIN
0.3014 | 6
[6 empty] | MAD |  | barcode | p0: BL0 @ 4 GeV; p1: ¦b1/b0¦ % @ r = 2 cm; p3: ¦b2/b0¦ % @ r = 2 cm
[6 empty] | name |  |  | kG-m | tol | meas | tol | meas
[6 empty] | BRCUSDC1 |  | 4576 | 3.2659 | 2 | 0.014 | 10 | 2.517
[6 empty] | BRCUSDC2 |  | 4575 | -3.2659 | 2 | 0.591 | 10 | 2.467
[6 empty] | BYCUS1 |  | 4574 | -1.4751 | 2 | 0.017 | 10 | 2.281
[6 empty] | BYCUS2 |  | 4573 | -1.4751 | 2 | 0.798 | 10 | 2.433

## 3D39
MAD name | barcode | PS | master | MMS | imin | imax | bmin | bmax | p0 | p1 | p2 | p3 | p4
|  |  |  | polarity | A | A | GeV/c | GeV/c | A | A/(GeV/c) | A/(GeV/c)2 | A/(GeV/c)3 | A/(GeV/c)4
BY1B | 4500 | 17 | ü | P | 0 | 10 | 0.1154 | 19.6686 | -0.059798 | 0.51817 | -0.00096144 | 4.6728e-05 | -7.7133e-07
BY2B | 4501 | 17 |  | P | 0 | 10 | 0.1221 | 19.7137 | -0.063132 | 0.51729 | -0.00088791 | 3.9054e-05 | -5.8779e-07
Note: FINT=0.5 (not measured)

## 5D3.9
MAD name | barcode | PS | master | MMS | imin | imax | bmin | bmax | p0 | p1 | p2 | p3 | p4 | p5
|  |  |  | polarity | A | A | GeV/c | GeV/c | A | A/(GeV/c) | A/(GeV/c)2 | A/(GeV/c)3 | A/(GeV/c)4 | A/(GeV/c)5
BCXH1 | 4517 | 1 |  | N | 0 | 47 | 0.0031 | 0.2399 | -0.68285 | 225.0199 | -464.9103 | 3583.185 | -13264.94 | 18765.48
BCXH2 | 4515 | 1 | ü | P | 0 | 47 | 0.0018 | 0.2397 | -0.37836 | 213.1532 | -306.8377 | 2548.743 | -9689.839 | 13626.26
BCXH3 | 4516 | 1 |  | P | 0 | 47 | 0.0023 | 0.2388 | -0.48735 | 221.5011 | -463.0736 | 3924.696 | -15161.67 | 21701.61
BCXH4 | 4518 | 1 |  | N | 0 | 47 | 0.0024 | 0.2408 | -0.52199 | 222.887 | -457.3963 | 3510.33 | -12789.07 | 17714.26
Note: FINT = 0.3887

## 0.625SD38.98
MAD name | barcode | PS | master | MMS | imin | imax | bmin | bmax | p0 | p1 | p2 | p3 | p4 | p5
|  |  | ü | polarity | A | A | GeV/c | GeV/c | A | A/(GeV/c) | A/(GeV/c)2 | A/(GeV/c)3 | A/(GeV/c)4 | A/(GeV/c)5
BLRCUS | 4584 |  |  | N | 0 | 130 | 0.1061 | 15.606 | -0.9133 | 8.6142 | -0.04325 | 0.0024633 | -2.0002e-05 | -1.2568e-06
BLXSPH | 4495 |  |  | P | 0
BLXSPS | 4499 |  |  | N | 0
FINT | IMAIN
0.4861 | 200
0.4875 | 262 | [5 empty] | MAD | barcode | BL0 @ 4 GeV | ¦b1/b0¦ % @ r = 1 cm |  | ¦b2/b0¦ % @ r = 2 cm |  | trim?
[7 empty] | name |  | kG-m | tol | meas | tol | meas
[7 empty] | BLRCUS | 4584 | 3.2659 | 0.2 | 0.0054 | 5 | 0.03 | ü
[7 empty] | BLXSPH | 4495 | p0: -3.2659
[7 empty] | BLXSPS | 4499 | p0: -1.4751

## 0.79SD14.96
MAD name | barcode | PS | master | MMS | imin | imax | bmin | bmax | p0 | p1
|  |  | ü | polarity | A | A | kG-m | kG-m | A | A/(kG-m)
BLRDG0 | 4490 |  |  | P | 0

## 0.787K35.4
MAD name | barcode | PS | master | MMS | vmin | vmax | bmin | bmax | p0 | p1
|  |  | ü | polarity | volt | volt | kG-m | kG-m | volt | volt/(kG-m)
BKYSP0H |  |  |  | P | 0
BKYSP1H | 4492 |  |  | P | 0 | 830.9336 | 0.00058797 | 0.04 | -12.3963 | 21083.25
BKYSP2H | 4493 |  |  | P | 0
BKYSP3H | 4494 |  |  | P | 0
BKYSP4H |  |  |  | P | 0
BKYSP0S |  |  |  | P | 0
BKYSP1S | 4496 |  |  | P | 0
BKYSP2S | 4497 |  |  | P | 0
BKYSP3S | 4498 |  |  | P | 0
BKYSP4S |  |  |  | P | 0

## 1.378K35.4
MAD name | barcode | PS | master | MMS | vmin | vmax | bmin | bmax | p0 | p1
|  |  | ü | polarity | volt | volt | kG-m | kG-m | volt | volt/(kG-m)
BKRDG0 | 4489 |  |  | P | 0

## 1.92K41.2
MAD name | barcode | PS | master | MMS | imin | imax | bmin | bmax | p0 | p1
|  |  | ü | polarity | A | A | GeV/c | GeV/c | A | A/(GeV/c)
BKRCUS | 4579 |  |  | P | 0 | 290 | 0.0276 | 10.9838 | -0.72871 | 26.4686
BYKIK1S | 4577 | 66 | ü | N | 0 | 150 | 0.05 | 11.2142 | -0.67113 | 13.4357
BYKIK2S | 4578 | 66 |  | N | 0 | 150 | 0.048 | 11.1565 | -0.64785 | 13.5031
[7 empty] | MAD | barcode | BL0 @ 4 GeV | ¦b1/b0¦ % @ r = 1 cm |  | ¦b2/b0¦ % @ r = 1 cm
[7 empty] | name |  | kG-m | tol | meas | tol | meas
[7 empty] | BKRCUS | 4579 | 0.11652 | 1 | 1.2 | 2.5 | 2.2

## trim
name | type | barcode | Nmain | Ntrim | MMS | imin | imax | bmin | bmax | p0 | p1 | ramp
[5 empty] | polarity | Atrim | Atrim | Amain | Amain | Atrim | Atrim/Amain | type | rate (A/s) | settle (s)
BCX11 Trim | 1.69D6.28T | 4511 | 30 | 15 | P | -12 | 12 | -5.5647 | 5.5647 | 0 | 2.1564 | 3_LINEAR | 1 | 10
BCX12 Trim | 1.69D6.28T | 4512 | 30 | 15 | N | -12 | 12 | -5.5461 | 5.5461 | 0 | 2.1637 | 3_LINEAR | 1 | 10
BCX13 Trim | 1.69D6.28T | 4513 | 30 | 15 | N | -12 | 12 | -5.559 | 5.559 | 0 | 2.1586 | 3_LINEAR | 1 | 10
BCX14 Trim | 1.69D6.28T | 4514 | 30 | 15 | P | -12 | 12 | -5.5553 | 5.5553 | 0 | 2.1601 | 3_LINEAR | 1 | 10
BCX21 Trim | 1D19.7 | 4503 | 110 | 48 | N | -12 | 12 | -5.0861 | 5.0861 | 0 | 2.3593
BCX22 Trim | 1D19.7 | 4504 | 110 | 48 | P | -12 | 12 | -5.0954 | 5.0954 | 0 | 2.355
BCX23 Trim | 1D19.7 | 4506 | 110 | 48 | P | -12 | 12 | -5.0804 | 5.0804 | 0 | 2.362
BCX24 Trim | 1D19.7 | 4505 | 110 | 48 | N | -12 | 12 | -5.1454 | 5.1454 | 0 | 2.3321
BX31B Trim | 1.26D103.3T | 4510 | 20 | 14 | P | -6 | 6 | -4.1392 | 4.1392 | 0 | 1.4495
BX32B Trim | 1.26D103.3T | 4509 | 20 | 14 | N | -6 | 6 | -4.1184 | 4.1184 | 0 | 1.4569
BCXH1 Trim | 5D3.9 | 4517 | 40 | 14 | N | -1 | 1 | -0.2552 | 0.2552 | 0 | 3.9181 | linear | 0.2 | 5
BCXH2 Trim | 5D3.9 | 4515 | 40 | 14 | P | -1 | 1 | -0.2726 | 0.2726 | 0 | 3.6675 | linear | 0.2 | 5
BCXH3 Trim | 5D3.9 | 4516 | 40 | 14 | P | -1 | 1 | -0.2605 | 0.2605 | 0 | 3.8387 | linear | 0.2 | 5
BCXH4 Trim | 5D3.9 | 4518 | 40 | 14 | N | -1 | 1 | -0.2538 | 0.2538 | 0 | 3.9393 | linear | 0.2 | 5
BCXDLU1 Trim | 0.788D11.5 | 4549 | 48 | 82 | N | -3 | 3 | -5.1425 | 5.1425 | 0 | 0.58337 | linear | 0.6 | 10
BCXDLU3 Trim | 0.788D11.5 | 4526 | 48 | 82 | P | -3 | 3 | -5.1165 | 5.1165 | 0 | 0.58634 | linear | 0.6 | 10
BCXDLU4 Trim | 0.788D11.5 | 4527 | 48 | 82 | N | -3 | 3 | -5.1356 | 5.1356 | 0 | 0.58415 | linear | 0.6 | 10
BCXDLD1 Trim | 0.788D11.5 | 4522 | 48 | 82 | N | -3 | 3 | -5.1012 | 5.1012 | 0 | 0.58809 | linear | 0.6 | 10
BCXDLD3 Trim | 0.788D11.5 | 4546 | 48 | 82 | P | -3 | 3 | -5.1788 | 5.1788 | 0 | 0.57928 | linear | 0.6 | 10
BCXDLD4 Trim | 0.788D11.5 | 4547 | 48 | 82 | N | -3 | 3 | -5.1592 | 5.1592 | 0 | 0.58147 | linear | 0.6 | 10
BCX32B1 Trim | 0.788D11.5 | 4529 | 48 | 82 | N | -3 | 3 | -5.1365 | 5.1365 | 0 | 0.58405 | linear | 0.6 | 10
BCX32B3 Trim | 0.788D11.5 | 4540 | 48 | 82 | P | -3 | 3 | -5.1644 | 5.1644 | 0 | 0.5809 | linear | 0.6 | 10
BCX32B4 Trim | 0.788D11.5 | 4539 | 48 | 82 | N | -3 | 3 | -5.2134 | 5.2134 | 0 | 0.57544 | linear | 0.6 | 10
BCX361 Trim | 0.788D11.5 | 4523 | 48 | 82 | N | -3 | 3 | -5.0389 | 5.0389 | 0 | 0.59537 | linear | 0.6 | 10
BCX363 Trim | 0.788D11.5 | 4534 | 48 | 82 | P | -3 | 3 | -5.1391 | 5.1391 | 0 | 0.58376 | linear | 0.6 | 10
BCX364 Trim | 0.788D11.5 | 4533 | 48 | 82 | N | -3 | 3 | -5.1661 | 5.1661 | 0 | 0.5807 | linear | 0.6 | 10
BCX351 Trim | 0.788D11.5 | 4524 | 48 | 82 | N | -3 | 3 | -5.1155 | 5.1155 | 0 | 0.58644 | linear | 0.6 | 10
BCX353 Trim | 0.788D11.5 | 4528 | 48 | 82 | P | -3 | 3 | -5.1474 | 5.1474 | 0 | 0.58282 | linear | 0.6 | 10
BCX354 Trim | 0.788D11.5 | 4538 | 48 | 82 | N | -3 | 3 | -5.1727 | 5.1727 | 0 | 0.57996 | linear | 0.6 | 10
BCX321 Trim | 0.788D11.5 | 4541 | 48 | 82 | N | -3 | 3 | -5.1883 | 5.1883 | 0 | 0.57822 | linear | 0.6 | 10
BCX323 Trim | 0.788D11.5 | 4525 | 48 | 82 | P | -3 | 3 | -5.1346 | 5.1346 | 0 | 0.58426 | linear | 0.6 | 10
BCX324 Trim | 0.788D11.5 | 4530 | 48 | 82 | N | -3 | 3 | -5.0812 | 5.0812 | 0 | 0.59041 | linear | 0.6 | 10
BCX31B1 Trim | 0.788D11.5 | 4529 | 48 | 82 | N | -3 | 3 | -5.1411 | 5.1411 | 0 | 0.58352 | linear | 0.6 | 10
BCX31B3 Trim | 0.788D11.5 | 4536 | 48 | 82 | P | -3 | 3 | -5.2266 | 5.2266 | 0 | 0.57398 | linear | 0.6 | 10
BCX31B4 Trim | 0.788D11.5 | 4531 | 48 | 82 | N | -3 | 3 | -5.0534 | 5.0534 | 0 | 0.59365 | linear | 0.6 | 10
BXSP1S Trim | 1.0D38.37 | 4554 | 36 | 17 | P | -6 | 6 | -2.7411 | 2.7411 | 0 | 2.1888 | linear | 1 | 10
BXSP1H Trim | 1.0D38.37 | 4556 | 36 | 17 | N | -6 | 6 | -2.7336 | 2.7336 | 0 | 2.1948 | linear | 1 | 10
BXSP3S Trim | 1.0D38.37 | 4559 | 36 | 17 | N | -6 | 6 | -2.7416 | 2.7416 | 0 | 2.1884 | linear | 1 | 10
BRB1 Trim | 1.0D38.37 | 4557 | 36 | 17 | N | -6 | 6 | -2.7314 | 2.7314 | 0 | 2.1966 | linear | 1 | 10
BRSP1H Trim | 1.0D38.37 | 4558 | 36 | 17 | N | -6 | 6 | -2.7392 | 2.7392 | 0 | 2.1903 | linear | 1 | 10
BYSP1D Trim | 1.0D38.37 | 4562 | 36 | 17 | N | -6 | 6 | -2.7353 | 2.7353 | 0 | 2.1935 | linear | 1 | 10
BRCUS1 Trim | 1.0D38.37 | 4563 | 36 | 17 | P | -6 | 6 | -2.7447 | 2.7447 | 0 | 2.186 | linear | 1 | 10
BLRCUS Trim | 0.625SD38.98 | 4584 | 45 | 20 | N | -6 | 6 | -2.5217 | 2.5217 | 0 | 2.3793 | linear | 1 | 10

## Ops
Type | STDZDIRECT | STDZCYCLENUM | STDZIMIN | STDZIMAX | STDZIFINAL | TRIMTYPE | TRIMRAMPRATE | TRIMSETL | POLYNOMIAL
|  |  | amp | amp | amp |  | amp/sec | sec
1.69D6.28T | UP | 3 | 0 | 380 | 0 | 3_LINEAR | 10 | 10 | IVB
1D19.7 | UP | 3 | 0 | 200 | 0 | 3_LINEAR | 10 | 10 | IVB
1.69VD55.1 | UP | 3 | 0 | 200 | 0 | 3_LINEAR | 5 | 10 | IVE
1.69VD55.1 | UP | 3 | 0 | 300 | 0 | 3_LINEAR | 5 | 10 | IVE
3D39 | UP | 3 | 0 | 10 | 0 | 3_LINEAR | 5 | 10 | IVE
1.26D18.43 | UP | 6 | 0 | 10 | 0 | 3_LINEAR | 2.5 | 10 | IVE
1.26D103.3T | UP | 3 | 0 | 170 | 0 | 3_LINEAR | 10 | 10 | IVE
2.0D38.37 | UP | 3 | 0 | 280 | 0 | 3_LINEAR | 10 | 10 | IVB
5D3.9 | UP | 3 | 0 | 47 | 0 | COSINE | 3 | 5 | IVE
0.788D11.5 | UP | 3 | 0 | 250 | 0 | 3_LINEAR | 10 | 10 | IVB
1.0D22.265 | UP | 3 | 0 | 125 | 0 | 3_LINEAR | 5 | 10 | IVE
1.0D38.37 | UP | 3 | 0 | 200 | 0 | 3_LINEAR | 10 | 10 | IVE
1.0D38.37 | UP | 3 | 0 | 265 | 0 | 3_LINEAR | 10 | 10 | IVE
0.625SD38.98 | UP | 3 | 0 | 130 | 0 | 3_LINEAR | 10 | 10 | IVE
3D8.8MK3 | UP | 3 | 0 | 6 | 0 | 3_LINEAR | 1 | 10 | IVE
1.92K41.2 | UP | 0 | 0 | 0 | 0 | LINEAR | 6 | 10 | IVE
0.787K35.4 | UP | 0 | 0 | 0 | 0 |  |  |  | IVE | ramp type, rate, and settle time unknown

## Summary
MAD name | Type | barcode | FINT
BCXH1 | 5D3.9 | 4517 | 0.3887 | scS
BCXH2 | 5D3.9 | 4515 | 0.3887
BCXH3 | 5D3.9 | 4516 | 0.3887
BCXH4 | 5D3.9 | 4518 | 0.3887
BCX11 | 1.69D6.28T | 4511 | 0.3893
BCX12 | 1.69D6.28T | 4512 | 0.3893
BCX13 | 1.69D6.28T | 4513 | 0.3893
BCX14 | 1.69D6.28T | 4514 | 0.3893
BCX21 | 1D19.7 | 4503 | 0.6287
BCX22 | 1D19.7 | 4504 | 0.6287
BCX23 | 1D19.7 | 4506 | 0.6287
BCX24 | 1D19.7 | 4505 | 0.6287
BCXDLU1 | 0.788D11.5 | 4549 | 0.8436
BCXDLU2 | 0.788D11.5 | 4545 | 0.8436
BCXDLU3 | 0.788D11.5 | 4526 | 0.8436
BCXDLU4 | 0.788D11.5 | 4527 | 0.8436
BRB1 | 1.0D38.37 | 4557 | 0.4875
BRB2 | 1.0D38.37 | 4560 | 0.4875
BCXDLD1 | 0.788D11.5 | 4522 | 0.8436
BCXDLD2 | 0.788D11.5 | 4532 | 0.8436
BCXDLD3 | 0.788D11.5 | 4526 | 0.8436
BCXDLD4 | 0.788D11.5 | 4547 | 0.8436
BYSP1S | 1.0D22.265 | 4568 | 0.4725
BYSP2S | 1.0D22.265 | 4571 | 0.4725
BXSP1S | 1.0D38.37 | 4554 | 0.4861
BXSP2S | 1.0D38.37 | 4572 | 0.4861
BXSP3S | 1.0D38.37 | 4559 | 0.4861
BCX31B1 | 0.788D11.5 | 4537 | 0.8436
BCX31B2 | 0.788D11.5 | 4535 | 0.8436
BCX31B3 | 0.788D11.5 | 4536 | 0.8436
BCX31B4 | 0.788D11.5 | 4531 | 0.8436
BX31B | 1.26D103.3T | 4510 | 0.4297
BYKIK1S | 1.92K41.2 | 4277
BYKIK2S | 1.92K41.2 | 4278
BX32B | 1.26D103.3T | 4509 | 0.4297
BCX32B1 | 0.788D11.5 | 4529 | 0.8436
BCX32B2 | 0.788D11.5 | 4548 | 0.8436
BCX32B3 | 0.788D11.5 | 4540 | 0.8436
BCX32B4 | 0.788D11.5 | 4539 | 0.8436
BY1B | 3D39 | 4500
BY2B | 3D39 | 4501
BYDSS | 1.26D18.43 | 4508
BYD1B | 1.69VD55.1 | 4521 | 0.5513
BYD2B | 1.69VD55.1 | 4520 | 0.5513
BYD3B | 1.69VD55.1 | 4519 | 0.5513
BKYSP1H | 0.787K35.4 | 4492 |  | scH
BYSP1H | 1.0D22.265 | 4569 | 0.4725
BYSP2H | 1.0D22.265 | 4570 | 0.4725
BRSP1H | 1.0D38.37 | 4558 | 0.4861
BRSP2H | 1.0D38.37 | 4555 | 0.4861
BXSP1H | 1.0D38.37 | 4556 | 0.4861
BYSP1D | 1.0D38.37 | 4562 | 0.4861 | scD
BYSP2D | 1.0D38.37 | 4561 | 0.4861
BCX321 | 0.788D11.5 | 4541 | 0.8436 | cuH
BCX322 | 0.788D11.5 | 4534 | 0.8436
BCX323 | 0.788D11.5 | 4525 | 0.8436
BCX324 | 0.788D11.5 | 4530 | 0.8436
BCX351 | 0.788D11.5 | 4524 | 0.8436
BCX352 | 0.788D11.5 | 4542 | 0.8436
BCX353 | 0.788D11.5 | 4528 | 0.8436
BCX354 | 0.788D11.5 | 4538 | 0.8436
BCX361 | 0.788D11.5 | 4523 | 0.8436
BCX362 | 0.788D11.5 | 4544 | 0.8436
BCX363 | 0.788D11.5 | 4534 | 0.8436
BCX364 | 0.788D11.5 | 4533 | 0.8436
BYDSH | 1.26D18.43 | 4507
BYD1 | 1.69VD55.1 | 000602 | 0.5577
BYD2 | 1.69VD55.1 | 000605 | 0.5577
BYD3 | 1.69VD55.1 | 000608 | 0.5577
BRCUSDC1 | 3D8.8MK3 | 4576 |  | cuS
BKRCUS | 1.92K41.2 | 4579
BRCUSDC2 | 3D8.8MK3 | 4575
BLRCUS | 0.625SD38.98 | 4584
BYCUS1 | 3D8.8MK3 | 4574 | 0.3014
BYCUS2 | 3D8.8MK3 | 4573
BRCUS1 | 1.0D38.37 | 4563 | 0.4861
BRAM1 | 2.0D38.37 | 4904 |  | cuA

## PS Strings
String Number | MAD Name | Magnet Type | Master
1 | BCXH1 | 5D3.9
1 | BCXH2 | 5D3.9 | ü
1 | BCXH4 | 5D3.9
1 | BCXH3 | 5D3.9
2 | BCX11 | 1.69D6.28T
2 | BCX12 | 1.69D6.28T | ü
2 | BCX13 | 1.69D6.28T
2 | BCX14 | 1.69D6.28T
3 | BCX21 | 1D19.7
3 | BCX22 | 1D19.7 | ü
3 | BCX23 | 1D19.7
3 | BCX24 | 1D19.7
4 | BCXDLU1 | 0.788D11.5
4 | BCXDLU2 | 0.788D11.5 | ü
4 | BCXDLU3 | 0.788D11.5
4 | BCXDLU4 | 0.788D11.5
4 | BCXDLD1 | 0.788D11.5
4 | BCXDLD2 | 0.788D11.5
4 | BCXDLD3 | 0.788D11.5
4 | BCXDLD4 | 0.788D11.5
5 | BRB1 | 1.0D38.37
5 | BRB2 | 1.0D38.37 | ü
9 | BYD1 | 1.69VD55.1 | ü
9 | BYD2 | 1.69VD55.1
9 | BYD3 | 1.69VD55.1
9 | BX31 | 4D102.36T
9 | BX32 | 4D102.36T
9 | BX35 | 4D102.36T
9 | BX36 | 4D102.36T
10 | BCX321 | 0.788D11.5
10 | BCX322 | 0.788D11.5 | ü
10 | BCX323 | 0.788D11.5
10 | BCX324 | 0.788D11.5
11 | BCX351 | 0.788D11.5
11 | BCX352 | 0.788D11.5 | ü
11 | BCX353 | 0.788D11.5
11 | BCX354 | 0.788D11.5
11 | BCX361 | 0.788D11.5
11 | BCX362 | 0.788D11.5
11 | BCX363 | 0.788D11.5
11 | BCX364 | 0.788D11.5
14 | BCX31B1 | 0.788D11.5
14 | BCX31B2 | 0.788D11.5 | ü
14 | BCX31B3 | 0.788D11.5
14 | BCX31B4 | 0.788D11.5
14 | BCX32B1 | 0.788D11.5
14 | BCX32B2 | 0.788D11.5
14 | BCX32B3 | 0.788D11.5
14 | BCX32B4 | 0.788D11.5
17 | BY1B | 3D39 | ü
17 | BY2B | 3D39
18 | BYSP1D | 1.0D38.37
18 | BYSP2D | 1.0D38.37 | ü
20 | BX31B | 1.26D103.3T
20 | BX32B | 1.26D103.3T
20 | BYD1B | 1.69VD55.1 | ü
20 | BYD2B | 1.69VD55.1
20 | BYD3B | 1.69VD55.1
22 | BLXSPH | 0.625SD38.98
22 | BXSP1H | 1.0D38.37 | ü
23 | BRSP1H | 1.0D38.37
23 | BRSP2H | 1.0D38.37 | ü
24 | BLXSPS | 0.625SD38.98
24 | BXSP1S | 1.0D38.37
24 | BXSP2S | 1.0D38.37 | ü
24 | BXSP3S | 1.0D38.37
64 | BYCUS1 | 3D8.8MK3
64 | BYCUS2 | 3D8.8MK3 | ü
65 | BRCUSDC1 | 3D8.8MK3 | ü
65 | BRCUSDC2 | 3D8.8MK3
66 | BYKIK1S | 1.92K41.2 | ü
66 | BYKIK2S | 1.92K41.2