## 27SEP2017
LCLS II |  |  |  | 2017-09-27
Vertical Bend |  |  |  | H. Imfeld
Dump Magnet |  |  |  | M. Rogers
53191 | S/N 002
| Z | X | Y
TBA | -25.679 | -13.454 | -9.767
TBB | 24.824 | -13.447 | -9.84
TBC | -25.678 | -13.454 | 1.328
TBD | 24.805 | -13.451 | 1.305
TBE | -26.599 | -10.25 | 5.589
TBF | 26.612 | -10.29 | 5.579
TBG | -26.59 | 10.241 | 5.569
TBH | 26.635 | 10.222 | 5.538
TB1 | -25.678 | -14.142 | -9.768
TB2 | 24.825 | -14.134 | -9.841
TB3 | -25.677 | -14.141 | 1.324
TB4 | 24.804 | -14.138 | 1.302
TB5 | -26.593 | -10.25 | 6.277
TB6 | 26.617 | -10.286 | 6.269
TB7 | -26.586 | 10.241 | 6.256
TB8 | 26.635 | 10.222 | 6.225
Measured minus X pole plane.
Measured plus X pole plane.
Measured downstream Z plane.
Measured upstream Z plane.
Created mid X and mid Z planes.
The pole measurements were observed with the probe tip resting on the upper and lower notches of the pole tip.
A top and bottom plane were created utilizing the corresponding upper and lower pole tip observations.
Created a mid Y plane.
Interesected mid Z, X, and Y planes to create an origin.
The mid pole plane (X plane) is the primary axis.
The mid Z plane is the secondary axis.