NON-COMPLIANCE REPORT # 31734-74

| PART NAME: | SHAFT END BRACKET | DATE: | 7/1/15 |  |  |
| --- | --- | --- | --- | --- | --- |
| PF/SA NO.: | PF-391-738-25 R0 | INSPECTOR: | K. CABAN |  |  |
| WORK ORDER NO.: | 31734-74 | ENGINEER: | JC | EXT.: | 5109 |
| VENDOR | KLY MACH SHOP | PLANNER: | D. SHELLEY |  |  |

| Reason for Non-Compliance: | Disposition (UAI, Rework, Scrap, Other): |
| --- | --- |

1 rejected , 2 accepted

- of  is out of true position measuring 0.0094 on SN 104 only.

  - 2.864 measured 2.8593

- of is out of true position measuring 0.0081 on SN 104 only.

  - 2.864 measured 2.8600