NON-COMPLIANCE REPORT # 31787-27

PART NAME:	ALUMINUM SHIELD A	DATE:	5/22/15
PF/SA NO.:	PF-391-850-60 R0	INSPECTOR:	K. CABAN
WORK ORDER NO.:	31787-27	ENGINEER:	S. GUILLET	EXT.:	4771
VENDOR	BT LASER	ROUTE TO:
Reason for Non-Compliance:	Disposition (UAI, Rework, Scrap, Other):

is undersized measuring 1.3371 – 1.3382.

is oversized measuring 1.3132 – 1.3142.

is undersized measuring 0.0125.