## Slide 1
engineering type: 1.92K41.2
SLAC drawing number: SA-380-330-51
SLAC magnet bar-code: 4579
vendor serial number: N/A
when measured: 08-May-2019 16:42:44
when analyzed: 25-Jun-2016
MAD assignment: BKRCUS
fit extrapolated to
BL @ 10 GeV
plus 10% overhead

## Slide 2
fit extrapolated to
10 GeV
plus 10% overhead

## Slide 3
@ r= 10 mm
|b1/b0| = 1.184 [1.000] %
|b2/b0| = 1.644 [2.500] %