{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["1st Int","2nd Int","DF raw data"],"not_rendered":{"charts":2,"images":0,"macros":1,"external_links":0,"defined_names":108,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"1st Int","index":0,"n_rows":21,"n_cols":19,"rows_kept":21,"cut":false,"hidden":false,"merged":[]}
["SXR 1st Integral SW measurements"]
["Background has been subtracted",null,null,null,null,null,null,null,null,null,null,null,"Center values",null,"Average of 3 points x = -2 to x = 2"]
["y pos",0,"mm"]
["Gap nominal",10,"mm",15,"mm",20,"mm",30,"mm",100,"mm",null,"Gap","Ix [muTm]","Iy [muTm]",null,"Gap interval","Ix [muTm]","Iy [muTm]"]
["Encoder",{"$f":"'DF raw data'!B7","v":385695},null,{"$f":"'DF raw data'!G7","v":486267},null,{"$f":"'DF raw data'!L7","v":586671},null,{"$f":"'DF raw data'!Q7","v":786924},null,{"$f":"'DF raw data'!V7","v":2186945},null,null,{"$f":"B4","v":10},{"$f":"B21","v":4.4900666666666664},{"$f":"C21","v":0.4036567299999998},null,"10-30",{"$f":"MAX(N5:N8)-MIN(N5:N8)","v":9.4462433666666659},{"$f":"MAX(O5:O8)-MIN(O5:O8)","v":8.0385232666666671}]
["x pos [mm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]",null,{"$f":"D4","v":15},{"$f":"D21","v":2.2011433333333335},{"$f":"E21","v":4.5904967000000001},null,"10-100",{"$f":"MAX(N5:N9)-MIN(N5:N9)","v":9.4462433666666659},{"$f":"MAX(O5:O9)-MIN(O5:O9)","v":11.3079863}]
[-10,{"$f":"'DF raw data'!B9","v":7.6189498999999996},{"$f":"'DF raw data'!C9","v":-26.01145},{"$f":"'DF raw data'!G9","v":4.6973900999999998},{"$f":"'DF raw data'!H9","v":-37.320518},{"$f":"'DF raw data'!L9","v":14.056380000000001},{"$f":"'DF raw data'!M9","v":-17.737169000000002},{"$f":"'DF raw data'!Q9","v":17.257560999999999},{"$f":"'DF raw data'!R9","v":-9.7692298999999991},{"$f":"'DF raw data'!V9","v":13.65935},{"$f":"'DF raw data'!W9","v":10.4046},null,{"$f":"F4","v":20},{"$f":"F21","v":6.3530032666666658},{"$f":"G21","v":-3.4480265666666665}]
[-8,{"$f":"'DF raw data'!B10","v":9.8461303999999998},{"$f":"'DF raw data'!C10","v":-34.213149999999999},{"$f":"'DF raw data'!G10","v":4.9283400000000004},{"$f":"'DF raw data'!H10","v":-20.220759999999999},{"$f":"'DF raw data'!L10","v":8.7663201999999991},{"$f":"'DF raw data'!M10","v":-14.01545},{"$f":"'DF raw data'!Q10","v":2.1428799999999999},{"$f":"'DF raw data'!R10","v":-9.8492698999999995},{"$f":"'DF raw data'!V10","v":-13.298640000000001},{"$f":"'DF raw data'!W10","v":7.1901998999999996},null,{"$f":"H4","v":30},{"$f":"H21","v":-3.0932401000000005},{"$f":"I21","v":-1.3477733000000001},null,"Accept criteria:"]
[-6,{"$f":"'DF raw data'!B11","v":0.78052001999999998},{"$f":"'DF raw data'!C11","v":-10.11224},{"$f":"'DF raw data'!G11","v":-4.2512201999999997},{"$f":"'DF raw data'!H11","v":-13.285069999999999},{"$f":"'DF raw data'!L11","v":6.1565098999999996},{"$f":"'DF raw data'!M11","v":-6.1736497999999997},{"$f":"'DF raw data'!Q11","v":16.099340000000002},{"$f":"'DF raw data'!R11","v":-6.8480501},{"$f":"'DF raw data'!V11","v":-13.97096},{"$f":"'DF raw data'!W11","v":-15.516209999999999},null,{"$f":"J4","v":100},{"$f":"J21","v":-1.2722834666666665},{"$f":"K21","v":7.8599597333333335},null,"Max for 10-30:",15,15]
[-4,{"$f":"'DF raw data'!B12","v":1.9460299999999999},{"$f":"'DF raw data'!C12","v":-15.75203},{"$f":"'DF raw data'!G12","v":6.1746802000000001},{"$f":"'DF raw data'!H12","v":-11.25203},{"$f":"'DF raw data'!L12","v":1.78861},{"$f":"'DF raw data'!M12","v":-8.5372400000000006},{"$f":"'DF raw data'!Q12","v":10.9017},{"$f":"'DF raw data'!R12","v":-10.40685},{"$f":"'DF raw data'!V12","v":-11.04448},{"$f":"'DF raw data'!W12","v":-3.2921499999999999},null,null,null,null,null,"Test result",{"$f":"IF(R5<R9,\"Pass\",\"Fail\")","v":"Pass"},{"$f":"IF(S5<S9,\"Pass\",\"Fail\")","v":"Pass"}]
[-2,{"$f":"'DF raw data'!B13","v":4.7479100000000001},{"$f":"'DF raw data'!C13","v":-5.5377597999999999},{"$f":"'DF raw data'!G13","v":1.5895999999999999},{"$f":"'DF raw data'!H13","v":-6.4841699999999998},{"$f":"'DF raw data'!L13","v":8.7961597000000005},{"$f":"'DF raw data'!M13","v":-4.8605299000000004},{"$f":"'DF raw data'!Q13","v":-6.0454602},{"$f":"'DF raw data'!R13","v":-4.4387999000000002},{"$f":"'DF raw data'!V13","v":5.6118598000000004},{"$f":"'DF raw data'!W13","v":13.1561},null,"Accept criteria:"]
[0,{"$f":"'DF raw data'!B14","v":2.5698298999999998},{"$f":"'DF raw data'!C14","v":-0.80395000999999999},{"$f":"'DF raw data'!G14","v":6.1084800000000001},{"$f":"'DF raw data'!H14","v":14.45185},{"$f":"'DF raw data'!L14","v":2.4731299999999998},{"$f":"'DF raw data'!M14","v":-2.0836598999999998},{"$f":"'DF raw data'!Q14","v":1.0800700000000001},{"$f":"'DF raw data'!R14","v":0.88686001000000003},{"$f":"'DF raw data'!V14","v":-3.5318501000000002},{"$f":"'DF raw data'!W14","v":18.125548999999999},null,"Values within: +/-",17.5,17.5]
[2,{"$f":"'DF raw data'!B15","v":6.1524600999999999},{"$f":"'DF raw data'!C15","v":7.5526799999999996},{"$f":"'DF raw data'!G15","v":-1.0946499999999999},{"$f":"'DF raw data'!H15","v":5.8038100999999997},{"$f":"'DF raw data'!L15","v":7.7897201000000003},{"$f":"'DF raw data'!M15","v":-3.3998898999999998},{"$f":"'DF raw data'!Q15","v":-4.3143301000000003},{"$f":"'DF raw data'!R15","v":-0.49138000999999998},{"$f":"'DF raw data'!V15","v":-5.8968600999999996},{"$f":"'DF raw data'!W15","v":-7.7017698000000001},null,"Test result",{"$f":"IF(MAX(N$5:N$9)<N$12,IF(MIN(N$5:N$9)>-1*N12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"},{"$f":"IF(MAX(O$5:O$9)<O$12,IF(MIN(O$5:O$9)>-1*O12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"}]
[4,{"$f":"'DF raw data'!B16","v":0.16785},{"$f":"'DF raw data'!C16","v":8.9384803999999995},{"$f":"'DF raw data'!G16","v":-1.8383100000000001},{"$f":"'DF raw data'!H16","v":2.2837399999999999},{"$f":"'DF raw data'!L16","v":1.9038600000000001},{"$f":"'DF raw data'!M16","v":12.69177},{"$f":"'DF raw data'!Q16","v":1.2427299999999999},{"$f":"'DF raw data'!R16","v":-6.4808202000000001},{"$f":"'DF raw data'!V16","v":19.604469000000002},{"$f":"'DF raw data'!W16","v":13.95269}]
[6,{"$f":"'DF raw data'!B17","v":-2.3847798999999998},{"$f":"'DF raw data'!C17","v":9.4160204000000007},{"$f":"'DF raw data'!G17","v":3.8832399999999998},{"$f":"'DF raw data'!H17","v":3.9583398999999999},{"$f":"'DF raw data'!L17","v":5.7238201999999996},{"$f":"'DF raw data'!M17","v":11.171860000000001},{"$f":"'DF raw data'!Q17","v":18.792100999999999},{"$f":"'DF raw data'!R17","v":2.2002899999999999},{"$f":"'DF raw data'!V17","v":1.2967900000000001},{"$f":"'DF raw data'!W17","v":2.88151}]
[8,{"$f":"'DF raw data'!B18","v":6.4425201000000003},{"$f":"'DF raw data'!C18","v":18.043011},{"$f":"'DF raw data'!G18","v":8.1488504000000006},{"$f":"'DF raw data'!H18","v":-1.1571701000000001},{"$f":"'DF raw data'!L18","v":11.2804},{"$f":"'DF raw data'!M18","v":5.6213498},{"$f":"'DF raw data'!Q18","v":6.00387},{"$f":"'DF raw data'!R18","v":13.60421},{"$f":"'DF raw data'!V18","v":3.3847999999999998},{"$f":"'DF raw data'!W18","v":18.095400000000001}]
[10,{"$f":"'DF raw data'!B19","v":12.569789999999999},{"$f":"'DF raw data'!C19","v":14.959759999999999},{"$f":"'DF raw data'!G19","v":10.976470000000001},{"$f":"'DF raw data'!H19","v":16.334629},{"$f":"'DF raw data'!L19","v":11.09571},{"$f":"'DF raw data'!M19","v":18.370118999999999},{"$f":"'DF raw data'!Q19","v":23.557171},{"$f":"'DF raw data'!R19","v":9.2618302999999997},{"$f":"'DF raw data'!V19","v":14.709949999999999},{"$f":"'DF raw data'!W19","v":1.5204800000000001}]
[]
["DF indice",{"$f":"'DF raw data'!B4","v":378},null,{"$f":"'DF raw data'!G4","v":379},null,{"$f":"'DF raw data'!L4","v":380},null,{"$f":"'DF raw data'!Q4","v":381},null,{"$f":"'DF raw data'!V4","v":382}]
[]
["Average",{"$f":"AVERAGE(B11:B13)","v":4.4900666666666664},{"$f":"AVERAGE(C11:C13)","v":0.4036567299999998},2.2011433333333335,4.5904967000000001,6.3530032666666658,-3.4480265666666665,-3.0932401000000005,-1.3477733000000001,-1.2722834666666665,7.8599597333333335]

{"sheet":"2nd Int","index":1,"n_rows":21,"n_cols":19,"rows_kept":21,"cut":false,"hidden":false,"merged":[]}
["SXR 2nd Integral SW measurements"]
["Background has been subtracted",null,null,null,null,null,null,null,null,null,null,null,"Center values",null,"Average of 3 points x = -2 to x = 2"]
["y pos",0,"mm"]
["Gap",10,"mm",15,"mm",20,"mm",30,"mm",100,"mm",null,"Gap","Jx [muTm^2]","Jy [muTm^2]",null,"Gap interval","Jx [muTm^2]","Jy [muTm^2]"]
["Encoder",{"$f":"'DF raw data'!B7","v":385695},null,{"$f":"'DF raw data'!G7","v":486267},null,{"$f":"'DF raw data'!L7","v":586671},null,{"$f":"'DF raw data'!Q7","v":786924},null,{"$f":"'DF raw data'!V7","v":2186945},null,null,{"$f":"B4","v":10},{"$f":"B21","v":2.3743200000000009},{"$f":"C21","v":10.332041166666666},null,"10-30",{"$f":"MAX(N5:N8)-MIN(N5:N8)","v":14.813870033333334},{"$f":"MAX(O5:O8)-MIN(O5:O8)","v":16.915522333333332}]
["x pos [mm]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]",null,{"$f":"D4","v":15},{"$f":"D21","v":-8.1968426999999995},{"$f":"E21","v":24.658382333333332},null,"10-100",{"$f":"MAX(N5:N9)-MIN(N5:N9)","v":14.813870033333334},{"$f":"MAX(O5:O9)-MIN(O5:O9)","v":16.915522333333332}]
[-10,{"$f":"'DF raw data'!D9/100","v":-16.248605999999999},{"$f":"'DF raw data'!E9/100","v":-24.781064000000001},{"$f":"'DF raw data'!I9/100","v":-5.8577923999999992},{"$f":"'DF raw data'!J9/100","v":-27.781338000000002},{"$f":"'DF raw data'!N9/100","v":7.7477295000000002},{"$f":"'DF raw data'!O9/100","v":-8.9565722999999995},{"$f":"'DF raw data'!S9/100","v":-3.3605059999999995},{"$f":"'DF raw data'!T9/100","v":6.1965624999999998},{"$f":"'DF raw data'!X9/100","v":-3.8345508000000001},{"$f":"'DF raw data'!Y9/100","v":-24.007353999999999},null,{"$f":"F4","v":20},{"$f":"F21","v":2.8460274000000001},{"$f":"G21","v":17.936702333333333}]
[-8,{"$f":"'DF raw data'!D10/100","v":24.588569000000003},{"$f":"'DF raw data'!E10/100","v":-34.948594},{"$f":"'DF raw data'!I10/100","v":3.2508307000000003},{"$f":"'DF raw data'!J10/100","v":-9.1727734000000005},{"$f":"'DF raw data'!N10/100","v":-4.3865676999999996},{"$f":"'DF raw data'!O10/100","v":-4.5617383},{"$f":"'DF raw data'!S10/100","v":4.8614452999999997},3.3834399999999998,{"$f":"'DF raw data'!X10/100","v":-38.934272},{"$f":"'DF raw data'!Y10/100","v":11.392665999999998},null,{"$f":"H4","v":30},{"$f":"H21","v":-11.967842633333333},{"$f":"I21","v":7.7428600000000003}]
[-6,{"$f":"'DF raw data'!D11/100","v":-13.49145},{"$f":"'DF raw data'!E11/100","v":10.521640999999999},{"$f":"'DF raw data'!I11/100","v":-25.459835999999999},{"$f":"'DF raw data'!J11/100","v":-11.148848000000001},{"$f":"'DF raw data'!N11/100","v":5.8659484999999991},{"$f":"'DF raw data'!O11/100","v":-4.6996973000000004},{"$f":"'DF raw data'!S11/100","v":28.913571999999998},2.20269,{"$f":"'DF raw data'!X11/100","v":-21.397860999999999},{"$f":"'DF raw data'!Y11/100","v":-29.594580000000001},null,{"$f":"J4","v":100},{"$f":"J21","v":-4.8182436666666666},{"$f":"K21","v":19.811282699933333}]
[-4,{"$f":"'DF raw data'!D12/100","v":-16.664304000000001},{"$f":"'DF raw data'!E12/100","v":-9.1391016},{"$f":"'DF raw data'!I12/100","v":8.7477666999999997},{"$f":"'DF raw data'!J12/100","v":-10.800996},{"$f":"'DF raw data'!N12/100","v":-7.8240765000000003},{"$f":"'DF raw data'!O12/100","v":7.5500293000000003},{"$f":"'DF raw data'!S12/100","v":9.6392755000000001},9.0253399999999999,{"$f":"'DF raw data'!X12/100","v":30.649398999999999},{"$f":"'DF raw data'!Y12/100","v":4.2638866999999996}]
[-2,{"$f":"'DF raw data'!D13/100","v":40.933018000000004},{"$f":"'DF raw data'!E13/100","v":-4.2835644999999998},{"$f":"'DF raw data'!I13/100","v":-4.0734624999999998},{"$f":"'DF raw data'!J13/100","v":18.930381000000001},{"$f":"'DF raw data'!N13/100","v":5.3140563999999992},{"$f":"'DF raw data'!O13/100","v":11.464570000000002},{"$f":"'DF raw data'!S13/100","v":-16.506840999999998},1.63822,{"$f":"'DF raw data'!X13/100","v":6.9946735000000002},{"$f":"'DF raw data'!Y13/100","v":9.9120998000000009E-3},null,"Accept criteria:"]
[0,{"$f":"'DF raw data'!D14/100","v":-29.629263000000002},{"$f":"'DF raw data'!E14/100","v":15.093135},{"$f":"'DF raw data'!I14/100","v":-4.3982305999999998},{"$f":"'DF raw data'!J14/100","v":30.117705000000001},{"$f":"'DF raw data'!N14/100","v":-1.0257508},{"$f":"'DF raw data'!O14/100","v":21.752031000000002},{"$f":"'DF raw data'!S14/100","v":-3.6933498999999999},5.2932600000000001,{"$f":"'DF raw data'!X14/100","v":-15.296780000000002},{"$f":"'DF raw data'!Y14/100","v":56.918018000000004},null,"Values within: +/-",42.5,42.5]
[2,{"$f":"'DF raw data'!D15/100","v":-4.1807949999999998},{"$f":"'DF raw data'!E15/100","v":20.186553},{"$f":"'DF raw data'!I15/100","v":-16.118835000000001},{"$f":"'DF raw data'!J15/100","v":24.927060999999998},{"$f":"'DF raw data'!N15/100","v":4.2497766000000006},{"$f":"'DF raw data'!O15/100","v":20.593506000000001},{"$f":"'DF raw data'!S15/100","v":-15.703336999999999},16.2971,{"$f":"'DF raw data'!X15/100","v":-6.1526244999999991},{"$f":"'DF raw data'!Y15/100","v":2.5059179999999999},null,"Test result",{"$f":"IF(MAX(N$5:N$9)<N$12,IF(MIN(N$5:N$9)>-1*N12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"},{"$f":"IF(MAX(O$5:O$9)<O$12,IF(MIN(O$5:O$9)>-1*O12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"}]
[4,{"$f":"'DF raw data'!D16/100","v":1.2059963999999999},{"$f":"'DF raw data'!E16/100","v":43.412353999999993},{"$f":"'DF raw data'!I16/100","v":-22.773823000000004},{"$f":"'DF raw data'!J16/100","v":23.148496000000002},{"$f":"'DF raw data'!N16/100","v":8.9984801999999995},{"$f":"'DF raw data'!O16/100","v":26.734277000000002},{"$f":"'DF raw data'!S16/100","v":-24.170248999999998},10.6371,{"$f":"'DF raw data'!X16/100","v":59.079663000000004},{"$f":"'DF raw data'!Y16/100","v":15.35792}]
[6,{"$f":"'DF raw data'!D17/100","v":-3.9509888000000002},{"$f":"'DF raw data'!E17/100","v":31.616992},{"$f":"'DF raw data'!I17/100","v":-0.43726748999999998},{"$f":"'DF raw data'!J17/100","v":23.102274999999999},{"$f":"'DF raw data'!N17/100","v":3.3361966000000001},{"$f":"'DF raw data'!O17/100","v":25.523398},{"$f":"'DF raw data'!S17/100","v":29.931042000000001},10.636900000000001,{"$f":"'DF raw data'!X17/100","v":1.0635648},{"$f":"'DF raw data'!Y17/100","v":34.134267999999999}]
[8,{"$f":"'DF raw data'!D18/100","v":10.485664999999999},{"$f":"'DF raw data'!E18/100","v":38.366680000000002},{"$f":"'DF raw data'!I18/100","v":31.700127000000002},{"$f":"'DF raw data'!J18/100","v":9.7648633},{"$f":"'DF raw data'!N18/100","v":32.783197999999999},{"$f":"'DF raw data'!O18/100","v":30.815097999999999},{"$f":"'DF raw data'!S18/100","v":12.569763},11.485300000000001,{"$f":"'DF raw data'!X18/100","v":19.974712999999998},{"$f":"'DF raw data'!Y18/100","v":57.147079999999995}]
[10,{"$f":"'DF raw data'!D19/100","v":28.756985},{"$f":"'DF raw data'!E19/100","v":15.634550999999998},{"$f":"'DF raw data'!I19/100","v":13.340197},{"$f":"'DF raw data'!J19/100","v":31.367997999999996},{"$f":"'DF raw data'!N19/100","v":22.311851000000001},{"$f":"'DF raw data'!O19/100","v":42.615732000000001},{"$f":"'DF raw data'!S19/100","v":-4.0702959999999999},13.3657,{"$f":"'DF raw data'!X19/100","v":23.710426999999999},{"$f":"'DF raw data'!Y19/100","v":3.9006249999999998}]
[]
["DF indice",{"$f":"'DF raw data'!B4","v":378},null,{"$f":"'DF raw data'!G4","v":379},null,{"$f":"'DF raw data'!L4","v":380},null,{"$f":"'DF raw data'!Q4","v":381},null,{"$f":"'DF raw data'!V4","v":382}]
[]
["Average",{"$f":"AVERAGE(B11:B13)","v":2.3743200000000009},{"$f":"AVERAGE(C11:C13)","v":10.332041166666666},-8.1968426999999995,24.658382333333332,2.8460274000000001,17.936702333333333,-11.967842633333333,7.7428600000000003,-4.8182436666666666,19.811282699933333]

{"sheet":"DF raw data","index":2,"n_rows":19,"n_cols":25,"rows_kept":19,"cut":false,"hidden":false,"merged":[]}
["Comment:","2nd Int scan, PS 16346, 10 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16346, 15 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16346, 20 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16346, 30 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16346, 100 mm gap"]
["Date:","19. apr 2017","09:17:54",null,null,"Date:","19. apr 2017","09:38:02",null,null,"Date:","19. apr 2017","09:52:14",null,null,"Date:","19. apr 2017","10:06:18",null,null,"Date:","19. apr 2017","10:24:40"]
["Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0]
["Indice:",378,null,null,null,"Indice:",379,null,null,null,"Indice:",380,null,null,null,"Indice:",381,null,null,null,"Indice:",382]
["Background Indice:",378,null,null,null,"Background Indice:",379,null,null,null,"Background Indice:",380,null,null,null,"Background Indice:",381,null,null,null,"Background Indice:",382]
["Temperature:",20.8,null,null,null,"Temperature:",20.81,null,null,null,"Temperature:",20.83,null,null,null,"Temperature:",20.85,null,null,null,"Temperature:",20.87]
["Encoder:",385695,null,null,null,"Encoder:",486267,null,null,null,"Encoder:",586671,null,null,null,"Encoder:",786924,null,null,null,"Encoder:",2186945]
["X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb"]
[-1,7.6189498999999996,-26.01145,-1624.8606,-2478.1064000000001,-1,4.6973900999999998,-37.320518,-585.77923999999996,-2778.1338000000001,-1,14.056380000000001,-17.737169000000002,774.77295000000004,-895.65723000000003,-1,17.257560999999999,-9.7692298999999991,-336.05059999999997,619.65625,-1,13.65935,10.4046,-383.45508000000001,-2400.7354]
[-0.80000000999999998,9.8461303999999998,-34.213149999999999,2458.8569000000002,-3494.8593999999998,-0.80000000999999998,4.9283400000000004,-20.220759999999999,325.08307000000002,-917.27733999999998,-0.80000000999999998,8.7663201999999991,-14.01545,-438.65676999999999,-456.17383000000001,-0.80000000999999998,2.1428799999999999,-9.8492698999999995,486.14452999999997,926.11328000000003,-0.80000000999999998,-13.298640000000001,7.1901998999999996,-3893.4272000000001,1139.2665999999999]
[-0.60000001999999997,0.78052001999999998,-10.11224,-1349.145,1052.1641,-0.60000001999999997,-4.2512201999999997,-13.285069999999999,-2545.9836,-1114.8848,-0.60000001999999997,6.1565098999999996,-6.1736497999999997,586.59484999999995,-469.96973000000003,-0.60000001999999997,16.099340000000002,-6.8480501,2891.3571999999999,-909.03710999999998,-0.60000001999999997,-13.97096,-15.516209999999999,-2139.7860999999998,-2959.4580000000001]
[-0.40000001000000002,1.9460299999999999,-15.75203,-1666.4304,-913.91016000000002,-0.40000001000000002,6.1746802000000001,-11.25203,874.77666999999997,-1080.0996,-0.40000001000000002,1.78861,-8.5372400000000006,-782.40764999999999,755.00292999999999,-0.40000001000000002,10.9017,-10.40685,963.92755,-712.09960999999998,-0.40000001000000002,-11.04448,-3.2921499999999999,3064.9398999999999,426.38866999999999]
[-0.2,4.7479100000000001,-5.5377597999999999,4093.3018000000002,-428.35645,-0.2,1.5895999999999999,-6.4841699999999998,-407.34625,1893.0381,-0.2,8.7961597000000005,-4.8605299000000004,531.40563999999995,1146.4570000000001,-0.2,-6.0454602,-4.4387999000000002,-1650.6840999999999,1750.9951000000001,-0.2,5.6118598000000004,13.1561,699.46735000000001,0.99120998000000005]
[0,2.5698298999999998,-0.80395000999999999,-2962.9263000000001,1509.3135,0,6.1084800000000001,14.45185,-439.82306,3011.7705000000001,0,2.4731299999999998,-2.0836598999999998,-102.57508,2175.2031000000002,0,1.0800700000000001,0.88686001000000003,-369.33499,3661.0830000000001,0,-3.5318501000000002,18.125548999999999,-1529.6780000000001,5691.8018000000002]
[0.2,6.1524600999999999,7.5526799999999996,-418.0795,2018.6552999999999,0.2,-1.0946499999999999,5.8038100999999997,-1611.8834999999999,2492.7060999999999,0.2,7.7897201000000003,-3.3998898999999998,424.97766000000001,2059.3506000000002,0.2,-4.3143301000000003,-0.49138000999999998,-1570.3336999999999,-1972.2773,0.2,-5.8968600999999996,-7.7017698000000001,-615.26244999999994,250.59180000000001]
[0.40000001000000002,0.16785,8.9384803999999995,120.59963999999999,4341.2353999999996,0.40000001000000002,-1.8383100000000001,2.2837399999999999,-2277.3823000000002,2314.8496,0.40000001000000002,1.9038600000000001,12.69177,899.84802000000002,2673.4277000000002,0.40000001000000002,1.2427299999999999,-6.4808202000000001,-2417.0248999999999,2577.9766,0.40000001000000002,19.604469000000002,13.95269,5907.9663,1535.7919999999999]
[0.60000001999999997,-2.3847798999999998,9.4160204000000007,-395.09888000000001,3161.6992,0.60000001999999997,3.8832399999999998,3.9583398999999999,-43.726748999999998,2310.2275,0.60000001999999997,5.7238201999999996,11.171860000000001,333.61966000000001,2552.3398000000002,0.60000001999999997,18.792100999999999,2.2002899999999999,2993.1042000000002,3677.5879,0.60000001999999997,1.2967900000000001,2.88151,106.35648,3413.4268000000002]
[0.80000000999999998,6.4425201000000003,18.043011,1048.5664999999999,3836.6680000000001,0.80000000999999998,8.1488504000000006,-1.1571701000000001,3170.0127000000002,976.48632999999995,0.80000000999999998,11.2804,5.6213498,3278.3198000000002,3081.5097999999998,0.80000000999999998,6.00387,13.60421,1256.9763,5940.9481999999998,0.80000000999999998,3.3847999999999998,18.095400000000001,1997.4712999999999,5714.7079999999996]
[1,12.569789999999999,14.959759999999999,2875.6985,1563.4550999999999,1,10.976470000000001,16.334629,1334.0197000000001,3136.7997999999998,1,11.09571,18.370118999999999,2231.1851000000001,4261.5731999999998,1,23.557171,9.2618302999999997,-407.02960000000002,1.7851599,1,14.709949999999999,1.5204800000000001,2371.0427,390.0625]