{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["1st Int","2nd Int","DF raw data"],"not_rendered":{"charts":2,"images":0,"macros":1,"external_links":0,"defined_names":138,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"1st Int","index":0,"n_rows":30,"n_cols":19,"rows_kept":30,"cut":false,"hidden":false,"merged":[]}
["SXR 1st Integral SW measurements"]
["Background has been subtracted",null,null,null,null,null,null,null,null,null,null,null,"Center values",null,"Average of 3 points x = -2 to x = 2"]
["y pos",0,"mm"]
["Gap nominal",10,"mm",15,"mm",20,"mm",30,"mm",100,"mm",null,"Gap","Ix [muTm]","Iy [muTm]",null,"Gap interval","Ix [muTm]","Iy [muTm]"]
["Encoder",{"$f":"'DF raw data'!B7","v":391205},null,{"$f":"'DF raw data'!G7","v":491812},null,{"$f":"'DF raw data'!L7","v":592104},null,{"$f":"'DF raw data'!Q7","v":792310},null,{"$f":"'DF raw data'!V7","v":2192340},null,null,{"$f":"B4","v":10},{"$f":"B21","v":6.8427470333333344},{"$f":"C21","v":-8.3673467666666657},null,"10-30",{"$f":"MAX(N5:N8)-MIN(N5:N8)","v":7.6273770666666669},{"$f":"MAX(O5:O8)-MIN(O5:O8)","v":6.9607700999999995}]
["x pos [mm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]",null,{"$f":"D4","v":15},{"$f":"D21","v":11.891520466666668},{"$f":"E21","v":-2.8973333000000001},null,"10-100",{"$f":"MAX(N5:N9)-MIN(N5:N9)","v":8.6647338000000005},{"$f":"MAX(O5:O9)-MIN(O5:O9)","v":13.867556733333332}]
[-10,{"$f":"'DF raw data'!B9","v":-14.298450000000001},{"$f":"'DF raw data'!C9","v":-19.426228999999999},{"$f":"'DF raw data'!G9","v":-8.3588494999999998},{"$f":"'DF raw data'!H9","v":-13.096270000000001},{"$f":"'DF raw data'!L9","v":-13.97926},{"$f":"'DF raw data'!M9","v":-5.2221098000000001},{"$f":"'DF raw data'!Q9","v":8.8200798000000002},{"$f":"'DF raw data'!R9","v":-12.93871},{"$f":"'DF raw data'!V9","v":3.1099100000000002},{"$f":"'DF raw data'!W9","v":-17.376341},null,{"$f":"F4","v":20},{"$f":"F21","v":8.5207932666666668},{"$f":"G21","v":-1.7492532666666667}]
[-8,{"$f":"'DF raw data'!B10","v":-10.250450000000001},{"$f":"'DF raw data'!C10","v":-12.688029999999999},{"$f":"'DF raw data'!G10","v":-4.9774899000000001},{"$f":"'DF raw data'!H10","v":-19.38015},{"$f":"'DF raw data'!L10","v":0.18212998999999999},{"$f":"'DF raw data'!M10","v":-11.4247},{"$f":"'DF raw data'!Q10","v":10.96913},{"$f":"'DF raw data'!R10","v":-0.50109999999999999},{"$f":"'DF raw data'!V10","v":1.5368900000000001},{"$f":"'DF raw data'!W10","v":-6.2452202000000003},null,{"$f":"H4","v":30},{"$f":"H21","v":4.2641434000000009},{"$f":"I21","v":-1.4065766666666664},null,"Accept criteria:"]
[-6,{"$f":"'DF raw data'!B11","v":-12.925990000000001},{"$f":"'DF raw data'!C11","v":-16.622890000000002},{"$f":"'DF raw data'!G11","v":-1.50248},{"$f":"'DF raw data'!H11","v":-12.610659999999999},{"$f":"'DF raw data'!L11","v":-3.6491799},{"$f":"'DF raw data'!M11","v":-10.475490000000001},{"$f":"'DF raw data'!Q11","v":-1.6923999999999999},{"$f":"'DF raw data'!R11","v":-12.01079},{"$f":"'DF raw data'!V11","v":-2.0999601000000001},{"$f":"'DF raw data'!W11","v":-9.1693601999999998},null,{"$f":"J4","v":100},{"$f":"J21","v":3.2267866666666669},{"$f":"K21","v":5.5002099666666666},null,"Max for 10-30:",15,15]
[-4,{"$f":"'DF raw data'!B12","v":-8.4320698000000007},{"$f":"'DF raw data'!C12","v":-23.220310000000001},{"$f":"'DF raw data'!G12","v":-3.0130899000000002},{"$f":"'DF raw data'!H12","v":-11.51998},{"$f":"'DF raw data'!L12","v":-0.84859996999999998},{"$f":"'DF raw data'!M12","v":-25.46059},{"$f":"'DF raw data'!Q12","v":-10.46387},{"$f":"'DF raw data'!R12","v":-3.0588199999999999},{"$f":"'DF raw data'!V12","v":-5.6156201000000001},{"$f":"'DF raw data'!W12","v":-7.1719397999999996},null,null,null,null,null,"Test result",{"$f":"IF(R5<R9,\"Pass\",\"Fail\")","v":"Pass"},{"$f":"IF(S5<S9,\"Pass\",\"Fail\")","v":"Pass"}]
[-2,{"$f":"'DF raw data'!B13","v":6.60921},{"$f":"'DF raw data'!C13","v":-9.9711704000000001},{"$f":"'DF raw data'!G13","v":10.7348},{"$f":"'DF raw data'!H13","v":-2.7342501000000001},{"$f":"'DF raw data'!L13","v":6.3175998},{"$f":"'DF raw data'!M13","v":2.6874899999999999},{"$f":"'DF raw data'!Q13","v":2.0440499999999999},{"$f":"'DF raw data'!R13","v":0.27067000000000002},{"$f":"'DF raw data'!V13","v":7.5000200000000001},{"$f":"'DF raw data'!W13","v":4.5172600999999997},null,"Accept criteria:"]
[0,{"$f":"'DF raw data'!B14","v":-2.6776298999999999},{"$f":"'DF raw data'!C14","v":-7.4396700999999998},{"$f":"'DF raw data'!G14","v":8.4156504000000005},{"$f":"'DF raw data'!H14","v":-2.9679698999999999},{"$f":"'DF raw data'!L14","v":1.34039},{"$f":"'DF raw data'!M14","v":-0.11093},{"$f":"'DF raw data'!Q14","v":4.9459400000000002},{"$f":"'DF raw data'!R14","v":-4.3760899999999996},{"$f":"'DF raw data'!V14","v":-1.9004000000000001},{"$f":"'DF raw data'!W14","v":6.5701799000000003},null,"Values within: +/-",17.5,17.5]
[2,{"$f":"'DF raw data'!B15","v":16.596661000000001},{"$f":"'DF raw data'!C15","v":-7.6911997999999997},{"$f":"'DF raw data'!G15","v":16.524111000000001},{"$f":"'DF raw data'!H15","v":-2.9897798999999998},{"$f":"'DF raw data'!L15","v":17.904389999999999},{"$f":"'DF raw data'!M15","v":-7.8243197999999996},{"$f":"'DF raw data'!Q15","v":5.8024402000000004},{"$f":"'DF raw data'!R15","v":-0.11430999999999999},{"$f":"'DF raw data'!V15","v":4.0807399999999996},{"$f":"'DF raw data'!W15","v":5.4131898999999999},null,"Test result",{"$f":"IF(MAX(N$5:N$9)<N$12,IF(MIN(N$5:N$9)>-1*N12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"},{"$f":"IF(MAX(O$5:O$9)<O$12,IF(MIN(O$5:O$9)>-1*O12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"}]
[4,{"$f":"'DF raw data'!B16","v":9.8385096000000001},{"$f":"'DF raw data'!C16","v":-4.3379402000000002},{"$f":"'DF raw data'!G16","v":3.7486801000000001},{"$f":"'DF raw data'!H16","v":-4.2146502000000003},{"$f":"'DF raw data'!L16","v":19.601769999999998},{"$f":"'DF raw data'!M16","v":-1.4087799999999999},{"$f":"'DF raw data'!Q16","v":10.13833},{"$f":"'DF raw data'!R16","v":-5.2468500000000002},{"$f":"'DF raw data'!V16","v":3.26105},{"$f":"'DF raw data'!W16","v":-2.9622799999999998}]
[6,{"$f":"'DF raw data'!B17","v":13.470689999999999},{"$f":"'DF raw data'!C17","v":2.0631001000000002},{"$f":"'DF raw data'!G17","v":0.41135000999999999},{"$f":"'DF raw data'!H17","v":-0.45370000999999999},{"$f":"'DF raw data'!L17","v":6.0562300999999996},{"$f":"'DF raw data'!M17","v":-4.1789899000000004},{"$f":"'DF raw data'!Q17","v":-1.0822799999999999},{"$f":"'DF raw data'!R17","v":-1.2706701},{"$f":"'DF raw data'!V17","v":3.5448501000000001},{"$f":"'DF raw data'!W17","v":9.3345900000000004}]
[8,{"$f":"'DF raw data'!B18","v":15.37175},{"$f":"'DF raw data'!C18","v":10.4039},{"$f":"'DF raw data'!G18","v":-5.3368101000000001},{"$f":"'DF raw data'!H18","v":5.2363600999999997},{"$f":"'DF raw data'!L18","v":-3.8293900000000001},{"$f":"'DF raw data'!M18","v":-1.6676299999999999},{"$f":"'DF raw data'!Q18","v":1.29295},{"$f":"'DF raw data'!R18","v":1.2568699999999999},{"$f":"'DF raw data'!V18","v":0.25508999999999998},{"$f":"'DF raw data'!W18","v":-2.6686698999999998}]
[10,{"$f":"'DF raw data'!B19","v":-1.21102},{"$f":"'DF raw data'!C19","v":2.1690399999999999},{"$f":"'DF raw data'!G19","v":22.199659},{"$f":"'DF raw data'!H19","v":2.6847701000000002},{"$f":"'DF raw data'!L19","v":-6.0954398999999997},{"$f":"'DF raw data'!M19","v":-1.0246299999999999},{"$f":"'DF raw data'!Q19","v":0.27147999},{"$f":"'DF raw data'!R19","v":-0.69041996999999999},{"$f":"'DF raw data'!V19","v":2.4703400000000002},{"$f":"'DF raw data'!W19","v":-4.6091099}]
[]
["DF indice",{"$f":"'DF raw data'!B4","v":538},null,{"$f":"'DF raw data'!G4","v":539},null,{"$f":"'DF raw data'!L4","v":540},null,{"$f":"'DF raw data'!Q4","v":541},null,{"$f":"'DF raw data'!V4","v":542}]
[]
["Average",{"$f":"AVERAGE(B11:B13)","v":6.8427470333333344},{"$f":"AVERAGE(C11:C13)","v":-8.3673467666666657},11.891520466666668,-2.8973333000000001,8.5207932666666668,-1.7492532666666667,4.2641434000000009,-1.4065766666666664,3.2267866666666669,5.5002099666666666]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null," "]

{"sheet":"2nd Int","index":1,"n_rows":21,"n_cols":19,"rows_kept":21,"cut":false,"hidden":false,"merged":[]}
["SXR 2nd Integral SW measurements"]
["Background has been subtracted",null,null,null,null,null,null,null,null,null,null,null,"Center values",null,"Average of 3 points x = -2 to x = 2"]
["y pos",0,"mm"]
["Gap",10,"mm",15,"mm",20,"mm",30,"mm",100,"mm",null,"Gap","Jx [muTm^2]","Jy [muTm^2]",null,"Gap interval","Jx [muTm^2]","Jy [muTm^2]"]
["Encoder",{"$f":"'DF raw data'!B7","v":391205},null,{"$f":"'DF raw data'!G7","v":491812},null,{"$f":"'DF raw data'!L7","v":592104},null,{"$f":"'DF raw data'!Q7","v":792310},null,{"$f":"'DF raw data'!V7","v":2192340},null,null,{"$f":"B4","v":10},{"$f":"B21","v":17.112179333333334},{"$f":"C21","v":19.035409999999999},null,"10-30",{"$f":"MAX(N5:N8)-MIN(N5:N8)","v":22.30114566666667},{"$f":"MAX(O5:O8)-MIN(O5:O8)","v":20.829818999999993}]
["x pos [mm]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]",null,{"$f":"D4","v":15},{"$f":"D21","v":34.173305333333339},{"$f":"E21","v":22.066438666666667},null,"10-100",{"$f":"MAX(N5:N9)-MIN(N5:N9)","v":29.387577466666674},{"$f":"MAX(O5:O9)-MIN(O5:O9)","v":26.242791333333329}]
[-10,{"$f":"'DF raw data'!D9/100","v":-16.782336000000001},{"$f":"'DF raw data'!E9/100","v":-6.4236522999999996},{"$f":"'DF raw data'!I9/100","v":-13.233840000000001},{"$f":"'DF raw data'!J9/100","v":-8.987949200000001},{"$f":"'DF raw data'!N9/100","v":17.329706999999999},{"$f":"'DF raw data'!O9/100","v":-13.291044999999999},{"$f":"'DF raw data'!S9/100","v":24.802957000000003},{"$f":"'DF raw data'!T9/100","v":-18.751318000000001},{"$f":"'DF raw data'!X9/100","v":-23.590286000000003},{"$f":"'DF raw data'!Y9/100","v":-15.800098},null,{"$f":"F4","v":20},{"$f":"F21","v":16.118047700000002},{"$f":"G21","v":28.572678999999994}]
[-8,{"$f":"'DF raw data'!D10/100","v":-10.30386},{"$f":"'DF raw data'!E10/100","v":5.6528320000000001},{"$f":"'DF raw data'!I10/100","v":-5.3152008000000004},{"$f":"'DF raw data'!J10/100","v":-14.137284999999999},{"$f":"'DF raw data'!N10/100","v":17.345407999999999},{"$f":"'DF raw data'!O10/100","v":8.0105371000000005},{"$f":"'DF raw data'!S10/100","v":14.546821},3.3834399999999998,{"$f":"'DF raw data'!X10/100","v":2.3111130000000002},{"$f":"'DF raw data'!Y10/100","v":3.9954102000000002},null,{"$f":"H4","v":30},{"$f":"H21","v":11.872159666666667},{"$f":"I21","v":7.7428600000000003}]
[-6,{"$f":"'DF raw data'!D11/100","v":-4.6220224000000005},{"$f":"'DF raw data'!E11/100","v":2.0929297},{"$f":"'DF raw data'!I11/100","v":-12.133273999999998},{"$f":"'DF raw data'!J11/100","v":2.9225878999999999},{"$f":"'DF raw data'!N11/100","v":20.002783999999998},{"$f":"'DF raw data'!O11/100","v":3.2599414000000002},{"$f":"'DF raw data'!S11/100","v":44.865043999999997},2.20269,{"$f":"'DF raw data'!X11/100","v":0.77616462999999991},{"$f":"'DF raw data'!Y11/100","v":1.9676073999999999},null,{"$f":"J4","v":100},{"$f":"J21","v":4.7857278666666661},{"$f":"K21","v":33.98565133333333}]
[-4,{"$f":"'DF raw data'!D12/100","v":-6.6914624000000007},{"$f":"'DF raw data'!E12/100","v":-32.565527000000003},{"$f":"'DF raw data'!I12/100","v":20.117334},{"$f":"'DF raw data'!J12/100","v":0.49277340000000003},{"$f":"'DF raw data'!N12/100","v":-0.51151451000000003},{"$f":"'DF raw data'!O12/100","v":-37.593769999999999},{"$f":"'DF raw data'!S12/100","v":-14.668894},9.0253399999999999,{"$f":"'DF raw data'!X12/100","v":-4.2743848},{"$f":"'DF raw data'!Y12/100","v":8.6962499999999991}]
[-2,{"$f":"'DF raw data'!D13/100","v":20.017734000000001},{"$f":"'DF raw data'!E13/100","v":16.850770999999998},{"$f":"'DF raw data'!I13/100","v":49.956958000000007},{"$f":"'DF raw data'!J13/100","v":20.650234000000001},{"$f":"'DF raw data'!N13/100","v":25.089688000000002},{"$f":"'DF raw data'!O13/100","v":24.394131000000002},{"$f":"'DF raw data'!S13/100","v":-30.070459},1.63822,{"$f":"'DF raw data'!X13/100","v":2.9821222000000001},{"$f":"'DF raw data'!Y13/100","v":30.623837999999999},null,"Accept criteria:"]
[0,{"$f":"'DF raw data'!D14/100","v":8.6033159999999995},{"$f":"'DF raw data'!E14/100","v":14.702294999999999},{"$f":"'DF raw data'!I14/100","v":20.045182},{"$f":"'DF raw data'!J14/100","v":21.437275},{"$f":"'DF raw data'!N14/100","v":13.680048999999999},{"$f":"'DF raw data'!O14/100","v":41.333212999999994},{"$f":"'DF raw data'!S14/100","v":50.358359},5.2932600000000001,{"$f":"'DF raw data'!X14/100","v":-0.98787459999999994},{"$f":"'DF raw data'!Y14/100","v":25.389561},null,"Values within: +/-",42.5,42.5]
[2,{"$f":"'DF raw data'!D15/100","v":22.715488000000001},{"$f":"'DF raw data'!E15/100","v":25.553164000000002},{"$f":"'DF raw data'!I15/100","v":32.517775999999998},{"$f":"'DF raw data'!J15/100","v":24.111806999999999},{"$f":"'DF raw data'!N15/100","v":9.5844061000000007},{"$f":"'DF raw data'!O15/100","v":19.990693},{"$f":"'DF raw data'!S15/100","v":15.328579},16.2971,{"$f":"'DF raw data'!X15/100","v":12.362935999999999},{"$f":"'DF raw data'!Y15/100","v":45.943554999999996},null,"Test result",{"$f":"IF(MAX(N$5:N$9)<N$12,IF(MIN(N$5:N$9)>-1*N12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"},{"$f":"IF(MAX(O$5:O$9)<O$12,IF(MIN(O$5:O$9)>-1*O12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"}]
[4,{"$f":"'DF raw data'!D16/100","v":15.521540999999999},{"$f":"'DF raw data'!E16/100","v":8.7115723000000003},{"$f":"'DF raw data'!I16/100","v":-19.766546999999999},{"$f":"'DF raw data'!J16/100","v":10.901669999999999},{"$f":"'DF raw data'!N16/100","v":33.715488000000001},{"$f":"'DF raw data'!O16/100","v":22.151239999999998},{"$f":"'DF raw data'!S16/100","v":22.054106000000001},10.6371,{"$f":"'DF raw data'!X16/100","v":-1.3461645999999998},{"$f":"'DF raw data'!Y16/100","v":11.046953}]
[6,{"$f":"'DF raw data'!D17/100","v":16.808302000000001},{"$f":"'DF raw data'!E17/100","v":49.187129000000006},{"$f":"'DF raw data'!I17/100","v":-3.2020089999999999},{"$f":"'DF raw data'!J17/100","v":47.117217000000004},{"$f":"'DF raw data'!N17/100","v":38.032460999999998},{"$f":"'DF raw data'!O17/100","v":31.2925},{"$f":"'DF raw data'!S17/100","v":-0.24977909000000001},10.636900000000001,{"$f":"'DF raw data'!X17/100","v":2.0990441999999998},{"$f":"'DF raw data'!Y17/100","v":40.309657999999999}]
[8,{"$f":"'DF raw data'!D18/100","v":38.316950999999996},{"$f":"'DF raw data'!E18/100","v":38.841816000000001},{"$f":"'DF raw data'!I18/100","v":-17.273403000000002},{"$f":"'DF raw data'!J18/100","v":33.171064000000001},{"$f":"'DF raw data'!N18/100","v":7.0955499},{"$f":"'DF raw data'!O18/100","v":31.165068000000002},{"$f":"'DF raw data'!S18/100","v":10.213191999999999},11.485300000000001,{"$f":"'DF raw data'!X18/100","v":8.141929300000001},{"$f":"'DF raw data'!Y18/100","v":50.449199}]
[10,{"$f":"'DF raw data'!D19/100","v":-1.2762019},{"$f":"'DF raw data'!E19/100","v":19.172792999999999},{"$f":"'DF raw data'!I19/100","v":46.783208000000002},{"$f":"'DF raw data'!J19/100","v":13.77502},{"$f":"'DF raw data'!N19/100","v":-17.743967000000001},{"$f":"'DF raw data'!O19/100","v":36.696660000000001},{"$f":"'DF raw data'!S19/100","v":-5.5133392000000008},13.3657,{"$f":"'DF raw data'!X19/100","v":-5.1215277000000006},{"$f":"'DF raw data'!Y19/100","v":14.600938000000001}]
[]
["DF indice",{"$f":"'DF raw data'!B4","v":538},null,{"$f":"'DF raw data'!G4","v":539},null,{"$f":"'DF raw data'!L4","v":540},null,{"$f":"'DF raw data'!Q4","v":541},null,{"$f":"'DF raw data'!V4","v":542}]
[]
["Average",{"$f":"AVERAGE(B11:B13)","v":17.112179333333334},{"$f":"AVERAGE(C11:C13)","v":19.035409999999999},34.173305333333339,22.066438666666667,16.118047700000002,28.572678999999994,11.872159666666667,7.7428600000000003,4.7857278666666661,33.98565133333333]

{"sheet":"DF raw data","index":2,"n_rows":19,"n_cols":25,"rows_kept":19,"cut":false,"hidden":false,"merged":[]}
["Comment:","2nd Int scan, PS 16352, 10 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16352, 15 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16352, 20 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16352, 30 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16352, 100 mm gap"]
["Date:","12. jun 2017","14:00:37",null,null,"Date:","12. jun 2017","14:00:43",null,null,"Date:","12. jun 2017","14:00:50",null,null,"Date:","12. jun 2017","14:00:55",null,null,"Date:","12. jun 2017","14:01:00"]
["Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0]
["Indice:",538,null,null,null,"Indice:",539,null,null,null,"Indice:",540,null,null,null,"Indice:",541,null,null,null,"Indice:",542]
["Background Indice:",538,null,null,null,"Background Indice:",539,null,null,null,"Background Indice:",540,null,null,null,"Background Indice:",541,null,null,null,"Background Indice:",542]
["Temperature:",21.67,null,null,null,"Temperature:",21.75,null,null,null,"Temperature:",21.65,null,null,null,"Temperature:",21.85,null,null,null,"Temperature:",21.73]
["Encoder:",391205,null,null,null,"Encoder:",491812,null,null,null,"Encoder:",592104,null,null,null,"Encoder:",792310,null,null,null,"Encoder:",2192340]
["X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb"]
[-1,-14.298450000000001,-19.426228999999999,-1678.2336,-642.36523,-1,-8.3588494999999998,-13.096270000000001,-1323.384,-898.79492000000005,-1,-13.97926,-5.2221098000000001,1732.9707000000001,-1329.1044999999999,-1,8.8200798000000002,-12.93871,2480.2957000000001,-1875.1318000000001,-1,3.1099100000000002,-17.376341,-2359.0286000000001,-1580.0098]
[-0.80000000999999998,-10.250450000000001,-12.688029999999999,-1030.386,565.28319999999997,-0.80000000999999998,-4.9774899000000001,-19.38015,-531.52008000000001,-1413.7284999999999,-0.80000000999999998,0.18212998999999999,-11.4247,1734.5408,801.05371000000002,-0.80000000999999998,10.96913,-0.50109999999999999,1454.6821,1344.2578000000001,-0.80000000999999998,1.5368900000000001,-6.2452202000000003,231.1113,399.54102]
[-0.60000001999999997,-12.925990000000001,-16.622890000000002,-462.20224000000002,209.29297,-0.60000001999999997,-1.50248,-12.610659999999999,-1213.3273999999999,292.25878999999998,-0.60000001999999997,-3.6491799,-10.475490000000001,2000.2783999999999,325.99414000000002,-0.60000001999999997,-1.6923999999999999,-12.01079,4486.5043999999998,-1683.0673999999999,-0.60000001999999997,-2.0999601000000001,-9.1693601999999998,77.616462999999996,196.76074]
[-0.40000001000000002,-8.4320698000000007,-23.220310000000001,-669.14624000000003,-3256.5527000000002,-0.40000001000000002,-3.0130899000000002,-11.51998,2011.7334000000001,49.277340000000002,-0.40000001000000002,-0.84859996999999998,-25.46059,-51.151451000000002,-3759.377,-0.40000001000000002,-10.46387,-3.0588199999999999,-1466.8894,-662.6123,-0.40000001000000002,-5.6156201000000001,-7.1719397999999996,-427.43848000000003,869.625]
[-0.2,6.60921,-9.9711704000000001,2001.7734,1685.0771,-0.2,10.7348,-2.7342501000000001,4995.6958000000004,2065.0234,-0.2,6.3175998,2.6874899999999999,2508.9688000000001,2439.4131000000002,-0.2,2.0440499999999999,0.27067000000000002,-3007.0459000000001,3271.7997999999998,-0.2,7.5000200000000001,4.5172600999999997,298.21222,3062.3838000000001]
[0,-2.6776298999999999,-7.4396700999999998,860.33159999999998,1470.2294999999999,0,8.4156504000000005,-2.9679698999999999,2004.5182,2143.7275,0,1.34039,-0.11093,1368.0048999999999,4133.3212999999996,0,4.9459400000000002,-4.3760899999999996,5035.8359,1658.4931999999999,0,-1.9004000000000001,6.5701799000000003,-98.787459999999996,2538.9560999999999]
[0.2,16.596661000000001,-7.6911997999999997,2271.5488,2555.3164000000002,0.2,16.524111000000001,-2.9897798999999998,3251.7775999999999,2411.1806999999999,0.2,17.904389999999999,-7.8243197999999996,958.44060999999999,1999.0693000000001,0.2,5.8024402000000004,-0.11430999999999999,1532.8579,3639.2354,0.2,4.0807399999999996,5.4131898999999999,1236.2936,4594.3554999999997]
[0.40000001000000002,9.8385096000000001,-4.3379402000000002,1552.1541,871.15723000000003,0.40000001000000002,3.7486801000000001,-4.2146502000000003,-1976.6547,1090.1669999999999,0.40000001000000002,19.601769999999998,-1.4087799999999999,3371.5488,2215.1239999999998,0.40000001000000002,10.13833,-5.2468500000000002,2205.4106000000002,340.04590000000002,0.40000001000000002,3.26105,-2.9622799999999998,-134.61645999999999,1104.6953000000001]
[0.60000001999999997,13.470689999999999,2.0631001000000002,1680.8302000000001,4918.7129000000004,0.60000001999999997,0.41135000999999999,-0.45370000999999999,-320.20089999999999,4711.7217000000001,0.60000001999999997,6.0562300999999996,-4.1789899000000004,3803.2460999999998,3129.25,0.60000001999999997,-1.0822799999999999,-1.2706701,-24.977909,2049.5137,0.60000001999999997,3.5448501000000001,9.3345900000000004,209.90441999999999,4030.9657999999999]
[0.80000000999999998,15.37175,10.4039,3831.6950999999999,3884.1815999999999,0.80000000999999998,-5.3368101000000001,5.2363600999999997,-1727.3403000000001,3317.1064000000001,0.80000000999999998,-3.8293900000000001,-1.6676299999999999,709.55498999999998,3116.5068000000001,0.80000000999999998,1.29295,1.2568699999999999,1021.3192,1864.4883,0.80000000999999998,0.25508999999999998,-2.6686698999999998,814.19293000000005,5044.9198999999999]
[1,-1.21102,2.1690399999999999,-127.62018999999999,1917.2792999999999,1,22.199659,2.6847701000000002,4678.3208000000004,1377.502,1,-6.0954398999999997,-1.0246299999999999,-1774.3967,3669.6660000000002,1,0.27147999,-0.69041996999999999,-551.33392000000003,2682.3281000000002,1,2.4703400000000002,-4.6091099,-512.15277000000003,1460.0938000000001]