{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["1st Int","2nd Int","DF raw data"],"not_rendered":{"charts":2,"images":0,"macros":1,"external_links":0,"defined_names":518,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"1st Int","index":0,"n_rows":30,"n_cols":19,"rows_kept":30,"cut":false,"hidden":false,"merged":[]}
["HXR 1st Integral SW measurements"]
["Background has been subtracted",null,null,null,null,null,null,null,null,null,null,null,"Center values",null,"Average of 3 points x = -2 to x = 2"]
["y pos",0,"mm"]
["Gap nominal",10,"mm",15,"mm",20,"mm",30,"mm",100,"mm",null,"Gap","Ix [muTm]","Iy [muTm]",null,"Gap interval","Ix [muTm]","Iy [muTm]"]
["Encoder",{"$f":"'DF raw data'!B7","v":17163750},null,{"$f":"'DF raw data'!G7","v":17143692},null,{"$f":"'DF raw data'!L7","v":17123669},null,{"$f":"'DF raw data'!Q7","v":17083654},null,{"$f":"'DF raw data'!V7","v":16803693},null,null,{"$f":"B4","v":10},{"$f":"B21","v":4.4962167699999993},{"$f":"C21","v":-12.538113333333333},null,"10-30",{"$f":"MAX(N5:N8)-MIN(N5:N8)","v":8.3511601033333314},{"$f":"MAX(O5:O8)-MIN(O5:O8)","v":4.3014933666666657}]
["x pos [mm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]",null,{"$f":"D4","v":15},{"$f":"D21","v":2.0355266333333337},{"$f":"E21","v":-9.3428733333333351},null,"10-100",{"$f":"MAX(N5:N9)-MIN(N5:N9)","v":8.7772635366666663},{"$f":"MAX(O5:O9)-MIN(O5:O9)","v":4.3014933666666657}]
[-10,{"$f":"'DF raw data'!B9","v":-7.5582900000000004},{"$f":"'DF raw data'!C9","v":1.45252},{"$f":"'DF raw data'!G9","v":-16.423929000000001},{"$f":"'DF raw data'!H9","v":-1.9132199999999999},{"$f":"'DF raw data'!L9","v":-3.9605299999999999},{"$f":"'DF raw data'!M9","v":-4.8910298000000001},{"$f":"'DF raw data'!Q9","v":-13.66634},{"$f":"'DF raw data'!R9","v":-3.0151998999999998},{"$f":"'DF raw data'!V9","v":-7.9364100000000004},{"$f":"'DF raw data'!W9","v":-4.2766900000000003},null,{"$f":"F4","v":20},{"$f":"F21","v":-3.8549433333333329},{"$f":"G21","v":-11.1174166}]
[-8,{"$f":"'DF raw data'!B10","v":-6.3394098000000003},{"$f":"'DF raw data'!C10","v":3.2737701000000001},{"$f":"'DF raw data'!G10","v":-6.3197098},{"$f":"'DF raw data'!H10","v":-12.126910000000001},{"$f":"'DF raw data'!L10","v":-6.6324902000000003},{"$f":"'DF raw data'!M10","v":-0.14566000000000001},{"$f":"'DF raw data'!Q10","v":-10.09238},{"$f":"'DF raw data'!R10","v":18.302579999999999},{"$f":"'DF raw data'!V10","v":-1.21438},{"$f":"'DF raw data'!W10","v":-7.4482498000000001},null,{"$f":"H4","v":30},{"$f":"H21","v":-3.019176733333333},{"$f":"I21","v":-8.2366199666666677},null,"Accept criteria:"]
[-6,{"$f":"'DF raw data'!B11","v":-15.317679999999999},{"$f":"'DF raw data'!C11","v":-7.8270998000000001},{"$f":"'DF raw data'!G11","v":-2.3980500999999999},{"$f":"'DF raw data'!H11","v":-3.5545000999999998},{"$f":"'DF raw data'!L11","v":-7.2302599000000001},{"$f":"'DF raw data'!M11","v":-4.3459301000000004},{"$f":"'DF raw data'!Q11","v":-1.93103},{"$f":"'DF raw data'!R11","v":-4.9756298000000001},{"$f":"'DF raw data'!V11","v":-1.35612},{"$f":"'DF raw data'!W11","v":3.2537099999999999},null,{"$f":"J4","v":100},{"$f":"J21","v":-4.2810467666666669},{"$f":"K21","v":-8.6835599666666656},null,"Max for 10-30:",15,15]
[-4,{"$f":"'DF raw data'!B12","v":-2.0518401000000002},{"$f":"'DF raw data'!C12","v":-6.6846299},{"$f":"'DF raw data'!G12","v":-10.76656},{"$f":"'DF raw data'!H12","v":-6.8761400999999998},{"$f":"'DF raw data'!L12","v":-10.26493},{"$f":"'DF raw data'!M12","v":-7.8172898000000002},{"$f":"'DF raw data'!Q12","v":-9.7802296000000002},{"$f":"'DF raw data'!R12","v":-8.9849396000000006},{"$f":"'DF raw data'!V12","v":-12.01065},{"$f":"'DF raw data'!W12","v":-4.8904500000000004},null,null,null,null,null,"Test result",{"$f":"IF(R5<R9,\"Pass\",\"Fail\")","v":"Pass"},{"$f":"IF(S5<S9,\"Pass\",\"Fail\")","v":"Pass"}]
[-2,{"$f":"'DF raw data'!B13","v":6.1812201},{"$f":"'DF raw data'!C13","v":-24.769220000000001},{"$f":"'DF raw data'!G13","v":4.4065199000000002},{"$f":"'DF raw data'!H13","v":-4.1840099999999998},{"$f":"'DF raw data'!L13","v":-11.820959999999999},{"$f":"'DF raw data'!M13","v":-4.9573397999999997},{"$f":"'DF raw data'!Q13","v":-6.2620300999999996},{"$f":"'DF raw data'!R13","v":-5.9117699000000004},{"$f":"'DF raw data'!V13","v":-2.7232699},{"$f":"'DF raw data'!W13","v":-7.1662797999999999},null,"Accept criteria:"]
[0,{"$f":"'DF raw data'!B14","v":8.1974801999999993},{"$f":"'DF raw data'!C14","v":2.0152800000000002},{"$f":"'DF raw data'!G14","v":-1.073E-2},{"$f":"'DF raw data'!H14","v":-11.833220000000001},{"$f":"'DF raw data'!L14","v":1.37137},{"$f":"'DF raw data'!M14","v":-13.299390000000001},{"$f":"'DF raw data'!Q14","v":-1.6088001000000001},{"$f":"'DF raw data'!R14","v":-9.2605801000000003},{"$f":"'DF raw data'!V14","v":-8.0333003999999999},{"$f":"'DF raw data'!W14","v":-11.756169999999999},null,"Values within: +/-",17.5,17.5]
[2,{"$f":"'DF raw data'!B15","v":-0.89004998999999996},{"$f":"'DF raw data'!C15","v":-14.8604},{"$f":"'DF raw data'!G15","v":1.71079},{"$f":"'DF raw data'!H15","v":-12.01139},{"$f":"'DF raw data'!L15","v":-1.11524},{"$f":"'DF raw data'!M15","v":-15.09552},{"$f":"'DF raw data'!Q15","v":-1.1867000000000001},{"$f":"'DF raw data'!R15","v":-9.5375098999999999},{"$f":"'DF raw data'!V15","v":-2.08657},{"$f":"'DF raw data'!W15","v":-7.1282300999999997},null,"Test result",{"$f":"IF(MAX(N$5:N$9)<N$12,IF(MIN(N$5:N$9)>-1*N12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"},{"$f":"IF(MAX(O$5:O$9)<O$12,IF(MIN(O$5:O$9)>-1*O12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"}]
[4,{"$f":"'DF raw data'!B16","v":-5.1619700999999996},{"$f":"'DF raw data'!C16","v":-18.626431},{"$f":"'DF raw data'!G16","v":4.7361202000000002},{"$f":"'DF raw data'!H16","v":-8.0872001999999998},{"$f":"'DF raw data'!L16","v":-4.2936502000000001},{"$f":"'DF raw data'!M16","v":-6.8921399000000001},{"$f":"'DF raw data'!Q16","v":-1.6480001000000001E-2},{"$f":"'DF raw data'!R16","v":4.3295398},{"$f":"'DF raw data'!V16","v":-4.6171097999999997},{"$f":"'DF raw data'!W16","v":-2.2585598999999998}]
[6,{"$f":"'DF raw data'!B17","v":3.80707},{"$f":"'DF raw data'!C17","v":-12.56911},{"$f":"'DF raw data'!G17","v":13.476240000000001},{"$f":"'DF raw data'!H17","v":-6.2661699999999998},{"$f":"'DF raw data'!L17","v":1.0094000000000001},{"$f":"'DF raw data'!M17","v":-8.0124701999999992},{"$f":"'DF raw data'!Q17","v":-0.96219999},{"$f":"'DF raw data'!R17","v":-10.333500000000001},{"$f":"'DF raw data'!V17","v":-1.235E-2},{"$f":"'DF raw data'!W17","v":-1.9952300000000001}]
[8,{"$f":"'DF raw data'!B18","v":1.9461900000000001},{"$f":"'DF raw data'!C18","v":-17.925540999999999},{"$f":"'DF raw data'!G18","v":1.06125},{"$f":"'DF raw data'!H18","v":-15.8972},{"$f":"'DF raw data'!L18","v":0.89073002000000001},{"$f":"'DF raw data'!M18","v":-12.69248},{"$f":"'DF raw data'!Q18","v":-6.5165800999999997},{"$f":"'DF raw data'!R18","v":-8.4502001},{"$f":"'DF raw data'!V18","v":-8.4423399000000003},{"$f":"'DF raw data'!W18","v":-3.8922300000000001}]
[10,{"$f":"'DF raw data'!B19","v":-0.37448998999999999},{"$f":"'DF raw data'!C19","v":-13.6541},{"$f":"'DF raw data'!G19","v":2.3010700000000002},{"$f":"'DF raw data'!H19","v":-18.388660000000002},{"$f":"'DF raw data'!L19","v":0.26017001000000001},{"$f":"'DF raw data'!M19","v":-14.70908},{"$f":"'DF raw data'!Q19","v":-3.3507899999999999},{"$f":"'DF raw data'!R19","v":-13.179259999999999},{"$f":"'DF raw data'!V19","v":-8.1615400000000005},{"$f":"'DF raw data'!W19","v":8.7669997999999999E-2}]
[]
["DF indice",{"$f":"'DF raw data'!B4","v":691},null,{"$f":"'DF raw data'!G4","v":692},null,{"$f":"'DF raw data'!L4","v":693},null,{"$f":"'DF raw data'!Q4","v":694},null,{"$f":"'DF raw data'!V4","v":695}]
[]
["Average",{"$f":"AVERAGE(B11:B13)","v":4.4962167699999993},{"$f":"AVERAGE(C11:C13)","v":-12.538113333333333},2.0355266333333337,-9.3428733333333351,-3.8549433333333329,-11.1174166,-3.019176733333333,-8.2366199666666677,-4.2810467666666669,-8.6835599666666656]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null," "]

{"sheet":"2nd Int","index":1,"n_rows":21,"n_cols":19,"rows_kept":21,"cut":false,"hidden":false,"merged":[]}
["HXR 2nd Integral SW measurements"]
["Background has been subtracted",null,null,null,null,null,null,null,null,null,null,null,"Center values",null,"Average of 3 points x = -2 to x = 2"]
["y pos",0,"mm"]
["Gap",10,"mm",15,"mm",20,"mm",30,"mm",100,"mm",null,"Gap","Jx [muTm^2]","Jy [muTm^2]",null,"Gap interval","Jx [muTm^2]","Jy [muTm^2]"]
["Encoder",{"$f":"'DF raw data'!B7","v":17163750},null,{"$f":"'DF raw data'!G7","v":17143692},null,{"$f":"'DF raw data'!L7","v":17123669},null,{"$f":"'DF raw data'!Q7","v":17083654},null,{"$f":"'DF raw data'!V7","v":16803693},null,null,{"$f":"B4","v":10},{"$f":"B21","v":14.851747666666666},{"$f":"C21","v":-12.891962999999999},null,"10-30",{"$f":"MAX(N5:N8)-MIN(N5:N8)","v":23.802373933333335},{"$f":"MAX(O5:O8)-MIN(O5:O8)","v":8.4681736666666669}]
["x pos [mm]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]",null,{"$f":"D4","v":15},{"$f":"D21","v":1.6555818666666664},{"$f":"E21","v":-21.360136666666666},null,"10-100",{"$f":"MAX(N5:N9)-MIN(N5:N9)","v":23.802373933333335},{"$f":"MAX(O5:O9)-MIN(O5:O9)","v":12.052962466666667}]
[-10,{"$f":"'DF raw data'!D9/100","v":-21.152584999999998},{"$f":"'DF raw data'!E9/100","v":0.55502929999999995},{"$f":"'DF raw data'!I9/100","v":-26.550014999999998},{"$f":"'DF raw data'!J9/100","v":-8.7790038999999993},{"$f":"'DF raw data'!N9/100","v":-4.7346439},{"$f":"'DF raw data'!O9/100","v":-7.6793555000000007},{"$f":"'DF raw data'!S9/100","v":-25.391987},{"$f":"'DF raw data'!T9/100","v":-9.6448535},{"$f":"'DF raw data'!X9/100","v":-9.7690601000000008},{"$f":"'DF raw data'!Y9/100","v":-3.8794336},null,{"$f":"F4","v":20},{"$f":"F21","v":-8.9506262666666672},{"$f":"G21","v":-16.525537}]
[-8,{"$f":"'DF raw data'!D10/100","v":-16.834474},{"$f":"'DF raw data'!E10/100","v":-3.2857031000000001},{"$f":"'DF raw data'!I10/100","v":-12.114364},{"$f":"'DF raw data'!J10/100","v":-22.918467},{"$f":"'DF raw data'!N10/100","v":-10.315556999999998},{"$f":"'DF raw data'!O10/100","v":4.3916211000000001},{"$f":"'DF raw data'!S10/100","v":-10.759532},{"$f":"'DF raw data'!T10/100","v":24.148438000000002},{"$f":"'DF raw data'!X10/100","v":0.26254290000000002},{"$f":"'DF raw data'!Y10/100","v":-18.605957},null,{"$f":"H4","v":30},{"$f":"H21","v":-4.2937706666666662},{"$f":"I21","v":-19.668261666666666}]
[-6,{"$f":"'DF raw data'!D11/100","v":-21.100720000000003},{"$f":"'DF raw data'!E11/100","v":-28.949814},{"$f":"'DF raw data'!I11/100","v":-8.3968237000000006},{"$f":"'DF raw data'!J11/100","v":-6.8021190999999996},{"$f":"'DF raw data'!N11/100","v":-2.7312830000000003},{"$f":"'DF raw data'!O11/100","v":-10.64958},{"$f":"'DF raw data'!S11/100","v":-11.086556},{"$f":"'DF raw data'!T11/100","v":-8.4668261999999999},{"$f":"'DF raw data'!X11/100","v":-6.4333325000000006},{"$f":"'DF raw data'!Y11/100","v":4.5473438000000002},null,{"$f":"J4","v":100},{"$f":"J21","v":-7.280152600000001},{"$f":"K21","v":-9.3071741999999986}]
[-4,{"$f":"'DF raw data'!D12/100","v":-21.973765},{"$f":"'DF raw data'!E12/100","v":-21.687997999999997},{"$f":"'DF raw data'!I12/100","v":-6.5488482999999995},{"$f":"'DF raw data'!J12/100","v":-20.781278999999998},{"$f":"'DF raw data'!N12/100","v":-16.987759},{"$f":"'DF raw data'!O12/100","v":-20.260000000000002},{"$f":"'DF raw data'!S12/100","v":-17.546155000000002},{"$f":"'DF raw data'!T12/100","v":-12.342041},{"$f":"'DF raw data'!X12/100","v":-21.806323000000003},{"$f":"'DF raw data'!Y12/100","v":-7.4020897999999997}]
[-2,{"$f":"'DF raw data'!D13/100","v":12.216599},{"$f":"'DF raw data'!E13/100","v":-36.969521},{"$f":"'DF raw data'!I13/100","v":5.6570910999999997},{"$f":"'DF raw data'!J13/100","v":-18.764150000000001},{"$f":"'DF raw data'!N13/100","v":-25.529333000000001},{"$f":"'DF raw data'!O13/100","v":-12.007783},{"$f":"'DF raw data'!S13/100","v":-12.429672},{"$f":"'DF raw data'!T13/100","v":-16.875243999999999},{"$f":"'DF raw data'!X13/100","v":-12.850322},{"$f":"'DF raw data'!Y13/100","v":1.0307324},null,"Accept criteria:"]
[0,{"$f":"'DF raw data'!D14/100","v":18.974937999999998},{"$f":"'DF raw data'!E14/100","v":25.891943000000001},{"$f":"'DF raw data'!I14/100","v":-8.4433936000000003},{"$f":"'DF raw data'!J14/100","v":-16.287538999999999},{"$f":"'DF raw data'!N14/100","v":-4.6329712000000001},{"$f":"'DF raw data'!O14/100","v":-16.927440999999998},{"$f":"'DF raw data'!S14/100","v":-7.6811926000000001},{"$f":"'DF raw data'!T14/100","v":-16.339120999999999},{"$f":"'DF raw data'!X14/100","v":-16.348389000000001},{"$f":"'DF raw data'!Y14/100","v":-15.081190999999999},null,"Values within: +/-",42.5,42.5]
[2,{"$f":"'DF raw data'!D15/100","v":13.363706000000001},{"$f":"'DF raw data'!E15/100","v":-27.598310999999999},{"$f":"'DF raw data'!I15/100","v":7.7530481},{"$f":"'DF raw data'!J15/100","v":-29.028721000000001},{"$f":"'DF raw data'!N15/100","v":3.3104253999999997},{"$f":"'DF raw data'!O15/100","v":-20.641386999999998},{"$f":"'DF raw data'!S15/100","v":7.2295525999999999},{"$f":"'DF raw data'!T15/100","v":-25.790419999999997},{"$f":"'DF raw data'!X15/100","v":7.3582532},{"$f":"'DF raw data'!Y15/100","v":-13.871063999999999},null,"Test result",{"$f":"IF(MAX(N$5:N$9)<N$12,IF(MIN(N$5:N$9)>-1*N12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"},{"$f":"IF(MAX(O$5:O$9)<O$12,IF(MIN(O$5:O$9)>-1*O12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"}]
[4,{"$f":"'DF raw data'!D16/100","v":14.858578999999999},{"$f":"'DF raw data'!E16/100","v":-26.277646000000001},{"$f":"'DF raw data'!I16/100","v":15.838815},{"$f":"'DF raw data'!J16/100","v":-19.086084},{"$f":"'DF raw data'!N16/100","v":12.693959999999999},{"$f":"'DF raw data'!O16/100","v":-15.609131},{"$f":"'DF raw data'!S16/100","v":5.5480150999999998},{"$f":"'DF raw data'!T16/100","v":-2.9502929999999998},{"$f":"'DF raw data'!X16/100","v":-3.3269989},{"$f":"'DF raw data'!Y16/100","v":-15.009893}]
[6,{"$f":"'DF raw data'!D17/100","v":-20.436033999999999},{"$f":"'DF raw data'!E17/100","v":-18.832636999999998},{"$f":"'DF raw data'!I17/100","v":12.522793},{"$f":"'DF raw data'!J17/100","v":-5.7311425999999992},{"$f":"'DF raw data'!N17/100","v":-0.55179409000000001},{"$f":"'DF raw data'!O17/100","v":-10.946387},{"$f":"'DF raw data'!S17/100","v":-1.9478274999999998},{"$f":"'DF raw data'!T17/100","v":-13.937773},{"$f":"'DF raw data'!X17/100","v":-3.6061380000000001},{"$f":"'DF raw data'!Y17/100","v":1.4100586000000002}]
[8,{"$f":"'DF raw data'!D18/100","v":-2.9676922999999999},{"$f":"'DF raw data'!E18/100","v":-42.908799000000002},{"$f":"'DF raw data'!I18/100","v":-10.177444000000001},{"$f":"'DF raw data'!J18/100","v":-40.371650000000002},{"$f":"'DF raw data'!N18/100","v":-7.5472443},{"$f":"'DF raw data'!O18/100","v":-30.255049},{"$f":"'DF raw data'!S18/100","v":-17.733186},{"$f":"'DF raw data'!T18/100","v":-15.263184000000001},{"$f":"'DF raw data'!X18/100","v":-14.312751},{"$f":"'DF raw data'!Y18/100","v":-11.942354}]
[10,{"$f":"'DF raw data'!D19/100","v":3.6505939000000001},{"$f":"'DF raw data'!E19/100","v":-43.937382999999997},{"$f":"'DF raw data'!I19/100","v":-7.5228076000000001},{"$f":"'DF raw data'!J19/100","v":-25.747637000000001},{"$f":"'DF raw data'!N19/100","v":0.1030261},{"$f":"'DF raw data'!O19/100","v":-26.047031},{"$f":"'DF raw data'!S19/100","v":-6.8353479000000004},{"$f":"'DF raw data'!T19/100","v":-19.156679999999998},{"$f":"'DF raw data'!X19/100","v":-6.1742682000000002},{"$f":"'DF raw data'!Y19/100","v":-3.9004491999999997}]
[]
["DF indice",{"$f":"'DF raw data'!B4","v":691},null,{"$f":"'DF raw data'!G4","v":692},null,{"$f":"'DF raw data'!L4","v":693},null,{"$f":"'DF raw data'!Q4","v":694},null,{"$f":"'DF raw data'!V4","v":695}]
[]
["Average",{"$f":"AVERAGE(B11:B13)","v":14.851747666666666},{"$f":"AVERAGE(C11:C13)","v":-12.891962999999999},1.6555818666666664,-21.360136666666666,-8.9506262666666672,-16.525537,-4.2937706666666662,-19.668261666666666,-7.280152600000001,-9.3071741999999986]

{"sheet":"DF raw data","index":2,"n_rows":19,"n_cols":25,"rows_kept":19,"cut":false,"hidden":false,"merged":[]}
["Comment:","2nd Int scan, PS 16310, 10 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16310, 15 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16310, 20 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16310, 30 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16310, 100 mm gap"]
["Date:","21. aug 2017","16:47:22",null,null,"Date:","21. aug 2017","17:00:16",null,null,"Date:","21. aug 2017","17:14:55",null,null,"Date:","21. aug 2017","17:32:02",null,null,"Date:","21. aug 2017","17:46:30"]
["Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0]
["Indice:",691,null,null,null,"Indice:",692,null,null,null,"Indice:",693,null,null,null,"Indice:",694,null,null,null,"Indice:",695]
["Background Indice:",691,null,null,null,"Background Indice:",692,null,null,null,"Background Indice:",693,null,null,null,"Background Indice:",694,null,null,null,"Background Indice:",695]
["Temperature:",21.74,null,null,null,"Temperature:",21.71,null,null,null,"Temperature:",21.76,null,null,null,"Temperature:",21.75,null,null,null,"Temperature:",21.74]
["Encoder:",17163750,null,null,null,"Encoder:",17143692,null,null,null,"Encoder:",17123669,null,null,null,"Encoder:",17083654,null,null,null,"Encoder:",16803693]
["X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb"]
[-1,-7.5582900000000004,1.45252,-2115.2584999999999,55.502929999999999,-1,-16.423929000000001,-1.9132199999999999,-2655.0014999999999,-877.90039000000002,-1,-3.9605299999999999,-4.8910298000000001,-473.46438999999998,-767.93555000000003,-1,-13.66634,-3.0151998999999998,-2539.1986999999999,-964.48535000000004,-1,-7.9364100000000004,-4.2766900000000003,-976.90601000000004,-387.94335999999998]
[-0.80000000999999998,-6.3394098000000003,3.2737701000000001,-1683.4474,-328.57031000000001,-0.80000000999999998,-6.3197098,-12.126910000000001,-1211.4364,-2291.8467000000001,-0.80000000999999998,-6.6324902000000003,-0.14566000000000001,-1031.5556999999999,439.16210999999998,-0.80000000999999998,-10.09238,18.302579999999999,-1075.9531999999999,2414.8438000000001,-0.80000000999999998,-1.21438,-7.4482498000000001,26.254290000000001,-1860.5957000000001]
[-0.60000001999999997,-15.317679999999999,-7.8270998000000001,-2110.0720000000001,-2894.9814000000001,-0.60000001999999997,-2.3980500999999999,-3.5545000999999998,-839.68236999999999,-680.21190999999999,-0.60000001999999997,-7.2302599000000001,-4.3459301000000004,-273.12830000000002,-1064.9580000000001,-0.60000001999999997,-1.93103,-4.9756298000000001,-1108.6556,-846.68262000000004,-0.60000001999999997,-1.35612,3.2537099999999999,-643.33325000000002,454.73437999999999]
[-0.40000001000000002,-2.0518401000000002,-6.6846299,-2197.3764999999999,-2168.7997999999998,-0.40000001000000002,-10.76656,-6.8761400999999998,-654.88482999999997,-2078.1279,-0.40000001000000002,-10.26493,-7.8172898000000002,-1698.7759000000001,-2026,-0.40000001000000002,-9.7802296000000002,-8.9849396000000006,-1754.6155000000001,-1234.2040999999999,-0.40000001000000002,-12.01065,-4.8904500000000004,-2180.6323000000002,-740.20898]
[-0.2,6.1812201,-24.769220000000001,1221.6599000000001,-3696.9521,-0.2,4.4065199000000002,-4.1840099999999998,565.70911000000001,-1876.415,-0.2,-11.820959999999999,-4.9573397999999997,-2552.9333000000001,-1200.7782999999999,-0.2,-6.2620300999999996,-5.9117699000000004,-1242.9672,-1687.5244,-0.2,-2.7232699,-7.1662797999999999,-1285.0322000000001,103.07324]
[0,8.1974801999999993,2.0152800000000002,1897.4938,2589.1943000000001,0,-1.073E-2,-11.833220000000001,-844.33936000000006,-1628.7538999999999,0,1.37137,-13.299390000000001,-463.29712000000001,-1692.7440999999999,0,-1.6088001000000001,-9.2605801000000003,-768.11926000000005,-1633.9121,0,-8.0333003999999999,-11.756169999999999,-1634.8389,-1508.1190999999999]
[0.2,-0.89004998999999996,-14.8604,1336.3706,-2759.8310999999999,0.2,1.71079,-12.01139,775.30480999999997,-2902.8721,0.2,-1.11524,-15.09552,331.04253999999997,-2064.1387,0.2,-1.1867000000000001,-9.5375098999999999,722.95525999999995,-2579.0419999999999,0.2,-2.08657,-7.1282300999999997,735.82532000000003,-1387.1063999999999]
[0.40000001000000002,-5.1619700999999996,-18.626431,1485.8579,-2627.7646,0.40000001000000002,4.7361202000000002,-8.0872001999999998,1583.8815,-1908.6084000000001,0.40000001000000002,-4.2936502000000001,-6.8921399000000001,1269.396,-1560.9131,0.40000001000000002,-1.6480001000000001E-2,4.3295398,554.80151000000001,-295.02929999999998,0.40000001000000002,-4.6171097999999997,-2.2585598999999998,-332.69988999999998,-1500.9893]
[0.60000001999999997,3.80707,-12.56911,-2043.6034,-1883.2637,0.60000001999999997,13.476240000000001,-6.2661699999999998,1252.2792999999999,-573.11425999999994,0.60000001999999997,1.0094000000000001,-8.0124701999999992,-55.179409,-1094.6387,0.60000001999999997,-0.96219999,-10.333500000000001,-194.78274999999999,-1393.7773,0.60000001999999997,-1.235E-2,-1.9952300000000001,-360.61380000000003,141.00586000000001]
[0.80000000999999998,1.9461900000000001,-17.925540999999999,-296.76922999999999,-4290.8798999999999,0.80000000999999998,1.06125,-15.8972,-1017.7444,-4037.165,0.80000000999999998,0.89073002000000001,-12.69248,-754.72442999999998,-3025.5048999999999,0.80000000999999998,-6.5165800999999997,-8.4502001,-1773.3186000000001,-1526.3184000000001,0.80000000999999998,-8.4423399000000003,-3.8922300000000001,-1431.2751000000001,-1194.2354]
[1,-0.37448998999999999,-13.6541,365.05939000000001,-4393.7383,1,2.3010700000000002,-18.388660000000002,-752.28075999999999,-2574.7637,1,0.26017001000000001,-14.70908,10.30261,-2604.7031000000002,1,-3.3507899999999999,-13.179259999999999,-683.53479000000004,-1915.6679999999999,1,-8.1615400000000005,8.7669997999999999E-2,-617.42682000000002,-390.04491999999999]