{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["1st Int","2nd Int","DF raw data"],"not_rendered":{"charts":2,"images":0,"macros":1,"external_links":0,"defined_names":559,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"1st Int","index":0,"n_rows":30,"n_cols":19,"rows_kept":30,"cut":false,"hidden":false,"merged":[]}
["HXR 1st Integral SW measurements"]
["Background has been subtracted",null,null,null,null,null,null,null,null,null,null,null,"Center values",null,"Average of 3 points x = -2 to x = 2"]
["y pos",0,"mm"]
["Gap nominal",10,"mm",15,"mm",20,"mm",30,"mm",100,"mm",null,"Gap","Ix [muTm]","Iy [muTm]",null,"Gap interval","Ix [muTm]","Iy [muTm]"]
["Encoder",{"$f":"'DF raw data'!B7","v":1718592},null,{"$f":"'DF raw data'!G7","v":1698540},null,{"$f":"'DF raw data'!L7","v":1678540},null,{"$f":"'DF raw data'!Q7","v":1638523},null,{"$f":"'DF raw data'!V7","v":1358584},null,null,{"$f":"B4","v":10},{"$f":"B21","v":5.6019133666666674},{"$f":"C21","v":-2.5526367666666667},null,"10-30",{"$f":"MAX(N5:N8)-MIN(N5:N8)","v":7.4152300966666669},{"$f":"MAX(O5:O8)-MIN(O5:O8)","v":9.9569160666666647}]
["x pos [mm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]",null,{"$f":"D4","v":15},{"$f":"D21","v":-0.5993733333333332},{"$f":"E21","v":-7.4114966666666673},null,"10-100",{"$f":"MAX(N5:N9)-MIN(N5:N9)","v":7.4152300966666669},{"$f":"MAX(O5:O9)-MIN(O5:O9)","v":16.176379499999999}]
[-10,{"$f":"'DF raw data'!B9","v":-1.9641500000000001},{"$f":"'DF raw data'!C9","v":-11.23574},{"$f":"'DF raw data'!G9","v":-9.0501204000000008},{"$f":"'DF raw data'!H9","v":-6.3258099999999997},{"$f":"'DF raw data'!L9","v":-6.2628101999999997},{"$f":"'DF raw data'!M9","v":-7.5421699999999996},{"$f":"'DF raw data'!Q9","v":-10.54203},{"$f":"'DF raw data'!R9","v":-9.8844899999999996},{"$f":"'DF raw data'!V9","v":8.0094299000000007},{"$f":"'DF raw data'!W9","v":-10.50098},null,{"$f":"F4","v":20},{"$f":"F21","v":-0.32768668999999989},{"$f":"G21","v":-8.7005900666666651}]
[-8,{"$f":"'DF raw data'!B10","v":0.54484999000000001},{"$f":"'DF raw data'!C10","v":-9.5882796999999993},{"$f":"'DF raw data'!G10","v":-6.6324902000000003},{"$f":"'DF raw data'!H10","v":-4.8676500000000003},{"$f":"'DF raw data'!L10","v":-7.86165},{"$f":"'DF raw data'!M10","v":-4.8248401000000003},{"$f":"'DF raw data'!Q10","v":-6.2266997999999996},{"$f":"'DF raw data'!R10","v":-6.1402998000000002},{"$f":"'DF raw data'!V10","v":-12.193680000000001},{"$f":"'DF raw data'!W10","v":-4.6943697999999996},null,{"$f":"H4","v":30},{"$f":"H21","v":-1.8133167299999997},{"$f":"I21","v":-12.509552833333332},null,"Accept criteria:"]
[-6,{"$f":"'DF raw data'!B11","v":0.89729999999999999},{"$f":"'DF raw data'!C11","v":-10.876060000000001},{"$f":"'DF raw data'!G11","v":-5.1475800999999999},{"$f":"'DF raw data'!H11","v":-4.7938999999999998},{"$f":"'DF raw data'!L11","v":-3.8973998999999999},{"$f":"'DF raw data'!M11","v":-2.9588301000000001},{"$f":"'DF raw data'!Q11","v":-13.92712},{"$f":"'DF raw data'!R11","v":-14.8117},{"$f":"'DF raw data'!V11","v":-7.8178400999999997},{"$f":"'DF raw data'!W11","v":7.4342898999999996},null,{"$f":"J4","v":100},{"$f":"J21","v":3.1379198633333338},{"$f":"K21","v":3.6668266666666671},null,"Max for 10-30:",15,15]
[-4,{"$f":"'DF raw data'!B12","v":-3.5074401000000002},{"$f":"'DF raw data'!C12","v":-8.6791295999999996},{"$f":"'DF raw data'!G12","v":4.7283400999999996},{"$f":"'DF raw data'!H12","v":-2.1888499000000001},{"$f":"'DF raw data'!L12","v":-3.7374698999999998},{"$f":"'DF raw data'!M12","v":-8.7281399000000004},{"$f":"'DF raw data'!Q12","v":-5.5615902000000004},{"$f":"'DF raw data'!R12","v":-10.175190000000001},{"$f":"'DF raw data'!V12","v":-16.390599999999999},{"$f":"'DF raw data'!W12","v":-1.3782300000000001},null,null,null,null,null,"Test result",{"$f":"IF(R5<R9,\"Pass\",\"Fail\")","v":"Pass"},{"$f":"IF(S5<S9,\"Pass\",\"Fail\")","v":"Pass"}]
[-2,{"$f":"'DF raw data'!B13","v":8.9741602},{"$f":"'DF raw data'!C13","v":6.0922898999999999},{"$f":"'DF raw data'!G13","v":-1.6035999999999999},{"$f":"'DF raw data'!H13","v":-10.30392},{"$f":"'DF raw data'!L13","v":2.50319},{"$f":"'DF raw data'!M13","v":-4.6523399000000003},{"$f":"'DF raw data'!Q13","v":-2.6619400999999998},{"$f":"'DF raw data'!R13","v":-17.803169},{"$f":"'DF raw data'!V13","v":8.7802696000000005},{"$f":"'DF raw data'!W13","v":1.9201699000000001},null,"Accept criteria:"]
[0,{"$f":"'DF raw data'!B14","v":4.3067598},{"$f":"'DF raw data'!C14","v":-9.2599400999999997},{"$f":"'DF raw data'!G14","v":2.4556401000000001},{"$f":"'DF raw data'!H14","v":-1.7196800000000001},{"$f":"'DF raw data'!L14","v":0.88529002999999995},{"$f":"'DF raw data'!M14","v":-11.92741},{"$f":"'DF raw data'!Q14","v":-3.2223001},{"$f":"'DF raw data'!R14","v":-8.3732594999999996},{"$f":"'DF raw data'!V14","v":1.1840999999999999},{"$f":"'DF raw data'!W14","v":-2.2213299000000002},null,"Values within: +/-",17.5,17.5]
[2,{"$f":"'DF raw data'!B15","v":3.5248200999999999},{"$f":"'DF raw data'!C15","v":-4.4902601000000004},{"$f":"'DF raw data'!G15","v":-2.6501600999999999},{"$f":"'DF raw data'!H15","v":-10.210889999999999},{"$f":"'DF raw data'!L15","v":-4.3715400999999998},{"$f":"'DF raw data'!M15","v":-9.5220202999999994},{"$f":"'DF raw data'!Q15","v":0.44429001000000001},{"$f":"'DF raw data'!R15","v":-11.35223},{"$f":"'DF raw data'!V15","v":-0.55061000999999998},{"$f":"'DF raw data'!W15","v":11.301640000000001},null,"Test result",{"$f":"IF(MAX(N$5:N$9)<N$12,IF(MIN(N$5:N$9)>-1*N12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"},{"$f":"IF(MAX(O$5:O$9)<O$12,IF(MIN(O$5:O$9)>-1*O12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"}]
[4,{"$f":"'DF raw data'!B16","v":1.6962900000000001},{"$f":"'DF raw data'!C16","v":-11.59671},{"$f":"'DF raw data'!G16","v":-4.0049200000000003},{"$f":"'DF raw data'!H16","v":-8.2567100999999994},{"$f":"'DF raw data'!L16","v":3.0120800000000001},{"$f":"'DF raw data'!M16","v":-7.9580301999999996},{"$f":"'DF raw data'!Q16","v":9.3842801999999992},{"$f":"'DF raw data'!R16","v":-9.6697597999999996},{"$f":"'DF raw data'!V16","v":-5.0528301999999998},{"$f":"'DF raw data'!W16","v":1.71079}]
[6,{"$f":"'DF raw data'!B17","v":2.6243998999999998},{"$f":"'DF raw data'!C17","v":-20.837900000000001},{"$f":"'DF raw data'!G17","v":-4.1357597999999998},{"$f":"'DF raw data'!H17","v":-17.51746},{"$f":"'DF raw data'!L17","v":-6.5648599000000001},{"$f":"'DF raw data'!M17","v":-19.175871000000001},{"$f":"'DF raw data'!Q17","v":-6.1769099000000001},{"$f":"'DF raw data'!R17","v":-21.528351000000001},{"$f":"'DF raw data'!V17","v":3.4373499999999999},{"$f":"'DF raw data'!W17","v":-3.0731799999999998}]
[8,{"$f":"'DF raw data'!B18","v":-11.15202},{"$f":"'DF raw data'!C18","v":-13.0137},{"$f":"'DF raw data'!G18","v":-2.3211200000000001},{"$f":"'DF raw data'!H18","v":-8.5882100999999995},{"$f":"'DF raw data'!L18","v":-3.54847},{"$f":"'DF raw data'!M18","v":-13.83784},{"$f":"'DF raw data'!Q18","v":3.5859000999999999},{"$f":"'DF raw data'!R18","v":-7.7068601000000001},{"$f":"'DF raw data'!V18","v":-9.8384503999999993},{"$f":"'DF raw data'!W18","v":3.5973698999999999}]
[10,{"$f":"'DF raw data'!B19","v":-2.1124599000000002},{"$f":"'DF raw data'!C19","v":-20.912741},{"$f":"'DF raw data'!G19","v":-2.33745},{"$f":"'DF raw data'!H19","v":-25.776368999999999},{"$f":"'DF raw data'!L19","v":-0.59012997},{"$f":"'DF raw data'!M19","v":-18.43037},{"$f":"'DF raw data'!Q19","v":-0.35576998999999998},{"$f":"'DF raw data'!R19","v":-23.867978999999998},{"$f":"'DF raw data'!V19","v":8.5581703000000005},{"$f":"'DF raw data'!W19","v":-9.5721997999999999}]
[]
["DF indice",{"$f":"'DF raw data'!B4","v":784},null,{"$f":"'DF raw data'!G4","v":785},null,{"$f":"'DF raw data'!L4","v":786},null,{"$f":"'DF raw data'!Q4","v":787},null,{"$f":"'DF raw data'!V4","v":788}]
[]
["Average",{"$f":"AVERAGE(B11:B13)","v":5.6019133666666674},{"$f":"AVERAGE(C11:C13)","v":-2.5526367666666667},-0.5993733333333332,-7.4114966666666673,-0.32768668999999989,-8.7005900666666651,-1.8133167299999997,-12.509552833333332,3.1379198633333338,3.6668266666666671]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null," "]

{"sheet":"2nd Int","index":1,"n_rows":21,"n_cols":19,"rows_kept":21,"cut":false,"hidden":false,"merged":[]}
["HXR 2nd Integral SW measurements"]
["Background has been subtracted",null,null,null,null,null,null,null,null,null,null,null,"Center values",null,"Average of 3 points x = -2 to x = 2"]
["y pos",0,"mm"]
["Gap",10,"mm",15,"mm",20,"mm",30,"mm",100,"mm",null,"Gap","Jx [muTm^2]","Jy [muTm^2]",null,"Gap interval","Jx [muTm^2]","Jy [muTm^2]"]
["Encoder",{"$f":"'DF raw data'!B7","v":1718592},null,{"$f":"'DF raw data'!G7","v":1698540},null,{"$f":"'DF raw data'!L7","v":1678540},null,{"$f":"'DF raw data'!Q7","v":1638523},null,{"$f":"'DF raw data'!V7","v":1358584},null,null,{"$f":"B4","v":10},{"$f":"B21","v":6.9902702333333337},{"$f":"C21","v":5.240178966666666},null,"10-30",{"$f":"MAX(N5:N8)-MIN(N5:N8)","v":29.294267666666666},{"$f":"MAX(O5:O8)-MIN(O5:O8)","v":27.260954000000002}]
["x pos [mm]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]",null,{"$f":"D4","v":15},{"$f":"D21","v":-10.5024619},{"$f":"E21","v":-7.8422623000000007},null,"10-100",{"$f":"MAX(N5:N9)-MIN(N5:N9)","v":29.294267666666666},{"$f":"MAX(O5:O9)-MIN(O5:O9)","v":29.641989033333338}]
[-10,{"$f":"'DF raw data'!D9/100","v":12.536963},{"$f":"'DF raw data'!E9/100","v":-17.119423999999999},{"$f":"'DF raw data'!I9/100","v":-15.813516999999999},{"$f":"'DF raw data'!J9/100","v":-5.6932030999999998},{"$f":"'DF raw data'!N9/100","v":9.178957500000001},{"$f":"'DF raw data'!O9/100","v":-20.095897999999998},{"$f":"'DF raw data'!S9/100","v":-17.57516},{"$f":"'DF raw data'!T9/100","v":-18.947772999999998},{"$f":"'DF raw data'!X9/100","v":-2.8034146},{"$f":"'DF raw data'!Y9/100","v":-9.4194335999999996},null,{"$f":"F4","v":20},{"$f":"F21","v":-14.202566533333334},{"$f":"G21","v":-10.114501833333334}]
[-8,{"$f":"'DF raw data'!D10/100","v":-8.9310686999999991},{"$f":"'DF raw data'!E10/100","v":3.1734276999999995},{"$f":"'DF raw data'!I10/100","v":-20.080342000000002},{"$f":"'DF raw data'!J10/100","v":-0.56116211000000005},{"$f":"'DF raw data'!N10/100","v":-7.2941979999999997},{"$f":"'DF raw data'!O10/100","v":6.8656934000000005},{"$f":"'DF raw data'!S10/100","v":-9.1790471999999994},{"$f":"'DF raw data'!T10/100","v":-1.5364844},{"$f":"'DF raw data'!X10/100","v":-17.345723},{"$f":"'DF raw data'!Y10/100","v":4.7750000000000004},null,{"$f":"H4","v":30},{"$f":"H21","v":-22.303997433333333},{"$f":"I21","v":-22.020775033333337}]
[-6,{"$f":"'DF raw data'!D11/100","v":6.0527686000000003},{"$f":"'DF raw data'!E11/100","v":-41.774951000000001},{"$f":"'DF raw data'!I11/100","v":-14.364980000000001},{"$f":"'DF raw data'!J11/100","v":-13.570361},{"$f":"'DF raw data'!N11/100","v":-7.3864257999999996},{"$f":"'DF raw data'!O11/100","v":-4.0166309},{"$f":"'DF raw data'!S11/100","v":-17.405470999999999},{"$f":"'DF raw data'!T11/100","v":-46.832275000000003},{"$f":"'DF raw data'!X11/100","v":-28.275493000000001},{"$f":"'DF raw data'!Y11/100","v":10.269179999999999},null,{"$f":"J4","v":100},{"$f":"J21","v":0.61523796666666541},{"$f":"K21","v":7.6212140000000019}]
[-4,{"$f":"'DF raw data'!D12/100","v":-8.0867059000000001},{"$f":"'DF raw data'!E12/100","v":18.057324000000001},{"$f":"'DF raw data'!I12/100","v":-17.616923},{"$f":"'DF raw data'!J12/100","v":-6.9340918},{"$f":"'DF raw data'!N12/100","v":-7.1534002999999995},{"$f":"'DF raw data'!O12/100","v":-6.0823730000000005},{"$f":"'DF raw data'!S12/100","v":-12.434945000000001},{"$f":"'DF raw data'!T12/100","v":28.927959000000001},{"$f":"'DF raw data'!X12/100","v":-20.729402},{"$f":"'DF raw data'!Y12/100","v":-8.0779297000000003}]
[-2,{"$f":"'DF raw data'!D13/100","v":15.846627000000002},{"$f":"'DF raw data'!E13/100","v":16.580117000000001},{"$f":"'DF raw data'!I13/100","v":-1.0266207000000001},{"$f":"'DF raw data'!J13/100","v":-8.8676074000000007},{"$f":"'DF raw data'!N13/100","v":-6.0574066000000002},{"$f":"'DF raw data'!O13/100","v":-8.4613379000000002},{"$f":"'DF raw data'!S13/100","v":-1.1692313000000001},{"$f":"'DF raw data'!T13/100","v":-35.956768000000004},{"$f":"'DF raw data'!X13/100","v":-13.07385},{"$f":"'DF raw data'!Y13/100","v":-11.28626},null,"Accept criteria:"]
[0,{"$f":"'DF raw data'!D14/100","v":13.028367000000001},{"$f":"'DF raw data'!E14/100","v":-8.2984082000000008},{"$f":"'DF raw data'!I14/100","v":-15.736031000000001},{"$f":"'DF raw data'!J14/100","v":-12.062284999999999},{"$f":"'DF raw data'!N14/100","v":-12.039375},{"$f":"'DF raw data'!O14/100","v":-12.833065999999999},{"$f":"'DF raw data'!S14/100","v":-47.260736999999999},{"$f":"'DF raw data'!T14/100","v":-20.328603999999999},{"$f":"'DF raw data'!X14/100","v":23.424135999999997},{"$f":"'DF raw data'!Y14/100","v":11.608955000000002},null,"Values within: +/-",42.5,42.5]
[2,{"$f":"'DF raw data'!D15/100","v":-7.9041832999999997},{"$f":"'DF raw data'!E15/100","v":7.4388280999999994},{"$f":"'DF raw data'!I15/100","v":-14.744734000000001},{"$f":"'DF raw data'!J15/100","v":-2.5968945000000003},{"$f":"'DF raw data'!N15/100","v":-24.510918},{"$f":"'DF raw data'!O15/100","v":-9.0491016000000002},{"$f":"'DF raw data'!S15/100","v":-18.482023999999999},{"$f":"'DF raw data'!T15/100","v":-9.7769531000000001},{"$f":"'DF raw data'!X15/100","v":-8.5045721000000007},{"$f":"'DF raw data'!Y15/100","v":22.540947000000003},null,"Test result",{"$f":"IF(MAX(N$5:N$9)<N$12,IF(MIN(N$5:N$9)>-1*N12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"},{"$f":"IF(MAX(O$5:O$9)<O$12,IF(MIN(O$5:O$9)>-1*O12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"}]
[4,{"$f":"'DF raw data'!D16/100","v":0.80864754000000005},{"$f":"'DF raw data'!E16/100","v":0.66787109},{"$f":"'DF raw data'!I16/100","v":0.80891723999999998},{"$f":"'DF raw data'!J16/100","v":-15.045254},{"$f":"'DF raw data'!N16/100","v":1.791825},{"$f":"'DF raw data'!O16/100","v":-38.040918000000005},{"$f":"'DF raw data'!S16/100","v":6.5353698999999992},{"$f":"'DF raw data'!T16/100","v":-5.8545507999999993},{"$f":"'DF raw data'!X16/100","v":3.9128967000000001},{"$f":"'DF raw data'!Y16/100","v":10.213524999999999}]
[6,{"$f":"'DF raw data'!D17/100","v":-4.2683587999999997},{"$f":"'DF raw data'!E17/100","v":-9.6779589999999995},{"$f":"'DF raw data'!I17/100","v":-15.290911000000001},{"$f":"'DF raw data'!J17/100","v":-25.291698999999998},{"$f":"'DF raw data'!N17/100","v":-11.677356999999999},{"$f":"'DF raw data'!O17/100","v":-36.124512000000003},{"$f":"'DF raw data'!S17/100","v":-19.640675000000002},{"$f":"'DF raw data'!T17/100","v":-33.438593999999995},{"$f":"'DF raw data'!X17/100","v":10.569003},{"$f":"'DF raw data'!Y17/100","v":39.242783000000003}]
[8,{"$f":"'DF raw data'!D18/100","v":-11.954656999999999},{"$f":"'DF raw data'!E18/100","v":-15.707167999999999},{"$f":"'DF raw data'!I18/100","v":-23.015581000000001},{"$f":"'DF raw data'!J18/100","v":-6.4958105000000002},{"$f":"'DF raw data'!N18/100","v":-14.804193},{"$f":"'DF raw data'!O18/100","v":-28.22418},{"$f":"'DF raw data'!S18/100","v":-32.435850000000002},{"$f":"'DF raw data'!T18/100","v":-10.597773},{"$f":"'DF raw data'!X18/100","v":-21.398418000000003},{"$f":"'DF raw data'!Y18/100","v":-15.107754}]
[10,{"$f":"'DF raw data'!D19/100","v":-11.095331000000002},{"$f":"'DF raw data'!E19/100","v":-25.959375000000001},{"$f":"'DF raw data'!I19/100","v":-27.315832999999998},{"$f":"'DF raw data'!J19/100","v":-34.029218999999998},{"$f":"'DF raw data'!N19/100","v":-2.7820175000000003},{"$f":"'DF raw data'!O19/100","v":-17.894023000000001},{"$f":"'DF raw data'!S19/100","v":-12.631729},{"$f":"'DF raw data'!T19/100","v":-26.862694999999999},{"$f":"'DF raw data'!X19/100","v":11.362428999999999},{"$f":"'DF raw data'!Y19/100","v":-7.2913574000000008}]
[]
["DF indice",{"$f":"'DF raw data'!B4","v":784},null,{"$f":"'DF raw data'!G4","v":785},null,{"$f":"'DF raw data'!L4","v":786},null,{"$f":"'DF raw data'!Q4","v":787},null,{"$f":"'DF raw data'!V4","v":788}]
[]
["Average",{"$f":"AVERAGE(B11:B13)","v":6.9902702333333337},{"$f":"AVERAGE(C11:C13)","v":5.240178966666666},-10.5024619,-7.8422623000000007,-14.202566533333334,-10.114501833333334,-22.303997433333333,-22.020775033333337,0.61523796666666541,7.6212140000000019]

{"sheet":"DF raw data","index":2,"n_rows":19,"n_cols":25,"rows_kept":19,"cut":false,"hidden":false,"merged":[]}
["Comment:","2nd Int scan, PS 16318, 10 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16318, 15 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16318, 20 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16318, 30 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16318, 100 mm gap"]
["Date:","13. sep 2017","10:21:59",null,null,"Date:","13. sep 2017","10:22:04",null,null,"Date:","13. sep 2017","10:22:08",null,null,"Date:","13. sep 2017","10:22:12",null,null,"Date:","13. sep 2017","10:22:15"]
["Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0]
["Indice:",784,null,null,null,"Indice:",785,null,null,null,"Indice:",786,null,null,null,"Indice:",787,null,null,null,"Indice:",788]
["Background Indice:",784,null,null,null,"Background Indice:",785,null,null,null,"Background Indice:",786,null,null,null,"Background Indice:",787,null,null,null,"Background Indice:",788]
["Temperature:",21.62,null,null,null,"Temperature:",21.62,null,null,null,"Temperature:",21.64,null,null,null,"Temperature:",21.68,null,null,null,"Temperature:",21.67]
["Encoder:",1718592,null,null,null,"Encoder:",1698540,null,null,null,"Encoder:",1678540,null,null,null,"Encoder:",1638523,null,null,null,"Encoder:",1358584]
["X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb"]
[-1,-1.9641500000000001,-11.23574,1253.6963000000001,-1711.9423999999999,-1,-9.0501204000000008,-6.3258099999999997,-1581.3516999999999,-569.32030999999995,-1,-6.2628101999999997,-7.5421699999999996,917.89575000000002,-2009.5898,-1,-10.54203,-9.8844899999999996,-1757.5160000000001,-1894.7773,-1,8.0094299000000007,-10.50098,-280.34145999999998,-941.94335999999998]
[-0.80000000999999998,0.54484999000000001,-9.5882796999999993,-893.10686999999996,317.34276999999997,-0.80000000999999998,-6.6324902000000003,-4.8676500000000003,-2008.0342000000001,-56.116211,-0.80000000999999998,-7.86165,-4.8248401000000003,-729.41980000000001,686.56934000000001,-0.80000000999999998,-6.2266997999999996,-6.1402998000000002,-917.90472,-153.64843999999999,-0.80000000999999998,-12.193680000000001,-4.6943697999999996,-1734.5723,477.5]
[-0.60000001999999997,0.89729999999999999,-10.876060000000001,605.27686000000006,-4177.4951000000001,-0.60000001999999997,-5.1475800999999999,-4.7938999999999998,-1436.498,-1357.0361,-0.60000001999999997,-3.8973998999999999,-2.9588301000000001,-738.64257999999995,-401.66309000000001,-0.60000001999999997,-13.92712,-14.8117,-1740.5471,-4683.2275,-0.60000001999999997,-7.8178400999999997,7.4342898999999996,-2827.5493000000001,1026.9179999999999]
[-0.40000001000000002,-3.5074401000000002,-8.6791295999999996,-808.67058999999995,1805.7324000000001,-0.40000001000000002,4.7283400999999996,-2.1888499000000001,-1761.6922999999999,-693.40917999999999,-0.40000001000000002,-3.7374698999999998,-8.7281399000000004,-715.34002999999996,-608.2373,-0.40000001000000002,-5.5615902000000004,-10.175190000000001,-1243.4945,2892.7959000000001,-0.40000001000000002,-16.390599999999999,-1.3782300000000001,-2072.9402,-807.79296999999997]
[-0.2,8.9741602,6.0922898999999999,1584.6627000000001,1658.0117,-0.2,-1.6035999999999999,-10.30392,-102.66207,-886.76074000000006,-0.2,2.50319,-4.6523399000000003,-605.74066000000005,-846.13378999999998,-0.2,-2.6619400999999998,-17.803169,-116.92313,-3595.6768000000002,-0.2,8.7802696000000005,1.9201699000000001,-1307.385,-1128.626]
[0,4.3067598,-9.2599400999999997,1302.8367000000001,-829.84082000000001,0,2.4556401000000001,-1.7196800000000001,-1573.6031,-1206.2284999999999,0,0.88529002999999995,-11.92741,-1203.9375,-1283.3065999999999,0,-3.2223001,-8.3732594999999996,-4726.0736999999999,-2032.8604,0,1.1840999999999999,-2.2213299000000002,2342.4135999999999,1160.8955000000001]
[0.2,3.5248200999999999,-4.4902601000000004,-790.41832999999997,743.88280999999995,0.2,-2.6501600999999999,-10.210889999999999,-1474.4734000000001,-259.68945000000002,0.2,-4.3715400999999998,-9.5220202999999994,-2451.0918000000001,-904.91016000000002,0.2,0.44429001000000001,-11.35223,-1848.2023999999999,-977.69530999999995,0.2,-0.55061000999999998,11.301640000000001,-850.45721000000003,2254.0947000000001]
[0.40000001000000002,1.6962900000000001,-11.59671,80.864754000000005,66.787109000000001,0.40000001000000002,-4.0049200000000003,-8.2567100999999994,80.891723999999996,-1504.5254,0.40000001000000002,3.0120800000000001,-7.9580301999999996,179.1825,-3804.0918000000001,0.40000001000000002,9.3842801999999992,-9.6697597999999996,653.53698999999995,-585.45507999999995,0.40000001000000002,-5.0528301999999998,1.71079,391.28967,1021.3525]
[0.60000001999999997,2.6243998999999998,-20.837900000000001,-426.83587999999997,-967.79589999999996,0.60000001999999997,-4.1357597999999998,-17.51746,-1529.0911000000001,-2529.1698999999999,0.60000001999999997,-6.5648599000000001,-19.175871000000001,-1167.7357,-3612.4512,0.60000001999999997,-6.1769099000000001,-21.528351000000001,-1964.0675000000001,-3343.8593999999998,0.60000001999999997,3.4373499999999999,-3.0731799999999998,1056.9003,3924.2782999999999]
[0.80000000999999998,-11.15202,-13.0137,-1195.4657,-1570.7167999999999,0.80000000999999998,-2.3211200000000001,-8.5882100999999995,-2301.5581000000002,-649.58105,0.80000000999999998,-3.54847,-13.83784,-1480.4193,-2822.4180000000001,0.80000000999999998,3.5859000999999999,-7.7068601000000001,-3243.585,-1059.7773,0.80000000999999998,-9.8384503999999993,3.5973698999999999,-2139.8418000000001,-1510.7754]
[1,-2.1124599000000002,-20.912741,-1109.5331000000001,-2595.9375,1,-2.33745,-25.776368999999999,-2731.5832999999998,-3402.9218999999998,1,-0.59012997,-18.43037,-278.20175,-1789.4023,1,-0.35576998999999998,-23.867978999999998,-1263.1729,-2686.2694999999999,1,8.5581703000000005,-9.5721997999999999,1136.2429,-729.13574000000006]