{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["1st Int","2nd Int","DF raw data"],"not_rendered":{"charts":2,"images":0,"macros":1,"external_links":0,"defined_names":66,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"1st Int","index":0,"n_rows":21,"n_cols":19,"rows_kept":21,"cut":false,"hidden":false,"merged":[]}
["SXR 1st Integral SW measurements"]
["Background has been subtracted",null,null,null,null,null,null,null,null,null,null,null,"Center values",null,"Average of 3 points x = -2 to x = 2"]
["y pos",0,"mm"]
["Gap nominal",10,"mm",15,"mm",20,"mm",30,"mm",100,"mm",null,"Gap","Ix [muTm]","Iy [muTm]",null,"Gap interval","Ix [muTm]","Iy [muTm]"]
["Encoder",{"$f":"'DF raw data'!B7","v":392595},null,{"$f":"'DF raw data'!G7","v":493302},null,{"$f":"'DF raw data'!L7","v":593706},null,{"$f":"'DF raw data'!Q7","v":793990},null,{"$f":"'DF raw data'!V7","v":2194111},null,null,{"$f":"B4","v":10},{"$f":"B21","v":12.949226666666666},{"$f":"C21","v":-14.924266799999998},null,"10-30",{"$f":"MAX(N5:N8)-MIN(N5:N8)","v":14.410396566666666},{"$f":"MAX(O5:O8)-MIN(O5:O8)","v":9.852400266666665}]
["x pos [mm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]","Ix [muTm]","Iy [muTm]",null,{"$f":"D4","v":15},{"$f":"D21","v":8.9081266666666661},{"$f":"E21","v":-13.121106699999999},null,"10-100",{"$f":"MAX(N5:N9)-MIN(N5:N9)","v":16.097253233333333},{"$f":"MAX(O5:O9)-MIN(O5:O9)","v":11.644233399999999}]
[-10,{"$f":"'DF raw data'!B9","v":18.123159000000001},{"$f":"'DF raw data'!C9","v":-7.0667800999999999},{"$f":"'DF raw data'!G9","v":8.7212695999999994},{"$f":"'DF raw data'!H9","v":-10.519410000000001},{"$f":"'DF raw data'!L9","v":8.4104604999999992},{"$f":"'DF raw data'!M9","v":-2.1199501000000001},{"$f":"'DF raw data'!Q9","v":-0.25909000999999998},{"$f":"'DF raw data'!R9","v":5.3098302000000004},{"$f":"'DF raw data'!V9","v":9.2786998999999994},{"$f":"'DF raw data'!W9","v":-10.59557},null,{"$f":"F4","v":20},{"$f":"F21","v":9.2381399333333327},{"$f":"G21","v":-8.3240898666666663}]
[-8,{"$f":"'DF raw data'!B10","v":14.68233},{"$f":"'DF raw data'!C10","v":-2.4129999999999999E-2},{"$f":"'DF raw data'!G10","v":10.37842},{"$f":"'DF raw data'!H10","v":1.6889000000000001},{"$f":"'DF raw data'!L10","v":13.598459999999999},{"$f":"'DF raw data'!M10","v":-0.56838},{"$f":"'DF raw data'!Q10","v":10.265639999999999},{"$f":"'DF raw data'!R10","v":1.1515},{"$f":"'DF raw data'!V10","v":-3.9053499999999999},{"$f":"'DF raw data'!W10","v":5.0235599999999998},null,{"$f":"H4","v":30},{"$f":"H21","v":-1.4611698999999998},{"$f":"I21","v":-5.071866533333333},null,"Accept criteria:"]
[-6,{"$f":"'DF raw data'!B11","v":13.777889999999999},{"$f":"'DF raw data'!C11","v":-6.4778098999999996},{"$f":"'DF raw data'!G11","v":4.3164901999999996},{"$f":"'DF raw data'!H11","v":-2.2490000999999999},{"$f":"'DF raw data'!L11","v":8.3236504},{"$f":"'DF raw data'!M11","v":-17.445640999999998},{"$f":"'DF raw data'!Q11","v":-10.185169999999999},{"$f":"'DF raw data'!R11","v":-6.7899899000000001},{"$f":"'DF raw data'!V11","v":-5.0381197999999996},{"$f":"'DF raw data'!W11","v":-1.4255800000000001},null,{"$f":"J4","v":100},{"$f":"J21","v":-3.1480265666666667},{"$f":"K21","v":-3.2800333999999993},null,"Max for 10-30:",15,15]
[-4,{"$f":"'DF raw data'!B12","v":8.0152102000000003},{"$f":"'DF raw data'!C12","v":-11.749459999999999},{"$f":"'DF raw data'!G12","v":3.5228100000000002},{"$f":"'DF raw data'!H12","v":-22.704059999999998},{"$f":"'DF raw data'!L12","v":13.824120000000001},{"$f":"'DF raw data'!M12","v":-5.7287102000000001},{"$f":"'DF raw data'!Q12","v":-0.24361999000000001},{"$f":"'DF raw data'!R12","v":-3.7066900999999999},{"$f":"'DF raw data'!V12","v":-2.75421},{"$f":"'DF raw data'!W12","v":14.15995},null,null,null,null,null,"Test result",{"$f":"IF(R5<R9,\"Pass\",\"Fail\")","v":"Pass"},{"$f":"IF(S5<S9,\"Pass\",\"Fail\")","v":"Pass"}]
[-2,{"$f":"'DF raw data'!B13","v":3.5970800000000001},{"$f":"'DF raw data'!C13","v":-9.7780304000000005},{"$f":"'DF raw data'!G13","v":5.5226302},{"$f":"'DF raw data'!H13","v":-13.419510000000001},{"$f":"'DF raw data'!L13","v":6.4487699999999997},{"$f":"'DF raw data'!M13","v":-7.3835601999999998},{"$f":"'DF raw data'!Q13","v":-10.990959999999999},{"$f":"'DF raw data'!R13","v":-9.5688294999999997},{"$f":"'DF raw data'!V13","v":-3.8554699000000001},{"$f":"'DF raw data'!W13","v":3.3472300000000001},null,"Accept criteria:"]
[0,{"$f":"'DF raw data'!B14","v":21.175899999999999},{"$f":"'DF raw data'!C14","v":-13.56035},{"$f":"'DF raw data'!G14","v":8.7378997999999992},{"$f":"'DF raw data'!H14","v":-6.3287300999999996},{"$f":"'DF raw data'!L14","v":13.49156},{"$f":"'DF raw data'!M14","v":-7.8446498},{"$f":"'DF raw data'!Q14","v":8.7555303999999996},{"$f":"'DF raw data'!R14","v":-4.2448001},{"$f":"'DF raw data'!V14","v":-0.22814999999999999},{"$f":"'DF raw data'!W14","v":-4.2845801999999997},null,"Values within: +/-",17.5,17.5]
[2,{"$f":"'DF raw data'!B15","v":14.0747},{"$f":"'DF raw data'!C15","v":-21.434419999999999},{"$f":"'DF raw data'!G15","v":12.463850000000001},{"$f":"'DF raw data'!H15","v":-19.615079999999999},{"$f":"'DF raw data'!L15","v":7.7740897999999996},{"$f":"'DF raw data'!M15","v":-9.7440595999999999},{"$f":"'DF raw data'!Q15","v":-2.1480801},{"$f":"'DF raw data'!R15","v":-1.4019699999999999},{"$f":"'DF raw data'!V15","v":-5.3604598000000001},{"$f":"'DF raw data'!W15","v":-8.9027499999999993},null,"Test result",{"$f":"IF(MAX(N$5:N$9)<N$12,IF(MIN(N$5:N$9)>-1*N12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"},{"$f":"IF(MAX(O$5:O$9)<O$12,IF(MIN(O$5:O$9)>-1*O12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"}]
[4,{"$f":"'DF raw data'!B16","v":13.9175},{"$f":"'DF raw data'!C16","v":-16.023260000000001},{"$f":"'DF raw data'!G16","v":8.1071901000000004},{"$f":"'DF raw data'!H16","v":-19.472031000000001},{"$f":"'DF raw data'!L16","v":7.7970300000000003},{"$f":"'DF raw data'!M16","v":-12.83328},{"$f":"'DF raw data'!Q16","v":17.270728999999999},{"$f":"'DF raw data'!R16","v":-1.6824300000000001},{"$f":"'DF raw data'!V16","v":-2.2103600999999999},{"$f":"'DF raw data'!W16","v":-7.1661099999999998}]
[6,{"$f":"'DF raw data'!B17","v":16.812480999999998},{"$f":"'DF raw data'!C17","v":-17.529181000000001},{"$f":"'DF raw data'!G17","v":-12.603719999999999},{"$f":"'DF raw data'!H17","v":-14.453659999999999},{"$f":"'DF raw data'!L17","v":-0.96664000000000005},{"$f":"'DF raw data'!M17","v":-13.69614},{"$f":"'DF raw data'!Q17","v":-4.6544699999999999},{"$f":"'DF raw data'!R17","v":-31.156580000000002},{"$f":"'DF raw data'!V17","v":-3.5847699999999998},{"$f":"'DF raw data'!W17","v":-2.4169399999999999}]
[8,{"$f":"'DF raw data'!B18","v":-1.48342},{"$f":"'DF raw data'!C18","v":-21.497990000000001},{"$f":"'DF raw data'!G18","v":-5.7369199000000002},{"$f":"'DF raw data'!H18","v":-12.50309},{"$f":"'DF raw data'!L18","v":-3.9932001000000001},{"$f":"'DF raw data'!M18","v":-5.2335900999999998},{"$f":"'DF raw data'!Q18","v":-0.65961999000000004},{"$f":"'DF raw data'!R18","v":14.46364},{"$f":"'DF raw data'!V18","v":-7.3734298000000003},{"$f":"'DF raw data'!W18","v":-13.532159999999999}]
[10,{"$f":"'DF raw data'!B19","v":-10.31902},{"$f":"'DF raw data'!C19","v":-22.522791000000002},{"$f":"'DF raw data'!G19","v":-7.9852299999999996},{"$f":"'DF raw data'!H19","v":-22.181881000000001},{"$f":"'DF raw data'!L19","v":-6.4206399999999997},{"$f":"'DF raw data'!M19","v":-7.6660599999999999},{"$f":"'DF raw data'!Q19","v":-15.49488},{"$f":"'DF raw data'!R19","v":-6.9879799},{"$f":"'DF raw data'!V19","v":-19.393789000000002},{"$f":"'DF raw data'!W19","v":-0.39691000999999998}]
[]
["DF indice",{"$f":"'DF raw data'!B4","v":317},null,{"$f":"'DF raw data'!G4","v":318},null,{"$f":"'DF raw data'!L4","v":320},null,{"$f":"'DF raw data'!Q4","v":321},null,{"$f":"'DF raw data'!V4","v":322}]
[]
["Average",{"$f":"AVERAGE(B11:B13)","v":12.949226666666666},{"$f":"AVERAGE(C11:C13)","v":-14.924266799999998},8.9081266666666661,-13.121106699999999,9.2381399333333327,-8.3240898666666663,-1.4611698999999998,-5.071866533333333,-3.1480265666666667,-3.2800333999999993]

{"sheet":"2nd Int","index":1,"n_rows":21,"n_cols":19,"rows_kept":21,"cut":false,"hidden":false,"merged":[]}
["SXR 2nd Integral SW measurements"]
["Background has been subtracted",null,null,null,null,null,null,null,null,null,null,null,"Center values",null,"Average of 3 points x = -2 to x = 2"]
["y pos",0,"mm"]
["Gap",10,"mm",15,"mm",20,"mm",30,"mm",100,"mm",null,"Gap","Jx [muTm^2]","Jy [muTm^2]",null,"Gap interval","Jx [muTm^2]","Jy [muTm^2]"]
["Encoder",{"$f":"'DF raw data'!B7","v":392595},null,{"$f":"'DF raw data'!G7","v":493302},null,{"$f":"'DF raw data'!L7","v":593706},null,{"$f":"'DF raw data'!Q7","v":793990},null,{"$f":"'DF raw data'!V7","v":2194111},null,null,{"$f":"B4","v":10},{"$f":"B21","v":24.601569000000001},{"$f":"C21","v":-12.612711499999998},null,"10-30",{"$f":"MAX(N5:N8)-MIN(N5:N8)","v":25.086927299999999},{"$f":"MAX(O5:O8)-MIN(O5:O8)","v":12.696783666666665}]
["x pos [mm]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]","Jx [muTm^2]","Jy [muTm^2]",null,{"$f":"D4","v":15},{"$f":"D21","v":15.902234333333332},{"$f":"E21","v":-8.2486720333333334},null,"10-100",{"$f":"MAX(N5:N9)-MIN(N5:N9)","v":25.086927299999999},{"$f":"MAX(O5:O9)-MIN(O5:O9)","v":12.696783666666665}]
[-10,{"$f":"'DF raw data'!D9/100","v":32.226191},{"$f":"'DF raw data'!E9/100","v":-1.2410840000000001},{"$f":"'DF raw data'!I9/100","v":16.633932999999999},{"$f":"'DF raw data'!J9/100","v":-12.185947000000001},{"$f":"'DF raw data'!N9/100","v":15.058044000000001},{"$f":"'DF raw data'!O9/100","v":8.9211328000000005},{"$f":"'DF raw data'!S9/100","v":2.0954633},{"$f":"'DF raw data'!T9/100","v":39.31418},{"$f":"'DF raw data'!X9/100","v":-0.31223510999999998},{"$f":"'DF raw data'!Y9/100","v":-29.527206999999997},null,{"$f":"F4","v":20},{"$f":"F21","v":4.9912969999999994},{"$f":"G21","v":-1.4762987332666675}]
[-8,{"$f":"'DF raw data'!D10/100","v":22.376714000000003},{"$f":"'DF raw data'!E10/100","v":17.161874999999998},{"$f":"'DF raw data'!I10/100","v":18.40157},{"$f":"'DF raw data'!J10/100","v":26.685117000000002},{"$f":"'DF raw data'!N10/100","v":27.592095},{"$f":"'DF raw data'!O10/100","v":16.170497999999998},{"$f":"'DF raw data'!S10/100","v":25.195957},{"$f":"'DF raw data'!T10/100","v":8.7326952999999996},{"$f":"'DF raw data'!X10/100","v":-12.270532000000001},{"$f":"'DF raw data'!Y10/100","v":-12.349286999999999},null,{"$f":"H4","v":30},{"$f":"H21","v":-0.48535829999999969},{"$f":"I21","v":8.4072166666667655E-2}]
[-6,{"$f":"'DF raw data'!D11/100","v":19.016173999999999},{"$f":"'DF raw data'!E11/100","v":-1.4567089999999998},{"$f":"'DF raw data'!I11/100","v":17.610391},{"$f":"'DF raw data'!J11/100","v":21.647139000000003},{"$f":"'DF raw data'!N11/100","v":18.135359000000001},{"$f":"'DF raw data'!O11/100","v":-19.914951000000002},{"$f":"'DF raw data'!S11/100","v":-3.2195605},{"$f":"'DF raw data'!T11/100","v":9.8146776999999989},{"$f":"'DF raw data'!X11/100","v":2.2155719},{"$f":"'DF raw data'!Y11/100","v":11.858311},null,{"$f":"J4","v":100},{"$f":"J21","v":2.0696981999999995},{"$f":"K21","v":-6.9986555333333333}]
[-4,{"$f":"'DF raw data'!D12/100","v":-13.773396},{"$f":"'DF raw data'!E12/100","v":2.9883496000000003},{"$f":"'DF raw data'!I12/100","v":18.316248000000002},{"$f":"'DF raw data'!J12/100","v":-29.660713000000001},{"$f":"'DF raw data'!N12/100","v":21.629670000000001},{"$f":"'DF raw data'!O12/100","v":-1.7815917999999999},{"$f":"'DF raw data'!S12/100","v":-0.33396991999999998},{"$f":"'DF raw data'!T12/100","v":15.218681999999999},{"$f":"'DF raw data'!X12/100","v":7.3643895999999991},{"$f":"'DF raw data'!Y12/100","v":21.297997999999996}]
[-2,{"$f":"'DF raw data'!D13/100","v":12.970988999999999},{"$f":"'DF raw data'!E13/100","v":2.4435644999999999},{"$f":"'DF raw data'!I13/100","v":11.242531},{"$f":"'DF raw data'!J13/100","v":1.5916699000000001},{"$f":"'DF raw data'!N13/100","v":17.397587999999999},{"$f":"'DF raw data'!O13/100","v":19.376044999999998},{"$f":"'DF raw data'!S13/100","v":-13.824895},{"$f":"'DF raw data'!T13/100","v":-1.7391894999999999},{"$f":"'DF raw data'!X13/100","v":0.23210360000000002},{"$f":"'DF raw data'!Y13/100","v":7.3384862999999996},null,"Accept criteria:"]
[0,{"$f":"'DF raw data'!D14/100","v":31.924885},{"$f":"'DF raw data'!E14/100","v":-27.451836},{"$f":"'DF raw data'!I14/100","v":12.861311000000001},{"$f":"'DF raw data'!J14/100","v":-15.468711000000001},{"$f":"'DF raw data'!N14/100","v":-22.482283000000002},{"$f":"'DF raw data'!O14/100","v":-23.811826},{"$f":"'DF raw data'!S14/100","v":7.5503210000000003},{"$f":"'DF raw data'!T14/100","v":-21.367411999999998},{"$f":"'DF raw data'!X14/100","v":19.710621},{"$f":"'DF raw data'!Y14/100","v":-30.48124},null,"Values within: +/-",42.5,42.5]
[2,{"$f":"'DF raw data'!D15/100","v":28.908833000000001},{"$f":"'DF raw data'!E15/100","v":-12.829863},{"$f":"'DF raw data'!I15/100","v":23.602860999999997},{"$f":"'DF raw data'!J15/100","v":-10.868975000000001},{"$f":"'DF raw data'!N15/100","v":20.058586000000002},{"$f":"'DF raw data'!O15/100","v":6.8848002E-3},{"$f":"'DF raw data'!S15/100","v":4.8184991000000004},{"$f":"'DF raw data'!T15/100","v":23.358817999999999},{"$f":"'DF raw data'!X15/100","v":-13.73363},{"$f":"'DF raw data'!Y15/100","v":2.1467871000000001},null,"Test result",{"$f":"IF(MAX(N$5:N$9)<N$12,IF(MIN(N$5:N$9)>-1*N12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"},{"$f":"IF(MAX(O$5:O$9)<O$12,IF(MIN(O$5:O$9)>-1*O12,\"Pass\",\"Fail\"),\"Fail\")","v":"Pass"}]
[4,{"$f":"'DF raw data'!D16/100","v":19.982474},{"$f":"'DF raw data'!E16/100","v":-1.8116601999999999},{"$f":"'DF raw data'!I16/100","v":-15.088635999999999},{"$f":"'DF raw data'!J16/100","v":-5.1931250000000002},{"$f":"'DF raw data'!N16/100","v":19.812341},{"$f":"'DF raw data'!O16/100","v":12.483984},{"$f":"'DF raw data'!S16/100","v":22.950662000000001},{"$f":"'DF raw data'!T16/100","v":6.6964160000000001},{"$f":"'DF raw data'!X16/100","v":0.81791602999999991},{"$f":"'DF raw data'!Y16/100","v":10.994209000000001}]
[6,{"$f":"'DF raw data'!D17/100","v":33.266958000000002},{"$f":"'DF raw data'!E17/100","v":-13.175663999999999},{"$f":"'DF raw data'!I17/100","v":-6.2578955000000001},{"$f":"'DF raw data'!J17/100","v":-8.0199902000000005},{"$f":"'DF raw data'!N17/100","v":-4.4795458999999997},{"$f":"'DF raw data'!O17/100","v":-2.9270605000000001},{"$f":"'DF raw data'!S17/100","v":0.65621032999999995},{"$f":"'DF raw data'!T17/100","v":-40.997920000000001},{"$f":"'DF raw data'!X17/100","v":10.994909999999999},{"$f":"'DF raw data'!Y17/100","v":32.523672000000005}]
[8,{"$f":"'DF raw data'!D18/100","v":4.1259058},{"$f":"'DF raw data'!E18/100","v":-6.8447852000000005},{"$f":"'DF raw data'!I18/100","v":20.276851000000001},{"$f":"'DF raw data'!J18/100","v":9.0101270000000007},{"$f":"'DF raw data'!N18/100","v":0.18841221},{"$f":"'DF raw data'!O18/100","v":3.3094335999999998},{"$f":"'DF raw data'!S18/100","v":4.5402953999999998},{"$f":"'DF raw data'!T18/100","v":42.305654000000004},{"$f":"'DF raw data'!X18/100","v":-5.3575134000000002},{"$f":"'DF raw data'!Y18/100","v":-19.774287000000001}]
[10,{"$f":"'DF raw data'!D19/100","v":7.3942174999999999},{"$f":"'DF raw data'!E19/100","v":-20.325186000000002},{"$f":"'DF raw data'!I19/100","v":-7.0048046999999993},{"$f":"'DF raw data'!J19/100","v":-21.138485999999997},{"$f":"'DF raw data'!N19/100","v":22.186741000000001},{"$f":"'DF raw data'!O19/100","v":-2.4951366999999998},{"$f":"'DF raw data'!S19/100","v":-3.1327417000000004},{"$f":"'DF raw data'!T19/100","v":-2.1856249999999999},{"$f":"'DF raw data'!X19/100","v":-12.527444000000001},{"$f":"'DF raw data'!Y19/100","v":-0.52037109000000004}]
[]
["DF indice",{"$f":"'DF raw data'!B4","v":317},null,{"$f":"'DF raw data'!G4","v":318},null,{"$f":"'DF raw data'!L4","v":320},null,{"$f":"'DF raw data'!Q4","v":321},null,{"$f":"'DF raw data'!V4","v":322}]
[]
["Average",{"$f":"AVERAGE(B11:B13)","v":24.601569000000001},{"$f":"AVERAGE(C11:C13)","v":-12.612711499999998},15.902234333333332,-8.2486720333333334,4.9912969999999994,-1.4762987332666675,-0.48535829999999969,8.4072166666667655E-2,2.0696981999999995,-6.9986555333333333]

{"sheet":"DF raw data","index":2,"n_rows":19,"n_cols":25,"rows_kept":19,"cut":false,"hidden":false,"merged":[]}
["Comment:","2nd Int scan, PS 16341, 10 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16341, 15 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16341, 20 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16341, 30 mm gap",null,null,null,"Comment:","2nd Int scan, PS 16341, 100 mm gap"]
["Date:","27. mar 2017","13:29:14",null,null,"Date:","27. mar 2017","13:51:18",null,null,"Date:","27. mar 2017","14:13:23",null,null,"Date:","27. mar 2017","14:38:02",null,null,"Date:","27. mar 2017","14:53:48"]
["Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0,null,null,null,"Z-Pos:",0]
["Indice:",317,null,null,null,"Indice:",318,null,null,null,"Indice:",320,null,null,null,"Indice:",321,null,null,null,"Indice:",322]
["Background Indice:",317,null,null,null,"Background Indice:",318,null,null,null,"Background Indice:",320,null,null,null,"Background Indice:",321,null,null,null,"Background Indice:",322]
["Temperature:",21.18,null,null,null,"Temperature:",21.21,null,null,null,"Temperature:",21.16,null,null,null,"Temperature:",21.18,null,null,null,"Temperature:",21.18]
["Encoder:",392595,null,null,null,"Encoder:",493302,null,null,null,"Encoder:",593706,null,null,null,"Encoder:",793990,null,null,null,"Encoder:",2194111]
["X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb","X","IXb","IZb","JXb","JZb"]
[-1,18.123159000000001,-7.0667800999999999,3222.6190999999999,-124.1084,-1,8.7212695999999994,-10.519410000000001,1663.3933,-1218.5947000000001,-1,8.4104604999999992,-2.1199501000000001,1505.8044,892.11328000000003,-1,-0.25909000999999998,5.3098302000000004,209.54633000000001,3931.4180000000001,-1,9.2786998999999994,-10.59557,-31.223510999999998,-2952.7206999999999]
[-0.80000000999999998,14.68233,-2.4129999999999999E-2,2237.6714000000002,1716.1875,-0.80000000999999998,10.37842,1.6889000000000001,1840.1569999999999,2668.5117,-0.80000000999999998,13.598459999999999,-0.56838,2759.2094999999999,1617.0498,-0.80000000999999998,10.265639999999999,1.1515,2519.5956999999999,873.26953000000003,-0.80000000999999998,-3.9053499999999999,5.0235599999999998,-1227.0532000000001,-1234.9286999999999]
[-0.60000001999999997,13.777889999999999,-6.4778098999999996,1901.6174000000001,-145.67089999999999,-0.60000001999999997,4.3164901999999996,-2.2490000999999999,1761.0391,2164.7139000000002,-0.60000001999999997,8.3236504,-17.445640999999998,1813.5359000000001,-1991.4951000000001,-0.60000001999999997,-10.185169999999999,-6.7899899000000001,-321.95605,981.46776999999997,-0.60000001999999997,-5.0381197999999996,-1.4255800000000001,221.55718999999999,1185.8311000000001]
[-0.40000001000000002,8.0152102000000003,-11.749459999999999,-1377.3396,298.83496000000002,-0.40000001000000002,3.5228100000000002,-22.704059999999998,1831.6248000000001,-2966.0713000000001,-0.40000001000000002,13.824120000000001,-5.7287102000000001,2162.9670000000001,-178.15917999999999,-0.40000001000000002,-0.24361999000000001,-3.7066900999999999,-33.396991999999997,1521.8681999999999,-0.40000001000000002,-2.75421,14.15995,736.43895999999995,2129.7997999999998]
[-0.2,3.5970800000000001,-9.7780304000000005,1297.0989,244.35645,-0.2,5.5226302,-13.419510000000001,1124.2530999999999,159.16699,-0.2,6.4487699999999997,-7.3835601999999998,1739.7588000000001,1937.6044999999999,-0.2,-10.990959999999999,-9.5688294999999997,-1382.4894999999999,-173.91895,-0.2,-3.8554699000000001,3.3472300000000001,23.210360000000001,733.84862999999996]
[0,21.175899999999999,-13.56035,3192.4884999999999,-2745.1835999999998,0,8.7378997999999992,-6.3287300999999996,1286.1311000000001,-1546.8711000000001,0,13.49156,-7.8446498,-2248.2283000000002,-2381.1826000000001,0,8.7555303999999996,-4.2448001,755.03210000000001,-2136.7411999999999,0,-0.22814999999999999,-4.2845801999999997,1971.0621000000001,-3048.1239999999998]
[0.2,14.0747,-21.434419999999999,2890.8833,-1282.9863,0.2,12.463850000000001,-19.615079999999999,2360.2860999999998,-1086.8975,0.2,7.7740897999999996,-9.7440595999999999,2005.8586,0.68848001999999997,0.2,-2.1480801,-1.4019699999999999,481.84991000000002,2335.8818000000001,0.2,-5.3604598000000001,-8.9027499999999993,-1373.3630000000001,214.67871]
[0.40000001000000002,13.9175,-16.023260000000001,1998.2474,-181.16602,0.40000001000000002,8.1071901000000004,-19.472031000000001,-1508.8635999999999,-519.3125,0.40000001000000002,7.7970300000000003,-12.83328,1981.2340999999999,1248.3984,0.40000001000000002,17.270728999999999,-1.6824300000000001,2295.0662000000002,669.64160000000004,0.40000001000000002,-2.2103600999999999,-7.1661099999999998,81.791602999999995,1099.4209000000001]
[0.60000001999999997,16.812480999999998,-17.529181000000001,3326.6958,-1317.5663999999999,0.60000001999999997,-12.603719999999999,-14.453659999999999,-625.78954999999996,-801.99901999999997,0.60000001999999997,-0.96664000000000005,-13.69614,-447.95459,-292.70605,0.60000001999999997,-4.6544699999999999,-31.156580000000002,65.621032999999997,-4099.7920000000004,0.60000001999999997,-3.5847699999999998,-2.4169399999999999,1099.491,3252.3672000000001]
[0.80000000999999998,-1.48342,-21.497990000000001,412.59057999999999,-684.47852,0.80000000999999998,-5.7369199000000002,-12.50309,2027.6850999999999,901.0127,0.80000000999999998,-3.9932001000000001,-5.2335900999999998,18.841221000000001,330.94335999999998,0.80000000999999998,-0.65961999000000004,14.46364,454.02954,4230.5654000000004,0.80000000999999998,-7.3734298000000003,-13.532159999999999,-535.75134000000003,-1977.4286999999999]
[1,-10.31902,-22.522791000000002,739.42174999999997,-2032.5186000000001,1,-7.9852299999999996,-22.181881000000001,-700.48046999999997,-2113.8485999999998,1,-6.4206399999999997,-7.6660599999999999,2218.6741000000002,-249.51366999999999,1,-15.49488,-6.9879799,-313.27417000000003,-218.5625,1,-19.393789000000002,-0.39691000999999998,-1252.7444,-52.037109000000001]