## Sheet1
Phase Shifter | Run | PI (T^2 m^3) | Description (10 mm gap)
SXPS-16340 | 2 | 4.5488e-06 | No changes
SXPS-16340 | 3 | 4.5488e-06 | No changes
SXPS-16340 | 4 | 4.5502e-06 | Meter polarity reversed (calibration now wrong)
SXPS-16340 | 5 | 4.5503e-06 | Meter polarity reversed (calibration now wrong)
SXPS-16340 | 6 | 4.5487e-06 | Half speed of carriage
SXPS-16340 | 7 | 4.5489e-06 | Half speed of carriage
SXPS-16340 | 8 | 4.549e-06 | X and Y meters swapped
SXPS-16340 | 9 | 4.5491e-06 | X and Y meters swapped
SXPS-16340 | 11 | 4.5576e-06 | 20 mrad pitch, 8.8 T^2 mm^3 change
SXPS-16340 | 12 | 4.5577e-06 | 20 mrad pitch, average 3 measurements
SXPS-16340 |  | 4.5484e-06 | Final results repeat, pushed on scale to see if gap meas changes
Prototype |  | 4.5973e-06 | Final results
Prototype | 5 | 4.601e-06 | 20 mrad yaw, 3.7 T^2 m^3 change