## Slide 1
engineering type: 0.625SD38.98
SLAC drawing number: SA-375-150-75
SLAC magnet bar-code: 4585
vendor serial number: 3
when measured: 29-Jul-2019 15:56:33
when analyzed: 05-Aug-2019
MAD assignment: BLXSPH

## Slide 2
Emax
Imax ≈ 50.3 A

## Slide 3
wirevsx.ru1
@ r= 10 mm
|b1/b0| = 0.00016 [0.500] %
|b2/b0| = 0.021 [100.000] %

## Slide 4
name: BLXSPH_Trim
# of main coil turns: 45
# of trim coil turns: 20
ratio of turns (Nmain/Ntrim): 2.2500
ratio of slopes (measured): 2.3721
IMMO (amps): [-6,+6]
BMMO (main coil amps): [-2.5294,+2.5294]
Itrim = 0
Imain = 0
wiredat.ru3

## Slide 5
Itrim = 0
Imain = 130 A
wiredat.ru2
trim strength reduced by ≈ 0.5%
when Imain = 130 A

## Slide 6
standardize, then set Imain to 130 A
wiredat.ru6
standardize, then set Imain to 130 A
wiredat.ru7
after standardize, Itrim = 0
after standardize, Imain = 0
wiredat.ru4
wiredat.ru5
BSCx
|ΔByL| (4 GeV) ≈ 1.0 G-m
|ΔByL| (10 GeV) ≈ 2.3 G-m

## Slide 7
standardize, then set Imain to 130 A
wiredat.r10
standardize, then set Imain to 130 A
wiredat.r11
after standardize, Itrim = 0
after standardize, Imain = 0
wiredat.ru8
wiredat.ru9
BSCy
|ΔBxL| (4 GeV) ≈ 0.1 G-m
|ΔBxL| (10 GeV) ≈ 0.4 G-m