## Slide 1
engineering type: 0.625SD38.98
SLAC drawing number: SA-375-150-75
SLAC magnet bar-code: 4586
vendor serial number: 1
when measured: 27-Jun-2019 09:52:58
when analyzed: 01-Jul-2019
MAD assignment: BLXSPS

## Slide 2
Emax
Imax ≈ 101 A

## Slide 3
wirevsx.ru4
@ r= 10 mm
|b1/b0| = 0.014 [0.200] %
|b2/b0| = 0.028 [20.000] %

## Slide 4
name: BLXSPS Trim
# of main coil turns: 45
# of trim coil turns: 20
ratio of turns (Nmain/Ntrim): 2.2500
ratio of slopes (measured): 2.3773
IMMO (amps): [-6,+6]
BMMO (main coil amps): [-2.5238,+2.5238]
Itrim = 0
Imain = 0
wiredat.ru3

## Slide 5
Itrim = 0
Imain = 130 A
wiredat.ru2
trim strength reduced by ≈ 1%
when Imain = 130 A

## Slide 6
standardize, then set Imain to 0
wiredat.ru9
standardize, then set Imain to 130 A
wiredat.r10
standardize, then set Imain to 0
standardize, then set Imain to 130 A
wiredat.ru5
wiredat.ru6

## Slide 7
wiredat.ru4
wiredat.ru8
wirevsx.ru7
wirevsx.r11
ΔByL(4 GeV) ≈ -1.7 G-m
ΔByL(10 GeV) ≈ -3.7 G-m
BSCx
BSCy
ΔBxL(4 GeV) ≈ -0.2 G-m
ΔBxL(10 GeV) ≈ -0.5 G-m