## ceramic_blocks_motors_not_enabl
DESIRED GAP | CERAMIC BLOCK THICKNESS | US_V | DS_V | DELTA_V_US | DELTA_V_DS | DELTA EXTENSION | REF GAP |  | EXP_EXTENSION US | EXP_EXTENSION DS | US RESIDUAL | DS RESIDUAL
7.2 | 7.4 | 0.6016 |  | -0.1399 | -0.5322 | -1.4 | 10 |  | -1.4135 | 1.767 | -0.013525 | 3.167
8 | 7 | 0.6399 |  | -0.1016 | -0.5322 | -1 |  |  | -1.0181 | 1.767 | -0.01806 | 2.767
9 | 6.5 | 0.6929 |  | -0.0486 | -0.5322 | -0.5 |  |  | -0.47081 | 1.767 | 0.02919 | 2.267
10 | 6 | 0.7415 | 0.5322 | 0 | 0 | 0 |  |  | 0.031008 | 3.0773 | 0.031008 | 3.0773
11 | 5.5 | 0.786 |  | 0.0445 | -0.5322 | 0.5 | M_US | 10.3255 | 0.49049 | 1.767 | -0.0095087 | 1.267
12 | 5 | 0.835 |  | 0.0935 | -0.5322 | 1 | Q_US | 0.031008 | 0.99644 | 1.767 | -0.0035607 | 0.76695
13 | 4.5 | 0.8877 |  | 0.1462 | -0.5322 | 1.5 |  |  | 1.5406 | 1.767 | 0.040591 | 0.26695
14 | 4 | 0.9266 |  | 0.1851 | -0.5322 | 2 | M_DS | 2.4621 | 1.9423 | 1.767 | -0.057748 | -0.23305
15 | 3.5 | 0.981 |  | 0.2395 | -0.5322 | 2.5 | Q_DS | 3.0773 | 2.504 | 1.767 | 0.0039577 | -0.73305
16 | 3 | 1.0258 |  | 0.2843 | -0.5322 | 3 |  |  | 2.9665 | 1.767 | -0.033461 | -1.233
17 | 2.5 | 1.082 |  | 0.3405 | -0.5322 | 3.5 |  |  | 3.5468 | 1.767 | 0.04683 | -1.733
18 | 2 | 1.1226 |  | 0.3811 | -0.5322 | 4 |  |  | 3.966 | 1.767 | -0.033956 | -2.233
19 | 1.5 | 1.175 |  | 0.4335 | -0.5322 | 4.5 |  |  | 4.5071 | 1.767 | 0.0070987 | -2.733
20 | 1 | 1.2235 |  | 0.482 | -0.5322 | 5 |  |  | 5.0079 | 1.767 | 0.0078839 | -3.233
22 | 0 | 1.3199 | 1.1313 | 0.5784 | 0.5991 | 6 |  |  | 6.0033 | 4.5523 | 0.0032591 | -1.4477

## gap_motion
DESIRED GAP | ESTENSION | US_V | DS_V | DELTA_V_US | DELTA_V_DS | RELATIVE EXTENSION (EXPECTED) | REAL EXTENSION US | REAL EXTENSION DS | REF GAP |  | US CENTER SHIFT | DS CENTER SHIFT
7.2 | 7.4 |  | 0.42572 | 0 | -0.13855 | -1.4 | 0.031008 | 2.7362 | 10 |  | 1.431 | 4.1362
8 | 7 |  | 0.46548 | 0 | -0.098785 | -1 | 0.031008 | 2.8341 | M_US | 10.3255 | 1.031 | 3.8341
9 | 6.5 |  | 0.51511 | 0 | -0.049164 | -0.5 | 0.031008 | 2.9562 | Q_US | 0.031008 | 0.53101 | 3.4562
10 | 6 |  | 0.56427 | 0 | 0 | 0 | 0.031008 | 3.0773 | M_DS | 2.4621 | 0.031008 | 3.0773
11 | 5.5 |  | 0.6134 | 0 | 0.049133 | 0.5 | 0.031008 | 3.1983 | Q_DS | 3.0773 | -0.46899 | 2.6983
12 | 5 |  | 0.66132 | 0 | 0.097046 | 1 | 0.031008 | 3.3162 |  |  | -0.96899 | 2.3162
13 | 4.5 |  | 0.71167 | 0 | 0.1474 | 1.5 | 0.031008 | 3.4402 |  |  | -1.469 | 1.9402
14 | 4 |  | 0.75928 | 0 | 0.19501 | 2 | 0.031008 | 3.5574 |  |  | -1.969 | 1.5574
15 | 3.5 |  | 0.80963 | 0 | 0.24536 | 2.5 | 0.031008 | 3.6814 |  |  | -2.469 | 1.1814
16 | 3 |  | 0.85846 | 0 | 0.29419 | 3 | 0.031008 | 3.8016 |  |  | -2.969 | 0.80162
17 | 2.5 |  | 0.90759 | 0 | 0.34332 | 3.5 | 0.031008 | 3.9226 |  |  | -3.469 | 0.42259
18 | 2 |  | 0.95917 | 0 | 0.3949 | 4 | 0.031008 | 4.0496 |  |  | -3.969 | 0.049572
19 | 1.5 |  | 1.0059 | 0 | 0.44159 | 4.5 | 0.031008 | 4.1645 |  |  | -4.469 | -0.33547
20 | 1 | 1.1867 | 1.0574 | 1.1867 | 0.49316 | 5 | 12.2844 | 4.2915 |  |  | 7.2844 | -0.70848
22 | 0 | 1.2844 | 1.1526 | 1.2844 | 0.58838 | 6 | 13.2932 | 4.5259 |  |  | 7.2932 | -1.4741
[7 empty] | 0.031008 | 3.0773 |  |  | -9.969 | -6.9227

## plots
Negative voltgae error: voltage measured with gauge blocks is bigger. Upwards centerline shift of undulator
Positive voltage error: voltage measured with gauge blocks is smaller. Downwards centerline shift of undulator.
Positive centerline shift: True extension from delta V is bigger than expected extension. Upwards centerline shift.
Negative centerline shift: True extension from delta V is smaller than expected extension. Downwards centerline shift.