## Slide 1
LCLS HXRSS Chicane bends: Magnetic Measurements
BXHS1
V:\MET\MagServe\MagData\LCLS\Dipole\BXHS1
http://www-group.slac.stanford.edu/met/MagMeas/MAGDATA/LCLS/dipole/BXHS1
BXHS2
V:\MET\MagServe\MagData\LCLS\Dipole\BXHS2
http://www-group.slac.stanford.edu/met/MagMeas/MAGDATA/LCLS/dipole/BXHS2
BXHS3
V:\MET\MagServe\MagData\LCLS\Dipole\BXHS3
http://www-group.slac.stanford.edu/met/MagMeas/MAGDATA/LCLS/dipole/BXHS3
BXHS4
V:\MET\MagServe\MagData\LCLS\Dipole\BXHS4
http://www-group.slac.stanford.edu/met/MagMeas/MAGDATA/LCLS/dipole/BXHS4

## Slide 2
BXSS1, 001049, BEND:UND1:1630, 0.08545E+0 , 2.966E+0 ,-0.01554E+0 , 0.03660E+0
BXSS1 Trim, 001049, BTRM:UND1:1630, 0 , 68.5
BXSS2 , 001048, BEND:UND1:1640, 0.08636E+0 , 2.986E+0 ,-0.01592E+0 , 0.03661E+0
BXSS2 Trim, 001048, BTRM:UND1:1640, 0 , 68.5
BXSS3 , 001050, BEND:UND1:1660, 0.08627E+0 , 2.968E+0 ,-0.01572E+0 , 0.03516E+0
BXSS3 Trim, 001050, BTRM:UND1:1660, 0 , 68.5
BXSS4 , 001051, BEND:UND1:1670, 0.08628E+0 , 2.975E+0 ,-0.01742E+0 , 0.03623E+0
BXSS4 Trim, 001051, BTRM:UND1:1670, 0 , 68.5
HXRSS Database Polynomials

## Slide 3
BXHS1
bipolar measurement
after bipolar STDZ
fit UP data
after bipolar STDZ
unipolar measurement
after degauss
fit UP data
wiredat.ru2
wiredat.ru9
wirevsx.r16

## Slide 4
BXHS2
unipolar measurement
after unipolar STDZ
fit UP data
wiredat.ru1
BXHS2
bipolar measurement
after bipolar STDZ
fit UP data
wiredat.ru2

## Slide 5
wiredat.ru4
unipolar measurement
after unipolar STDZ
fit DOWN data
bipolar measurement
after unipolar STDZ
fit UP data
wiredat.ru4
residuals
for this polynomial
wiredat.r19
unipolar measurement
after degauss
fit UP data

## Slide 6
after bipolar STDZ
Imain= +6 A, Itrim= +6A
wirevsx.r16

## Slide 7
BXHS3
bipolar measurement
after bipolar STDZ
fit UP data
wiredat.ru2
after bipolar STDZ
wirevsx.ru7
unipolar measurement
after degauss
fit UP data
wiredat.ru6

## Slide 8
BXHS4
bipolar measurement
after bipolar STDZ
fit UP data
wiredat.ru2
unipolar measurement
after degauss
fit UP data
wiredat.ru6

## Slide 9
BXHS1
11) wiredat.ru2: bipolar STDZ (3 cycles, 2 A/s, 5 s pause);
Imain=[0:0.5:6,6:-0.5:-6,-6:0.5:6], Itrim=0
16) wiredat.ru9: degauss;
Imain=0, Itrim=[0:0.25:+6,+6:-0.5:-6]
17) wirevsx.r16: bipolar STDZ (3 cycles, 2 A/s, 5 s pause);
Imain=+4, Itrim=0
BXHS2
9) wiredat.ru1: unipolar STDZ (3-linear, 2 A/s, 5 s pause, 3 cycles);
Imain=[0:0.5:6,6:-0.5:0], Itrim=0
11) wiredat.ru2: bipolar STDZ (3-linear, 2 A/s, 5 s pause, 3 cycles);
Imain=[0:0.5:6,6:-0.5:-6,-6:0.5:6], Itrim=0
14) wiredat.ru4: unipolar STDZ (3-linear, 2 A/s, 5 s pause, 3 cycles);
Imain=0, Itrim=[0:-0.25:-6,-6:0.5:6]
17) wirevsx.r22: bipolar STDZ (3 cycles, 2 A/s, 5 s pause);
Imain=+6, Itrim=+6
16) wiredat.r19: degauss;
Imain=0, Itrim=[0:0.25:+6,+6:-0.5:-6,-6:0.5:+6]
BXHS3
11) wiredat.ru2: bipolar STDZ (3 cycles, 2 A/s, 5 s pause);
Imain=[0:0.5:6,6:-0.5:-6,-6:0.5:6], Itrim=0
17) wirevsx.ru7: bipolar STDZ (3 cycles, 2 A/s, 5 s pause);
Imain=+4, Itrim=0
16) wiredat.ru6: degauss;
Imain=0, Itrim=[0:0.25:+6,+6:-0.5:-6,-6:0.5:+6]
BXHS4
11) wiredat.ru2: bipolar STDZ (3 cycles, 2 A/s, 5 s pause);
Imain=[0:0.5:6,6:-0.5:-6,-6:0.5:6], Itrim=0
16) wiredat.ru6: degauss;
Imain=0, Itrim=[0:0.25:+6,+6:-0.5:-6,-6:0.5:+6]