## Slide 1
1.26Q12 barcode 4063 (originally assigned as QSP11H) was used to replace LCLS QEM2 (barcode 002013), which had a shorted coil. QEM2’s bipolar 120 A EPICS polynomial was kept (4063 was measured unipolar 165 A). After refurbishment, barcode 002013 will be used as QSP11H, with a new measured unipolar 165 A EPICS polynomial.

## Slide 2
engineering type: 1.26Q12
SLAC drawing number: SA-380-327-00
SLAC magnet bar-code: 002013
vendor serial number: 014
when measured: 04-Apr-2022 17:23:38
when analyzed: 19-Apr-2022
MAD assignment: QSP11H