{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator","SN 05"]
["Date:","2012-05-24"]
["Crew:","FG, BR"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",26]
["1st. Near",27.56]
["2nd. Far",29]
["2nd Near",28.375]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":28.141876430205951}]
["Near Should Read",28.141876430205951]
["LOS",28.141876430205951]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[32.619999999999997,32.622999999999998,32.625,32.622]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":33.619999999999997},{"$f":"SUM(B24:B25)","v":33.622999999999998},{"$f":"SUM(C24:C25)","v":33.625},{"$f":"SUM(D24:D25)","v":33.622}]
[{"$f":"B18","v":28.141876430205951},{"$f":"B18","v":28.141876430205951},{"$f":"B18","v":28.141876430205951},{"$f":"B18","v":28.141876430205951}]
[{"$f":"SUM(A27-A26)","v":-5.4781235697940467},{"$f":"SUM(B27-B26)","v":-5.4811235697940468},{"$f":"SUM(C27-C26)","v":-5.4831235697940492},{"$f":"SUM(D27-D26)","v":-5.4801235697940491}]
[]
["5)","6)","7)","8)"]
[22.844000000000001,22.843,22.841999999999999,22.844999999999999]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":23.844000000000001},{"$f":"SUM(B31:B32)","v":23.843},{"$f":"SUM(C31:C32)","v":23.841999999999999},{"$f":"SUM(D31:D32)","v":23.844999999999999}]
[{"$f":"B18","v":28.141876430205951},{"$f":"B18","v":28.141876430205951},{"$f":"B18","v":28.141876430205951},{"$f":"B18","v":28.141876430205951}]
[{"$f":"SUM(A34-A33)","v":4.2978764302059496},{"$f":"SUM(B34-B33)","v":4.2988764302059508},{"$f":"SUM(C34-C33)","v":4.299876430205952},{"$f":"SUM(D34-D33)","v":4.2968764302059519}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[34.174999999999997,29.641999999999999,27.888000000000002,27.882999999999999]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":35.174999999999997},{"$f":"SUM(B41:B42)","v":30.641999999999999},{"$f":"SUM(C41:C42)","v":28.888000000000002},{"$f":"SUM(D41:D42)","v":28.882999999999999}]
[{"$f":"B18","v":28.141876430205951},{"$f":"B18","v":28.141876430205951},{"$f":"B18","v":28.141876430205951},{"$f":"B18","v":28.141876430205951}]
[{"$f":"SUM(A44-A43)","v":-7.0331235697940464},{"$f":"SUM(B44-B43)","v":-2.5001235697940487},{"$f":"SUM(C44-C43)","v":-0.74612356979405092},{"$f":"SUM(D44-D43)","v":-0.74112356979404836}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":28.141876430205951},"LOS"]
["Undulator",{"$f":"B5","v":"SN 05"}]
["Date:",{"$f":"B6","v":"2012-05-24"}]
["Crew:",{"$f":"B7","v":"FG, BR"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,30.739000000000001,30.745000000000001]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":31.739000000000001},{"$f":"SUM(C64:C65)","v":31.745000000000001}]
[null,{"$f":"B18","v":28.141876430205951},{"$f":"B18","v":28.141876430205951}]
[0,{"$f":"SUM(B67-B66)","v":-3.59712356979405},{"$f":"SUM(C67-C66)","v":-3.6031235697940502}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[29.018000000000001,32.610999999999997,32.615000000000002]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":30.018000000000001},{"$f":"SUM(B74:B75)","v":33.610999999999997},{"$f":"SUM(C74:C75)","v":33.615000000000002}]
[{"$f":"B18","v":28.141876430205951},{"$f":"B18","v":28.141876430205951},{"$f":"B18","v":28.141876430205951}]
[{"$f":"SUM(A77-A76)","v":-1.8761235697940499},{"$f":"SUM(B77-B76)","v":-5.4691235697940463},{"$f":"SUM(C77-C76)","v":-5.4731235697940512}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[29.023,32.619999999999997,32.618000000000002]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":30.023},{"$f":"SUM(B83:B84)","v":33.619999999999997},{"$f":"SUM(C83:C84)","v":33.618000000000002}]
[{"$f":"B18","v":28.141876430205951},{"$f":"B18","v":28.141876430205951},{"$f":"B18","v":28.141876430205951}]
[{"$f":"SUM(A86-A85)","v":-1.8811235697940489},{"$f":"SUM(B86-B85)","v":-5.4781235697940467},{"$f":"SUM(C86-C85)","v":-5.4761235697940513}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,30.74,30.733000000000001]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":31.74},{"$f":"SUM(C92:C93)","v":31.733000000000001}]
[null,{"$f":"B18","v":28.141876430205951},{"$f":"B18","v":28.141876430205951}]
[0,{"$f":"SUM(B95-B94)","v":-3.5981235697940477},{"$f":"SUM(C95-C94)","v":-3.5911235697940498}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,6.1280000000000001,6.1340000000000003]
[null,null,1,1]
["Undulator",{"$f":"B5","v":"SN 05"},{"$f":"SUM(C104+C105)","v":7.1280000000000001},{"$f":"SUM(D104+D105)","v":7.1340000000000003}]
["Date:",{"$f":"B6","v":"2012-05-24"}]
["Crew:",{"$f":"B7","v":"FG, BR"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":7.1310000000000002}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":6.1280000000000001},9.7420000000000009,6.14,9.7390000000000008]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":7.1280000000000001},{"$f":"SUM(B114:B115)","v":10.742000000000001},{"$f":"SUM(C114:C115)","v":7.14},{"$f":"SUM(D114:D115)","v":10.739000000000001}]
[{"$f":"D109","v":7.1310000000000002},{"$f":"D109","v":7.1310000000000002},{"$f":"D109","v":7.1310000000000002},{"$f":"D109","v":7.1310000000000002}]
[{"$f":"SUM(A117-A116)","v":3.0000000000001137E-3},{"$f":"SUM(B117-B116)","v":-3.6110000000000007},{"$f":"SUM(C117-C116)","v":-8.9999999999994529E-3},{"$f":"SUM(D117-D116)","v":-3.6080000000000005}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[6.14,9.7379999999999995,{"$f":"D104","v":6.1340000000000003},9.7289999999999992]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":7.14},{"$f":"SUM(B124:B125)","v":10.738},{"$f":"SUM(C124:C125)","v":7.1340000000000003},{"$f":"SUM(D124:D125)","v":10.728999999999999}]
[{"$f":"D109","v":7.1310000000000002},{"$f":"D109","v":7.1310000000000002},{"$f":"D109","v":7.1310000000000002},{"$f":"D109","v":7.1310000000000002}]
[{"$f":"SUM(A127-A126)","v":-8.9999999999994529E-3},{"$f":"SUM(B127-B126)","v":-3.6069999999999993},{"$f":"SUM(C127-C126)","v":-3.0000000000001137E-3},{"$f":"SUM(D127-D126)","v":-3.597999999999999}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[11.535,null,-5.4640000000000004,"LOS"]
[{"$f":"D109","v":7.1310000000000002},null,2.8000000000000001E-2,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.4039999999999999},null,{"$f":"SUM(C137+C138)","v":-5.4360000000000008}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.4750000000000005},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":"SN 05"}]
["Date:",{"$f":"B6","v":"2012-05-24"}]
["Crew:",{"$f":"B7","v":"FG, BR"}]
[]
[]
["HI =",{"$f":"D109","v":7.1310000000000002}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[2.6579999999999999,2.657,2.6589999999999998,2.6560000000000001]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":3.6579999999999999},{"$f":"SUM(B165:B166)","v":3.657},{"$f":"SUM(C165:C166)","v":3.6589999999999998},{"$f":"SUM(D165:D166)","v":3.6560000000000001}]
[{"$f":"D109","v":7.1310000000000002},{"$f":"D109","v":7.1310000000000002},{"$f":"D109","v":7.1310000000000002},{"$f":"D109","v":7.1310000000000002}]
[{"$f":"SUM(A168-A167)","v":3.4730000000000003},{"$f":"SUM(B168-B167)","v":3.4740000000000002},{"$f":"SUM(C168-C167)","v":3.4720000000000004},{"$f":"SUM(D168-D167)","v":3.4750000000000001}]
[]
[]
["5)","6)","7)","8)"]
[9.7330000000000005,9.7319999999999993,9.7349999999999994,9.7349999999999994]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":10.733000000000001},{"$f":"SUM(B173+B174)","v":10.731999999999999},{"$f":"SUM(C173+C174)","v":10.734999999999999},{"$f":"SUM(D173+D174)","v":10.734999999999999}]
[{"$f":"D109","v":7.1310000000000002},{"$f":"D109","v":7.1310000000000002},{"$f":"D109","v":7.1310000000000002},{"$f":"D109","v":7.1310000000000002}]
[{"$f":"SUM(A176-A175)","v":-3.6020000000000003},{"$f":"SUM(B176-B175)","v":-3.6009999999999991},{"$f":"SUM(C176-C175)","v":-3.6039999999999992},{"$f":"SUM(D176-D175)","v":-3.6039999999999992}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[6.375,null,8.52,11.602]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":7.375},null,{"$f":"SUM(C184+C185)","v":9.52},{"$f":"SUM(D184+D185)","v":12.602}]
[{"$f":"D109","v":7.1310000000000002},null,{"$f":"D109","v":7.1310000000000002},{"$f":"D109","v":7.1310000000000002}]
[{"$f":"SUM(A187-A186)","v":-0.24399999999999977},0,{"$f":"SUM(C187-C186)","v":-2.3889999999999993},{"$f":"SUM(D187-D186)","v":-5.4710000000000001}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[5.4219999999999997,5.423,5.423,5.4240000000000004]
[{"$f":"D109","v":7.1310000000000002},{"$f":"D109","v":7.1310000000000002},{"$f":"D109","v":7.1310000000000002},{"$f":"D109","v":7.1310000000000002}]
[{"$f":"SUM(A196-A195)","v":1.7090000000000005},{"$f":"SUM(B196-B195)","v":1.7080000000000002},{"$f":"SUM(C196-C195)","v":1.7080000000000002},{"$f":"SUM(D196-D195)","v":1.7069999999999999}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":"SN 05"}]
["Date"," ",{"$f":"Sheet1!B6","v":"2012-05-24"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"FG, BR"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.4730000000000003},{"$f":"B10*25.4","v":88.214200000000005},null,null,5,{"$f":"Sheet1!A35","v":4.2978764302059496},{"$f":"G10*25.4","v":109.16606132723112}]
[2,{"$f":"Sheet1!B169","v":3.4740000000000002},{"$f":"B11*25.4","v":88.239599999999996},null,null,6,{"$f":"Sheet1!B35","v":4.2988764302059508},{"$f":"G11*25.4","v":109.19146132723114}]
[3,{"$f":"Sheet1!C169","v":3.4720000000000004},{"$f":"B12*25.4","v":88.188800000000001},null,null,7,{"$f":"Sheet1!C35","v":4.299876430205952},{"$f":"G12*25.4","v":109.21686132723117}]
[4,{"$f":"Sheet1!D169","v":3.4750000000000001},{"$f":"B13*25.4","v":88.265000000000001},null,null,8,{"$f":"Sheet1!D35","v":4.2968764302059519},{"$f":"G13*25.4","v":109.14066132723117}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.4731235697940512},{"$f":"Sheet1!C118","v":-8.9999999999994529E-3},{"$f":"B20*25.4","v":-139.01733867276889},{"$f":"C20*25.4","v":-0.22859999999998609},null,{"$f":"H10-D21","v":156.81959999999998},{"$f":"C10-E20","v":88.442799999999991}]
["X1",{"$f":"Sheet1!A78","v":-1.8761235697940499},{"$f":"Sheet1!D118","v":-3.6080000000000005},{"$f":"B21*25.4","v":-47.653538672768867},{"$f":"C21*25.4","v":-91.643200000000007}]
["Y1",{"$f":"Sheet1!B78","v":-5.4691235697940463},null,{"$f":"B22*25.4","v":-138.91573867276878}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.4781235697940467},{"$f":"Sheet1!A128","v":-8.9999999999994529E-3},{"$f":"B26*25.4","v":-139.14433867276878},{"$f":"C26*25.4","v":-0.22859999999998609},null,{"$f":"H13-D27","v":156.9212},{"$f":"C13-E26","v":88.493599999999986}]
["X1",{"$f":"Sheet1!A87","v":-1.8811235697940489},{"$f":"Sheet1!B128","v":-3.6069999999999993},{"$f":"B27*25.4","v":-47.780538672768841},{"$f":"C27*25.4","v":-91.617799999999974}]
["Y2",{"$f":"Sheet1!C87","v":-5.4761235697940513},"\\",{"$f":"B28*25.4","v":-139.09353867276889}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.4750000000000005},{"$f":"B36*25.4","v":-139.065},null,"US  +",{"$f":"Sheet1!A197","v":1.7090000000000005},{"$f":"F36*25.4","v":43.408600000000014}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.7080000000000002},{"$f":"F37*25.4","v":43.383200000000002}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.7080000000000002},{"$f":"F38*25.4","v":43.383200000000002}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.7069999999999999},{"$f":"F39*25.4","v":43.35779999999999}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.4039999999999999},{"$f":"B42*25.4","v":-111.8616}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",13]
["Date"," ",{"$f":"Sheet1!B6","v":"2012-05-24"}]
["Crew"," ","MR,BR"]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.4781235697940467},{"$f":"Sheet1!A169","v":3.4730000000000003},{"$f":"SUM(B10*25.4)","v":-139.14433867276878},{"$f":"SUM(C10*25.4)","v":88.214200000000005}]
[2,{"$f":"Sheet1!B28","v":-5.4811235697940468},{"$f":"Sheet1!B169","v":3.4740000000000002},{"$f":"SUM(B11*25.4)","v":-139.22053867276878},{"$f":"SUM(C11*25.4)","v":88.239599999999996},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.4831235697940492},{"$f":"Sheet1!C169","v":3.4720000000000004},-139.27133867276885,88.188800000000001,null,{"$f":"Sheet1!C141","v":-5.4750000000000005},{"$f":"SUM(G12*25.4)","v":-139.065}]
[4,{"$f":"Sheet1!D28","v":-5.4801235697940491},{"$f":"Sheet1!D169","v":3.4750000000000001},-139.19513867276885,88.265000000000001]
[5,{"$f":"Sheet1!A35","v":4.2978764302059496},{"$f":"Sheet1!A177","v":-3.6020000000000003},109.16606132723112,-91.490800000000007]
[6,{"$f":"Sheet1!B35","v":4.2988764302059508},{"$f":"Sheet1!B177","v":-3.6009999999999991},109.19146132723114,-91.465399999999974,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.299876430205952},{"$f":"Sheet1!C177","v":-3.6039999999999992},109.21686132723117,-91.541599999999974]
[8,{"$f":"Sheet1!D35","v":4.2968764302059519},{"$f":"Sheet1!D177","v":-3.6039999999999992},109.14066132723117,-91.541599999999974,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.4039999999999999},{"$f":"SUM(G18*25.4)","v":-111.8616}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.8761235697940499},{"$f":"Sheet1!C118","v":-8.9999999999994529E-3},{"$f":"SUM(B23*25.4)","v":-47.653538672768867},{"$f":"SUM(C23*25.4)","v":-0.22859999999998609}]
["X1",{"$f":"Sheet1!A78","v":-1.8761235697940499},{"$f":"Sheet1!D118","v":-3.6080000000000005},{"$f":"SUM(B24*25.4)","v":-47.653538672768867},{"$f":"SUM(C24*25.4)","v":-91.643200000000007},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.4691235697940463},null,{"$f":"SUM(B25*25.4)","v":-138.91573867276878},null,null,"US  +",{"$f":"Sheet1!A197","v":1.7090000000000005},{"$f":"SUM(H25*25.4)","v":43.408600000000014}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.7080000000000002},{"$f":"SUM(H26*25.4)","v":43.383200000000002}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.7080000000000002},{"$f":"SUM(H27*25.4)","v":43.383200000000002}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.7069999999999999},{"$f":"SUM(H28*25.4)","v":43.35779999999999}]
["Y1",{"$f":"Sheet1!B87","v":-5.4781235697940467},{"$f":"Sheet1!A128","v":-8.9999999999994529E-3},{"$f":"SUM(B29*25.4)","v":-139.14433867276878},{"$f":"SUM(C29*25.4)","v":-0.22859999999998609}]
["X1",{"$f":"Sheet1!A87","v":-1.8811235697940489},{"$f":"Sheet1!B128","v":-3.6069999999999993},{"$f":"SUM(B30*25.4)","v":-47.780538672768841},{"$f":"SUM(C30*25.4)","v":-91.617799999999974}]
["Y2",{"$f":"Sheet1!C87","v":-5.4761235697940513},null,{"$f":"SUM(B31*25.4)","v":-139.09353867276889}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.59712356979405},{"$f":"Sheet1!A118","v":3.0000000000001137E-3},{"$f":"SUM(B37*25.4)","v":-91.366938672768867},{"$f":"SUM(C37*25.4)","v":7.6200000000002877E-2},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.6110000000000007},0,{"$f":"SUM(C38*25.4)","v":-91.719400000000007}]
["Y2",{"$f":"Sheet1!C68","v":-3.6031235697940502},null,{"$f":"SUM(B39*25.4)","v":-91.519338672768868}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.5981235697940477},{"$f":"Sheet1!C128","v":-3.0000000000001137E-3},{"$f":"SUM(B43*25.4)","v":-91.392338672768801},{"$f":"SUM(C43*25.4)","v":-7.6200000000002877E-2}]
["X1",0,{"$f":"Sheet1!D128","v":-3.597999999999999},0,{"$f":"SUM(C44*25.4)","v":-91.389199999999974}]
["Y2",{"$f":"Sheet1!C96","v":-3.5911235697940498},null,{"$f":"SUM(B45*25.4)","v":-91.214538672768853}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-7.0331235697940464},{"$f":"Sheet1!A188","v":-0.24399999999999977},{"$f":"SUM(B49*25.4)","v":-178.64133867276877},{"$f":"SUM(C49*25.4)","v":-6.1975999999999942}]
["B",{"$f":"Sheet1!B45","v":-2.5001235697940487},null,{"$f":"SUM(B50*25.4)","v":-63.503138672768834}]
["C",{"$f":"Sheet1!C45","v":-0.74612356979405092},{"$f":"Sheet1!C188","v":-2.3889999999999993},{"$f":"SUM(B51*25.4)","v":-18.951538672768894},{"$f":"SUM(C51*25.4)","v":-60.680599999999977}]
["D",{"$f":"Sheet1!D45","v":-0.74112356979404836},{"$f":"Sheet1!D188","v":-5.4710000000000001},{"$f":"SUM(B52*25.4)","v":-18.824538672768828},{"$f":"SUM(C52*25.4)","v":-138.96340000000001}]