{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator",8]
["Date:","2009-11-16"]
["Crew:","HI FG"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",32.36]
["1st. Near",30.36]
["2nd. Far",30.36]
["2nd Near",30.36]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":30.36}]
["Near Should Read",30.36]
["LOS",30.36]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[34.847000000000001,34.843000000000004,34.841000000000001,34.840000000000003]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":35.847000000000001},{"$f":"SUM(B24:B25)","v":35.843000000000004},{"$f":"SUM(C24:C25)","v":35.841000000000001},{"$f":"SUM(D24:D25)","v":35.840000000000003}]
[{"$f":"B18","v":30.36},{"$f":"B18","v":30.36},{"$f":"B18","v":30.36},{"$f":"B18","v":30.36}]
[{"$f":"SUM(A27-A26)","v":-5.4870000000000019},{"$f":"SUM(B27-B26)","v":-5.4830000000000041},{"$f":"SUM(C27-C26)","v":-5.4810000000000016},{"$f":"SUM(D27-D26)","v":-5.480000000000004}]
[]
["5)","6)","7)","8)"]
[25.068000000000001,25.062000000000001,25.062999999999999,25.061]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":26.068000000000001},{"$f":"SUM(B31:B32)","v":26.062000000000001},{"$f":"SUM(C31:C32)","v":26.062999999999999},{"$f":"SUM(D31:D32)","v":26.061}]
[{"$f":"B18","v":30.36},{"$f":"B18","v":30.36},{"$f":"B18","v":30.36},{"$f":"B18","v":30.36}]
[{"$f":"SUM(A34-A33)","v":4.291999999999998},{"$f":"SUM(B34-B33)","v":4.2979999999999983},{"$f":"SUM(C34-C33)","v":4.2970000000000006},{"$f":"SUM(D34-D33)","v":4.2989999999999995}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[36.395000000000003,31.86,30.103999999999999,30.103000000000002]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":37.395000000000003},{"$f":"SUM(B41:B42)","v":32.86},{"$f":"SUM(C41:C42)","v":31.103999999999999},{"$f":"SUM(D41:D42)","v":31.103000000000002}]
[{"$f":"B18","v":30.36},{"$f":"B18","v":30.36},{"$f":"B18","v":30.36},{"$f":"B18","v":30.36}]
[{"$f":"SUM(A44-A43)","v":-7.0350000000000037},{"$f":"SUM(B44-B43)","v":-2.5},{"$f":"SUM(C44-C43)","v":-0.74399999999999977},{"$f":"SUM(D44-D43)","v":-0.7430000000000021}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":30.36},"LOS"]
["Undulator",{"$f":"B5","v":8}]
["Date:",{"$f":"B6","v":"2009-11-16"}]
["Crew:",{"$f":"B7","v":"HI FG"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,32.96,32.963999999999999]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":33.96},{"$f":"SUM(C64:C65)","v":33.963999999999999}]
[null,{"$f":"B18","v":30.36},{"$f":"B18","v":30.36}]
[0,{"$f":"SUM(B67-B66)","v":-3.6000000000000014},{"$f":"SUM(C67-C66)","v":-3.6039999999999992}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[31.242999999999999,34.838000000000001,34.838000000000001]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":32.242999999999995},{"$f":"SUM(B74:B75)","v":35.838000000000001},{"$f":"SUM(C74:C75)","v":35.838000000000001}]
[{"$f":"B18","v":30.36},{"$f":"B18","v":30.36},{"$f":"B18","v":30.36}]
[{"$f":"SUM(A77-A76)","v":-1.8829999999999956},{"$f":"SUM(B77-B76)","v":-5.4780000000000015},{"$f":"SUM(C77-C76)","v":-5.4780000000000015}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[31.245000000000001,34.838999999999999,34.838999999999999]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":32.245000000000005},{"$f":"SUM(B83:B84)","v":35.838999999999999},{"$f":"SUM(C83:C84)","v":35.838999999999999}]
[{"$f":"B18","v":30.36},{"$f":"B18","v":30.36},{"$f":"B18","v":30.36}]
[{"$f":"SUM(A86-A85)","v":-1.8850000000000051},{"$f":"SUM(B86-B85)","v":-5.4789999999999992},{"$f":"SUM(C86-C85)","v":-5.4789999999999992}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,32.957999999999998,32.957000000000001]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":33.957999999999998},{"$f":"SUM(C92:C93)","v":33.957000000000001}]
[null,{"$f":"B18","v":30.36},{"$f":"B18","v":30.36}]
[0,{"$f":"SUM(B95-B94)","v":-3.597999999999999},{"$f":"SUM(C95-C94)","v":-3.5970000000000013}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,7.5510000000000002,7.5519999999999996]
[null,null,1,1]
["Undulator",{"$f":"B5","v":8},{"$f":"SUM(C104+C105)","v":8.5510000000000002},{"$f":"SUM(D104+D105)","v":8.5519999999999996}]
["Date:",{"$f":"B6","v":"2009-11-16"}]
["Crew:",{"$f":"B7","v":"HI FG"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":8.5515000000000008}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":7.5510000000000002},null,7.5570000000000004,11.157999999999999]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":8.5510000000000002},{"$f":"SUM(B114:B115)","v":1},{"$f":"SUM(C114:C115)","v":8.5570000000000004},{"$f":"SUM(D114:D115)","v":12.157999999999999}]
[{"$f":"D109","v":8.5515000000000008},{"$f":"D109","v":8.5515000000000008},{"$f":"D109","v":8.5515000000000008},{"$f":"D109","v":8.5515000000000008}]
[{"$f":"SUM(A117-A116)","v":5.0000000000061107E-4},{"$f":"SUM(B117-B116)","v":7.5515000000000008},{"$f":"SUM(C117-C116)","v":-5.4999999999996163E-3},{"$f":"SUM(D117-D116)","v":-3.6064999999999987}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[7.56,11.16,{"$f":"D104","v":7.5519999999999996},11.157]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":8.5599999999999987},{"$f":"SUM(B124:B125)","v":12.16},{"$f":"SUM(C124:C125)","v":8.5519999999999996},{"$f":"SUM(D124:D125)","v":12.157}]
[{"$f":"D109","v":8.5515000000000008},{"$f":"D109","v":8.5515000000000008},{"$f":"D109","v":8.5515000000000008},{"$f":"D109","v":8.5515000000000008}]
[{"$f":"SUM(A127-A126)","v":-8.4999999999979536E-3},{"$f":"SUM(B127-B126)","v":-3.6084999999999994},{"$f":"SUM(C127-C126)","v":-4.9999999999883471E-4},{"$f":"SUM(D127-D126)","v":-3.6054999999999993}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[12.952,null,-5.4640000000000004,"LOS"]
[{"$f":"D109","v":8.5515000000000008},null,2.4E-2,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.4004999999999992},null,{"$f":"SUM(C137+C138)","v":-5.44}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.4790000000000001},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",8]
["Date:","2009-11-16"]
["Crew:","HI FG"]
[]
[]
["HI =",{"$f":"D109","v":8.5515000000000008}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[4.0750000000000002,4.0789999999999997,4.0819999999999999,4.0759999999999996]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":5.0750000000000002},{"$f":"SUM(B165:B166)","v":5.0789999999999997},{"$f":"SUM(C165:C166)","v":5.0819999999999999},{"$f":"SUM(D165:D166)","v":5.0759999999999996}]
[{"$f":"D109","v":8.5515000000000008},{"$f":"D109","v":8.5515000000000008},{"$f":"D109","v":8.5515000000000008},{"$f":"D109","v":8.5515000000000008}]
[{"$f":"SUM(A168-A167)","v":3.4765000000000006},{"$f":"SUM(B168-B167)","v":3.472500000000001},{"$f":"SUM(C168-C167)","v":3.4695000000000009},{"$f":"SUM(D168-D167)","v":3.4755000000000011}]
[]
[]
["5)","6)","7)","8)"]
[11.157999999999999,11.157999999999999,11.157999999999999,11.157999999999999]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":12.157999999999999},{"$f":"SUM(B173+B174)","v":12.157999999999999},{"$f":"SUM(C173+C174)","v":12.157999999999999},{"$f":"SUM(D173+D174)","v":12.157999999999999}]
[{"$f":"D109","v":8.5515000000000008},{"$f":"D109","v":8.5515000000000008},{"$f":"D109","v":8.5515000000000008},{"$f":"D109","v":8.5515000000000008}]
[{"$f":"SUM(A176-A175)","v":-3.6064999999999987},{"$f":"SUM(B176-B175)","v":-3.6064999999999987},{"$f":"SUM(C176-C175)","v":-3.6064999999999987},{"$f":"SUM(D176-D175)","v":-3.6064999999999987}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[7.7919999999999998,null,9.9359999999999999,13.016999999999999]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":8.7919999999999998},null,{"$f":"SUM(C184+C185)","v":10.936},{"$f":"SUM(D184+D185)","v":14.016999999999999}]
[{"$f":"D109","v":8.5515000000000008},null,{"$f":"D109","v":8.5515000000000008},{"$f":"D109","v":8.5515000000000008}]
[{"$f":"SUM(A187-A186)","v":-0.24049999999999905},0,{"$f":"SUM(C187-C186)","v":-2.3844999999999992},{"$f":"SUM(D187-D186)","v":-5.4654999999999987}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[6.84,6.84,6.8419999999999996,6.843]
[{"$f":"D109","v":8.5515000000000008},{"$f":"D109","v":8.5515000000000008},{"$f":"D109","v":8.5515000000000008},{"$f":"D109","v":8.5515000000000008}]
[{"$f":"SUM(A196-A195)","v":1.7115000000000009},{"$f":"SUM(B196-B195)","v":1.7115000000000009},{"$f":"SUM(C196-C195)","v":1.7095000000000011},{"$f":"SUM(D196-D195)","v":1.7085000000000008}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":8}]
["Date"," ",{"$f":"Sheet1!B6","v":"2009-11-16"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"HI FG"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.4765000000000006},{"$f":"B10*25.4","v":88.303100000000015},null,null,5,{"$f":"Sheet1!A35","v":4.291999999999998},{"$f":"G10*25.4","v":109.01679999999995}]
[2,{"$f":"Sheet1!B169","v":3.472500000000001},{"$f":"B11*25.4","v":88.201500000000024},null,null,6,{"$f":"Sheet1!B35","v":4.2979999999999983},{"$f":"G11*25.4","v":109.16919999999995}]
[3,{"$f":"Sheet1!C169","v":3.4695000000000009},{"$f":"B12*25.4","v":88.125300000000024},null,null,7,{"$f":"Sheet1!C35","v":4.2970000000000006},{"$f":"G12*25.4","v":109.14380000000001}]
[4,{"$f":"Sheet1!D169","v":3.4755000000000011},{"$f":"B13*25.4","v":88.277700000000024},null,null,8,{"$f":"Sheet1!D35","v":4.2989999999999995},{"$f":"G13*25.4","v":109.19459999999998}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.4780000000000015},{"$f":"Sheet1!C118","v":-5.4999999999996163E-3},{"$f":"B20*25.4","v":-139.14120000000003},{"$f":"C20*25.4","v":-0.13969999999999025},null,{"$f":"H10-D21","v":156.84499999999983},{"$f":"C10-E20","v":88.442800000000005}]
["X1",{"$f":"Sheet1!A78","v":-1.8829999999999956},{"$f":"Sheet1!D118","v":-3.6064999999999987},{"$f":"B21*25.4","v":-47.828199999999882},{"$f":"C21*25.4","v":-91.605099999999965}]
["Y1",{"$f":"Sheet1!B78","v":-5.4780000000000015},null,{"$f":"B22*25.4","v":-139.14120000000003}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.4789999999999992},{"$f":"Sheet1!A128","v":-8.4999999999979536E-3},{"$f":"B26*25.4","v":-139.16659999999996},{"$f":"C26*25.4","v":-0.21589999999994802},null,{"$f":"H13-D27","v":157.07360000000011},{"$f":"C13-E26","v":88.493599999999972}]
["X1",{"$f":"Sheet1!A87","v":-1.8850000000000051},{"$f":"Sheet1!B128","v":-3.6084999999999994},{"$f":"B27*25.4","v":-47.879000000000126},{"$f":"C27*25.4","v":-91.655899999999974}]
["Y2",{"$f":"Sheet1!C87","v":-5.4789999999999992},"\\",{"$f":"B28*25.4","v":-139.16659999999996}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.4790000000000001},{"$f":"B36*25.4","v":-139.16659999999999},null,"US  +",{"$f":"Sheet1!A197","v":1.7115000000000009},{"$f":"F36*25.4","v":43.472100000000019}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.7115000000000009},{"$f":"F37*25.4","v":43.472100000000019}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.7095000000000011},{"$f":"F38*25.4","v":43.421300000000024}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.7085000000000008},{"$f":"F39*25.4","v":43.395900000000019}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.4004999999999992},{"$f":"B42*25.4","v":-111.77269999999997}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":8}]
["Date"," ",{"$f":"Sheet1!B6","v":"2009-11-16"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"HI FG"}]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.4870000000000019},{"$f":"Sheet1!A169","v":3.4765000000000006},{"$f":"SUM(B10*25.4)","v":-139.36980000000003},{"$f":"SUM(D10*25.4)","v":-3539.9929200000006}]
[2,{"$f":"Sheet1!B28","v":-5.4830000000000041},{"$f":"Sheet1!B169","v":3.472500000000001},{"$f":"SUM(B11*25.4)","v":-139.26820000000009},{"$f":"SUM(D11*25.4)","v":-3537.4122800000023},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.4810000000000016},{"$f":"Sheet1!C169","v":3.4695000000000009},-139.21740000000003,-3536.1219600000004,null,{"$f":"Sheet1!C141","v":-5.4790000000000001},{"$f":"SUM(G12*25.4)","v":-139.16659999999999}]
[4,{"$f":"Sheet1!D28","v":-5.480000000000004},{"$f":"Sheet1!D169","v":3.4755000000000011},-139.19200000000009,-3535.4768000000022]
[5,{"$f":"Sheet1!A35","v":4.291999999999998},{"$f":"Sheet1!A177","v":-3.6064999999999987},109.01679999999995,2769.0267199999985]
[6,{"$f":"Sheet1!B35","v":4.2979999999999983},{"$f":"Sheet1!B177","v":-3.6064999999999987},109.16919999999995,2772.8976799999987,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.2970000000000006},{"$f":"Sheet1!C177","v":-3.6064999999999987},109.14380000000001,2772.25252]
[8,{"$f":"Sheet1!D35","v":4.2989999999999995},{"$f":"Sheet1!D177","v":-3.6064999999999987},109.19459999999998,2773.5428399999992,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.4004999999999992},{"$f":"SUM(G18*25.4)","v":-111.77269999999997}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.8829999999999956},{"$f":"Sheet1!C118","v":-5.4999999999996163E-3},{"$f":"SUM(B23*25.4)","v":-47.828199999999882},{"$f":"SUM(C23*25.4)","v":-0.13969999999999025}]
["X1",{"$f":"Sheet1!A78","v":-1.8829999999999956},{"$f":"Sheet1!D118","v":-3.6064999999999987},{"$f":"SUM(B24*25.4)","v":-47.828199999999882},{"$f":"SUM(C24*25.4)","v":-91.605099999999965},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.4780000000000015},null,{"$f":"SUM(B25*25.4)","v":-139.14120000000003},null,null,"US  +",{"$f":"Sheet1!A197","v":1.7115000000000009},{"$f":"SUM(H25*25.4)","v":43.472100000000019}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.7115000000000009},{"$f":"SUM(H26*25.4)","v":43.472100000000019}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.7095000000000011},{"$f":"SUM(H27*25.4)","v":43.421300000000024}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.7085000000000008},{"$f":"SUM(H28*25.4)","v":43.395900000000019}]
["Y1",{"$f":"Sheet1!B87","v":-5.4789999999999992},{"$f":"Sheet1!A128","v":-8.4999999999979536E-3},{"$f":"SUM(B29*25.4)","v":-139.16659999999996},{"$f":"SUM(C29*25.4)","v":-0.21589999999994802}]
["X1",{"$f":"Sheet1!A87","v":-1.8850000000000051},{"$f":"Sheet1!B128","v":-3.6084999999999994},{"$f":"SUM(B30*25.4)","v":-47.879000000000126},{"$f":"SUM(C30*25.4)","v":-91.655899999999974}]
["Y2",{"$f":"Sheet1!C87","v":-5.4789999999999992},null,{"$f":"SUM(B31*25.4)","v":-139.16659999999996}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.6000000000000014},{"$f":"Sheet1!A118","v":5.0000000000061107E-4},{"$f":"SUM(B37*25.4)","v":-91.440000000000026},{"$f":"SUM(C37*25.4)","v":1.270000000001552E-2},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":7.5515000000000008},0,{"$f":"SUM(C38*25.4)","v":191.8081}]
["Y2",{"$f":"Sheet1!C68","v":-3.6039999999999992},null,{"$f":"SUM(B39*25.4)","v":-91.541599999999974}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.597999999999999},{"$f":"Sheet1!C128","v":-4.9999999999883471E-4},{"$f":"SUM(B43*25.4)","v":-91.389199999999974},{"$f":"SUM(C43*25.4)","v":-1.2699999999970402E-2}]
["X1",0,{"$f":"Sheet1!D128","v":-3.6054999999999993},0,{"$f":"SUM(C44*25.4)","v":-91.579699999999974}]
["Y2",{"$f":"Sheet1!C96","v":-3.5970000000000013},null,{"$f":"SUM(B45*25.4)","v":-91.363800000000026}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-7.0350000000000037},{"$f":"Sheet1!A188","v":-0.24049999999999905},{"$f":"SUM(B49*25.4)","v":-178.68900000000008},{"$f":"SUM(C49*25.4)","v":-6.1086999999999758}]
["B",{"$f":"Sheet1!B45","v":-2.5},null,{"$f":"SUM(B50*25.4)","v":-63.5}]
["C",{"$f":"Sheet1!C45","v":-0.74399999999999977},{"$f":"Sheet1!C188","v":-2.3844999999999992},{"$f":"SUM(B51*25.4)","v":-18.897599999999994},{"$f":"SUM(C51*25.4)","v":-60.566299999999977}]
["D",{"$f":"Sheet1!D45","v":-0.7430000000000021},{"$f":"Sheet1!D188","v":-5.4654999999999987},{"$f":"SUM(B52*25.4)","v":-18.872200000000053},{"$f":"SUM(C52*25.4)","v":-138.82369999999995}]