{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator","SN 08"]
["Date:","2013-11-01"]
["Crew:","MJR, LG"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",28]
["1st. Near",28.7]
["2nd. Far",29.5]
["2nd Near",29.076000000000001]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":28.934163701067614}]
["Near Should Read",28.934163701067614]
["LOS",28.934163701067614]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[33.427,33.423999999999999,33.421999999999997,33.42]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":34.427},{"$f":"SUM(B24:B25)","v":34.423999999999999},{"$f":"SUM(C24:C25)","v":34.421999999999997},{"$f":"SUM(D24:D25)","v":34.42}]
[{"$f":"B18","v":28.934163701067614},{"$f":"B18","v":28.934163701067614},{"$f":"B18","v":28.934163701067614},{"$f":"B18","v":28.934163701067614}]
[{"$f":"SUM(A27-A26)","v":-5.4928362989323851},{"$f":"SUM(B27-B26)","v":-5.489836298932385},{"$f":"SUM(C27-C26)","v":-5.4878362989323826},{"$f":"SUM(D27-D26)","v":-5.4858362989323872}]
[]
["5)","6)","7)","8)"]
[23.651,23.643999999999998,23.645,23.646000000000001]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":24.651},{"$f":"SUM(B31:B32)","v":24.643999999999998},{"$f":"SUM(C31:C32)","v":24.645},{"$f":"SUM(D31:D32)","v":24.646000000000001}]
[{"$f":"B18","v":28.934163701067614},{"$f":"B18","v":28.934163701067614},{"$f":"B18","v":28.934163701067614},{"$f":"B18","v":28.934163701067614}]
[{"$f":"SUM(A34-A33)","v":4.2831637010676147},{"$f":"SUM(B34-B33)","v":4.2901637010676161},{"$f":"SUM(C34-C33)","v":4.2891637010676149},{"$f":"SUM(D34-D33)","v":4.2881637010676137}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[34.976999999999997,30.445,28.686,28.684999999999999]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":35.976999999999997},{"$f":"SUM(B41:B42)","v":31.445},{"$f":"SUM(C41:C42)","v":29.686},{"$f":"SUM(D41:D42)","v":29.684999999999999}]
[{"$f":"B18","v":28.934163701067614},{"$f":"B18","v":28.934163701067614},{"$f":"B18","v":28.934163701067614},{"$f":"B18","v":28.934163701067614}]
[{"$f":"SUM(A44-A43)","v":-7.0428362989323823},{"$f":"SUM(B44-B43)","v":-2.5108362989323858},{"$f":"SUM(C44-C43)","v":-0.75183629893238546},{"$f":"SUM(D44-D43)","v":-0.75083629893238424}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":28.934163701067614},"LOS"]
["Undulator",{"$f":"B5","v":"SN 08"}]
["Date:",{"$f":"B6","v":"2013-11-01"}]
["Crew:",{"$f":"B7","v":"MJR, LG"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,31.533000000000001,31.536999999999999]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":32.533000000000001},{"$f":"SUM(C64:C65)","v":32.536999999999999}]
[null,{"$f":"B18","v":28.934163701067614},{"$f":"B18","v":28.934163701067614}]
[0,{"$f":"SUM(B67-B66)","v":-3.5988362989323868},{"$f":"SUM(C67-C66)","v":-3.6028362989323846}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[29.827000000000002,33.421999999999997,33.420999999999999]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":30.827000000000002},{"$f":"SUM(B74:B75)","v":34.421999999999997},{"$f":"SUM(C74:C75)","v":34.420999999999999}]
[{"$f":"B18","v":28.934163701067614},{"$f":"B18","v":28.934163701067614},{"$f":"B18","v":28.934163701067614}]
[{"$f":"SUM(A77-A76)","v":-1.8928362989323873},{"$f":"SUM(B77-B76)","v":-5.4878362989323826},{"$f":"SUM(C77-C76)","v":-5.4868362989323849}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[29.826000000000001,33.417999999999999,33.423000000000002]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":30.826000000000001},{"$f":"SUM(B83:B84)","v":34.417999999999999},{"$f":"SUM(C83:C84)","v":34.423000000000002}]
[{"$f":"B18","v":28.934163701067614},{"$f":"B18","v":28.934163701067614},{"$f":"B18","v":28.934163701067614}]
[{"$f":"SUM(A86-A85)","v":-1.891836298932386},{"$f":"SUM(B86-B85)","v":-5.4838362989323848},{"$f":"SUM(C86-C85)","v":-5.4888362989323873}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,31.533999999999999,31.530999999999999]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":32.533999999999999},{"$f":"SUM(C92:C93)","v":32.530999999999999}]
[null,{"$f":"B18","v":28.934163701067614},{"$f":"B18","v":28.934163701067614}]
[0,{"$f":"SUM(B95-B94)","v":-3.5998362989323844},{"$f":"SUM(C95-C94)","v":-3.5968362989323843}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,8.9570000000000007,8.9529999999999994]
[null,null,1,1]
["Undulator",{"$f":"B5","v":"SN 08"},{"$f":"SUM(C104+C105)","v":9.9570000000000007},{"$f":"SUM(D104+D105)","v":9.9529999999999994}]
["Date:",{"$f":"B6","v":"2013-11-01"}]
["Crew:",{"$f":"B7","v":"MJR, LG"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":9.9550000000000001}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":8.9570000000000007},12.555,8.9529999999999994,12.555]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":9.9570000000000007},{"$f":"SUM(B114:B115)","v":13.555},{"$f":"SUM(C114:C115)","v":9.9529999999999994},{"$f":"SUM(D114:D115)","v":13.555}]
[{"$f":"D109","v":9.9550000000000001},{"$f":"D109","v":9.9550000000000001},{"$f":"D109","v":9.9550000000000001},{"$f":"D109","v":9.9550000000000001}]
[{"$f":"SUM(A117-A116)","v":-2.0000000000006679E-3},{"$f":"SUM(B117-B116)","v":-3.5999999999999996},{"$f":"SUM(C117-C116)","v":2.0000000000006679E-3},{"$f":"SUM(D117-D116)","v":-3.5999999999999996}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[8.9550000000000001,12.555999999999999,{"$f":"D104","v":8.9529999999999994},12.555]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":9.9550000000000001},{"$f":"SUM(B124:B125)","v":13.555999999999999},{"$f":"SUM(C124:C125)","v":9.9529999999999994},{"$f":"SUM(D124:D125)","v":13.555}]
[{"$f":"D109","v":9.9550000000000001},{"$f":"D109","v":9.9550000000000001},{"$f":"D109","v":9.9550000000000001},{"$f":"D109","v":9.9550000000000001}]
[{"$f":"SUM(A127-A126)","v":0},{"$f":"SUM(B127-B126)","v":-3.6009999999999991},{"$f":"SUM(C127-C126)","v":2.0000000000006679E-3},{"$f":"SUM(D127-D126)","v":-3.5999999999999996}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[14.348000000000001,null,-5.4640000000000004,"LOS"]
[{"$f":"D109","v":9.9550000000000001},null,3.5000000000000003E-2,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.3930000000000007},null,{"$f":"SUM(C137+C138)","v":-5.4290000000000003}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.468},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":"SN 08"}]
["Date:",{"$f":"B6","v":41579}]
["Crew:","MJR, LG"]
[]
[]
["HI =",{"$f":"D109","v":9.9550000000000001}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[5.47,5.4720000000000004,5.476,5.4720000000000004]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":6.47},{"$f":"SUM(B165:B166)","v":6.4720000000000004},{"$f":"SUM(C165:C166)","v":6.476},{"$f":"SUM(D165:D166)","v":6.4720000000000004}]
[{"$f":"D109","v":9.9550000000000001},{"$f":"D109","v":9.9550000000000001},{"$f":"D109","v":9.9550000000000001},{"$f":"D109","v":9.9550000000000001}]
[{"$f":"SUM(A168-A167)","v":3.4850000000000003},{"$f":"SUM(B168-B167)","v":3.4829999999999997},{"$f":"SUM(C168-C167)","v":3.4790000000000001},{"$f":"SUM(D168-D167)","v":3.4829999999999997}]
[]
[]
["5)","6)","7)","8)"]
[12.558,12.555,12.555,12.558]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":13.558},{"$f":"SUM(B173+B174)","v":13.555},{"$f":"SUM(C173+C174)","v":13.555},{"$f":"SUM(D173+D174)","v":13.558}]
[{"$f":"D109","v":9.9550000000000001},{"$f":"D109","v":9.9550000000000001},{"$f":"D109","v":9.9550000000000001},{"$f":"D109","v":9.9550000000000001}]
[{"$f":"SUM(A176-A175)","v":-3.6029999999999998},{"$f":"SUM(B176-B175)","v":-3.5999999999999996},{"$f":"SUM(C176-C175)","v":-3.5999999999999996},{"$f":"SUM(D176-D175)","v":-3.6029999999999998}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[9.1910000000000007,null,11.336,14.416]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":10.191000000000001},null,{"$f":"SUM(C184+C185)","v":12.336},{"$f":"SUM(D184+D185)","v":15.416}]
[{"$f":"D109","v":9.9550000000000001},null,{"$f":"D109","v":9.9550000000000001},{"$f":"D109","v":9.9550000000000001}]
[{"$f":"SUM(A187-A186)","v":-0.23600000000000065},0,{"$f":"SUM(C187-C186)","v":-2.3810000000000002},{"$f":"SUM(D187-D186)","v":-5.4610000000000003}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[8.2349999999999994,8.234,8.2379999999999995,8.2370000000000001]
[{"$f":"D109","v":9.9550000000000001},{"$f":"D109","v":9.9550000000000001},{"$f":"D109","v":9.9550000000000001},{"$f":"D109","v":9.9550000000000001}]
[{"$f":"SUM(A196-A195)","v":1.7200000000000006},{"$f":"SUM(B196-B195)","v":1.7210000000000001},{"$f":"SUM(C196-C195)","v":1.7170000000000005},{"$f":"SUM(D196-D195)","v":1.718}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":"SN 08"}]
["Date"," ",{"$f":"Sheet1!B6","v":"2013-11-01"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"MJR, LG"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.4850000000000003},{"$f":"B10*25.4","v":88.519000000000005},null,null,5,{"$f":"Sheet1!A35","v":4.2831637010676147},{"$f":"G10*25.4","v":108.7923580071174}]
[2,{"$f":"Sheet1!B169","v":3.4829999999999997},{"$f":"B11*25.4","v":88.468199999999982},null,null,6,{"$f":"Sheet1!B35","v":4.2901637010676161},{"$f":"G11*25.4","v":108.97015800711745}]
[3,{"$f":"Sheet1!C169","v":3.4790000000000001},{"$f":"B12*25.4","v":88.366599999999991},null,null,7,{"$f":"Sheet1!C35","v":4.2891637010676149},{"$f":"G12*25.4","v":108.94475800711741}]
[4,{"$f":"Sheet1!D169","v":3.4829999999999997},{"$f":"B13*25.4","v":88.468199999999982},null,null,8,{"$f":"Sheet1!D35","v":4.2881637010676137},{"$f":"G13*25.4","v":108.91935800711738}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.4868362989323849},{"$f":"Sheet1!C118","v":2.0000000000006679E-3},{"$f":"B20*25.4","v":-139.36564199288256},{"$f":"C20*25.4","v":5.0800000000016964E-2},null,{"$f":"H10-D21","v":156.87040000000002},{"$f":"C10-E20","v":88.468199999999982}]
["X1",{"$f":"Sheet1!A78","v":-1.8928362989323873},{"$f":"Sheet1!D118","v":-3.5999999999999996},{"$f":"B21*25.4","v":-48.078041992882632},{"$f":"C21*25.4","v":-91.439999999999984}]
["Y1",{"$f":"Sheet1!B78","v":-5.4878362989323826},null,{"$f":"B22*25.4","v":-139.39104199288252}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.4838362989323848},{"$f":"Sheet1!A128","v":0},{"$f":"B26*25.4","v":-139.28944199288256},{"$f":"C26*25.4","v":0},null,{"$f":"H13-D27","v":156.97199999999998},{"$f":"C13-E26","v":88.468199999999982}]
["X1",{"$f":"Sheet1!A87","v":-1.891836298932386},{"$f":"Sheet1!B128","v":-3.6009999999999991},{"$f":"B27*25.4","v":-48.052641992882606},{"$f":"C27*25.4","v":-91.465399999999974}]
["Y2",{"$f":"Sheet1!C87","v":-5.4888362989323873},"\\",{"$f":"B28*25.4","v":-139.41644199288262}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.468},{"$f":"B36*25.4","v":-138.88719999999998},null,"US  +",{"$f":"Sheet1!A197","v":1.7200000000000006},{"$f":"F36*25.4","v":43.688000000000017}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.7210000000000001},{"$f":"F37*25.4","v":43.7134}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.7170000000000005},{"$f":"F38*25.4","v":43.611800000000009}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.718},{"$f":"F39*25.4","v":43.6372}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.3930000000000007},{"$f":"B42*25.4","v":-111.58220000000001}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",13]
["Date"," ",{"$f":"Sheet1!B6","v":"2013-11-01"}]
["Crew"," ","MR,BR"]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.4928362989323851},{"$f":"Sheet1!A169","v":3.4850000000000003},{"$f":"SUM(B10*25.4)","v":-139.51804199288259},{"$f":"SUM(C10*25.4)","v":88.519000000000005}]
[2,{"$f":"Sheet1!B28","v":-5.489836298932385},{"$f":"Sheet1!B169","v":3.4829999999999997},{"$f":"SUM(B11*25.4)","v":-139.44184199288256},{"$f":"SUM(C11*25.4)","v":88.468199999999982},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.4878362989323826},{"$f":"Sheet1!C169","v":3.4790000000000001},-139.39104199288252,88.366599999999991,null,{"$f":"Sheet1!C141","v":-5.468},{"$f":"SUM(G12*25.4)","v":-138.88719999999998}]
[4,{"$f":"Sheet1!D28","v":-5.4858362989323872},{"$f":"Sheet1!D169","v":3.4829999999999997},-139.34024199288262,88.468199999999982]
[5,{"$f":"Sheet1!A35","v":4.2831637010676147},{"$f":"Sheet1!A177","v":-3.6029999999999998},108.7923580071174,-91.516199999999984]
[6,{"$f":"Sheet1!B35","v":4.2901637010676161},{"$f":"Sheet1!B177","v":-3.5999999999999996},108.97015800711745,-91.439999999999984,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.2891637010676149},{"$f":"Sheet1!C177","v":-3.5999999999999996},108.94475800711741,-91.439999999999984]
[8,{"$f":"Sheet1!D35","v":4.2881637010676137},{"$f":"Sheet1!D177","v":-3.6029999999999998},108.91935800711738,-91.516199999999984,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.3930000000000007},{"$f":"SUM(G18*25.4)","v":-111.58220000000001}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.8928362989323873},{"$f":"Sheet1!C118","v":2.0000000000006679E-3},{"$f":"SUM(B23*25.4)","v":-48.078041992882632},{"$f":"SUM(C23*25.4)","v":5.0800000000016964E-2}]
["X1",{"$f":"Sheet1!A78","v":-1.8928362989323873},{"$f":"Sheet1!D118","v":-3.5999999999999996},{"$f":"SUM(B24*25.4)","v":-48.078041992882632},{"$f":"SUM(C24*25.4)","v":-91.439999999999984},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.4878362989323826},null,{"$f":"SUM(B25*25.4)","v":-139.39104199288252},null,null,"US  +",{"$f":"Sheet1!A197","v":1.7200000000000006},{"$f":"SUM(H25*25.4)","v":43.688000000000017}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.7210000000000001},{"$f":"SUM(H26*25.4)","v":43.7134}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.7170000000000005},{"$f":"SUM(H27*25.4)","v":43.611800000000009}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.718},{"$f":"SUM(H28*25.4)","v":43.6372}]
["Y1",{"$f":"Sheet1!B87","v":-5.4838362989323848},{"$f":"Sheet1!A128","v":0},{"$f":"SUM(B29*25.4)","v":-139.28944199288256},{"$f":"SUM(C29*25.4)","v":0}]
["X1",{"$f":"Sheet1!A87","v":-1.891836298932386},{"$f":"Sheet1!B128","v":-3.6009999999999991},{"$f":"SUM(B30*25.4)","v":-48.052641992882606},{"$f":"SUM(C30*25.4)","v":-91.465399999999974}]
["Y2",{"$f":"Sheet1!C87","v":-5.4888362989323873},null,{"$f":"SUM(B31*25.4)","v":-139.41644199288262}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.5988362989323868},{"$f":"Sheet1!A118","v":-2.0000000000006679E-3},{"$f":"SUM(B37*25.4)","v":-91.410441992882625},{"$f":"SUM(C37*25.4)","v":-5.0800000000016964E-2},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.5999999999999996},0,{"$f":"SUM(C38*25.4)","v":-91.439999999999984}]
["Y2",{"$f":"Sheet1!C68","v":-3.6028362989323846},null,{"$f":"SUM(B39*25.4)","v":-91.512041992882558}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.5998362989323844},{"$f":"Sheet1!C128","v":2.0000000000006679E-3},{"$f":"SUM(B43*25.4)","v":-91.435841992882558},{"$f":"SUM(C43*25.4)","v":5.0800000000016964E-2}]
["X1",0,{"$f":"Sheet1!D128","v":-3.5999999999999996},0,{"$f":"SUM(C44*25.4)","v":-91.439999999999984}]
["Y2",{"$f":"Sheet1!C96","v":-3.5968362989323843},null,{"$f":"SUM(B45*25.4)","v":-91.359641992882558}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-7.0428362989323823},{"$f":"Sheet1!A188","v":-0.23600000000000065},{"$f":"SUM(B49*25.4)","v":-178.88804199288251},{"$f":"SUM(C49*25.4)","v":-5.9944000000000166}]
["B",{"$f":"Sheet1!B45","v":-2.5108362989323858},null,{"$f":"SUM(B50*25.4)","v":-63.775241992882599}]
["C",{"$f":"Sheet1!C45","v":-0.75183629893238546},{"$f":"Sheet1!C188","v":-2.3810000000000002},{"$f":"SUM(B51*25.4)","v":-19.096641992882589},{"$f":"SUM(C51*25.4)","v":-60.477400000000003}]
["D",{"$f":"Sheet1!D45","v":-0.75083629893238424},{"$f":"Sheet1!D188","v":-5.4610000000000003},{"$f":"SUM(B52*25.4)","v":-19.071241992882559},{"$f":"SUM(C52*25.4)","v":-138.70939999999999}]