{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["MMF 11-5-09","AEG 11-5-09","RAW 11-5-09"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"MMF 11-5-09","index":0,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"'RAW 11-5-09'!B5","v":"SN 13"}]
["Date"," ",{"$f":"'RAW 11-5-09'!B6","v":"2009-11-05"}]
["Crew"," ",{"$f":"'RAW 11-5-09'!B7","v":"BR, LG"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"'RAW 11-5-09'!A169","v":3.4819999999999993},{"$f":"B10*25.4","v":88.442799999999977},null,null,5,{"$f":"'RAW 11-5-09'!A35","v":4.296999999999997},{"$f":"G10*25.4","v":109.14379999999991}]
[2,{"$f":"'RAW 11-5-09'!B169","v":3.4799999999999986},{"$f":"B11*25.4","v":88.391999999999967},null,null,6,{"$f":"'RAW 11-5-09'!B35","v":4.2939999999999969},{"$f":"G11*25.4","v":109.06759999999991}]
[3,{"$f":"'RAW 11-5-09'!C169","v":3.4769999999999985},{"$f":"B12*25.4","v":88.315799999999953},null,null,7,{"$f":"'RAW 11-5-09'!C35","v":4.2959999999999994},{"$f":"G12*25.4","v":109.11839999999998}]
[4,{"$f":"'RAW 11-5-09'!D169","v":3.4819999999999993},{"$f":"B13*25.4","v":88.442799999999977},null,null,8,{"$f":"'RAW 11-5-09'!D35","v":4.296999999999997},{"$f":"G13*25.4","v":109.14379999999991}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"'RAW 11-5-09'!C78","v":-5.480000000000004},{"$f":"'RAW 11-5-09'!C118","v":-9.0000000000003411E-3},{"$f":"B20*25.4","v":-139.19200000000009},{"$f":"C20*25.4","v":-0.22860000000000866},null,{"$f":"H10-D21","v":156.99739999999991},{"$f":"C10-E20","v":88.671399999999991}]
["X1",{"$f":"'RAW 11-5-09'!A78","v":-1.8840000000000003},{"$f":"'RAW 11-5-09'!D118","v":-3.6100000000000012},{"$f":"B21*25.4","v":-47.853600000000007},{"$f":"C21*25.4","v":-91.694000000000031}]
["Y1",{"$f":"'RAW 11-5-09'!B78","v":-5.4770000000000039},null,{"$f":"B22*25.4","v":-139.11580000000009}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"'RAW 11-5-09'!B87","v":-5.472999999999999},{"$f":"'RAW 11-5-09'!A128","v":-4.0000000000013358E-3},{"$f":"B26*25.4","v":-139.01419999999996},{"$f":"C26*25.4","v":-0.10160000000003393},null,{"$f":"H13-D27","v":156.87039999999996},{"$f":"C13-E26","v":88.54440000000001}]
["X1",{"$f":"'RAW 11-5-09'!A87","v":-1.8790000000000013},{"$f":"'RAW 11-5-09'!B128","v":-3.6070000000000011},{"$f":"B27*25.4","v":-47.726600000000033},{"$f":"C27*25.4","v":-91.617800000000017}]
["Y2",{"$f":"'RAW 11-5-09'!C87","v":-5.4759999999999991},"\\",{"$f":"B28*25.4","v":-139.09039999999996}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"'RAW 11-5-09'!C141","v":-5.48},{"$f":"B36*25.4","v":-139.19200000000001},null,"US  +",{"$f":"'RAW 11-5-09'!A197","v":1.7099999999999991},{"$f":"F36*25.4","v":43.433999999999976}]
[null," ",null,null,"US   -",{"$f":"'RAW 11-5-09'!B197","v":1.7079999999999984},{"$f":"F37*25.4","v":43.38319999999996}]
[null,null,null,null,"DS  +",{"$f":"'RAW 11-5-09'!C197","v":1.7119999999999997},{"$f":"F38*25.4","v":43.484799999999993}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"'RAW 11-5-09'!D197","v":1.7099999999999991},{"$f":"F39*25.4","v":43.433999999999976}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"'RAW 11-5-09'!A139","v":-4.402000000000001},{"$f":"B42*25.4","v":-111.81080000000001}]

{"sheet":"AEG 11-5-09","index":1,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"'RAW 11-5-09'!B5","v":"SN 13"}]
["Date"," ",{"$f":"'RAW 11-5-09'!B6","v":"2009-11-05"}]
["Crew"," ",{"$f":"'RAW 11-5-09'!B7","v":"BR, LG"}]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"'RAW 11-5-09'!A28","v":-5.4860000000000042},{"$f":"'RAW 11-5-09'!A169","v":3.4819999999999993},{"$f":"SUM(B10*25.4)","v":-139.34440000000009},{"$f":"SUM(D10*25.4)","v":-3539.3477600000024}]
[2,{"$f":"'RAW 11-5-09'!B28","v":-5.480000000000004},{"$f":"'RAW 11-5-09'!B169","v":3.4799999999999986},{"$f":"SUM(B11*25.4)","v":-139.19200000000009},{"$f":"SUM(D11*25.4)","v":-3535.4768000000022},null,"X (in)","X (mm)"]
[3,{"$f":"'RAW 11-5-09'!C28","v":-5.4830000000000041},{"$f":"'RAW 11-5-09'!C169","v":3.4769999999999985},-139.26820000000009,-3537.4122800000023,null,{"$f":"'RAW 11-5-09'!C141","v":-5.48},{"$f":"SUM(G12*25.4)","v":-139.19200000000001}]
[4,{"$f":"'RAW 11-5-09'!D28","v":-5.4840000000000018},{"$f":"'RAW 11-5-09'!D169","v":3.4819999999999993},-139.29360000000003,-3538.0574400000005]
[5,{"$f":"'RAW 11-5-09'!A35","v":4.296999999999997},{"$f":"'RAW 11-5-09'!A177","v":-3.6050000000000004},109.14379999999991,2772.2525199999977]
[6,{"$f":"'RAW 11-5-09'!B35","v":4.2939999999999969},{"$f":"'RAW 11-5-09'!B177","v":-3.6120000000000019},109.06759999999991,2770.3170399999976,null,"Top of Gage Block"]
[7,{"$f":"'RAW 11-5-09'!C35","v":4.2959999999999994},{"$f":"'RAW 11-5-09'!C177","v":-3.6080000000000005},109.11839999999998,2771.6073599999995]
[8,{"$f":"'RAW 11-5-09'!D35","v":4.296999999999997},{"$f":"'RAW 11-5-09'!D177","v":-3.6090000000000018},109.14379999999991,2772.2525199999977,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"'RAW 11-5-09'!A139","v":-4.402000000000001},{"$f":"SUM(G18*25.4)","v":-111.81080000000001}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"'RAW 11-5-09'!A78","v":-1.8840000000000003},{"$f":"'RAW 11-5-09'!C118","v":-9.0000000000003411E-3},{"$f":"SUM(B23*25.4)","v":-47.853600000000007},{"$f":"SUM(C23*25.4)","v":-0.22860000000000866}]
["X1",{"$f":"'RAW 11-5-09'!A78","v":-1.8840000000000003},{"$f":"'RAW 11-5-09'!D118","v":-3.6100000000000012},{"$f":"SUM(B24*25.4)","v":-47.853600000000007},{"$f":"SUM(C24*25.4)","v":-91.694000000000031},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"'RAW 11-5-09'!B78","v":-5.4770000000000039},null,{"$f":"SUM(B25*25.4)","v":-139.11580000000009},null,null,"US  +",{"$f":"'RAW 11-5-09'!A197","v":1.7099999999999991},{"$f":"SUM(H25*25.4)","v":43.433999999999976}]
[null,null,null,null,null,null,"US   -",{"$f":"'RAW 11-5-09'!B197","v":1.7079999999999984},{"$f":"SUM(H26*25.4)","v":43.38319999999996}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"'RAW 11-5-09'!C197","v":1.7119999999999997},{"$f":"SUM(H27*25.4)","v":43.484799999999993}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"'RAW 11-5-09'!D197","v":1.7099999999999991},{"$f":"SUM(H28*25.4)","v":43.433999999999976}]
["Y1",{"$f":"'RAW 11-5-09'!B87","v":-5.472999999999999},{"$f":"'RAW 11-5-09'!A128","v":-4.0000000000013358E-3},{"$f":"SUM(B29*25.4)","v":-139.01419999999996},{"$f":"SUM(C29*25.4)","v":-0.10160000000003393}]
["X1",{"$f":"'RAW 11-5-09'!A87","v":-1.8790000000000013},{"$f":"'RAW 11-5-09'!B128","v":-3.6070000000000011},{"$f":"SUM(B30*25.4)","v":-47.726600000000033},{"$f":"SUM(C30*25.4)","v":-91.617800000000017}]
["Y2",{"$f":"'RAW 11-5-09'!C87","v":-5.4759999999999991},null,{"$f":"SUM(B31*25.4)","v":-139.09039999999996}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"'RAW 11-5-09'!B68","v":-3.5990000000000002},{"$f":"'RAW 11-5-09'!A118","v":9.9999999999944578E-4},{"$f":"SUM(B37*25.4)","v":-91.414599999999993},{"$f":"SUM(C37*25.4)","v":2.539999999998592E-2},null,null," "," "]
["X1",0,{"$f":"'RAW 11-5-09'!B118","v":-3.6080000000000005},0,{"$f":"SUM(C38*25.4)","v":-91.643200000000007}]
["Y2",{"$f":"'RAW 11-5-09'!C68","v":-3.6020000000000003},null,{"$f":"SUM(B39*25.4)","v":-91.490800000000007}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"'RAW 11-5-09'!B96","v":-3.6000000000000014},{"$f":"'RAW 11-5-09'!C128","v":-1.0000000000012221E-3},{"$f":"SUM(B43*25.4)","v":-91.440000000000026},{"$f":"SUM(C43*25.4)","v":-2.540000000003104E-2}]
["X1",0,{"$f":"'RAW 11-5-09'!D128","v":-3.6070000000000011},0,{"$f":"SUM(C44*25.4)","v":-91.617800000000017}]
["Y2",{"$f":"'RAW 11-5-09'!C96","v":-3.5970000000000013},null,{"$f":"SUM(B45*25.4)","v":-91.363800000000026}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"'RAW 11-5-09'!A45","v":-7.0350000000000037},{"$f":"'RAW 11-5-09'!A188","v":-0.24100000000000144},{"$f":"SUM(B49*25.4)","v":-178.68900000000008},{"$f":"SUM(C49*25.4)","v":-6.1214000000000359}]
["B",{"$f":"'RAW 11-5-09'!B45","v":-2.5020000000000024},null,{"$f":"SUM(B50*25.4)","v":-63.550800000000059}]
["C",{"$f":"'RAW 11-5-09'!C45","v":-0.74400000000000333},{"$f":"'RAW 11-5-09'!C188","v":-2.3880000000000017},{"$f":"SUM(B51*25.4)","v":-18.897600000000082},{"$f":"SUM(C51*25.4)","v":-60.655200000000036}]
["D",{"$f":"'RAW 11-5-09'!D45","v":-0.7430000000000021},{"$f":"'RAW 11-5-09'!D188","v":-5.4680000000000017},{"$f":"SUM(B52*25.4)","v":-18.872200000000053},{"$f":"SUM(C52*25.4)","v":-138.88720000000004}]

{"sheet":"RAW 11-5-09","index":2,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator","SN 13"]
["Date:","2009-11-05"]
["Crew:","BR, LG"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",27.89]
["1st. Near",27.890999999999998]
["2nd. Far",27.890999999999998]
["2nd Near",27.890999999999998]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":27.890999999999998}]
["Near Should Read",27.890999999999998]
["LOS",27.890999999999998]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[32.377000000000002,32.371000000000002,32.374000000000002,32.375]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":33.377000000000002},{"$f":"SUM(B24:B25)","v":33.371000000000002},{"$f":"SUM(C24:C25)","v":33.374000000000002},{"$f":"SUM(D24:D25)","v":33.375}]
[{"$f":"B18","v":27.890999999999998},{"$f":"B18","v":27.890999999999998},{"$f":"B18","v":27.890999999999998},{"$f":"B18","v":27.890999999999998}]
[{"$f":"SUM(A27-A26)","v":-5.4860000000000042},{"$f":"SUM(B27-B26)","v":-5.480000000000004},{"$f":"SUM(C27-C26)","v":-5.4830000000000041},{"$f":"SUM(D27-D26)","v":-5.4840000000000018}]
[]
["5)","6)","7)","8)"]
[22.594000000000001,22.597000000000001,22.594999999999999,22.594000000000001]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":23.594000000000001},{"$f":"SUM(B31:B32)","v":23.597000000000001},{"$f":"SUM(C31:C32)","v":23.594999999999999},{"$f":"SUM(D31:D32)","v":23.594000000000001}]
[{"$f":"B18","v":27.890999999999998},{"$f":"B18","v":27.890999999999998},{"$f":"B18","v":27.890999999999998},{"$f":"B18","v":27.890999999999998}]
[{"$f":"SUM(A34-A33)","v":4.296999999999997},{"$f":"SUM(B34-B33)","v":4.2939999999999969},{"$f":"SUM(C34-C33)","v":4.2959999999999994},{"$f":"SUM(D34-D33)","v":4.296999999999997}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[33.926000000000002,29.393000000000001,27.635000000000002,27.634]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":34.926000000000002},{"$f":"SUM(B41:B42)","v":30.393000000000001},{"$f":"SUM(C41:C42)","v":28.635000000000002},{"$f":"SUM(D41:D42)","v":28.634}]
[{"$f":"B18","v":27.890999999999998},{"$f":"B18","v":27.890999999999998},{"$f":"B18","v":27.890999999999998},{"$f":"B18","v":27.890999999999998}]
[{"$f":"SUM(A44-A43)","v":-7.0350000000000037},{"$f":"SUM(B44-B43)","v":-2.5020000000000024},{"$f":"SUM(C44-C43)","v":-0.74400000000000333},{"$f":"SUM(D44-D43)","v":-0.7430000000000021}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":27.890999999999998},"LOS"]
["Undulator",{"$f":"B5","v":"SN 13"}]
["Date:",{"$f":"B6","v":"2009-11-05"}]
["Crew:",{"$f":"B7","v":"BR, LG"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,30.49,30.492999999999999]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":31.49},{"$f":"SUM(C64:C65)","v":31.492999999999999}]
[null,{"$f":"B18","v":27.890999999999998},{"$f":"B18","v":27.890999999999998}]
[0,{"$f":"SUM(B67-B66)","v":-3.5990000000000002},{"$f":"SUM(C67-C66)","v":-3.6020000000000003}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[28.774999999999999,32.368000000000002,32.371000000000002]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":29.774999999999999},{"$f":"SUM(B74:B75)","v":33.368000000000002},{"$f":"SUM(C74:C75)","v":33.371000000000002}]
[{"$f":"B18","v":27.890999999999998},{"$f":"B18","v":27.890999999999998},{"$f":"B18","v":27.890999999999998}]
[{"$f":"SUM(A77-A76)","v":-1.8840000000000003},{"$f":"SUM(B77-B76)","v":-5.4770000000000039},{"$f":"SUM(C77-C76)","v":-5.480000000000004}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[28.77,32.363999999999997,32.366999999999997]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":29.77},{"$f":"SUM(B83:B84)","v":33.363999999999997},{"$f":"SUM(C83:C84)","v":33.366999999999997}]
[{"$f":"B18","v":27.890999999999998},{"$f":"B18","v":27.890999999999998},{"$f":"B18","v":27.890999999999998}]
[{"$f":"SUM(A86-A85)","v":-1.8790000000000013},{"$f":"SUM(B86-B85)","v":-5.472999999999999},{"$f":"SUM(C86-C85)","v":-5.4759999999999991}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,30.491,30.488]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":31.491},{"$f":"SUM(C92:C93)","v":31.488}]
[null,{"$f":"B18","v":27.890999999999998},{"$f":"B18","v":27.890999999999998}]
[0,{"$f":"SUM(B95-B94)","v":-3.6000000000000014},{"$f":"SUM(C95-C94)","v":-3.5970000000000013}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,9.2219999999999995,9.2240000000000002]
[null,null,1,1]
["Undulator",{"$f":"B5","v":"SN 13"},{"$f":"SUM(C104+C105)","v":10.222},{"$f":"SUM(D104+D105)","v":10.224}]
["Date:",{"$f":"B6","v":"2009-11-05"}]
["Crew:",{"$f":"B7","v":"BR, LG"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":10.222999999999999}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":9.2219999999999995},12.831,9.2319999999999993,12.833]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":10.222},{"$f":"SUM(B114:B115)","v":13.831},{"$f":"SUM(C114:C115)","v":10.231999999999999},{"$f":"SUM(D114:D115)","v":13.833}]
[{"$f":"D109","v":10.222999999999999},{"$f":"D109","v":10.222999999999999},{"$f":"D109","v":10.222999999999999},{"$f":"D109","v":10.222999999999999}]
[{"$f":"SUM(A117-A116)","v":9.9999999999944578E-4},{"$f":"SUM(B117-B116)","v":-3.6080000000000005},{"$f":"SUM(C117-C116)","v":-9.0000000000003411E-3},{"$f":"SUM(D117-D116)","v":-3.6100000000000012}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[9.2270000000000003,12.83,{"$f":"D104","v":9.2240000000000002},12.83]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":10.227},{"$f":"SUM(B124:B125)","v":13.83},{"$f":"SUM(C124:C125)","v":10.224},{"$f":"SUM(D124:D125)","v":13.83}]
[{"$f":"D109","v":10.222999999999999},{"$f":"D109","v":10.222999999999999},{"$f":"D109","v":10.222999999999999},{"$f":"D109","v":10.222999999999999}]
[{"$f":"SUM(A127-A126)","v":-4.0000000000013358E-3},{"$f":"SUM(B127-B126)","v":-3.6070000000000011},{"$f":"SUM(C127-C126)","v":-1.0000000000012221E-3},{"$f":"SUM(D127-D126)","v":-3.6070000000000011}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[14.625,null,-5.4640000000000004,"LOS"]
[{"$f":"D109","v":10.222999999999999},null,2.3E-2,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.402000000000001},null,{"$f":"SUM(C137+C138)","v":-5.4410000000000007}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.48},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":"SN 13"}]
["Date:",{"$f":"B6","v":"2009-11-05"}]
["Crew:",{"$f":"B7","v":"BR, LG"}]
[]
[]
["HI =",{"$f":"D109","v":10.222999999999999}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[5.7409999999999997,5.7430000000000003,5.7460000000000004,5.7409999999999997]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":6.7409999999999997},{"$f":"SUM(B165:B166)","v":6.7430000000000003},{"$f":"SUM(C165:C166)","v":6.7460000000000004},{"$f":"SUM(D165:D166)","v":6.7409999999999997}]
[{"$f":"D109","v":10.222999999999999},{"$f":"D109","v":10.222999999999999},{"$f":"D109","v":10.222999999999999},{"$f":"D109","v":10.222999999999999}]
[{"$f":"SUM(A168-A167)","v":3.4819999999999993},{"$f":"SUM(B168-B167)","v":3.4799999999999986},{"$f":"SUM(C168-C167)","v":3.4769999999999985},{"$f":"SUM(D168-D167)","v":3.4819999999999993}]
[]
[]
["5)","6)","7)","8)"]
[12.827999999999999,12.835000000000001,12.831,12.832000000000001]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":13.827999999999999},{"$f":"SUM(B173+B174)","v":13.835000000000001},{"$f":"SUM(C173+C174)","v":13.831},{"$f":"SUM(D173+D174)","v":13.832000000000001}]
[{"$f":"D109","v":10.222999999999999},{"$f":"D109","v":10.222999999999999},{"$f":"D109","v":10.222999999999999},{"$f":"D109","v":10.222999999999999}]
[{"$f":"SUM(A176-A175)","v":-3.6050000000000004},{"$f":"SUM(B176-B175)","v":-3.6120000000000019},{"$f":"SUM(C176-C175)","v":-3.6080000000000005},{"$f":"SUM(D176-D175)","v":-3.6090000000000018}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[9.4640000000000004,null,11.611000000000001,14.691000000000001]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":10.464},null,{"$f":"SUM(C184+C185)","v":12.611000000000001},{"$f":"SUM(D184+D185)","v":15.691000000000001}]
[{"$f":"D109","v":10.222999999999999},null,{"$f":"D109","v":10.222999999999999},{"$f":"D109","v":10.222999999999999}]
[{"$f":"SUM(A187-A186)","v":-0.24100000000000144},"#####",{"$f":"SUM(C187-C186)","v":-2.3880000000000017},{"$f":"SUM(D187-D186)","v":-5.4680000000000017}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[8.5129999999999999,8.5150000000000006,8.5109999999999992,8.5129999999999999]
[{"$f":"D109","v":10.222999999999999},{"$f":"D109","v":10.222999999999999},{"$f":"D109","v":10.222999999999999},{"$f":"D109","v":10.222999999999999}]
[{"$f":"SUM(A196-A195)","v":1.7099999999999991},{"$f":"SUM(B196-B195)","v":1.7079999999999984},{"$f":"SUM(C196-C195)","v":1.7119999999999997},{"$f":"SUM(D196-D195)","v":1.7099999999999991}]