{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator",13]
["Date:","2010-06-16"]
["Crew:","MR,BR"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",26]
["1st. Near",28.292000000000002]
["2nd. Far",29.181000000000001]
["2nd Near",29.183]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":29.183778165938865}]
["Near Should Read",29.183778165938865]
["LOS",29.183778165938865]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[33.668999999999997,33.664999999999999,33.667000000000002,33.668999999999997]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":34.668999999999997},{"$f":"SUM(B24:B25)","v":34.664999999999999},{"$f":"SUM(C24:C25)","v":34.667000000000002},{"$f":"SUM(D24:D25)","v":34.668999999999997}]
[{"$f":"B18","v":29.183778165938865},{"$f":"B18","v":29.183778165938865},{"$f":"B18","v":29.183778165938865},{"$f":"B18","v":29.183778165938865}]
[{"$f":"SUM(A27-A26)","v":-5.4852218340611323},{"$f":"SUM(B27-B26)","v":-5.4812218340611345},{"$f":"SUM(C27-C26)","v":-5.4832218340611369},{"$f":"SUM(D27-D26)","v":-5.4852218340611323}]
[]
["5)","6)","7)","8)"]
[23.885000000000002,23.888999999999999,33.886000000000003,33.886000000000003]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":24.885000000000002},{"$f":"SUM(B31:B32)","v":24.888999999999999},{"$f":"SUM(C31:C32)","v":34.886000000000003},{"$f":"SUM(D31:D32)","v":34.886000000000003}]
[{"$f":"B18","v":29.183778165938865},{"$f":"B18","v":29.183778165938865},{"$f":"B18","v":29.183778165938865},{"$f":"B18","v":29.183778165938865}]
[{"$f":"SUM(A34-A33)","v":4.2987781659388631},{"$f":"SUM(B34-B33)","v":4.2947781659388653},{"$f":"SUM(C34-C33)","v":-5.7022218340611381},{"$f":"SUM(D34-D33)","v":-5.7022218340611381}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[35.220999999999997,30.689,28.927,28.928999999999998]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":36.220999999999997},{"$f":"SUM(B41:B42)","v":31.689},{"$f":"SUM(C41:C42)","v":29.927},{"$f":"SUM(D41:D42)","v":29.928999999999998}]
[{"$f":"B18","v":29.183778165938865},{"$f":"B18","v":29.183778165938865},{"$f":"B18","v":29.183778165938865},{"$f":"B18","v":29.183778165938865}]
[{"$f":"SUM(A44-A43)","v":-7.0372218340611319},{"$f":"SUM(B44-B43)","v":-2.5052218340611354},{"$f":"SUM(C44-C43)","v":-0.74322183406113496},{"$f":"SUM(D44-D43)","v":-0.74522183406113385}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":29.183778165938865},"LOS"]
["Undulator",{"$f":"B5","v":13}]
["Date:",{"$f":"B6","v":"2010-06-16"}]
["Crew:",{"$f":"B7","v":"MR,BR"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,31.783999999999999,31.789000000000001]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":32.783999999999999},{"$f":"SUM(C64:C65)","v":32.789000000000001}]
[null,{"$f":"B18","v":29.183778165938865},{"$f":"B18","v":29.183778165938865}]
[0,{"$f":"SUM(B67-B66)","v":-3.6002218340611343},{"$f":"SUM(C67-C66)","v":-3.6052218340611368}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[30.06,33.661999999999999,33.667000000000002]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":31.06},{"$f":"SUM(B74:B75)","v":34.661999999999999},{"$f":"SUM(C74:C75)","v":34.667000000000002}]
[{"$f":"B18","v":29.183778165938865},{"$f":"B18","v":29.183778165938865},{"$f":"B18","v":29.183778165938865}]
[{"$f":"SUM(A77-A76)","v":-1.8762218340611341},{"$f":"SUM(B77-B76)","v":-5.4782218340611344},{"$f":"SUM(C77-C76)","v":-5.4832218340611369}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[30.065000000000001,33.658000000000001,33.664999999999999]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":31.065000000000001},{"$f":"SUM(B83:B84)","v":34.658000000000001},{"$f":"SUM(C83:C84)","v":34.664999999999999}]
[{"$f":"B18","v":29.183778165938865},{"$f":"B18","v":29.183778165938865},{"$f":"B18","v":29.183778165938865}]
[{"$f":"SUM(A86-A85)","v":-1.8812218340611366},{"$f":"SUM(B86-B85)","v":-5.4742218340611366},{"$f":"SUM(C86-C85)","v":-5.4812218340611345}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,31.786000000000001,31.783000000000001]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":32.786000000000001},{"$f":"SUM(C92:C93)","v":32.783000000000001}]
[null,{"$f":"B18","v":29.183778165938865},{"$f":"B18","v":29.183778165938865}]
[0,{"$f":"SUM(B95-B94)","v":-3.6022218340611367},{"$f":"SUM(C95-C94)","v":-3.5992218340611366}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,9.0909999999999993,9.1039999999999992]
[null,null,1,1]
["Undulator",{"$f":"B5","v":13},{"$f":"SUM(C104+C105)","v":10.090999999999999},{"$f":"SUM(D104+D105)","v":10.103999999999999}]
["Date:",{"$f":"B6","v":"2010-06-16"}]
["Crew:",{"$f":"B7","v":"MR,BR"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":10.0975}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":9.0909999999999993},12.699,9.1,12.701000000000001]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":10.090999999999999},{"$f":"SUM(B114:B115)","v":13.699},{"$f":"SUM(C114:C115)","v":10.1},{"$f":"SUM(D114:D115)","v":13.701000000000001}]
[{"$f":"D109","v":10.0975},{"$f":"D109","v":10.0975},{"$f":"D109","v":10.0975},{"$f":"D109","v":10.0975}]
[{"$f":"SUM(A117-A116)","v":6.5000000000008384E-3},{"$f":"SUM(B117-B116)","v":-3.6014999999999997},{"$f":"SUM(C117-C116)","v":-2.4999999999995026E-3},{"$f":"SUM(D117-D116)","v":-3.6035000000000004}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[9.1020000000000003,12.702999999999999,9.1029999999999998,12.702999999999999]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":10.102},{"$f":"SUM(B124:B125)","v":13.702999999999999},{"$f":"SUM(C124:C125)","v":10.103},{"$f":"SUM(D124:D125)","v":13.702999999999999}]
[{"$f":"D109","v":10.0975},{"$f":"D109","v":10.0975},{"$f":"D109","v":10.0975},{"$f":"D109","v":10.0975}]
[{"$f":"SUM(A127-A126)","v":-4.5000000000001705E-3},{"$f":"SUM(B127-B126)","v":-3.6054999999999993},{"$f":"SUM(C127-C126)","v":-5.4999999999996163E-3},{"$f":"SUM(D127-D126)","v":-3.6054999999999993}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[14.489000000000001,null,-5.47,"LOS"]
[{"$f":"D109","v":10.0975},null,2.7E-2,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.3915000000000006},null,{"$f":"SUM(C137+C138)","v":-5.4429999999999996}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.4819999999999993},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":13}]
["Date:",{"$f":"B6","v":"2010-06-16"}]
["Crew:",{"$f":"B7","v":"MR,BR"}]
[]
[]
["HI =",{"$f":"D109","v":10.0975}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[5.6079999999999997,5.6120000000000001,5.6180000000000003,5.6150000000000002]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":6.6079999999999997},{"$f":"SUM(B165:B166)","v":6.6120000000000001},{"$f":"SUM(C165:C166)","v":6.6180000000000003},{"$f":"SUM(D165:D166)","v":6.6150000000000002}]
[{"$f":"D109","v":10.0975},{"$f":"D109","v":10.0975},{"$f":"D109","v":10.0975},{"$f":"D109","v":10.0975}]
[{"$f":"SUM(A168-A167)","v":3.4895000000000005},{"$f":"SUM(B168-B167)","v":3.4855},{"$f":"SUM(C168-C167)","v":3.4794999999999998},{"$f":"SUM(D168-D167)","v":3.4824999999999999}]
[]
[]
["5)","6)","7)","8)"]
[12.696,12.702999999999999,12.702999999999999,12.707000000000001]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":13.696},{"$f":"SUM(B173+B174)","v":13.702999999999999},{"$f":"SUM(C173+C174)","v":13.702999999999999},{"$f":"SUM(D173+D174)","v":13.707000000000001}]
[{"$f":"D109","v":10.0975},{"$f":"D109","v":10.0975},{"$f":"D109","v":10.0975},{"$f":"D109","v":10.0975}]
[{"$f":"SUM(A176-A175)","v":-3.5984999999999996},{"$f":"SUM(B176-B175)","v":-3.6054999999999993},{"$f":"SUM(C176-C175)","v":-3.6054999999999993},{"$f":"SUM(D176-D175)","v":-3.6095000000000006}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[9.33,null,11.476000000000001,14.557]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":10.33},null,{"$f":"SUM(C184+C185)","v":12.476000000000001},{"$f":"SUM(D184+D185)","v":15.557}]
[{"$f":"D109","v":10.0975},null,{"$f":"D109","v":10.0975},{"$f":"D109","v":10.0975}]
[{"$f":"SUM(A187-A186)","v":-0.23249999999999993},0,{"$f":"SUM(C187-C186)","v":-2.3785000000000007},{"$f":"SUM(D187-D186)","v":-5.4595000000000002}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[12.379,12.381,12.384,12.385]
[{"$f":"D109","v":10.0975},{"$f":"D109","v":10.0975},{"$f":"D109","v":10.0975},{"$f":"D109","v":10.0975}]
[{"$f":"SUM(A196-A195)","v":-2.2814999999999994},{"$f":"SUM(B196-B195)","v":-2.2835000000000001},{"$f":"SUM(C196-C195)","v":-2.2865000000000002},{"$f":"SUM(D196-D195)","v":-2.2874999999999996}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":13}]
["Date"," ",{"$f":"Sheet1!B6","v":"2010-06-16"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"MR,BR"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.4895000000000005},{"$f":"B10*25.4","v":88.633300000000006},null,null,5,{"$f":"Sheet1!A35","v":4.2987781659388631},{"$f":"G10*25.4","v":109.18896541484712}]
[2,{"$f":"Sheet1!B169","v":3.4855},{"$f":"B11*25.4","v":88.531700000000001},null,null,6,{"$f":"Sheet1!B35","v":4.2947781659388653},{"$f":"G11*25.4","v":109.08736541484717}]
[3,{"$f":"Sheet1!C169","v":3.4794999999999998},{"$f":"B12*25.4","v":88.379299999999986},null,null,7,{"$f":"Sheet1!C35","v":-5.7022218340611381},{"$f":"G12*25.4","v":-144.83643458515289}]
[4,{"$f":"Sheet1!D169","v":3.4824999999999999},{"$f":"B13*25.4","v":88.455499999999986},null,null,8,{"$f":"Sheet1!D35","v":-5.7022218340611381},{"$f":"G13*25.4","v":-144.83643458515289}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.4832218340611369},{"$f":"Sheet1!C118","v":-2.4999999999995026E-3},{"$f":"B20*25.4","v":-139.27383458515288},{"$f":"C20*25.4","v":-6.3499999999987358E-2},null,{"$f":"H10-D21","v":156.84499999999991},{"$f":"C10-E20","v":88.696799999999996}]
["X1",{"$f":"Sheet1!A78","v":-1.8762218340611341},{"$f":"Sheet1!D118","v":-3.6035000000000004},{"$f":"B21*25.4","v":-47.656034585152803},{"$f":"C21*25.4","v":-91.528900000000007}]
["Y1",{"$f":"Sheet1!B78","v":-5.4782218340611344},null,{"$f":"B22*25.4","v":-139.14683458515282}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.4742218340611366},{"$f":"Sheet1!A128","v":-4.5000000000001705E-3},{"$f":"B26*25.4","v":-139.04523458515285},{"$f":"C26*25.4","v":-0.11430000000000433},null,{"$f":"H13-D27","v":-97.053400000000011},{"$f":"C13-E26","v":88.569799999999987}]
["X1",{"$f":"Sheet1!A87","v":-1.8812218340611366},{"$f":"Sheet1!B128","v":-3.6054999999999993},{"$f":"B27*25.4","v":-47.783034585152869},{"$f":"C27*25.4","v":-91.579699999999974}]
["Y2",{"$f":"Sheet1!C87","v":-5.4812218340611345},"\\",{"$f":"B28*25.4","v":-139.22303458515282}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.4819999999999993},{"$f":"B36*25.4","v":-139.24279999999999},null,"US  +",{"$f":"Sheet1!A197","v":-2.2814999999999994},{"$f":"F36*25.4","v":-57.950099999999985}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":-2.2835000000000001},{"$f":"F37*25.4","v":-58.000900000000001}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":-2.2865000000000002},{"$f":"F38*25.4","v":-58.077100000000002}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":-2.2874999999999996},{"$f":"F39*25.4","v":-58.102499999999985}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.3915000000000006},{"$f":"B42*25.4","v":-111.54410000000001}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":13}]
["Date"," ",{"$f":"Sheet1!B6","v":"2010-06-16"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"MR,BR"}]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.4852218340611323},{"$f":"Sheet1!A169","v":3.4895000000000005},{"$f":"SUM(B10*25.4)","v":-139.32463458515275},{"$f":"SUM(C10*25.4)","v":88.633300000000006}]
[2,{"$f":"Sheet1!B28","v":-5.4812218340611345},{"$f":"Sheet1!B169","v":3.4855},{"$f":"SUM(B11*25.4)","v":-139.22303458515282},{"$f":"SUM(C11*25.4)","v":88.531700000000001},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.4832218340611369},{"$f":"Sheet1!C169","v":3.4794999999999998},-139.27383458515288,88.379299999999986,null,{"$f":"Sheet1!C141","v":-5.4819999999999993},{"$f":"SUM(G12*25.4)","v":-139.24279999999999}]
[4,{"$f":"Sheet1!D28","v":-5.4852218340611323},{"$f":"Sheet1!D169","v":3.4824999999999999},-139.32463458515275,88.455499999999986]
[5,{"$f":"Sheet1!A35","v":4.2987781659388631},{"$f":"Sheet1!A177","v":-3.5984999999999996},109.18896541484712,-91.401899999999983]
[6,{"$f":"Sheet1!B35","v":4.2947781659388653},{"$f":"Sheet1!B177","v":-3.6054999999999993},109.08736541484717,-91.579699999999974,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":-5.7022218340611381},{"$f":"Sheet1!C177","v":-3.6054999999999993},-144.83643458515289,-91.579699999999974]
[8,{"$f":"Sheet1!D35","v":-5.7022218340611381},{"$f":"Sheet1!D177","v":-3.6095000000000006},-144.83643458515289,-91.681300000000007,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.3915000000000006},{"$f":"SUM(G18*25.4)","v":-111.54410000000001}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.8762218340611341},{"$f":"Sheet1!C118","v":-2.4999999999995026E-3},{"$f":"SUM(B23*25.4)","v":-47.656034585152803},{"$f":"SUM(C23*25.4)","v":-6.3499999999987358E-2}]
["X1",{"$f":"Sheet1!A78","v":-1.8762218340611341},{"$f":"Sheet1!D118","v":-3.6035000000000004},{"$f":"SUM(B24*25.4)","v":-47.656034585152803},{"$f":"SUM(C24*25.4)","v":-91.528900000000007},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.4782218340611344},null,{"$f":"SUM(B25*25.4)","v":-139.14683458515282},null,null,"US  +",{"$f":"Sheet1!A197","v":-2.2814999999999994},{"$f":"SUM(H25*25.4)","v":-57.950099999999985}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":-2.2835000000000001},{"$f":"SUM(H26*25.4)","v":-58.000900000000001}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":-2.2865000000000002},{"$f":"SUM(H27*25.4)","v":-58.077100000000002}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":-2.2874999999999996},{"$f":"SUM(H28*25.4)","v":-58.102499999999985}]
["Y1",{"$f":"Sheet1!B87","v":-5.4742218340611366},{"$f":"Sheet1!A128","v":-4.5000000000001705E-3},{"$f":"SUM(B29*25.4)","v":-139.04523458515285},{"$f":"SUM(C29*25.4)","v":-0.11430000000000433}]
["X1",{"$f":"Sheet1!A87","v":-1.8812218340611366},{"$f":"Sheet1!B128","v":-3.6054999999999993},{"$f":"SUM(B30*25.4)","v":-47.783034585152869},{"$f":"SUM(C30*25.4)","v":-91.579699999999974}]
["Y2",{"$f":"Sheet1!C87","v":-5.4812218340611345},null,{"$f":"SUM(B31*25.4)","v":-139.22303458515282}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.6002218340611343},{"$f":"Sheet1!A118","v":6.5000000000008384E-3},{"$f":"SUM(B37*25.4)","v":-91.445634585152803},{"$f":"SUM(C37*25.4)","v":0.16510000000002129},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.6014999999999997},0,{"$f":"SUM(C38*25.4)","v":-91.478099999999984}]
["Y2",{"$f":"Sheet1!C68","v":-3.6052218340611368},null,{"$f":"SUM(B39*25.4)","v":-91.572634585152869}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.6022218340611367},{"$f":"Sheet1!C128","v":-5.4999999999996163E-3},{"$f":"SUM(B43*25.4)","v":-91.496434585152869},{"$f":"SUM(C43*25.4)","v":-0.13969999999999025}]
["X1",0,{"$f":"Sheet1!D128","v":-3.6054999999999993},0,{"$f":"SUM(C44*25.4)","v":-91.579699999999974}]
["Y2",{"$f":"Sheet1!C96","v":-3.5992218340611366},null,{"$f":"SUM(B45*25.4)","v":-91.420234585152869}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-7.0372218340611319},{"$f":"Sheet1!A188","v":-0.23249999999999993},{"$f":"SUM(B49*25.4)","v":-178.74543458515274},{"$f":"SUM(C49*25.4)","v":-5.9054999999999982}]
["B",{"$f":"Sheet1!B45","v":-2.5052218340611354},null,{"$f":"SUM(B50*25.4)","v":-63.632634585152836}]
["C",{"$f":"Sheet1!C45","v":-0.74322183406113496},{"$f":"Sheet1!C188","v":-2.3785000000000007},{"$f":"SUM(B51*25.4)","v":-18.877834585152826},{"$f":"SUM(C51*25.4)","v":-60.413900000000012}]
["D",{"$f":"Sheet1!D45","v":-0.74522183406113385},{"$f":"Sheet1!D188","v":-5.4595000000000002},{"$f":"SUM(B52*25.4)","v":-18.9286345851528},{"$f":"SUM(C52*25.4)","v":-138.6713}]