{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator","SN 13"]
["Date:","2011-04-14"]
["Crew:","BR, LG"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",26]
["1st. Near",26.567]
["2nd. Far",28]
["2nd Near",27.11]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":26.778311599176391}]
["Near Should Read",26.778311599176391]
["LOS",26.778311599176391]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[31.263999999999999,31.256,31.262,31.263000000000002]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":32.263999999999996},{"$f":"SUM(B24:B25)","v":32.256},{"$f":"SUM(C24:C25)","v":32.262},{"$f":"SUM(D24:D25)","v":32.263000000000005}]
[{"$f":"B18","v":26.778311599176391},{"$f":"B18","v":26.778311599176391},{"$f":"B18","v":26.778311599176391},{"$f":"B18","v":26.778311599176391}]
[{"$f":"SUM(A27-A26)","v":-5.4856884008236051},{"$f":"SUM(B27-B26)","v":-5.4776884008236095},{"$f":"SUM(C27-C26)","v":-5.4836884008236098},{"$f":"SUM(D27-D26)","v":-5.4846884008236145}]
[]
["5)","6)","7)","8)"]
[21.48,21.48,21.477,21.478999999999999]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":22.48},{"$f":"SUM(B31:B32)","v":22.48},{"$f":"SUM(C31:C32)","v":22.477},{"$f":"SUM(D31:D32)","v":22.478999999999999}]
[{"$f":"B18","v":26.778311599176391},{"$f":"B18","v":26.778311599176391},{"$f":"B18","v":26.778311599176391},{"$f":"B18","v":26.778311599176391}]
[{"$f":"SUM(A34-A33)","v":4.2983115991763903},{"$f":"SUM(B34-B33)","v":4.2983115991763903},{"$f":"SUM(C34-C33)","v":4.3013115991763904},{"$f":"SUM(D34-D33)","v":4.2993115991763915}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[32.814,28.283999999999999,26.521000000000001,26.521000000000001]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":33.814},{"$f":"SUM(B41:B42)","v":29.283999999999999},{"$f":"SUM(C41:C42)","v":27.521000000000001},{"$f":"SUM(D41:D42)","v":27.521000000000001}]
[{"$f":"B18","v":26.778311599176391},{"$f":"B18","v":26.778311599176391},{"$f":"B18","v":26.778311599176391},{"$f":"B18","v":26.778311599176391}]
[{"$f":"SUM(A44-A43)","v":-7.0356884008236094},{"$f":"SUM(B44-B43)","v":-2.5056884008236082},{"$f":"SUM(C44-C43)","v":-0.7426884008236101},{"$f":"SUM(D44-D43)","v":-0.7426884008236101}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":26.778311599176391},"LOS"]
["Undulator",{"$f":"B5","v":"SN 13"}]
["Date:",{"$f":"B6","v":"2011-04-14"}]
["Crew:",{"$f":"B7","v":"BR, LG"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,29.379000000000001,29.382999999999999]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":30.379000000000001},{"$f":"SUM(C64:C65)","v":30.382999999999999}]
[null,{"$f":"B18","v":26.778311599176391},{"$f":"B18","v":26.778311599176391}]
[0,{"$f":"SUM(B67-B66)","v":-3.6006884008236106},{"$f":"SUM(C67-C66)","v":-3.6046884008236084}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[27.661000000000001,31.254999999999999,31.259]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":28.661000000000001},{"$f":"SUM(B74:B75)","v":32.254999999999995},{"$f":"SUM(C74:C75)","v":32.259}]
[{"$f":"B18","v":26.778311599176391},{"$f":"B18","v":26.778311599176391},{"$f":"B18","v":26.778311599176391}]
[{"$f":"SUM(A77-A76)","v":-1.8826884008236107},{"$f":"SUM(B77-B76)","v":-5.4766884008236048},{"$f":"SUM(C77-C76)","v":-5.4806884008236096}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[27.655999999999999,31.251000000000001,31.251999999999999]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":28.655999999999999},{"$f":"SUM(B83:B84)","v":32.251000000000005},{"$f":"SUM(C83:C84)","v":32.251999999999995}]
[{"$f":"B18","v":26.778311599176391},{"$f":"B18","v":26.778311599176391},{"$f":"B18","v":26.778311599176391}]
[{"$f":"SUM(A86-A85)","v":-1.8776884008236081},{"$f":"SUM(B86-B85)","v":-5.4726884008236141},{"$f":"SUM(C86-C85)","v":-5.4736884008236046}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,29.38,29.376000000000001]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":30.38},{"$f":"SUM(C92:C93)","v":30.376000000000001}]
[null,{"$f":"B18","v":26.778311599176391},{"$f":"B18","v":26.778311599176391}]
[0,{"$f":"SUM(B95-B94)","v":-3.6016884008236083},{"$f":"SUM(C95-C94)","v":-3.5976884008236105}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,9.35,9.3520000000000003]
[null,null,1,1]
["Undulator",{"$f":"B5","v":"SN 13"},{"$f":"SUM(C104+C105)","v":10.35},{"$f":"SUM(D104+D105)","v":10.352}]
["Date:",{"$f":"B6","v":"2011-04-14"}]
["Crew:",{"$f":"B7","v":"BR, LG"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":10.350999999999999}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":9.35},12.958,9.3569999999999993,12.957000000000001]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":10.35},{"$f":"SUM(B114:B115)","v":13.958},{"$f":"SUM(C114:C115)","v":10.356999999999999},{"$f":"SUM(D114:D115)","v":13.957000000000001}]
[{"$f":"D109","v":10.350999999999999},{"$f":"D109","v":10.350999999999999},{"$f":"D109","v":10.350999999999999},{"$f":"D109","v":10.350999999999999}]
[{"$f":"SUM(A117-A116)","v":9.9999999999944578E-4},{"$f":"SUM(B117-B116)","v":-3.6070000000000011},{"$f":"SUM(C117-C116)","v":-6.0000000000002274E-3},{"$f":"SUM(D117-D116)","v":-3.6060000000000016}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[9.35,12.952,{"$f":"D104","v":9.3520000000000003},12.952999999999999]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":10.35},{"$f":"SUM(B124:B125)","v":13.952},{"$f":"SUM(C124:C125)","v":10.352},{"$f":"SUM(D124:D125)","v":13.952999999999999}]
[{"$f":"D109","v":10.350999999999999},{"$f":"D109","v":10.350999999999999},{"$f":"D109","v":10.350999999999999},{"$f":"D109","v":10.350999999999999}]
[{"$f":"SUM(A127-A126)","v":9.9999999999944578E-4},{"$f":"SUM(B127-B126)","v":-3.6010000000000009},{"$f":"SUM(C127-C126)","v":-1.0000000000012221E-3},{"$f":"SUM(D127-D126)","v":-3.6020000000000003}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[14.752000000000001,null,-5.4640000000000004,"LOS"]
[{"$f":"D109","v":10.350999999999999},null,4.3999999999999997E-2,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.4010000000000016},null,{"$f":"SUM(C137+C138)","v":-5.4200000000000008}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.4590000000000005},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":"SN 13"}]
["Date:",{"$f":"B6","v":"2011-04-14"}]
["Crew:",{"$f":"B7","v":"BR, LG"}]
[]
[]
["HI =",{"$f":"D109","v":10.350999999999999}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[5.8650000000000002,5.8630000000000004,"5..866",5.8609999999999998]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":6.8650000000000002},{"$f":"SUM(B165:B166)","v":6.8630000000000004},{"$f":"SUM(C165:C166)","v":1},{"$f":"SUM(D165:D166)","v":6.8609999999999998}]
[{"$f":"D109","v":10.350999999999999},{"$f":"D109","v":10.350999999999999},{"$f":"D109","v":10.350999999999999},{"$f":"D109","v":10.350999999999999}]
[{"$f":"SUM(A168-A167)","v":3.4859999999999989},{"$f":"SUM(B168-B167)","v":3.4879999999999987},{"$f":"SUM(C168-C167)","v":9.3509999999999991},{"$f":"SUM(D168-D167)","v":3.4899999999999993}]
[]
[]
["5)","6)","7)","8)"]
[12.952,12.954000000000001,12.95,12.952999999999999]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":13.952},{"$f":"SUM(B173+B174)","v":13.954000000000001},{"$f":"SUM(C173+C174)","v":13.95},{"$f":"SUM(D173+D174)","v":13.952999999999999}]
[{"$f":"D109","v":10.350999999999999},{"$f":"D109","v":10.350999999999999},{"$f":"D109","v":10.350999999999999},{"$f":"D109","v":10.350999999999999}]
[{"$f":"SUM(A176-A175)","v":-3.6010000000000009},{"$f":"SUM(B176-B175)","v":-3.6030000000000015},{"$f":"SUM(C176-C175)","v":-3.5990000000000002},{"$f":"SUM(D176-D175)","v":-3.6020000000000003}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[9.5920000000000005,null,11.737,14.817]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":10.592000000000001},null,{"$f":"SUM(C184+C185)","v":12.737},{"$f":"SUM(D184+D185)","v":15.817}]
[{"$f":"D109","v":10.350999999999999},null,{"$f":"D109","v":10.350999999999999},{"$f":"D109","v":10.350999999999999}]
[{"$f":"SUM(A187-A186)","v":-0.24100000000000144},0,{"$f":"SUM(C187-C186)","v":-2.386000000000001},{"$f":"SUM(D187-D186)","v":-5.4660000000000011}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[8.6359999999999992,8.6379999999999999,8.6319999999999997,8.6329999999999991]
[{"$f":"D109","v":10.350999999999999},{"$f":"D109","v":10.350999999999999},{"$f":"D109","v":10.350999999999999},{"$f":"D109","v":10.350999999999999}]
[{"$f":"SUM(A196-A195)","v":1.7149999999999999},{"$f":"SUM(B196-B195)","v":1.7129999999999992},{"$f":"SUM(C196-C195)","v":1.7189999999999994},{"$f":"SUM(D196-D195)","v":1.718}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":"SN 13"}]
["Date"," ",{"$f":"Sheet1!B6","v":"2011-04-14"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"BR, LG"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.4859999999999989},{"$f":"B10*25.4","v":88.544399999999968},null,null,5,{"$f":"Sheet1!A35","v":4.2983115991763903},{"$f":"G10*25.4","v":109.17711461908031}]
[2,{"$f":"Sheet1!B169","v":3.4879999999999987},{"$f":"B11*25.4","v":88.595199999999963},null,null,6,{"$f":"Sheet1!B35","v":4.2983115991763903},{"$f":"G11*25.4","v":109.17711461908031}]
[3,{"$f":"Sheet1!C169","v":9.3509999999999991},{"$f":"B12*25.4","v":237.51539999999997},null,null,7,{"$f":"Sheet1!C35","v":4.3013115991763904},{"$f":"G12*25.4","v":109.25331461908031}]
[4,{"$f":"Sheet1!D169","v":3.4899999999999993},{"$f":"B13*25.4","v":88.645999999999972},null,null,8,{"$f":"Sheet1!D35","v":4.2993115991763915},{"$f":"G13*25.4","v":109.20251461908033}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.4806884008236096},{"$f":"Sheet1!C118","v":-6.0000000000002274E-3},{"$f":"B20*25.4","v":-139.20948538091969},{"$f":"C20*25.4","v":-0.15240000000000575},null,{"$f":"H10-D21","v":156.99740000000003},{"$f":"C10-E20","v":88.696799999999968}]
["X1",{"$f":"Sheet1!A78","v":-1.8826884008236107},{"$f":"Sheet1!D118","v":-3.6060000000000016},{"$f":"B21*25.4","v":-47.820285380919707},{"$f":"C21*25.4","v":-91.59240000000004}]
["Y1",{"$f":"Sheet1!B78","v":-5.4766884008236048},null,{"$f":"B22*25.4","v":-139.10788538091956}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.4726884008236141},{"$f":"Sheet1!A128","v":9.9999999999944578E-4},{"$f":"B26*25.4","v":-139.00628538091979},{"$f":"C26*25.4","v":2.539999999998592E-2},null,{"$f":"H13-D27","v":156.89579999999998},{"$f":"C13-E26","v":88.620599999999982}]
["X1",{"$f":"Sheet1!A87","v":-1.8776884008236081},{"$f":"Sheet1!B128","v":-3.6010000000000009},{"$f":"B27*25.4","v":-47.69328538091964},{"$f":"C27*25.4","v":-91.465400000000017}]
["Y2",{"$f":"Sheet1!C87","v":-5.4736884008236046},"\\",{"$f":"B28*25.4","v":-139.03168538091955}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.4590000000000005},{"$f":"B36*25.4","v":-138.65860000000001},null,"US  +",{"$f":"Sheet1!A197","v":1.7149999999999999},{"$f":"F36*25.4","v":43.560999999999993}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.7129999999999992},{"$f":"F37*25.4","v":43.510199999999976}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.7189999999999994},{"$f":"F38*25.4","v":43.662599999999983}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.718},{"$f":"F39*25.4","v":43.6372}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.4010000000000016},{"$f":"B42*25.4","v":-111.78540000000004}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",13]
["Date"," ",{"$f":"Sheet1!B6","v":"2011-04-14"}]
["Crew"," ","MR,BR"]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.4856884008236051},{"$f":"Sheet1!A169","v":3.4859999999999989},{"$f":"SUM(B10*25.4)","v":-139.33648538091956},{"$f":"SUM(C10*25.4)","v":88.544399999999968}]
[2,{"$f":"Sheet1!B28","v":-5.4776884008236095},{"$f":"Sheet1!B169","v":3.4879999999999987},{"$f":"SUM(B11*25.4)","v":-139.13328538091969},{"$f":"SUM(C11*25.4)","v":88.595199999999963},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.4836884008236098},{"$f":"Sheet1!C169","v":9.3509999999999991},-139.28568538091969,237.51539999999997,null,{"$f":"Sheet1!C141","v":-5.4590000000000005},{"$f":"SUM(G12*25.4)","v":-138.65860000000001}]
[4,{"$f":"Sheet1!D28","v":-5.4846884008236145},{"$f":"Sheet1!D169","v":3.4899999999999993},-139.31108538091979,88.645999999999972]
[5,{"$f":"Sheet1!A35","v":4.2983115991763903},{"$f":"Sheet1!A177","v":-3.6010000000000009},109.17711461908031,-91.465400000000017]
[6,{"$f":"Sheet1!B35","v":4.2983115991763903},{"$f":"Sheet1!B177","v":-3.6030000000000015},109.17711461908031,-91.51620000000004,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.3013115991763904},{"$f":"Sheet1!C177","v":-3.5990000000000002},109.25331461908031,-91.414599999999993]
[8,{"$f":"Sheet1!D35","v":4.2993115991763915},{"$f":"Sheet1!D177","v":-3.6020000000000003},109.20251461908033,-91.490800000000007,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.4010000000000016},{"$f":"SUM(G18*25.4)","v":-111.78540000000004}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.8826884008236107},{"$f":"Sheet1!C118","v":-6.0000000000002274E-3},{"$f":"SUM(B23*25.4)","v":-47.820285380919707},{"$f":"SUM(C23*25.4)","v":-0.15240000000000575}]
["X1",{"$f":"Sheet1!A78","v":-1.8826884008236107},{"$f":"Sheet1!D118","v":-3.6060000000000016},{"$f":"SUM(B24*25.4)","v":-47.820285380919707},{"$f":"SUM(C24*25.4)","v":-91.59240000000004},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.4766884008236048},null,{"$f":"SUM(B25*25.4)","v":-139.10788538091956},null,null,"US  +",{"$f":"Sheet1!A197","v":1.7149999999999999},{"$f":"SUM(H25*25.4)","v":43.560999999999993}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.7129999999999992},{"$f":"SUM(H26*25.4)","v":43.510199999999976}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.7189999999999994},{"$f":"SUM(H27*25.4)","v":43.662599999999983}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.718},{"$f":"SUM(H28*25.4)","v":43.6372}]
["Y1",{"$f":"Sheet1!B87","v":-5.4726884008236141},{"$f":"Sheet1!A128","v":9.9999999999944578E-4},{"$f":"SUM(B29*25.4)","v":-139.00628538091979},{"$f":"SUM(C29*25.4)","v":2.539999999998592E-2}]
["X1",{"$f":"Sheet1!A87","v":-1.8776884008236081},{"$f":"Sheet1!B128","v":-3.6010000000000009},{"$f":"SUM(B30*25.4)","v":-47.69328538091964},{"$f":"SUM(C30*25.4)","v":-91.465400000000017}]
["Y2",{"$f":"Sheet1!C87","v":-5.4736884008236046},null,{"$f":"SUM(B31*25.4)","v":-139.03168538091955}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.6006884008236106},{"$f":"Sheet1!A118","v":9.9999999999944578E-4},{"$f":"SUM(B37*25.4)","v":-91.457485380919707},{"$f":"SUM(C37*25.4)","v":2.539999999998592E-2},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.6070000000000011},0,{"$f":"SUM(C38*25.4)","v":-91.617800000000017}]
["Y2",{"$f":"Sheet1!C68","v":-3.6046884008236084},null,{"$f":"SUM(B39*25.4)","v":-91.559085380919655}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.6016884008236083},{"$f":"Sheet1!C128","v":-1.0000000000012221E-3},{"$f":"SUM(B43*25.4)","v":-91.48288538091964},{"$f":"SUM(C43*25.4)","v":-2.540000000003104E-2}]
["X1",0,{"$f":"Sheet1!D128","v":-3.6020000000000003},0,{"$f":"SUM(C44*25.4)","v":-91.490800000000007}]
["Y2",{"$f":"Sheet1!C96","v":-3.5976884008236105},null,{"$f":"SUM(B45*25.4)","v":-91.381285380919707}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-7.0356884008236094},{"$f":"Sheet1!A188","v":-0.24100000000000144},{"$f":"SUM(B49*25.4)","v":-178.70648538091967},{"$f":"SUM(C49*25.4)","v":-6.1214000000000359}]
["B",{"$f":"Sheet1!B45","v":-2.5056884008236082},null,{"$f":"SUM(B50*25.4)","v":-63.644485380919647}]
["C",{"$f":"Sheet1!C45","v":-0.7426884008236101},{"$f":"Sheet1!C188","v":-2.386000000000001},{"$f":"SUM(B51*25.4)","v":-18.864285380919696},{"$f":"SUM(C51*25.4)","v":-60.60440000000002}]
["D",{"$f":"Sheet1!D45","v":-0.7426884008236101},{"$f":"Sheet1!D188","v":-5.4660000000000011},{"$f":"SUM(B52*25.4)","v":-18.864285380919696},{"$f":"SUM(C52*25.4)","v":-138.83640000000003}]