{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator",13]
["Date:","2011-05-27"]
["Crew:","BR HI"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",31]
["1st. Near",28.809000000000001]
["2nd. Far",26]
["2nd Near",27.463999999999999]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":28.002735978112174}]
["Near Should Read",28.002735978112174]
["LOS",28.002735978112174]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[32.484000000000002,32.478000000000002,32.479999999999997,32.481999999999999]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":33.484000000000002},{"$f":"SUM(B24:B25)","v":33.478000000000002},{"$f":"SUM(C24:C25)","v":33.479999999999997},{"$f":"SUM(D24:D25)","v":33.481999999999999}]
[{"$f":"B18","v":28.002735978112174},{"$f":"B18","v":28.002735978112174},{"$f":"B18","v":28.002735978112174},{"$f":"B18","v":28.002735978112174}]
[{"$f":"SUM(A27-A26)","v":-5.4812640218878279},{"$f":"SUM(B27-B26)","v":-5.4752640218878277},{"$f":"SUM(C27-C26)","v":-5.477264021887823},{"$f":"SUM(D27-D26)","v":-5.4792640218878255}]
[]
["5)","6)","7)","8)"]
[22.701000000000001,22.702000000000002,22.7,22.699000000000002]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":23.701000000000001},{"$f":"SUM(B31:B32)","v":23.702000000000002},{"$f":"SUM(C31:C32)","v":23.7},{"$f":"SUM(D31:D32)","v":23.699000000000002}]
[{"$f":"B18","v":28.002735978112174},{"$f":"B18","v":28.002735978112174},{"$f":"B18","v":28.002735978112174},{"$f":"B18","v":28.002735978112174}]
[{"$f":"SUM(A34-A33)","v":4.3017359781121733},{"$f":"SUM(B34-B33)","v":4.3007359781121721},{"$f":"SUM(C34-C33)","v":4.3027359781121746},{"$f":"SUM(D34-D33)","v":4.3037359781121722}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[34.036999999999999,29.506,27.744,27.744]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":35.036999999999999},{"$f":"SUM(B41:B42)","v":30.506},{"$f":"SUM(C41:C42)","v":28.744},{"$f":"SUM(D41:D42)","v":28.744}]
[{"$f":"B18","v":28.002735978112174},{"$f":"B18","v":28.002735978112174},{"$f":"B18","v":28.002735978112174},{"$f":"B18","v":28.002735978112174}]
[{"$f":"SUM(A44-A43)","v":-7.0342640218878252},{"$f":"SUM(B44-B43)","v":-2.5032640218878264},{"$f":"SUM(C44-C43)","v":-0.74126402188782592},{"$f":"SUM(D44-D43)","v":-0.74126402188782592}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":28.002735978112174},"LOS"]
["Undulator",{"$f":"B5","v":13}]
["Date:",{"$f":"B6","v":"2011-05-27"}]
["Crew:",{"$f":"B7","v":"BR HI"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,30.602,30.606000000000002]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":31.602},{"$f":"SUM(C64:C65)","v":31.606000000000002}]
[null,{"$f":"B18","v":28.002735978112174},{"$f":"B18","v":28.002735978112174}]
[0,{"$f":"SUM(B67-B66)","v":-3.5992640218878265},{"$f":"SUM(C67-C66)","v":-3.6032640218878278}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[28.884,32.476999999999997,32.479999999999997]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":29.884},{"$f":"SUM(B74:B75)","v":33.476999999999997},{"$f":"SUM(C74:C75)","v":33.479999999999997}]
[{"$f":"B18","v":28.002735978112174},{"$f":"B18","v":28.002735978112174},{"$f":"B18","v":28.002735978112174}]
[{"$f":"SUM(A77-A76)","v":-1.8812640218878265},{"$f":"SUM(B77-B76)","v":-5.4742640218878229},{"$f":"SUM(C77-C76)","v":-5.477264021887823}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[28.873999999999999,32.47,32.472999999999999]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":29.873999999999999},{"$f":"SUM(B83:B84)","v":33.47},{"$f":"SUM(C83:C84)","v":33.472999999999999}]
[{"$f":"B18","v":28.002735978112174},{"$f":"B18","v":28.002735978112174},{"$f":"B18","v":28.002735978112174}]
[{"$f":"SUM(A86-A85)","v":-1.8712640218878249},{"$f":"SUM(B86-B85)","v":-5.467264021887825},{"$f":"SUM(C86-C85)","v":-5.4702640218878251}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,30.603000000000002,30.597999999999999]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":31.603000000000002},{"$f":"SUM(C92:C93)","v":31.597999999999999}]
[null,{"$f":"B18","v":28.002735978112174},{"$f":"B18","v":28.002735978112174}]
[0,{"$f":"SUM(B95-B94)","v":-3.6002640218878277},{"$f":"SUM(C95-C94)","v":-3.5952640218878251}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,7.4859999999999998,7.4950000000000001]
[null,null,1,1]
["Undulator",{"$f":"B5","v":13},{"$f":"SUM(C104+C105)","v":8.4860000000000007},{"$f":"SUM(D104+D105)","v":8.495000000000001}]
["Date:",{"$f":"B6","v":"2011-05-27"}]
["Crew:",{"$f":"B7","v":"BR HI"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":8.4905000000000008}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":7.4859999999999998},11.095000000000001,7.4939999999999998,11.093999999999999]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":8.4860000000000007},{"$f":"SUM(B114:B115)","v":12.095000000000001},{"$f":"SUM(C114:C115)","v":8.4939999999999998},{"$f":"SUM(D114:D115)","v":12.093999999999999}]
[{"$f":"D109","v":8.4905000000000008},{"$f":"D109","v":8.4905000000000008},{"$f":"D109","v":8.4905000000000008},{"$f":"D109","v":8.4905000000000008}]
[{"$f":"SUM(A117-A116)","v":4.5000000000001705E-3},{"$f":"SUM(B117-B116)","v":-3.6044999999999998},{"$f":"SUM(C117-C116)","v":-3.4999999999989484E-3},{"$f":"SUM(D117-D116)","v":-3.6034999999999986}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[7.4880000000000004,11.09,{"$f":"D104","v":7.4950000000000001},11.096]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":8.4879999999999995},{"$f":"SUM(B124:B125)","v":12.09},{"$f":"SUM(C124:C125)","v":8.495000000000001},{"$f":"SUM(D124:D125)","v":12.096}]
[{"$f":"D109","v":8.4905000000000008},{"$f":"D109","v":8.4905000000000008},{"$f":"D109","v":8.4905000000000008},{"$f":"D109","v":8.4905000000000008}]
[{"$f":"SUM(A127-A126)","v":2.500000000001279E-3},{"$f":"SUM(B127-B126)","v":-3.599499999999999},{"$f":"SUM(C127-C126)","v":-4.5000000000001705E-3},{"$f":"SUM(D127-D126)","v":-3.6054999999999993}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[12.88,null,-5.4640000000000004,"LOS"]
[{"$f":"D109","v":8.4905000000000008},null,4.2999999999999997E-2,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.3895},null,{"$f":"SUM(C137+C138)","v":-5.4210000000000003}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.46},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":13}]
["Date:",{"$f":"B6","v":"2011-05-27"}]
["Crew:",{"$f":"B7","v":"BR HI"}]
[]
[]
["HI =",{"$f":"D109","v":8.4905000000000008}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[4.0010000000000003,4,4.0039999999999996,4.0010000000000003]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":5.0010000000000003},{"$f":"SUM(B165:B166)","v":5},{"$f":"SUM(C165:C166)","v":5.0039999999999996},{"$f":"SUM(D165:D166)","v":5.0010000000000003}]
[{"$f":"D109","v":8.4905000000000008},{"$f":"D109","v":8.4905000000000008},{"$f":"D109","v":8.4905000000000008},{"$f":"D109","v":8.4905000000000008}]
[{"$f":"SUM(A168-A167)","v":3.4895000000000005},{"$f":"SUM(B168-B167)","v":3.4905000000000008},{"$f":"SUM(C168-C167)","v":3.4865000000000013},{"$f":"SUM(D168-D167)","v":3.4895000000000005}]
[]
[]
["5)","6)","7)","8)"]
[11.087,11.09,11.087,11.092000000000001]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":12.087},{"$f":"SUM(B173+B174)","v":12.09},{"$f":"SUM(C173+C174)","v":12.087},{"$f":"SUM(D173+D174)","v":12.092000000000001}]
[{"$f":"D109","v":8.4905000000000008},{"$f":"D109","v":8.4905000000000008},{"$f":"D109","v":8.4905000000000008},{"$f":"D109","v":8.4905000000000008}]
[{"$f":"SUM(A176-A175)","v":-3.5964999999999989},{"$f":"SUM(B176-B175)","v":-3.599499999999999},{"$f":"SUM(C176-C175)","v":-3.5964999999999989},{"$f":"SUM(D176-D175)","v":-3.6014999999999997}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[7.726,null,9.8719999999999999,12.952]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":8.7259999999999991},null,{"$f":"SUM(C184+C185)","v":10.872},{"$f":"SUM(D184+D185)","v":13.952}]
[{"$f":"D109","v":8.4905000000000008},null,{"$f":"D109","v":8.4905000000000008},{"$f":"D109","v":8.4905000000000008}]
[{"$f":"SUM(A187-A186)","v":-0.23549999999999827},0,{"$f":"SUM(C187-C186)","v":-2.3814999999999991},{"$f":"SUM(D187-D186)","v":-5.4614999999999991}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[6.7720000000000002,6.774,6.77,6.7720000000000002]
[{"$f":"D109","v":8.4905000000000008},{"$f":"D109","v":8.4905000000000008},{"$f":"D109","v":8.4905000000000008},{"$f":"D109","v":8.4905000000000008}]
[{"$f":"SUM(A196-A195)","v":1.7185000000000006},{"$f":"SUM(B196-B195)","v":1.7165000000000008},{"$f":"SUM(C196-C195)","v":1.7205000000000013},{"$f":"SUM(D196-D195)","v":1.7185000000000006}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":13}]
["Date"," ",{"$f":"Sheet1!B6","v":"2011-05-27"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"BR HI"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.4895000000000005},{"$f":"B10*25.4","v":88.633300000000006},null,null,5,{"$f":"Sheet1!A35","v":4.3017359781121733},{"$f":"G10*25.4","v":109.2640938440492}]
[2,{"$f":"Sheet1!B169","v":3.4905000000000008},{"$f":"B11*25.4","v":88.65870000000001},null,null,6,{"$f":"Sheet1!B35","v":4.3007359781121721},{"$f":"G11*25.4","v":109.23869384404917}]
[3,{"$f":"Sheet1!C169","v":3.4865000000000013},{"$f":"B12*25.4","v":88.557100000000034},null,null,7,{"$f":"Sheet1!C35","v":4.3027359781121746},{"$f":"G12*25.4","v":109.28949384404923}]
[4,{"$f":"Sheet1!D169","v":3.4895000000000005},{"$f":"B13*25.4","v":88.633300000000006},null,null,8,{"$f":"Sheet1!D35","v":4.3037359781121722},{"$f":"G13*25.4","v":109.31489384404917}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.477264021887823},{"$f":"Sheet1!C118","v":-3.4999999999989484E-3},{"$f":"B20*25.4","v":-139.1225061559507},{"$f":"C20*25.4","v":-8.8899999999973278E-2},null,{"$f":"H10-D21","v":157.04819999999998},{"$f":"C10-E20","v":88.722199999999972}]
["X1",{"$f":"Sheet1!A78","v":-1.8812640218878265},{"$f":"Sheet1!D118","v":-3.6034999999999986},{"$f":"B21*25.4","v":-47.784106155950788},{"$f":"C21*25.4","v":-91.528899999999965}]
["Y1",{"$f":"Sheet1!B78","v":-5.4742640218878229},null,{"$f":"B22*25.4","v":-139.0463061559507}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.467264021887825},{"$f":"Sheet1!A128","v":2.500000000001279E-3},{"$f":"B26*25.4","v":-138.86850615595074},{"$f":"C26*25.4","v":6.3500000000032489E-2},null,{"$f":"H13-D27","v":156.84499999999991},{"$f":"C13-E26","v":88.569799999999972}]
["X1",{"$f":"Sheet1!A87","v":-1.8712640218878249},{"$f":"Sheet1!B128","v":-3.599499999999999},{"$f":"B27*25.4","v":-47.530106155950747},{"$f":"C27*25.4","v":-91.427299999999974}]
["Y2",{"$f":"Sheet1!C87","v":-5.4702640218878251},"\\",{"$f":"B28*25.4","v":-138.94470615595074}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.46},{"$f":"B36*25.4","v":-138.684},null,"US  +",{"$f":"Sheet1!A197","v":1.7185000000000006},{"$f":"F36*25.4","v":43.649900000000009}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.7165000000000008},{"$f":"F37*25.4","v":43.599100000000021}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.7205000000000013},{"$f":"F38*25.4","v":43.700700000000026}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.7185000000000006},{"$f":"F39*25.4","v":43.649900000000009}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.3895},{"$f":"B42*25.4","v":-111.49329999999999}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",13]
["Date"," ",{"$f":"Sheet1!B6","v":"2011-05-27"}]
["Crew"," ","MR,BR"]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.4812640218878279},{"$f":"Sheet1!A169","v":3.4895000000000005},{"$f":"SUM(B10*25.4)","v":-139.22410615595084},{"$f":"SUM(C10*25.4)","v":88.633300000000006}]
[2,{"$f":"Sheet1!B28","v":-5.4752640218878277},{"$f":"Sheet1!B169","v":3.4905000000000008},{"$f":"SUM(B11*25.4)","v":-139.07170615595081},{"$f":"SUM(C11*25.4)","v":88.65870000000001},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.477264021887823},{"$f":"Sheet1!C169","v":3.4865000000000013},-139.1225061559507,88.557100000000034,null,{"$f":"Sheet1!C141","v":-5.46},{"$f":"SUM(G12*25.4)","v":-138.684}]
[4,{"$f":"Sheet1!D28","v":-5.4792640218878255},{"$f":"Sheet1!D169","v":3.4895000000000005},-139.17330615595077,88.633300000000006]
[5,{"$f":"Sheet1!A35","v":4.3017359781121733},{"$f":"Sheet1!A177","v":-3.5964999999999989},109.2640938440492,-91.351099999999974]
[6,{"$f":"Sheet1!B35","v":4.3007359781121721},{"$f":"Sheet1!B177","v":-3.599499999999999},109.23869384404917,-91.427299999999974,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.3027359781121746},{"$f":"Sheet1!C177","v":-3.5964999999999989},109.28949384404923,-91.351099999999974]
[8,{"$f":"Sheet1!D35","v":4.3037359781121722},{"$f":"Sheet1!D177","v":-3.6014999999999997},109.31489384404917,-91.478099999999984,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.3895},{"$f":"SUM(G18*25.4)","v":-111.49329999999999}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.8812640218878265},{"$f":"Sheet1!C118","v":-3.4999999999989484E-3},{"$f":"SUM(B23*25.4)","v":-47.784106155950788},{"$f":"SUM(C23*25.4)","v":-8.8899999999973278E-2}]
["X1",{"$f":"Sheet1!A78","v":-1.8812640218878265},{"$f":"Sheet1!D118","v":-3.6034999999999986},{"$f":"SUM(B24*25.4)","v":-47.784106155950788},{"$f":"SUM(C24*25.4)","v":-91.528899999999965},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.4742640218878229},null,{"$f":"SUM(B25*25.4)","v":-139.0463061559507},null,null,"US  +",{"$f":"Sheet1!A197","v":1.7185000000000006},{"$f":"SUM(H25*25.4)","v":43.649900000000009}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.7165000000000008},{"$f":"SUM(H26*25.4)","v":43.599100000000021}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.7205000000000013},{"$f":"SUM(H27*25.4)","v":43.700700000000026}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.7185000000000006},{"$f":"SUM(H28*25.4)","v":43.649900000000009}]
["Y1",{"$f":"Sheet1!B87","v":-5.467264021887825},{"$f":"Sheet1!A128","v":2.500000000001279E-3},{"$f":"SUM(B29*25.4)","v":-138.86850615595074},{"$f":"SUM(C29*25.4)","v":6.3500000000032489E-2}]
["X1",{"$f":"Sheet1!A87","v":-1.8712640218878249},{"$f":"Sheet1!B128","v":-3.599499999999999},{"$f":"SUM(B30*25.4)","v":-47.530106155950747},{"$f":"SUM(C30*25.4)","v":-91.427299999999974}]
["Y2",{"$f":"Sheet1!C87","v":-5.4702640218878251},null,{"$f":"SUM(B31*25.4)","v":-138.94470615595074}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.5992640218878265},{"$f":"Sheet1!A118","v":4.5000000000001705E-3},{"$f":"SUM(B37*25.4)","v":-91.421306155950788},{"$f":"SUM(C37*25.4)","v":0.11430000000000433},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.6044999999999998},0,{"$f":"SUM(C38*25.4)","v":-91.554299999999984}]
["Y2",{"$f":"Sheet1!C68","v":-3.6032640218878278},null,{"$f":"SUM(B39*25.4)","v":-91.522906155950821}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.6002640218878277},{"$f":"Sheet1!C128","v":-4.5000000000001705E-3},{"$f":"SUM(B43*25.4)","v":-91.446706155950821},{"$f":"SUM(C43*25.4)","v":-0.11430000000000433}]
["X1",0,{"$f":"Sheet1!D128","v":-3.6054999999999993},0,{"$f":"SUM(C44*25.4)","v":-91.579699999999974}]
["Y2",{"$f":"Sheet1!C96","v":-3.5952640218878251},null,{"$f":"SUM(B45*25.4)","v":-91.319706155950755}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-7.0342640218878252},{"$f":"Sheet1!A188","v":-0.23549999999999827},{"$f":"SUM(B49*25.4)","v":-178.67030615595075},{"$f":"SUM(C49*25.4)","v":-5.9816999999999556}]
["B",{"$f":"Sheet1!B45","v":-2.5032640218878264},null,{"$f":"SUM(B50*25.4)","v":-63.582906155950788}]
["C",{"$f":"Sheet1!C45","v":-0.74126402188782592},{"$f":"Sheet1!C188","v":-2.3814999999999991},{"$f":"SUM(B51*25.4)","v":-18.828106155950778},{"$f":"SUM(C51*25.4)","v":-60.49009999999997}]
["D",{"$f":"Sheet1!D45","v":-0.74126402188782592},{"$f":"Sheet1!D188","v":-5.4614999999999991},{"$f":"SUM(B52*25.4)","v":-18.828106155950778},{"$f":"SUM(C52*25.4)","v":-138.72209999999998}]