{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator","SN 13"]
["Date:","2011-10-20",null,"aq"]
["Crew:","BR, LG"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",27]
["1st. Near",27.727]
["2nd. Far",28]
["2nd Near",27.991]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":27.987771739130434}]
["Near Should Read",27.987771739130434]
["LOS",27.987771739130434]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[32.472000000000001,32.466000000000001,32.469000000000001,32.47]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":33.472000000000001},{"$f":"SUM(B24:B25)","v":33.466000000000001},{"$f":"SUM(C24:C25)","v":33.469000000000001},{"$f":"SUM(D24:D25)","v":33.47}]
[{"$f":"B18","v":27.987771739130434},{"$f":"B18","v":27.987771739130434},{"$f":"B18","v":27.987771739130434},{"$f":"B18","v":27.987771739130434}]
[{"$f":"SUM(A27-A26)","v":-5.4842282608695676},{"$f":"SUM(B27-B26)","v":-5.4782282608695674},{"$f":"SUM(C27-C26)","v":-5.4812282608695675},{"$f":"SUM(D27-D26)","v":-5.4822282608695652}]
[]
["5)","6)","7)","8)"]
[22.69,22.69,22.687000000000001,22.687999999999999]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":23.69},{"$f":"SUM(B31:B32)","v":23.69},{"$f":"SUM(C31:C32)","v":23.687000000000001},{"$f":"SUM(D31:D32)","v":23.687999999999999}]
[{"$f":"B18","v":27.987771739130434},{"$f":"B18","v":27.987771739130434},{"$f":"B18","v":27.987771739130434},{"$f":"B18","v":27.987771739130434}]
[{"$f":"SUM(A34-A33)","v":4.2977717391304324},{"$f":"SUM(B34-B33)","v":4.2977717391304324},{"$f":"SUM(C34-C33)","v":4.3007717391304325},{"$f":"SUM(D34-D33)","v":4.2997717391304349}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[34.024000000000001,29.49,27.73,27.731000000000002]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":35.024000000000001},{"$f":"SUM(B41:B42)","v":30.49},{"$f":"SUM(C41:C42)","v":28.73},{"$f":"SUM(D41:D42)","v":28.731000000000002}]
[{"$f":"B18","v":27.987771739130434},{"$f":"B18","v":27.987771739130434},{"$f":"B18","v":27.987771739130434},{"$f":"B18","v":27.987771739130434}]
[{"$f":"SUM(A44-A43)","v":-7.0362282608695672},{"$f":"SUM(B44-B43)","v":-2.5022282608695647},{"$f":"SUM(C44-C43)","v":-0.74222826086956672},{"$f":"SUM(D44-D43)","v":-0.74322826086956795}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":27.987771739130434},"LOS"]
["Undulator",{"$f":"B5","v":"SN 13"}]
["Date:",{"$f":"B6","v":"2011-10-20"}]
["Crew:",{"$f":"B7","v":"BR, LG"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,30.585999999999999,30.59]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":31.585999999999999},{"$f":"SUM(C64:C65)","v":31.59}]
[null,{"$f":"B18","v":27.987771739130434},{"$f":"B18","v":27.987771739130434}]
[0,{"$f":"SUM(B67-B66)","v":-3.5982282608695648},{"$f":"SUM(C67-C66)","v":-3.6022282608695662}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[28.87,32.463999999999999,32.469000000000001]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":29.87},{"$f":"SUM(B74:B75)","v":33.463999999999999},{"$f":"SUM(C74:C75)","v":33.469000000000001}]
[{"$f":"B18","v":27.987771739130434},{"$f":"B18","v":27.987771739130434},{"$f":"B18","v":27.987771739130434}]
[{"$f":"SUM(A77-A76)","v":-1.8822282608695673},{"$f":"SUM(B77-B76)","v":-5.4762282608695649},{"$f":"SUM(C77-C76)","v":-5.4812282608695675}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[28.864999999999998,32.46,32.463000000000001]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":29.864999999999998},{"$f":"SUM(B83:B84)","v":33.46},{"$f":"SUM(C83:C84)","v":33.463000000000001}]
[{"$f":"B18","v":27.987771739130434},{"$f":"B18","v":27.987771739130434},{"$f":"B18","v":27.987771739130434}]
[{"$f":"SUM(A86-A85)","v":-1.8772282608695647},{"$f":"SUM(B86-B85)","v":-5.4722282608695672},{"$f":"SUM(C86-C85)","v":-5.4752282608695673}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,30.585999999999999,30.582999999999998]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":31.585999999999999},{"$f":"SUM(C92:C93)","v":31.582999999999998}]
[null,{"$f":"B18","v":27.987771739130434},{"$f":"B18","v":27.987771739130434}]
[0,{"$f":"SUM(B95-B94)","v":-3.5982282608695648},{"$f":"SUM(C95-C94)","v":-3.5952282608695647}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,9.3629999999999995,9.3629999999999995]
[null,null,1,1]
["Undulator",{"$f":"B5","v":"SN 13"},{"$f":"SUM(C104+C105)","v":10.363},{"$f":"SUM(D104+D105)","v":10.363}]
["Date:",{"$f":"B6","v":"2011-10-20"}]
["Crew:",{"$f":"B7","v":"BR, LG"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":10.363}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":9.3629999999999995},12.972,9.3699999999999992,12.97]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":10.363},{"$f":"SUM(B114:B115)","v":13.972},{"$f":"SUM(C114:C115)","v":10.37},{"$f":"SUM(D114:D115)","v":13.97}]
[{"$f":"D109","v":10.363},{"$f":"D109","v":10.363},{"$f":"D109","v":10.363},{"$f":"D109","v":10.363}]
[{"$f":"SUM(A117-A116)","v":0},{"$f":"SUM(B117-B116)","v":-3.609},{"$f":"SUM(C117-C116)","v":-6.9999999999996732E-3},{"$f":"SUM(D117-D116)","v":-3.6070000000000011}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[9.3659999999999997,12.968,{"$f":"D104","v":9.3629999999999995},12.965999999999999]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":10.366},{"$f":"SUM(B124:B125)","v":13.968},{"$f":"SUM(C124:C125)","v":10.363},{"$f":"SUM(D124:D125)","v":13.965999999999999}]
[{"$f":"D109","v":10.363},{"$f":"D109","v":10.363},{"$f":"D109","v":10.363},{"$f":"D109","v":10.363}]
[{"$f":"SUM(A127-A126)","v":-3.0000000000001137E-3},{"$f":"SUM(B127-B126)","v":-3.6050000000000004},{"$f":"SUM(C127-C126)","v":0},{"$f":"SUM(D127-D126)","v":-3.6029999999999998}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[14.763999999999999,null,-5.4640000000000004,"LOS"]
[{"$f":"D109","v":10.363},null,4.2000000000000003E-2,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.4009999999999998},null,{"$f":"SUM(C137+C138)","v":-5.4220000000000006}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.4610000000000003},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":"SN 13"}]
["Date:",{"$f":"B6","v":"2011-10-20"}]
["Crew:",{"$f":"B7","v":"BR, LG"}]
[]
[]
["HI =",{"$f":"D109","v":10.363}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[5.8780000000000001,5.8780000000000001,5.8819999999999997,5.8780000000000001]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":6.8780000000000001},{"$f":"SUM(B165:B166)","v":6.8780000000000001},{"$f":"SUM(C165:C166)","v":6.8819999999999997},{"$f":"SUM(D165:D166)","v":6.8780000000000001}]
[{"$f":"D109","v":10.363},{"$f":"D109","v":10.363},{"$f":"D109","v":10.363},{"$f":"D109","v":10.363}]
[{"$f":"SUM(A168-A167)","v":3.4849999999999994},{"$f":"SUM(B168-B167)","v":3.4849999999999994},{"$f":"SUM(C168-C167)","v":3.4809999999999999},{"$f":"SUM(D168-D167)","v":3.4849999999999994}]
[]
[]
["5)","6)","7)","8)"]
[12.962999999999999,12.965,12.964,12.968999999999999]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":13.962999999999999},{"$f":"SUM(B173+B174)","v":13.965},{"$f":"SUM(C173+C174)","v":13.964},{"$f":"SUM(D173+D174)","v":13.968999999999999}]
[{"$f":"D109","v":10.363},{"$f":"D109","v":10.363},{"$f":"D109","v":10.363},{"$f":"D109","v":10.363}]
[{"$f":"SUM(A176-A175)","v":-3.5999999999999996},{"$f":"SUM(B176-B175)","v":-3.6020000000000003},{"$f":"SUM(C176-C175)","v":-3.6010000000000009},{"$f":"SUM(D176-D175)","v":-3.6059999999999999}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[9.6059999999999999,null,11.749000000000001,14.831]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":10.606},null,{"$f":"SUM(C184+C185)","v":12.749000000000001},{"$f":"SUM(D184+D185)","v":15.831}]
[{"$f":"D109","v":10.363},null,{"$f":"D109","v":10.363},{"$f":"D109","v":10.363}]
[{"$f":"SUM(A187-A186)","v":-0.24300000000000033},0,{"$f":"SUM(C187-C186)","v":-2.386000000000001},{"$f":"SUM(D187-D186)","v":-5.468}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[8.6489999999999991,8.65,8.6479999999999997,8.6489999999999991]
[{"$f":"D109","v":10.363},{"$f":"D109","v":10.363},{"$f":"D109","v":10.363},{"$f":"D109","v":10.363}]
[{"$f":"SUM(A196-A195)","v":1.7140000000000004},{"$f":"SUM(B196-B195)","v":1.7129999999999992},{"$f":"SUM(C196-C195)","v":1.7149999999999999},{"$f":"SUM(D196-D195)","v":1.7140000000000004}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":"SN 13"}]
["Date"," ",{"$f":"Sheet1!B6","v":"2011-10-20"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"BR, LG"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.4849999999999994},{"$f":"B10*25.4","v":88.518999999999977},null,null,5,{"$f":"Sheet1!A35","v":4.2977717391304324},{"$f":"G10*25.4","v":109.16340217391297}]
[2,{"$f":"Sheet1!B169","v":3.4849999999999994},{"$f":"B11*25.4","v":88.518999999999977},null,null,6,{"$f":"Sheet1!B35","v":4.2977717391304324},{"$f":"G11*25.4","v":109.16340217391297}]
[3,{"$f":"Sheet1!C169","v":3.4809999999999999},{"$f":"B12*25.4","v":88.417399999999986},null,null,7,{"$f":"Sheet1!C35","v":4.3007717391304325},{"$f":"G12*25.4","v":109.23960217391298}]
[4,{"$f":"Sheet1!D169","v":3.4849999999999994},{"$f":"B13*25.4","v":88.518999999999977},null,null,8,{"$f":"Sheet1!D35","v":4.2997717391304349},{"$f":"G13*25.4","v":109.21420217391304}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.4812282608695675},{"$f":"Sheet1!C118","v":-6.9999999999996732E-3},{"$f":"B20*25.4","v":-139.22319782608702},{"$f":"C20*25.4","v":-0.17779999999999169},null,{"$f":"H10-D21","v":156.97199999999998},{"$f":"C10-E20","v":88.696799999999968}]
["X1",{"$f":"Sheet1!A78","v":-1.8822282608695673},{"$f":"Sheet1!D118","v":-3.6070000000000011},{"$f":"B21*25.4","v":-47.808597826087009},{"$f":"C21*25.4","v":-91.617800000000017}]
["Y1",{"$f":"Sheet1!B78","v":-5.4762282608695649},null,{"$f":"B22*25.4","v":-139.09619782608695}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.4722282608695672},{"$f":"Sheet1!A128","v":-3.0000000000001137E-3},{"$f":"B26*25.4","v":-138.99459782608699},{"$f":"C26*25.4","v":-7.6200000000002877E-2},null,{"$f":"H13-D27","v":156.89579999999998},{"$f":"C13-E26","v":88.595199999999977}]
["X1",{"$f":"Sheet1!A87","v":-1.8772282608695647},{"$f":"Sheet1!B128","v":-3.6050000000000004},{"$f":"B27*25.4","v":-47.681597826086943},{"$f":"C27*25.4","v":-91.567000000000007}]
["Y2",{"$f":"Sheet1!C87","v":-5.4752282608695673},"\\",{"$f":"B28*25.4","v":-139.07079782608699}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.4610000000000003},{"$f":"B36*25.4","v":-138.70939999999999},null,"US  +",{"$f":"Sheet1!A197","v":1.7140000000000004},{"$f":"F36*25.4","v":43.535600000000009}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.7129999999999992},{"$f":"F37*25.4","v":43.510199999999976}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.7149999999999999},{"$f":"F38*25.4","v":43.560999999999993}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.7140000000000004},{"$f":"F39*25.4","v":43.535600000000009}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.4009999999999998},{"$f":"B42*25.4","v":-111.7854}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",13]
["Date"," ",{"$f":"Sheet1!B6","v":"2011-10-20"}]
["Crew"," ","MR,BR"]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.4842282608695676},{"$f":"Sheet1!A169","v":3.4849999999999994},{"$f":"SUM(B10*25.4)","v":-139.29939782608702},{"$f":"SUM(C10*25.4)","v":88.518999999999977}]
[2,{"$f":"Sheet1!B28","v":-5.4782282608695674},{"$f":"Sheet1!B169","v":3.4849999999999994},{"$f":"SUM(B11*25.4)","v":-139.14699782608702},{"$f":"SUM(C11*25.4)","v":88.518999999999977},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.4812282608695675},{"$f":"Sheet1!C169","v":3.4809999999999999},-139.22319782608702,88.417399999999986,null,{"$f":"Sheet1!C141","v":-5.4610000000000003},{"$f":"SUM(G12*25.4)","v":-138.70939999999999}]
[4,{"$f":"Sheet1!D28","v":-5.4822282608695652},{"$f":"Sheet1!D169","v":3.4849999999999994},-139.24859782608695,88.518999999999977]
[5,{"$f":"Sheet1!A35","v":4.2977717391304324},{"$f":"Sheet1!A177","v":-3.5999999999999996},109.16340217391297,-91.439999999999984]
[6,{"$f":"Sheet1!B35","v":4.2977717391304324},{"$f":"Sheet1!B177","v":-3.6020000000000003},109.16340217391297,-91.490800000000007,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.3007717391304325},{"$f":"Sheet1!C177","v":-3.6010000000000009},109.23960217391298,-91.465400000000017]
[8,{"$f":"Sheet1!D35","v":4.2997717391304349},{"$f":"Sheet1!D177","v":-3.6059999999999999},109.21420217391304,-91.592399999999998,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.4009999999999998},{"$f":"SUM(G18*25.4)","v":-111.7854}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.8822282608695673},{"$f":"Sheet1!C118","v":-6.9999999999996732E-3},{"$f":"SUM(B23*25.4)","v":-47.808597826087009},{"$f":"SUM(C23*25.4)","v":-0.17779999999999169}]
["X1",{"$f":"Sheet1!A78","v":-1.8822282608695673},{"$f":"Sheet1!D118","v":-3.6070000000000011},{"$f":"SUM(B24*25.4)","v":-47.808597826087009},{"$f":"SUM(C24*25.4)","v":-91.617800000000017},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.4762282608695649},null,{"$f":"SUM(B25*25.4)","v":-139.09619782608695},null,null,"US  +",{"$f":"Sheet1!A197","v":1.7140000000000004},{"$f":"SUM(H25*25.4)","v":43.535600000000009}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.7129999999999992},{"$f":"SUM(H26*25.4)","v":43.510199999999976}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.7149999999999999},{"$f":"SUM(H27*25.4)","v":43.560999999999993}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.7140000000000004},{"$f":"SUM(H28*25.4)","v":43.535600000000009}]
["Y1",{"$f":"Sheet1!B87","v":-5.4722282608695672},{"$f":"Sheet1!A128","v":-3.0000000000001137E-3},{"$f":"SUM(B29*25.4)","v":-138.99459782608699},{"$f":"SUM(C29*25.4)","v":-7.6200000000002877E-2}]
["X1",{"$f":"Sheet1!A87","v":-1.8772282608695647},{"$f":"Sheet1!B128","v":-3.6050000000000004},{"$f":"SUM(B30*25.4)","v":-47.681597826086943},{"$f":"SUM(C30*25.4)","v":-91.567000000000007}]
["Y2",{"$f":"Sheet1!C87","v":-5.4752282608695673},null,{"$f":"SUM(B31*25.4)","v":-139.07079782608699}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.5982282608695648},{"$f":"Sheet1!A118","v":0},{"$f":"SUM(B37*25.4)","v":-91.394997826086936},{"$f":"SUM(C37*25.4)","v":0},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.609},0,{"$f":"SUM(C38*25.4)","v":-91.668599999999998}]
["Y2",{"$f":"Sheet1!C68","v":-3.6022282608695662},null,{"$f":"SUM(B39*25.4)","v":-91.496597826086969}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.5982282608695648},{"$f":"Sheet1!C128","v":0},{"$f":"SUM(B43*25.4)","v":-91.394997826086936},{"$f":"SUM(C43*25.4)","v":0}]
["X1",0,{"$f":"Sheet1!D128","v":-3.6029999999999998},0,{"$f":"SUM(C44*25.4)","v":-91.516199999999984}]
["Y2",{"$f":"Sheet1!C96","v":-3.5952282608695647},null,{"$f":"SUM(B45*25.4)","v":-91.318797826086936}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-7.0362282608695672},{"$f":"Sheet1!A188","v":-0.24300000000000033},{"$f":"SUM(B49*25.4)","v":-178.720197826087},{"$f":"SUM(C49*25.4)","v":-6.1722000000000081}]
["B",{"$f":"Sheet1!B45","v":-2.5022282608695647},null,{"$f":"SUM(B50*25.4)","v":-63.556597826086943}]
["C",{"$f":"Sheet1!C45","v":-0.74222826086956672},{"$f":"Sheet1!C188","v":-2.386000000000001},{"$f":"SUM(B51*25.4)","v":-18.852597826086996},{"$f":"SUM(C51*25.4)","v":-60.60440000000002}]
["D",{"$f":"Sheet1!D45","v":-0.74322826086956795},{"$f":"Sheet1!D188","v":-5.468},{"$f":"SUM(B52*25.4)","v":-18.877997826087025},{"$f":"SUM(C52*25.4)","v":-138.88719999999998}]