{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator","SN 13"]
["Date:","2013-03-25"]
["Crew:","MR, LG"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",27]
["1st. Near",27.847000000000001]
["2nd. Far",28.5]
["2nd Near",28.25," "]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":28.158158614402918}]
["Near Should Read",28.158158614402918]
["LOS",28.158158614402918]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[32.654000000000003,32.648000000000003,32.65,32.652000000000001]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":33.654000000000003},{"$f":"SUM(B24:B25)","v":33.648000000000003},{"$f":"SUM(C24:C25)","v":33.65},{"$f":"SUM(D24:D25)","v":33.652000000000001}]
[{"$f":"B18","v":28.158158614402918},{"$f":"B18","v":28.158158614402918},{"$f":"B18","v":28.158158614402918},{"$f":"B18","v":28.158158614402918}]
[{"$f":"SUM(A27-A26)","v":-5.4958413855970853},{"$f":"SUM(B27-B26)","v":-5.4898413855970851},{"$f":"SUM(C27-C26)","v":-5.4918413855970805},{"$f":"SUM(D27-D26)","v":-5.4938413855970829}]
[]
["5)","6)","7)","8)"]
[22.867999999999999,22.869,22.87,22.867999999999999]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":23.867999999999999},{"$f":"SUM(B31:B32)","v":23.869},{"$f":"SUM(C31:C32)","v":23.87},{"$f":"SUM(D31:D32)","v":23.867999999999999}]
[{"$f":"B18","v":28.158158614402918},{"$f":"B18","v":28.158158614402918},{"$f":"B18","v":28.158158614402918},{"$f":"B18","v":28.158158614402918}]
[{"$f":"SUM(A34-A33)","v":4.2901586144029196},{"$f":"SUM(B34-B33)","v":4.2891586144029183},{"$f":"SUM(C34-C33)","v":4.2881586144029171},{"$f":"SUM(D34-D33)","v":4.2901586144029196}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[34.204999999999998,29.669,27.908999999999999,27.908999999999999]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":35.204999999999998},{"$f":"SUM(B41:B42)","v":30.669},{"$f":"SUM(C41:C42)","v":28.908999999999999},{"$f":"SUM(D41:D42)","v":28.908999999999999}]
[{"$f":"B18","v":28.158158614402918},{"$f":"B18","v":28.158158614402918},{"$f":"B18","v":28.158158614402918},{"$f":"B18","v":28.158158614402918}]
[{"$f":"SUM(A44-A43)","v":-7.0468413855970802},{"$f":"SUM(B44-B43)","v":-2.5108413855970824},{"$f":"SUM(C44-C43)","v":-0.7508413855970808},{"$f":"SUM(D44-D43)","v":-0.7508413855970808}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":28.158158614402918},"LOS"]
["Undulator",{"$f":"B5","v":"SN 13"}]
["Date:",{"$f":"B6","v":"2013-03-25"}]
["Crew:",{"$f":"B7","v":"MR, LG"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,30.754999999999999,30.759]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":31.754999999999999},{"$f":"SUM(C64:C65)","v":31.759}]
[null,{"$f":"B18","v":28.158158614402918},{"$f":"B18","v":28.158158614402918}]
[0,{"$f":"SUM(B67-B66)","v":-3.5968413855970809},{"$f":"SUM(C67-C66)","v":-3.6008413855970822}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[29.050999999999998,32.643000000000001,32.646999999999998]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":30.050999999999998},{"$f":"SUM(B74:B75)","v":33.643000000000001},{"$f":"SUM(C74:C75)","v":33.646999999999998}]
[{"$f":"B18","v":28.158158614402918},{"$f":"B18","v":28.158158614402918},{"$f":"B18","v":28.158158614402918}]
[{"$f":"SUM(A77-A76)","v":-1.8928413855970803},{"$f":"SUM(B77-B76)","v":-5.4848413855970826},{"$f":"SUM(C77-C76)","v":-5.4888413855970803}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[29.05,32.637999999999998,32.643000000000001]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":30.05},{"$f":"SUM(B83:B84)","v":33.637999999999998},{"$f":"SUM(C83:C84)","v":33.643000000000001}]
[{"$f":"B18","v":28.158158614402918},{"$f":"B18","v":28.158158614402918},{"$f":"B18","v":28.158158614402918}]
[{"$f":"SUM(A86-A85)","v":-1.8918413855970826},{"$f":"SUM(B86-B85)","v":-5.47984138559708},{"$f":"SUM(C86-C85)","v":-5.4848413855970826}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,30.754999999999999,30.748999999999999]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":31.754999999999999},{"$f":"SUM(C92:C93)","v":31.748999999999999}]
[null,{"$f":"B18","v":28.158158614402918},{"$f":"B18","v":28.158158614402918}]
[0,{"$f":"SUM(B95-B94)","v":-3.5968413855970809},{"$f":"SUM(C95-C94)","v":-3.5908413855970807}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,9.9990000000000006,9.9909999999999997]
[null,null,1,1]
["Undulator",{"$f":"B5","v":"SN 13"},{"$f":"SUM(C104+C105)","v":10.999000000000001},{"$f":"SUM(D104+D105)","v":10.991}]
["Date:",{"$f":"B6","v":"2013-03-25"}]
["Crew:",{"$f":"B7","v":"MR, LG"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":10.995000000000001}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":9.9990000000000006},13.605,10.004,13.603999999999999]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":10.999000000000001},{"$f":"SUM(B114:B115)","v":14.605},{"$f":"SUM(C114:C115)","v":11.004},{"$f":"SUM(D114:D115)","v":14.603999999999999}]
[{"$f":"D109","v":10.995000000000001},{"$f":"D109","v":10.995000000000001},{"$f":"D109","v":10.995000000000001},{"$f":"D109","v":10.995000000000001}]
[{"$f":"SUM(A117-A116)","v":-3.9999999999995595E-3},{"$f":"SUM(B117-B116)","v":-3.6099999999999994},{"$f":"SUM(C117-C116)","v":-8.9999999999985647E-3},{"$f":"SUM(D117-D116)","v":-3.6089999999999982}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[10,13.6,{"$f":"D104","v":9.9909999999999997},13.593]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":11},{"$f":"SUM(B124:B125)","v":14.6},{"$f":"SUM(C124:C125)","v":10.991},{"$f":"SUM(D124:D125)","v":14.593}]
[{"$f":"D109","v":10.995000000000001},{"$f":"D109","v":10.995000000000001},{"$f":"D109","v":10.995000000000001},{"$f":"D109","v":10.995000000000001}]
[{"$f":"SUM(A127-A126)","v":-4.9999999999990052E-3},{"$f":"SUM(B127-B126)","v":-3.6049999999999986},{"$f":"SUM(C127-C126)","v":4.0000000000013358E-3},{"$f":"SUM(D127-D126)","v":-3.597999999999999}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[15.4,null,-5.4640000000000004,"LOS"]
[{"$f":"D109","v":10.995000000000001},null,0.03,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.4049999999999994},null,{"$f":"SUM(C137+C138)","v":-5.4340000000000002}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.4729999999999999},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":"SN 13"}]
["Date:",{"$f":"B6","v":"2013-03-25"}]
["Crew:",{"$f":"B7","v":"MR, LG"}]
[]
[]
["HI =",{"$f":"D109","v":10.995000000000001}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[6.5119999999999996,6.5119999999999996,6.5149999999999997,6.5119999999999996]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":7.5119999999999996},{"$f":"SUM(B165:B166)","v":7.5119999999999996},{"$f":"SUM(C165:C166)","v":7.5149999999999997},{"$f":"SUM(D165:D166)","v":7.5119999999999996}]
[{"$f":"D109","v":10.995000000000001},{"$f":"D109","v":10.995000000000001},{"$f":"D109","v":10.995000000000001},{"$f":"D109","v":10.995000000000001}]
[{"$f":"SUM(A168-A167)","v":3.4830000000000014},{"$f":"SUM(B168-B167)","v":3.4830000000000014},{"$f":"SUM(C168-C167)","v":3.4800000000000013},{"$f":"SUM(D168-D167)","v":3.4830000000000014}]
[]
[]
["5)","6)","7)","8)"]
[13.6,13.603,13.6,13.603]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":14.6},{"$f":"SUM(B173+B174)","v":14.603},{"$f":"SUM(C173+C174)","v":14.6},{"$f":"SUM(D173+D174)","v":14.603}]
[{"$f":"D109","v":10.995000000000001},{"$f":"D109","v":10.995000000000001},{"$f":"D109","v":10.995000000000001},{"$f":"D109","v":10.995000000000001}]
[{"$f":"SUM(A176-A175)","v":-3.6049999999999986},{"$f":"SUM(B176-B175)","v":-3.6079999999999988},{"$f":"SUM(C176-C175)","v":-3.6049999999999986},{"$f":"SUM(D176-D175)","v":-3.6079999999999988}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[10.238,null,12.385999999999999,15.465999999999999]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":11.238},null,{"$f":"SUM(C184+C185)","v":13.385999999999999},{"$f":"SUM(D184+D185)","v":16.466000000000001}]
[{"$f":"D109","v":10.995000000000001},null,{"$f":"D109","v":10.995000000000001},{"$f":"D109","v":10.995000000000001}]
[{"$f":"SUM(A187-A186)","v":-0.24299999999999855},0,{"$f":"SUM(C187-C186)","v":-2.3909999999999982},{"$f":"SUM(D187-D186)","v":-5.4710000000000001}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[9.2829999999999995,9.2850000000000001,9.282,9.2829999999999995]
[{"$f":"D109","v":10.995000000000001},{"$f":"D109","v":10.995000000000001},{"$f":"D109","v":10.995000000000001},{"$f":"D109","v":10.995000000000001}]
[{"$f":"SUM(A196-A195)","v":1.7120000000000015},{"$f":"SUM(B196-B195)","v":1.7100000000000009},{"$f":"SUM(C196-C195)","v":1.713000000000001},{"$f":"SUM(D196-D195)","v":1.7120000000000015}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":"SN 13"}]
["Date"," ",{"$f":"Sheet1!B6","v":"2013-03-25"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"MR, LG"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.4830000000000014},{"$f":"B10*25.4","v":88.468200000000024},null,null,5,{"$f":"Sheet1!A35","v":4.2901586144029196},{"$f":"G10*25.4","v":108.97002880583415}]
[2,{"$f":"Sheet1!B169","v":3.4830000000000014},{"$f":"B11*25.4","v":88.468200000000024},null,null,6,{"$f":"Sheet1!B35","v":4.2891586144029183},{"$f":"G11*25.4","v":108.94462880583411}]
[3,{"$f":"Sheet1!C169","v":3.4800000000000013},{"$f":"B12*25.4","v":88.392000000000024},null,null,7,{"$f":"Sheet1!C35","v":4.2881586144029171},{"$f":"G12*25.4","v":108.91922880583409}]
[4,{"$f":"Sheet1!D169","v":3.4830000000000014},{"$f":"B13*25.4","v":88.468200000000024},null,null,8,{"$f":"Sheet1!D35","v":4.2901586144029196},{"$f":"G13*25.4","v":108.97002880583415}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.4888413855970803},{"$f":"Sheet1!C118","v":-8.9999999999985647E-3},{"$f":"B20*25.4","v":-139.41657119416584},{"$f":"C20*25.4","v":-0.22859999999996353},null,{"$f":"H10-D21","v":157.04819999999998},{"$f":"C10-E20","v":88.696799999999982}]
["X1",{"$f":"Sheet1!A78","v":-1.8928413855970803},{"$f":"Sheet1!D118","v":-3.6089999999999982},{"$f":"B21*25.4","v":-48.078171194165833},{"$f":"C21*25.4","v":-91.668599999999955}]
["Y1",{"$f":"Sheet1!B78","v":-5.4848413855970826},null,{"$f":"B22*25.4","v":-139.31497119416588}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.47984138559708},{"$f":"Sheet1!A128","v":-4.9999999999990052E-3},{"$f":"B26*25.4","v":-139.18797119416581},{"$f":"C26*25.4","v":-0.12699999999997472},null,{"$f":"H13-D27","v":157.02280000000005},{"$f":"C13-E26","v":88.595200000000006}]
["X1",{"$f":"Sheet1!A87","v":-1.8918413855970826},{"$f":"Sheet1!B128","v":-3.6049999999999986},{"$f":"B27*25.4","v":-48.052771194165892},{"$f":"C27*25.4","v":-91.566999999999965}]
["Y2",{"$f":"Sheet1!C87","v":-5.4848413855970826},"\\",{"$f":"B28*25.4","v":-139.31497119416588}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.4729999999999999},{"$f":"B36*25.4","v":-139.01419999999999},null,"US  +",{"$f":"Sheet1!A197","v":1.7120000000000015},{"$f":"F36*25.4","v":43.484800000000035}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.7100000000000009},{"$f":"F37*25.4","v":43.434000000000019}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.713000000000001},{"$f":"F38*25.4","v":43.510200000000019}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.7120000000000015},{"$f":"F39*25.4","v":43.484800000000035}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.4049999999999994},{"$f":"B42*25.4","v":-111.88699999999997}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",13]
["Date"," ",{"$f":"Sheet1!B6","v":"2013-03-25"}]
["Crew"," ","MR,BR"]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.4958413855970853},{"$f":"Sheet1!A169","v":3.4830000000000014},{"$f":"SUM(B10*25.4)","v":-139.59437119416597},{"$f":"SUM(C10*25.4)","v":88.468200000000024}]
[2,{"$f":"Sheet1!B28","v":-5.4898413855970851},{"$f":"Sheet1!B169","v":3.4830000000000014},{"$f":"SUM(B11*25.4)","v":-139.44197119416594},{"$f":"SUM(C11*25.4)","v":88.468200000000024},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.4918413855970805},{"$f":"Sheet1!C169","v":3.4800000000000013},-139.49277119416584,88.392000000000024,null,{"$f":"Sheet1!C141","v":-5.4729999999999999},{"$f":"SUM(G12*25.4)","v":-139.01419999999999}]
[4,{"$f":"Sheet1!D28","v":-5.4938413855970829},{"$f":"Sheet1!D169","v":3.4830000000000014},-139.54357119416591,88.468200000000024]
[5,{"$f":"Sheet1!A35","v":4.2901586144029196},{"$f":"Sheet1!A177","v":-3.6049999999999986},108.97002880583415,-91.566999999999965]
[6,{"$f":"Sheet1!B35","v":4.2891586144029183},{"$f":"Sheet1!B177","v":-3.6079999999999988},108.94462880583411,-91.643199999999965,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.2881586144029171},{"$f":"Sheet1!C177","v":-3.6049999999999986},108.91922880583409,-91.566999999999965]
[8,{"$f":"Sheet1!D35","v":4.2901586144029196},{"$f":"Sheet1!D177","v":-3.6079999999999988},108.97002880583415,-91.643199999999965,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.4049999999999994},{"$f":"SUM(G18*25.4)","v":-111.88699999999997}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.8928413855970803},{"$f":"Sheet1!C118","v":-8.9999999999985647E-3},{"$f":"SUM(B23*25.4)","v":-48.078171194165833},{"$f":"SUM(C23*25.4)","v":-0.22859999999996353}]
["X1",{"$f":"Sheet1!A78","v":-1.8928413855970803},{"$f":"Sheet1!D118","v":-3.6089999999999982},{"$f":"SUM(B24*25.4)","v":-48.078171194165833},{"$f":"SUM(C24*25.4)","v":-91.668599999999955},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.4848413855970826},null,{"$f":"SUM(B25*25.4)","v":-139.31497119416588},null,null,"US  +",{"$f":"Sheet1!A197","v":1.7120000000000015},{"$f":"SUM(H25*25.4)","v":43.484800000000035}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.7100000000000009},{"$f":"SUM(H26*25.4)","v":43.434000000000019}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.713000000000001},{"$f":"SUM(H27*25.4)","v":43.510200000000019}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.7120000000000015},{"$f":"SUM(H28*25.4)","v":43.484800000000035}]
["Y1",{"$f":"Sheet1!B87","v":-5.47984138559708},{"$f":"Sheet1!A128","v":-4.9999999999990052E-3},{"$f":"SUM(B29*25.4)","v":-139.18797119416581},{"$f":"SUM(C29*25.4)","v":-0.12699999999997472}]
["X1",{"$f":"Sheet1!A87","v":-1.8918413855970826},{"$f":"Sheet1!B128","v":-3.6049999999999986},{"$f":"SUM(B30*25.4)","v":-48.052771194165892},{"$f":"SUM(C30*25.4)","v":-91.566999999999965}]
["Y2",{"$f":"Sheet1!C87","v":-5.4848413855970826},null,{"$f":"SUM(B31*25.4)","v":-139.31497119416588}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.5968413855970809},{"$f":"Sheet1!A118","v":-3.9999999999995595E-3},{"$f":"SUM(B37*25.4)","v":-91.359771194165845},{"$f":"SUM(C37*25.4)","v":-0.10159999999998881},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.6099999999999994},0,{"$f":"SUM(C38*25.4)","v":-91.693999999999974}]
["Y2",{"$f":"Sheet1!C68","v":-3.6008413855970822},null,{"$f":"SUM(B39*25.4)","v":-91.461371194165878}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.5968413855970809},{"$f":"Sheet1!C128","v":4.0000000000013358E-3},{"$f":"SUM(B43*25.4)","v":-91.359771194165845},{"$f":"SUM(C43*25.4)","v":0.10160000000003393}]
["X1",0,{"$f":"Sheet1!D128","v":-3.597999999999999},0,{"$f":"SUM(C44*25.4)","v":-91.389199999999974}]
["Y2",{"$f":"Sheet1!C96","v":-3.5908413855970807},null,{"$f":"SUM(B45*25.4)","v":-91.207371194165844}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-7.0468413855970802},{"$f":"Sheet1!A188","v":-0.24299999999999855},{"$f":"SUM(B49*25.4)","v":-178.98977119416583},{"$f":"SUM(C49*25.4)","v":-6.1721999999999628}]
["B",{"$f":"Sheet1!B45","v":-2.5108413855970824},null,{"$f":"SUM(B50*25.4)","v":-63.775371194165885}]
["C",{"$f":"Sheet1!C45","v":-0.7508413855970808},{"$f":"Sheet1!C188","v":-2.3909999999999982},{"$f":"SUM(B51*25.4)","v":-19.071371194165852},{"$f":"SUM(C51*25.4)","v":-60.731399999999951}]
["D",{"$f":"Sheet1!D45","v":-0.7508413855970808},{"$f":"Sheet1!D188","v":-5.4710000000000001},{"$f":"SUM(B52*25.4)","v":-19.071371194165852},{"$f":"SUM(C52*25.4)","v":-138.96340000000001}]