{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator","SN 13"]
["Date:","2013-10-22"]
["Crew:","MJR, LG"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",28]
["1st. Near",28.119]
["2nd. Far",29]
["2nd Near",28.370999999999999]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":28.15909090909091}]
["Near Should Read",28.15909090909091]
["LOS",28.15909090909091]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[32.654000000000003,32.645000000000003,32.648000000000003,32.65]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":33.654000000000003},{"$f":"SUM(B24:B25)","v":33.645000000000003},{"$f":"SUM(C24:C25)","v":33.648000000000003},{"$f":"SUM(D24:D25)","v":33.65}]
[{"$f":"B18","v":28.15909090909091},{"$f":"B18","v":28.15909090909091},{"$f":"B18","v":28.15909090909091},{"$f":"B18","v":28.15909090909091}]
[{"$f":"SUM(A27-A26)","v":-5.4949090909090934},{"$f":"SUM(B27-B26)","v":-5.4859090909090931},{"$f":"SUM(C27-C26)","v":-5.4889090909090932},{"$f":"SUM(D27-D26)","v":-5.4909090909090885}]
[]
["5)","6)","7)","8)"]
[22.87,22.87,22.864999999999998,22.867999999999999]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":23.87},{"$f":"SUM(B31:B32)","v":23.87},{"$f":"SUM(C31:C32)","v":23.864999999999998},{"$f":"SUM(D31:D32)","v":23.867999999999999}]
[{"$f":"B18","v":28.15909090909091},{"$f":"B18","v":28.15909090909091},{"$f":"B18","v":28.15909090909091},{"$f":"B18","v":28.15909090909091}]
[{"$f":"SUM(A34-A33)","v":4.2890909090909091},{"$f":"SUM(B34-B33)","v":4.2890909090909091},{"$f":"SUM(C34-C33)","v":4.2940909090909116},{"$f":"SUM(D34-D33)","v":4.2910909090909115}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[34.203000000000003,29.667999999999999,27.914999999999999,27.914000000000001]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":35.203000000000003},{"$f":"SUM(B41:B42)","v":30.667999999999999},{"$f":"SUM(C41:C42)","v":28.914999999999999},{"$f":"SUM(D41:D42)","v":28.914000000000001}]
[{"$f":"B18","v":28.15909090909091},{"$f":"B18","v":28.15909090909091},{"$f":"B18","v":28.15909090909091},{"$f":"B18","v":28.15909090909091}]
[{"$f":"SUM(A44-A43)","v":-7.0439090909090929},{"$f":"SUM(B44-B43)","v":-2.5089090909090892},{"$f":"SUM(C44-C43)","v":-0.75590909090908909},{"$f":"SUM(D44-D43)","v":-0.75490909090909142}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":28.15909090909091},"LOS"]
["Undulator",{"$f":"B5","v":"SN 13"}]
["Date:",{"$f":"B6","v":"2013-10-22"}]
["Crew:",{"$f":"B7","v":"MJR, LG"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,30.759,30.763000000000002]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":31.759},{"$f":"SUM(C64:C65)","v":31.763000000000002}]
[null,{"$f":"B18","v":28.15909090909091},{"$f":"B18","v":28.15909090909091}]
[0,{"$f":"SUM(B67-B66)","v":-3.5999090909090903},{"$f":"SUM(C67-C66)","v":-3.6039090909090916}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[29.052,32.646000000000001,32.65]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":30.052},{"$f":"SUM(B74:B75)","v":33.646000000000001},{"$f":"SUM(C74:C75)","v":33.65}]
[{"$f":"B18","v":28.15909090909091},{"$f":"B18","v":28.15909090909091},{"$f":"B18","v":28.15909090909091}]
[{"$f":"SUM(A77-A76)","v":-1.8929090909090895},{"$f":"SUM(B77-B76)","v":-5.4869090909090907},{"$f":"SUM(C77-C76)","v":-5.4909090909090885}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[29.045000000000002,32.637,32.643000000000001]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":30.045000000000002},{"$f":"SUM(B83:B84)","v":33.637},{"$f":"SUM(C83:C84)","v":33.643000000000001}]
[{"$f":"B18","v":28.15909090909091},{"$f":"B18","v":28.15909090909091},{"$f":"B18","v":28.15909090909091}]
[{"$f":"SUM(A86-A85)","v":-1.8859090909090916},{"$f":"SUM(B86-B85)","v":-5.4779090909090904},{"$f":"SUM(C86-C85)","v":-5.4839090909090906}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,30.757000000000001,30.753]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":31.757000000000001},{"$f":"SUM(C92:C93)","v":31.753}]
[null,{"$f":"B18","v":28.15909090909091},{"$f":"B18","v":28.15909090909091}]
[0,{"$f":"SUM(B95-B94)","v":-3.5979090909090914},{"$f":"SUM(C95-C94)","v":-3.5939090909090901}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,8.9429999999999996,8.9469999999999992]
[null,null,1,1]
["Undulator",{"$f":"B5","v":"SN 13"},{"$f":"SUM(C104+C105)","v":9.9429999999999996},{"$f":"SUM(D104+D105)","v":9.9469999999999992}]
["Date:",{"$f":"B6","v":"2013-10-22"}]
["Crew:",{"$f":"B7","v":"MJR, LG"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":9.9450000000000003}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":8.9429999999999996},12.548,8.9499999999999993,12.551]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":9.9429999999999996},{"$f":"SUM(B114:B115)","v":13.548},{"$f":"SUM(C114:C115)","v":9.9499999999999993},{"$f":"SUM(D114:D115)","v":13.551}]
[{"$f":"D109","v":9.9450000000000003},{"$f":"D109","v":9.9450000000000003},{"$f":"D109","v":9.9450000000000003},{"$f":"D109","v":9.9450000000000003}]
[{"$f":"SUM(A117-A116)","v":2.0000000000006679E-3},{"$f":"SUM(B117-B116)","v":-3.6029999999999998},{"$f":"SUM(C117-C116)","v":-4.9999999999990052E-3},{"$f":"SUM(D117-D116)","v":-3.6059999999999999}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[8.9480000000000004,12.548,{"$f":"D104","v":8.9469999999999992},12.55]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":9.9480000000000004},{"$f":"SUM(B124:B125)","v":13.548},{"$f":"SUM(C124:C125)","v":9.9469999999999992},{"$f":"SUM(D124:D125)","v":13.55}]
[{"$f":"D109","v":9.9450000000000003},{"$f":"D109","v":9.9450000000000003},{"$f":"D109","v":9.9450000000000003},{"$f":"D109","v":9.9450000000000003}]
[{"$f":"SUM(A127-A126)","v":-3.0000000000001137E-3},{"$f":"SUM(B127-B126)","v":-3.6029999999999998},{"$f":"SUM(C127-C126)","v":-1.9999999999988916E-3},{"$f":"SUM(D127-D126)","v":-3.6050000000000004}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[14.343,null,-5.4640000000000004,"LOS"]
[{"$f":"D109","v":9.9450000000000003},null,2.4E-2,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.3979999999999997},null,{"$f":"SUM(C137+C138)","v":-5.44}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.4790000000000001},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":"SN 13"}]
["Date:",{"$f":"B6","v":"2013-10-22"}]
["Crew:",{"$f":"B7","v":"MJR, LG"}]
[]
[]
["HI =",{"$f":"D109","v":9.9450000000000003}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[5.4569999999999999,5.4580000000000002,5.4630000000000001,5.46]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":6.4569999999999999},{"$f":"SUM(B165:B166)","v":6.4580000000000002},{"$f":"SUM(C165:C166)","v":6.4630000000000001},{"$f":"SUM(D165:D166)","v":6.46}]
[{"$f":"D109","v":9.9450000000000003},{"$f":"D109","v":9.9450000000000003},{"$f":"D109","v":9.9450000000000003},{"$f":"D109","v":9.9450000000000003}]
[{"$f":"SUM(A168-A167)","v":3.4880000000000004},{"$f":"SUM(B168-B167)","v":3.4870000000000001},{"$f":"SUM(C168-C167)","v":3.4820000000000002},{"$f":"SUM(D168-D167)","v":3.4850000000000003}]
[]
[]
["5)","6)","7)","8)"]
[12.542999999999999,12.547000000000001,12.544,12.55]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":13.542999999999999},{"$f":"SUM(B173+B174)","v":13.547000000000001},{"$f":"SUM(C173+C174)","v":13.544},{"$f":"SUM(D173+D174)","v":13.55}]
[{"$f":"D109","v":9.9450000000000003},{"$f":"D109","v":9.9450000000000003},{"$f":"D109","v":9.9450000000000003},{"$f":"D109","v":9.9450000000000003}]
[{"$f":"SUM(A176-A175)","v":-3.597999999999999},{"$f":"SUM(B176-B175)","v":-3.6020000000000003},{"$f":"SUM(C176-C175)","v":-3.5990000000000002},{"$f":"SUM(D176-D175)","v":-3.6050000000000004}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[9.1839999999999993,null,11.33,14.41]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":10.183999999999999},null,{"$f":"SUM(C184+C185)","v":12.33},{"$f":"SUM(D184+D185)","v":15.41}]
[{"$f":"D109","v":9.9450000000000003},null,{"$f":"D109","v":9.9450000000000003},{"$f":"D109","v":9.9450000000000003}]
[{"$f":"SUM(A187-A186)","v":-0.23899999999999899},0,{"$f":"SUM(C187-C186)","v":-2.3849999999999998},{"$f":"SUM(D187-D186)","v":-5.4649999999999999}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[8.23,8.2319999999999993,8.2289999999999992,8.23]
[{"$f":"D109","v":9.9450000000000003},{"$f":"D109","v":9.9450000000000003},{"$f":"D109","v":9.9450000000000003},{"$f":"D109","v":9.9450000000000003}]
[{"$f":"SUM(A196-A195)","v":1.7149999999999999},{"$f":"SUM(B196-B195)","v":1.713000000000001},{"$f":"SUM(C196-C195)","v":1.7160000000000011},{"$f":"SUM(D196-D195)","v":1.7149999999999999}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":"SN 13"}]
["Date"," ",{"$f":"Sheet1!B6","v":"2013-10-22"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"MJR, LG"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.4880000000000004},{"$f":"B10*25.4","v":88.595200000000006},null,null,5,{"$f":"Sheet1!A35","v":4.2890909090909091},{"$f":"G10*25.4","v":108.94290909090908}]
[2,{"$f":"Sheet1!B169","v":3.4870000000000001},{"$f":"B11*25.4","v":88.569800000000001},null,null,6,{"$f":"Sheet1!B35","v":4.2890909090909091},{"$f":"G11*25.4","v":108.94290909090908}]
[3,{"$f":"Sheet1!C169","v":3.4820000000000002},{"$f":"B12*25.4","v":88.442800000000005},null,null,7,{"$f":"Sheet1!C35","v":4.2940909090909116},{"$f":"G12*25.4","v":109.06990909090915}]
[4,{"$f":"Sheet1!D169","v":3.4850000000000003},{"$f":"B13*25.4","v":88.519000000000005},null,null,8,{"$f":"Sheet1!D35","v":4.2910909090909115},{"$f":"G13*25.4","v":108.99370909090915}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.4909090909090885},{"$f":"Sheet1!C118","v":-4.9999999999990052E-3},{"$f":"B20*25.4","v":-139.46909090909085},{"$f":"C20*25.4","v":-0.12699999999997472},null,{"$f":"H10-D21","v":157.02279999999996},{"$f":"C10-E20","v":88.722199999999987}]
["X1",{"$f":"Sheet1!A78","v":-1.8929090909090895},{"$f":"Sheet1!D118","v":-3.6059999999999999},{"$f":"B21*25.4","v":-48.079890909090871},{"$f":"C21*25.4","v":-91.592399999999998}]
["Y1",{"$f":"Sheet1!B78","v":-5.4869090909090907},null,{"$f":"B22*25.4","v":-139.36749090909089}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.4779090909090904},{"$f":"Sheet1!A128","v":-3.0000000000001137E-3},{"$f":"B26*25.4","v":-139.13889090909089},{"$f":"C26*25.4","v":-7.6200000000002877E-2},null,{"$f":"H13-D27","v":156.89580000000007},{"$f":"C13-E26","v":88.595200000000006}]
["X1",{"$f":"Sheet1!A87","v":-1.8859090909090916},{"$f":"Sheet1!B128","v":-3.6029999999999998},{"$f":"B27*25.4","v":-47.902090909090923},{"$f":"C27*25.4","v":-91.516199999999984}]
["Y2",{"$f":"Sheet1!C87","v":-5.4839090909090906},"\\",{"$f":"B28*25.4","v":-139.29129090909089}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.4790000000000001},{"$f":"B36*25.4","v":-139.16659999999999},null,"US  +",{"$f":"Sheet1!A197","v":1.7149999999999999},{"$f":"F36*25.4","v":43.560999999999993}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.713000000000001},{"$f":"F37*25.4","v":43.510200000000019}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.7160000000000011},{"$f":"F38*25.4","v":43.586400000000026}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.7149999999999999},{"$f":"F39*25.4","v":43.560999999999993}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.3979999999999997},{"$f":"B42*25.4","v":-111.70919999999998}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",13]
["Date"," ",{"$f":"Sheet1!B6","v":"2013-10-22"}]
["Crew"," ","MR,BR"]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.4949090909090934},{"$f":"Sheet1!A169","v":3.4880000000000004},{"$f":"SUM(B10*25.4)","v":-139.57069090909096},{"$f":"SUM(C10*25.4)","v":88.595200000000006}]
[2,{"$f":"Sheet1!B28","v":-5.4859090909090931},{"$f":"Sheet1!B169","v":3.4870000000000001},{"$f":"SUM(B11*25.4)","v":-139.34209090909096},{"$f":"SUM(C11*25.4)","v":88.569800000000001},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.4889090909090932},{"$f":"Sheet1!C169","v":3.4820000000000002},-139.41829090909096,88.442800000000005,null,{"$f":"Sheet1!C141","v":-5.4790000000000001},{"$f":"SUM(G12*25.4)","v":-139.16659999999999}]
[4,{"$f":"Sheet1!D28","v":-5.4909090909090885},{"$f":"Sheet1!D169","v":3.4850000000000003},-139.46909090909085,88.519000000000005]
[5,{"$f":"Sheet1!A35","v":4.2890909090909091},{"$f":"Sheet1!A177","v":-3.597999999999999},108.94290909090908,-91.389199999999974]
[6,{"$f":"Sheet1!B35","v":4.2890909090909091},{"$f":"Sheet1!B177","v":-3.6020000000000003},108.94290909090908,-91.490800000000007,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.2940909090909116},{"$f":"Sheet1!C177","v":-3.5990000000000002},109.06990909090915,-91.414599999999993]
[8,{"$f":"Sheet1!D35","v":4.2910909090909115},{"$f":"Sheet1!D177","v":-3.6050000000000004},108.99370909090915,-91.567000000000007,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.3979999999999997},{"$f":"SUM(G18*25.4)","v":-111.70919999999998}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.8929090909090895},{"$f":"Sheet1!C118","v":-4.9999999999990052E-3},{"$f":"SUM(B23*25.4)","v":-48.079890909090871},{"$f":"SUM(C23*25.4)","v":-0.12699999999997472}]
["X1",{"$f":"Sheet1!A78","v":-1.8929090909090895},{"$f":"Sheet1!D118","v":-3.6059999999999999},{"$f":"SUM(B24*25.4)","v":-48.079890909090871},{"$f":"SUM(C24*25.4)","v":-91.592399999999998},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.4869090909090907},null,{"$f":"SUM(B25*25.4)","v":-139.36749090909089},null,null,"US  +",{"$f":"Sheet1!A197","v":1.7149999999999999},{"$f":"SUM(H25*25.4)","v":43.560999999999993}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.713000000000001},{"$f":"SUM(H26*25.4)","v":43.510200000000019}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.7160000000000011},{"$f":"SUM(H27*25.4)","v":43.586400000000026}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.7149999999999999},{"$f":"SUM(H28*25.4)","v":43.560999999999993}]
["Y1",{"$f":"Sheet1!B87","v":-5.4779090909090904},{"$f":"Sheet1!A128","v":-3.0000000000001137E-3},{"$f":"SUM(B29*25.4)","v":-139.13889090909089},{"$f":"SUM(C29*25.4)","v":-7.6200000000002877E-2}]
["X1",{"$f":"Sheet1!A87","v":-1.8859090909090916},{"$f":"Sheet1!B128","v":-3.6029999999999998},{"$f":"SUM(B30*25.4)","v":-47.902090909090923},{"$f":"SUM(C30*25.4)","v":-91.516199999999984}]
["Y2",{"$f":"Sheet1!C87","v":-5.4839090909090906},null,{"$f":"SUM(B31*25.4)","v":-139.29129090909089}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.5999090909090903},{"$f":"Sheet1!A118","v":2.0000000000006679E-3},{"$f":"SUM(B37*25.4)","v":-91.43769090909089},{"$f":"SUM(C37*25.4)","v":5.0800000000016964E-2},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.6029999999999998},0,{"$f":"SUM(C38*25.4)","v":-91.516199999999984}]
["Y2",{"$f":"Sheet1!C68","v":-3.6039090909090916},null,{"$f":"SUM(B39*25.4)","v":-91.539290909090923}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.5979090909090914},{"$f":"Sheet1!C128","v":-1.9999999999988916E-3},{"$f":"SUM(B43*25.4)","v":-91.386890909090923},{"$f":"SUM(C43*25.4)","v":-5.079999999997184E-2}]
["X1",0,{"$f":"Sheet1!D128","v":-3.6050000000000004},0,{"$f":"SUM(C44*25.4)","v":-91.567000000000007}]
["Y2",{"$f":"Sheet1!C96","v":-3.5939090909090901},null,{"$f":"SUM(B45*25.4)","v":-91.285290909090875}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-7.0439090909090929},{"$f":"Sheet1!A188","v":-0.23899999999999899},{"$f":"SUM(B49*25.4)","v":-178.91529090909094},{"$f":"SUM(C49*25.4)","v":-6.070599999999974}]
["B",{"$f":"Sheet1!B45","v":-2.5089090909090892},null,{"$f":"SUM(B50*25.4)","v":-63.726290909090864}]
["C",{"$f":"Sheet1!C45","v":-0.75590909090908909},{"$f":"Sheet1!C188","v":-2.3849999999999998},{"$f":"SUM(B51*25.4)","v":-19.200090909090861},{"$f":"SUM(C51*25.4)","v":-60.578999999999994}]
["D",{"$f":"Sheet1!D45","v":-0.75490909090909142},{"$f":"Sheet1!D188","v":-5.4649999999999999},{"$f":"SUM(B52*25.4)","v":-19.17469090909092},{"$f":"SUM(C52*25.4)","v":-138.81099999999998}]