{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator","SN 13"]
["Date:","2014-01-15"]
["Crew:","BR, MR,LG"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",29]
["1st. Near",28.516999999999999]
["2nd. Far",28.353999999999999]
["2nd Near",28.350999999999999]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":28.3499625}]
["Near Should Read",28.3499625]
["LOS",28.3499625]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[32.838000000000001,32.837000000000003,32.837000000000003,32.840000000000003]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":33.838000000000001},{"$f":"SUM(B24:B25)","v":33.837000000000003},{"$f":"SUM(C24:C25)","v":33.837000000000003},{"$f":"SUM(D24:D25)","v":33.840000000000003}]
[{"$f":"B18","v":28.3499625},{"$f":"B18","v":28.3499625},{"$f":"B18","v":28.3499625},{"$f":"B18","v":28.3499625}]
[{"$f":"SUM(A27-A26)","v":-5.4880375000000008},{"$f":"SUM(B27-B26)","v":-5.4870375000000031},{"$f":"SUM(C27-C26)","v":-5.4870375000000031},{"$f":"SUM(D27-D26)","v":-5.4900375000000032}]
[]
["5)","6)","7)","8)"]
[23.061,23.062000000000001,23.061,23.061]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":24.061},{"$f":"SUM(B31:B32)","v":24.062000000000001},{"$f":"SUM(C31:C32)","v":24.061},{"$f":"SUM(D31:D32)","v":24.061}]
[{"$f":"B18","v":28.3499625},{"$f":"B18","v":28.3499625},{"$f":"B18","v":28.3499625},{"$f":"B18","v":28.3499625}]
[{"$f":"SUM(A34-A33)","v":4.2889625000000002},{"$f":"SUM(B34-B33)","v":4.287962499999999},{"$f":"SUM(C34-C33)","v":4.2889625000000002},{"$f":"SUM(D34-D33)","v":4.2889625000000002}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[34.393999999999998,29.861999999999998,28.103999999999999,28.103000000000002]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":35.393999999999998},{"$f":"SUM(B41:B42)","v":30.861999999999998},{"$f":"SUM(C41:C42)","v":29.103999999999999},{"$f":"SUM(D41:D42)","v":29.103000000000002}]
[{"$f":"B18","v":28.3499625},{"$f":"B18","v":28.3499625},{"$f":"B18","v":28.3499625},{"$f":"B18","v":28.3499625}]
[{"$f":"SUM(A44-A43)","v":-7.0440374999999982},{"$f":"SUM(B44-B43)","v":-2.5120374999999981},{"$f":"SUM(C44-C43)","v":-0.75403749999999903},{"$f":"SUM(D44-D43)","v":-0.75303750000000136}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":28.3499625},"LOS"]
["Undulator",{"$f":"B5","v":"SN 13"}]
["Date:",{"$f":"B6","v":"2014-01-15"}]
["Crew:",{"$f":"B7","v":"BR, MR,LG"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,30.949000000000002,30.952999999999999]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":31.949000000000002},{"$f":"SUM(C64:C65)","v":31.952999999999999}]
[null,{"$f":"B18","v":28.3499625},{"$f":"B18","v":28.3499625}]
[0,{"$f":"SUM(B67-B66)","v":-3.5990375000000014},{"$f":"SUM(C67-C66)","v":-3.6030374999999992}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[29.245999999999999,32.841000000000001,32.841000000000001]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":30.245999999999999},{"$f":"SUM(B74:B75)","v":33.841000000000001},{"$f":"SUM(C74:C75)","v":33.841000000000001}]
[{"$f":"B18","v":28.3499625},{"$f":"B18","v":28.3499625},{"$f":"B18","v":28.3499625}]
[{"$f":"SUM(A77-A76)","v":-1.8960374999999985},{"$f":"SUM(B77-B76)","v":-5.4910375000000009},{"$f":"SUM(C77-C76)","v":-5.4910375000000009}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[29.238,32.828000000000003,32.835999999999999]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":30.238},{"$f":"SUM(B83:B84)","v":33.828000000000003},{"$f":"SUM(C83:C84)","v":33.835999999999999}]
[{"$f":"B18","v":28.3499625},{"$f":"B18","v":28.3499625},{"$f":"B18","v":28.3499625}]
[{"$f":"SUM(A86-A85)","v":-1.8880374999999994},{"$f":"SUM(B86-B85)","v":-5.4780375000000028},{"$f":"SUM(C86-C85)","v":-5.4860374999999983}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,30.952000000000002,30.946999999999999]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":31.952000000000002},{"$f":"SUM(C92:C93)","v":31.946999999999999}]
[null,{"$f":"B18","v":28.3499625},{"$f":"B18","v":28.3499625}]
[0,{"$f":"SUM(B95-B94)","v":-3.6020375000000016},{"$f":"SUM(C95-C94)","v":-3.597037499999999}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,9.6929999999999996,9.6850000000000005]
[null,null,1,1]
["Undulator",{"$f":"B5","v":"SN 13"},{"$f":"SUM(C104+C105)","v":10.693},{"$f":"SUM(D104+D105)","v":10.685}]
["Date:",{"$f":"B6","v":"2014-01-15"}]
["Crew:",{"$f":"B7","v":"BR, MR,LG"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":10.689}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":9.6929999999999996},13.292,9.69,13.292]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":10.693},{"$f":"SUM(B114:B115)","v":14.292},{"$f":"SUM(C114:C115)","v":10.69},{"$f":"SUM(D114:D115)","v":14.292}]
[{"$f":"D109","v":10.689},{"$f":"D109","v":10.689},{"$f":"D109","v":10.689},{"$f":"D109","v":10.689}]
[{"$f":"SUM(A117-A116)","v":-3.9999999999995595E-3},{"$f":"SUM(B117-B116)","v":-3.6029999999999998},{"$f":"SUM(C117-C116)","v":-9.9999999999944578E-4},{"$f":"SUM(D117-D116)","v":-3.6029999999999998}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[9.6880000000000006,13.291,{"$f":"D104","v":9.6850000000000005},13.295]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":10.688000000000001},{"$f":"SUM(B124:B125)","v":14.291},{"$f":"SUM(C124:C125)","v":10.685},{"$f":"SUM(D124:D125)","v":14.295}]
[{"$f":"D109","v":10.689},{"$f":"D109","v":10.689},{"$f":"D109","v":10.689},{"$f":"D109","v":10.689}]
[{"$f":"SUM(A127-A126)","v":9.9999999999944578E-4},{"$f":"SUM(B127-B126)","v":-3.6020000000000003},{"$f":"SUM(C127-C126)","v":3.9999999999995595E-3},{"$f":"SUM(D127-D126)","v":-3.6059999999999999}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[15.087,null,-5.4640000000000004,"LOS"]
[{"$f":"D109","v":10.689},null,2.1999999999999999E-2,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.3979999999999997},null,{"$f":"SUM(C137+C138)","v":-5.4420000000000002}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.4809999999999999},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":"SN 13"}]
["Date:",{"$f":"B6","v":41654}]
["Crew:","BR, MR,LG"]
[]
[]
["HI =",{"$f":"D109","v":10.689}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[6.202,6.202,6.2069999999999999,6.202]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":7.202},{"$f":"SUM(B165:B166)","v":7.202},{"$f":"SUM(C165:C166)","v":7.2069999999999999},{"$f":"SUM(D165:D166)","v":7.202}]
[{"$f":"D109","v":10.689},{"$f":"D109","v":10.689},{"$f":"D109","v":10.689},{"$f":"D109","v":10.689}]
[{"$f":"SUM(A168-A167)","v":3.4870000000000001},{"$f":"SUM(B168-B167)","v":3.4870000000000001},{"$f":"SUM(C168-C167)","v":3.4820000000000002},{"$f":"SUM(D168-D167)","v":3.4870000000000001}]
[]
[]
["5)","6)","7)","8)"]
[13.292,13.295,13.294,13.297000000000001]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":14.292},{"$f":"SUM(B173+B174)","v":14.295},{"$f":"SUM(C173+C174)","v":14.294},{"$f":"SUM(D173+D174)","v":14.297000000000001}]
[{"$f":"D109","v":10.689},{"$f":"D109","v":10.689},{"$f":"D109","v":10.689},{"$f":"D109","v":10.689}]
[{"$f":"SUM(A176-A175)","v":-3.6029999999999998},{"$f":"SUM(B176-B175)","v":-3.6059999999999999},{"$f":"SUM(C176-C175)","v":-3.6050000000000004},{"$f":"SUM(D176-D175)","v":-3.6080000000000005}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[9.9280000000000008,null,12.071999999999999,15.153]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":10.928000000000001},null,{"$f":"SUM(C184+C185)","v":13.071999999999999},{"$f":"SUM(D184+D185)","v":16.152999999999999}]
[{"$f":"D109","v":10.689},null,{"$f":"D109","v":10.689},{"$f":"D109","v":10.689}]
[{"$f":"SUM(A187-A186)","v":-0.23900000000000077},0,{"$f":"SUM(C187-C186)","v":-2.3829999999999991},{"$f":"SUM(D187-D186)","v":-5.4639999999999986}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[8.9730000000000008,8.9730000000000008,8.9730000000000008,8.9730000000000008]
[{"$f":"D109","v":10.689},{"$f":"D109","v":10.689},{"$f":"D109","v":10.689},{"$f":"D109","v":10.689}]
[{"$f":"SUM(A196-A195)","v":1.7159999999999993},{"$f":"SUM(B196-B195)","v":1.7159999999999993},{"$f":"SUM(C196-C195)","v":1.7159999999999993},{"$f":"SUM(D196-D195)","v":1.7159999999999993}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":"SN 13"}]
["Date"," ",{"$f":"Sheet1!B6","v":"2014-01-15"}]
["Crew",null,{"$f":"Sheet1!B7","v":"BR, MR,LG"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.4870000000000001},{"$f":"B10*25.4","v":88.569800000000001},null,null,5,{"$f":"Sheet1!A35","v":4.2889625000000002},{"$f":"G10*25.4","v":108.93964750000001}]
[2,{"$f":"Sheet1!B169","v":3.4870000000000001},{"$f":"B11*25.4","v":88.569800000000001},null,null,6,{"$f":"Sheet1!B35","v":4.287962499999999},{"$f":"G11*25.4","v":108.91424749999997}]
[3,{"$f":"Sheet1!C169","v":3.4820000000000002},{"$f":"B12*25.4","v":88.442800000000005},null,null,7,{"$f":"Sheet1!C35","v":4.2889625000000002},{"$f":"G12*25.4","v":108.93964750000001}]
[4,{"$f":"Sheet1!D169","v":3.4870000000000001},{"$f":"B13*25.4","v":88.569800000000001},null,null,8,{"$f":"Sheet1!D35","v":4.2889625000000002},{"$f":"G13*25.4","v":108.93964750000001}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.4910375000000009},{"$f":"Sheet1!C118","v":-9.9999999999944578E-4},{"$f":"B20*25.4","v":-139.47235250000003},{"$f":"C20*25.4","v":-2.539999999998592E-2},null,{"$f":"H10-D21","v":157.09899999999996},{"$f":"C10-E20","v":88.595199999999991}]
["X1",{"$f":"Sheet1!A78","v":-1.8960374999999985},{"$f":"Sheet1!D118","v":-3.6029999999999998},{"$f":"B21*25.4","v":-48.159352499999962},{"$f":"C21*25.4","v":-91.516199999999984}]
["Y1",{"$f":"Sheet1!B78","v":-5.4910375000000009},null,{"$f":"B22*25.4","v":-139.47235250000003}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.4780375000000028},{"$f":"Sheet1!A128","v":9.9999999999944578E-4},{"$f":"B26*25.4","v":-139.14215250000007},{"$f":"C26*25.4","v":2.539999999998592E-2},null,{"$f":"H13-D27","v":156.89579999999998},{"$f":"C13-E26","v":88.54440000000001}]
["X1",{"$f":"Sheet1!A87","v":-1.8880374999999994},{"$f":"Sheet1!B128","v":-3.6020000000000003},{"$f":"B27*25.4","v":-47.95615249999998},{"$f":"C27*25.4","v":-91.490800000000007}]
["Y2",{"$f":"Sheet1!C87","v":-5.4860374999999983},"\\",{"$f":"B28*25.4","v":-139.34535249999996}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.4809999999999999},{"$f":"B36*25.4","v":-139.2174},null,"US  +",{"$f":"Sheet1!A197","v":1.7159999999999993},{"$f":"F36*25.4","v":43.586399999999983}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.7159999999999993},{"$f":"F37*25.4","v":43.586399999999983}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.7159999999999993},{"$f":"F38*25.4","v":43.586399999999983}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.7159999999999993},{"$f":"F39*25.4","v":43.586399999999983}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.3979999999999997},{"$f":"B42*25.4","v":-111.70919999999998}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",13]
["Date"," ",{"$f":"Sheet1!B6","v":"2014-01-15"}]
["Crew"," ","MR,BR"]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.4880375000000008},{"$f":"Sheet1!A169","v":3.4870000000000001},{"$f":"SUM(B10*25.4)","v":-139.3961525},{"$f":"SUM(C10*25.4)","v":88.569800000000001}]
[2,{"$f":"Sheet1!B28","v":-5.4870375000000031},{"$f":"Sheet1!B169","v":3.4870000000000001},{"$f":"SUM(B11*25.4)","v":-139.37075250000007},{"$f":"SUM(C11*25.4)","v":88.569800000000001},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.4870375000000031},{"$f":"Sheet1!C169","v":3.4820000000000002},-139.37075250000007,88.442800000000005,null,{"$f":"Sheet1!C141","v":-5.4809999999999999},{"$f":"SUM(G12*25.4)","v":-139.2174}]
[4,{"$f":"Sheet1!D28","v":-5.4900375000000032},{"$f":"Sheet1!D169","v":3.4870000000000001},-139.44695250000007,88.569800000000001]
[5,{"$f":"Sheet1!A35","v":4.2889625000000002},{"$f":"Sheet1!A177","v":-3.6029999999999998},108.93964750000001,-91.516199999999984]
[6,{"$f":"Sheet1!B35","v":4.287962499999999},{"$f":"Sheet1!B177","v":-3.6059999999999999},108.91424749999997,-91.592399999999998,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.2889625000000002},{"$f":"Sheet1!C177","v":-3.6050000000000004},108.93964750000001,-91.567000000000007]
[8,{"$f":"Sheet1!D35","v":4.2889625000000002},{"$f":"Sheet1!D177","v":-3.6080000000000005},108.93964750000001,-91.643200000000007,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.3979999999999997},{"$f":"SUM(G18*25.4)","v":-111.70919999999998}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.8960374999999985},{"$f":"Sheet1!C118","v":-9.9999999999944578E-4},{"$f":"SUM(B23*25.4)","v":-48.159352499999962},{"$f":"SUM(C23*25.4)","v":-2.539999999998592E-2}]
["X1",{"$f":"Sheet1!A78","v":-1.8960374999999985},{"$f":"Sheet1!D118","v":-3.6029999999999998},{"$f":"SUM(B24*25.4)","v":-48.159352499999962},{"$f":"SUM(C24*25.4)","v":-91.516199999999984},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.4910375000000009},null,{"$f":"SUM(B25*25.4)","v":-139.47235250000003},null,null,"US  +",{"$f":"Sheet1!A197","v":1.7159999999999993},{"$f":"SUM(H25*25.4)","v":43.586399999999983}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.7159999999999993},{"$f":"SUM(H26*25.4)","v":43.586399999999983}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.7159999999999993},{"$f":"SUM(H27*25.4)","v":43.586399999999983}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.7159999999999993},{"$f":"SUM(H28*25.4)","v":43.586399999999983}]
["Y1",{"$f":"Sheet1!B87","v":-5.4780375000000028},{"$f":"Sheet1!A128","v":9.9999999999944578E-4},{"$f":"SUM(B29*25.4)","v":-139.14215250000007},{"$f":"SUM(C29*25.4)","v":2.539999999998592E-2}]
["X1",{"$f":"Sheet1!A87","v":-1.8880374999999994},{"$f":"Sheet1!B128","v":-3.6020000000000003},{"$f":"SUM(B30*25.4)","v":-47.95615249999998},{"$f":"SUM(C30*25.4)","v":-91.490800000000007}]
["Y2",{"$f":"Sheet1!C87","v":-5.4860374999999983},null,{"$f":"SUM(B31*25.4)","v":-139.34535249999996}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.5990375000000014},{"$f":"Sheet1!A118","v":-3.9999999999995595E-3},{"$f":"SUM(B37*25.4)","v":-91.415552500000032},{"$f":"SUM(C37*25.4)","v":-0.10159999999998881},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.6029999999999998},0,{"$f":"SUM(C38*25.4)","v":-91.516199999999984}]
["Y2",{"$f":"Sheet1!C68","v":-3.6030374999999992},null,{"$f":"SUM(B39*25.4)","v":-91.51715249999998}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.6020375000000016},{"$f":"Sheet1!C128","v":3.9999999999995595E-3},{"$f":"SUM(B43*25.4)","v":-91.491752500000032},{"$f":"SUM(C43*25.4)","v":0.10159999999998881}]
["X1",0,{"$f":"Sheet1!D128","v":-3.6059999999999999},0,{"$f":"SUM(C44*25.4)","v":-91.592399999999998}]
["Y2",{"$f":"Sheet1!C96","v":-3.597037499999999},null,{"$f":"SUM(B45*25.4)","v":-91.364752499999966}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-7.0440374999999982},{"$f":"Sheet1!A188","v":-0.23900000000000077},{"$f":"SUM(B49*25.4)","v":-178.91855249999995},{"$f":"SUM(C49*25.4)","v":-6.0706000000000193}]
["B",{"$f":"Sheet1!B45","v":-2.5120374999999981},null,{"$f":"SUM(B50*25.4)","v":-63.805752499999947}]
["C",{"$f":"Sheet1!C45","v":-0.75403749999999903},{"$f":"Sheet1!C188","v":-2.3829999999999991},{"$f":"SUM(B51*25.4)","v":-19.152552499999974},{"$f":"SUM(C51*25.4)","v":-60.528199999999977}]
["D",{"$f":"Sheet1!D45","v":-0.75303750000000136},{"$f":"Sheet1!D188","v":-5.4639999999999986},{"$f":"SUM(B52*25.4)","v":-19.127152500000033},{"$f":"SUM(C52*25.4)","v":-138.78559999999996}]