{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator",13]
["Date:","2015-05-04"]
["Crew:","MG/MR"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",27]
["1st. Near",29.518999999999998]
["2nd. Far",30]
["2nd Near",30.314]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":30.427210884353741}]
["Near Should Read",30.427210884353741]
["LOS",30.427210884353741]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[34.487000000000002,34.482999999999997,34.487000000000002,34.488]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":35.487000000000002},{"$f":"SUM(B24:B25)","v":35.482999999999997},{"$f":"SUM(C24:C25)","v":35.487000000000002},{"$f":"SUM(D24:D25)","v":35.488}]
[{"$f":"B18","v":30.427210884353741},{"$f":"B18","v":30.427210884353741},{"$f":"B18","v":30.427210884353741},{"$f":"B18","v":30.427210884353741}]
[{"$f":"SUM(A27-A26)","v":-5.0597891156462609},{"$f":"SUM(B27-B26)","v":-5.055789115646256},{"$f":"SUM(C27-C26)","v":-5.0597891156462609},{"$f":"SUM(D27-D26)","v":-5.0607891156462586}]
[]
["5)","6)","7)","8)"]
[24.707999999999998,24.709,24.71,24.71]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":25.707999999999998},{"$f":"SUM(B31:B32)","v":25.709},{"$f":"SUM(C31:C32)","v":25.71},{"$f":"SUM(D31:D32)","v":25.71}]
[{"$f":"B18","v":30.427210884353741},{"$f":"B18","v":30.427210884353741},{"$f":"B18","v":30.427210884353741},{"$f":"B18","v":30.427210884353741}]
[{"$f":"SUM(A34-A33)","v":4.7192108843537426},{"$f":"SUM(B34-B33)","v":4.7182108843537414},{"$f":"SUM(C34-C33)","v":4.7172108843537401},{"$f":"SUM(D34-D33)","v":4.7172108843537401}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[36.042000000000002,31.507000000000001,29.747,29.747]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":37.042000000000002},{"$f":"SUM(B41:B42)","v":32.507000000000005},{"$f":"SUM(C41:C42)","v":30.747},{"$f":"SUM(D41:D42)","v":30.747}]
[{"$f":"B18","v":30.427210884353741},{"$f":"B18","v":30.427210884353741},{"$f":"B18","v":30.427210884353741},{"$f":"B18","v":30.427210884353741}]
[{"$f":"SUM(A44-A43)","v":-6.6147891156462606},{"$f":"SUM(B44-B43)","v":-2.079789115646264},{"$f":"SUM(C44-C43)","v":-0.31978911564625889},{"$f":"SUM(D44-D43)","v":-0.31978911564625889}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":30.427210884353741},"LOS"]
["Undulator",{"$f":"B5","v":13}]
["Date:",{"$f":"B6","v":"2015-05-04"}]
["Crew:",{"$f":"B7","v":"MG/MR"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,33.027000000000001,33.029000000000003]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":34.027000000000001},{"$f":"SUM(C64:C65)","v":34.029000000000003}]
[null,{"$f":"B18","v":30.427210884353741},{"$f":"B18","v":30.427210884353741}]
[0,{"$f":"SUM(B67-B66)","v":-3.59978911564626},{"$f":"SUM(C67-C66)","v":-3.6017891156462625}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[30.893000000000001,34.488,34.488999999999997]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":31.893000000000001},{"$f":"SUM(B74:B75)","v":35.488},{"$f":"SUM(C74:C75)","v":35.488999999999997}]
[{"$f":"B18","v":30.427210884353741},{"$f":"B18","v":30.427210884353741},{"$f":"B18","v":30.427210884353741}]
[{"$f":"SUM(A77-A76)","v":-1.4657891156462597},{"$f":"SUM(B77-B76)","v":-5.0607891156462586},{"$f":"SUM(C77-C76)","v":-5.0617891156462562}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[30.885999999999999,34.482999999999997,34.484999999999999]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":31.885999999999999},{"$f":"SUM(B83:B84)","v":35.482999999999997},{"$f":"SUM(C83:C84)","v":35.484999999999999}]
[{"$f":"B18","v":30.427210884353741},{"$f":"B18","v":30.427210884353741},{"$f":"B18","v":30.427210884353741}]
[{"$f":"SUM(A86-A85)","v":-1.4587891156462582},{"$f":"SUM(B86-B85)","v":-5.055789115646256},{"$f":"SUM(C86-C85)","v":-5.0577891156462584}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,33.024999999999999,33.024000000000001]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":34.024999999999999},{"$f":"SUM(C92:C93)","v":34.024000000000001}]
[null,{"$f":"B18","v":30.427210884353741},{"$f":"B18","v":30.427210884353741}]
[0,{"$f":"SUM(B95-B94)","v":-3.5977891156462576},{"$f":"SUM(C95-C94)","v":-3.5967891156462599}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,9.2539999999999996,9.2509999999999994]
[null,null,1,1]
["Undulator",{"$f":"B5","v":13},{"$f":"SUM(C104+C105)","v":10.254},{"$f":"SUM(D104+D105)","v":10.250999999999999}]
["Date:",{"$f":"B6","v":"2015-05-04"}]
["Crew:",{"$f":"B7","v":"MG/MR"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":10.2525}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":9.2539999999999996},12.861000000000001,9.2710000000000008,12.872999999999999]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":10.254},{"$f":"SUM(B114:B115)","v":13.861000000000001},{"$f":"SUM(C114:C115)","v":10.271000000000001},{"$f":"SUM(D114:D115)","v":13.872999999999999}]
[{"$f":"D109","v":10.2525},{"$f":"D109","v":10.2525},{"$f":"D109","v":10.2525},{"$f":"D109","v":10.2525}]
[{"$f":"SUM(A117-A116)","v":-1.5000000000000568E-3},{"$f":"SUM(B117-B116)","v":-3.6085000000000012},{"$f":"SUM(C117-C116)","v":-1.8500000000001293E-2},{"$f":"SUM(D117-D116)","v":-3.6204999999999998}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[9.2690000000000001,12.87,{"$f":"D104","v":9.2509999999999994},12.831]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":10.269},{"$f":"SUM(B124:B125)","v":13.87},{"$f":"SUM(C124:C125)","v":10.250999999999999},{"$f":"SUM(D124:D125)","v":13.831}]
[{"$f":"D109","v":10.2525},{"$f":"D109","v":10.2525},{"$f":"D109","v":10.2525},{"$f":"D109","v":10.2525}]
[{"$f":"SUM(A127-A126)","v":-1.6500000000000625E-2},{"$f":"SUM(B127-B126)","v":-3.6174999999999997},{"$f":"SUM(C127-C126)","v":1.5000000000000568E-3},{"$f":"SUM(D127-D126)","v":-3.5785}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[" ",null,-5.4640000000000004,"LOS"]
[{"$f":"D109","v":10.2525},null,4.4999999999999998E-2,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":{"$error":"#VALUE!"}},null,{"$f":"SUM(C137+C138)","v":-5.4190000000000005}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.4580000000000002},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":13}]
["Date:",{"$f":"B6","v":42128}]
["Crew:","MG/MR"]
[]
[]
["HI =",{"$f":"D109","v":10.2525}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[5.782,5.7830000000000004,5.7869999999999999,5.7830000000000004]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":6.782},{"$f":"SUM(B165:B166)","v":6.7830000000000004},{"$f":"SUM(C165:C166)","v":6.7869999999999999},{"$f":"SUM(D165:D166)","v":6.7830000000000004}]
[{"$f":"D109","v":10.2525},{"$f":"D109","v":10.2525},{"$f":"D109","v":10.2525},{"$f":"D109","v":10.2525}]
[{"$f":"SUM(A168-A167)","v":3.4704999999999995},{"$f":"SUM(B168-B167)","v":3.4694999999999991},{"$f":"SUM(C168-C167)","v":3.4654999999999996},{"$f":"SUM(D168-D167)","v":3.4694999999999991}]
[]
[]
["5)","6)","7)","8)"]
[12.871,12.875,12.872999999999999,12.878]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":13.871},{"$f":"SUM(B173+B174)","v":13.875},{"$f":"SUM(C173+C174)","v":13.872999999999999},{"$f":"SUM(D173+D174)","v":13.878}]
[{"$f":"D109","v":10.2525},{"$f":"D109","v":10.2525},{"$f":"D109","v":10.2525},{"$f":"D109","v":10.2525}]
[{"$f":"SUM(A176-A175)","v":-3.6185000000000009},{"$f":"SUM(B176-B175)","v":-3.6225000000000005},{"$f":"SUM(C176-C175)","v":-3.6204999999999998},{"$f":"SUM(D176-D175)","v":-3.6255000000000006}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[9.5069999999999997,null,11.651,14.733000000000001]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":10.507},null,{"$f":"SUM(C184+C185)","v":12.651},{"$f":"SUM(D184+D185)","v":15.733000000000001}]
[{"$f":"D109","v":10.2525},null,{"$f":"D109","v":10.2525},{"$f":"D109","v":10.2525}]
[{"$f":"SUM(A187-A186)","v":-0.25450000000000017},0,{"$f":"SUM(C187-C186)","v":-2.3985000000000003},{"$f":"SUM(D187-D186)","v":-5.480500000000001}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[8.5530000000000008,8.5530000000000008,8.5540000000000003,8.5530000000000008]
[{"$f":"D109","v":10.2525},{"$f":"D109","v":10.2525},{"$f":"D109","v":10.2525},{"$f":"D109","v":10.2525}]
[{"$f":"SUM(A196-A195)","v":1.6994999999999987},{"$f":"SUM(B196-B195)","v":1.6994999999999987},{"$f":"SUM(C196-C195)","v":1.6984999999999992},{"$f":"SUM(D196-D195)","v":1.6994999999999987}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":13}]
["Date"," ",{"$f":"Sheet1!B6","v":"2015-05-04"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"MG/MR"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.4704999999999995},{"$f":"B10*25.4","v":88.150699999999986},null,null,5,{"$f":"Sheet1!A35","v":4.7192108843537426},{"$f":"G10*25.4","v":119.86795646258506}]
[2,{"$f":"Sheet1!B169","v":3.4694999999999991},{"$f":"B11*25.4","v":88.125299999999967},null,null,6,{"$f":"Sheet1!B35","v":4.7182108843537414},{"$f":"G11*25.4","v":119.84255646258502}]
[3,{"$f":"Sheet1!C169","v":3.4654999999999996},{"$f":"B12*25.4","v":88.023699999999991},null,null,7,{"$f":"Sheet1!C35","v":4.7172108843537401},{"$f":"G12*25.4","v":119.81715646258499}]
[4,{"$f":"Sheet1!D169","v":3.4694999999999991},{"$f":"B13*25.4","v":88.125299999999967},null,null,8,{"$f":"Sheet1!D35","v":4.7172108843537401},{"$f":"G13*25.4","v":119.81715646258499}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.0617891156462562},{"$f":"Sheet1!C118","v":-1.8500000000001293E-2},{"$f":"B20*25.4","v":-128.56944353741491},{"$f":"C20*25.4","v":-0.46990000000003285},null,{"$f":"H10-D21","v":157.09900000000005},{"$f":"C10-E20","v":88.620600000000024}]
["X1",{"$f":"Sheet1!A78","v":-1.4657891156462597},{"$f":"Sheet1!D118","v":-3.6204999999999998},{"$f":"B21*25.4","v":-37.231043537414998},{"$f":"C21*25.4","v":-91.960699999999989}]
["Y1",{"$f":"Sheet1!B78","v":-5.0607891156462586},null,{"$f":"B22*25.4","v":-128.54404353741495}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.055789115646256},{"$f":"Sheet1!A128","v":-1.6500000000000625E-2},{"$f":"B26*25.4","v":-128.41704353741488},{"$f":"C26*25.4","v":-0.41910000000001585},null,{"$f":"H13-D27","v":156.87039999999996},{"$f":"C13-E26","v":88.544399999999982}]
["X1",{"$f":"Sheet1!A87","v":-1.4587891156462582},{"$f":"Sheet1!B128","v":-3.6174999999999997},{"$f":"B27*25.4","v":-37.053243537414957},{"$f":"C27*25.4","v":-91.884499999999989}]
["Y2",{"$f":"Sheet1!C87","v":-5.0577891156462584},"\\",{"$f":"B28*25.4","v":-128.46784353741495}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.4580000000000002},{"$f":"B36*25.4","v":-138.63319999999999},null,"US  +",{"$f":"Sheet1!A197","v":1.6994999999999987},{"$f":"F36*25.4","v":43.167299999999962}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.6994999999999987},{"$f":"F37*25.4","v":43.167299999999962}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.6984999999999992},{"$f":"F38*25.4","v":43.141899999999978}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.6994999999999987},{"$f":"F39*25.4","v":43.167299999999962}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":{"$error":"#VALUE!"}},{"$f":"B42*25.4","v":{"$error":"#VALUE!"}}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",13]
["Date"," ",{"$f":"Sheet1!B6","v":"2015-05-04"}]
["Crew"," ","MR,BR"]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.0597891156462609},{"$f":"Sheet1!A169","v":3.4704999999999995},{"$f":"SUM(B10*25.4)","v":-128.51864353741502},{"$f":"SUM(C10*25.4)","v":88.150699999999986}]
[2,{"$f":"Sheet1!B28","v":-5.055789115646256},{"$f":"Sheet1!B169","v":3.4694999999999991},{"$f":"SUM(B11*25.4)","v":-128.41704353741488},{"$f":"SUM(C11*25.4)","v":88.125299999999967},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.0597891156462609},{"$f":"Sheet1!C169","v":3.4654999999999996},-128.51864353741502,88.023699999999991,null,{"$f":"Sheet1!C141","v":-5.4580000000000002},{"$f":"SUM(G12*25.4)","v":-138.63319999999999}]
[4,{"$f":"Sheet1!D28","v":-5.0607891156462586},{"$f":"Sheet1!D169","v":3.4694999999999991},-128.54404353741495,88.125299999999967]
[5,{"$f":"Sheet1!A35","v":4.7192108843537426},{"$f":"Sheet1!A177","v":-3.6185000000000009},119.86795646258506,-91.909900000000022]
[6,{"$f":"Sheet1!B35","v":4.7182108843537414},{"$f":"Sheet1!B177","v":-3.6225000000000005},119.84255646258502,-92.011500000000012,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.7172108843537401},{"$f":"Sheet1!C177","v":-3.6204999999999998},119.81715646258499,-91.960699999999989]
[8,{"$f":"Sheet1!D35","v":4.7172108843537401},{"$f":"Sheet1!D177","v":-3.6255000000000006},119.81715646258499,-92.087700000000012,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":{"$error":"#VALUE!"}},{"$f":"SUM(G18*25.4)","v":{"$error":"#VALUE!"}}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.4657891156462597},{"$f":"Sheet1!C118","v":-1.8500000000001293E-2},{"$f":"SUM(B23*25.4)","v":-37.231043537414998},{"$f":"SUM(C23*25.4)","v":-0.46990000000003285}]
["X1",{"$f":"Sheet1!A78","v":-1.4657891156462597},{"$f":"Sheet1!D118","v":-3.6204999999999998},{"$f":"SUM(B24*25.4)","v":-37.231043537414998},{"$f":"SUM(C24*25.4)","v":-91.960699999999989},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.0607891156462586},null,{"$f":"SUM(B25*25.4)","v":-128.54404353741495},null,null,"US  +",{"$f":"Sheet1!A197","v":1.6994999999999987},{"$f":"SUM(H25*25.4)","v":43.167299999999962}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.6994999999999987},{"$f":"SUM(H26*25.4)","v":43.167299999999962}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.6984999999999992},{"$f":"SUM(H27*25.4)","v":43.141899999999978}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.6994999999999987},{"$f":"SUM(H28*25.4)","v":43.167299999999962}]
["Y1",{"$f":"Sheet1!B87","v":-5.055789115646256},{"$f":"Sheet1!A128","v":-1.6500000000000625E-2},{"$f":"SUM(B29*25.4)","v":-128.41704353741488},{"$f":"SUM(C29*25.4)","v":-0.41910000000001585}]
["X1",{"$f":"Sheet1!A87","v":-1.4587891156462582},{"$f":"Sheet1!B128","v":-3.6174999999999997},{"$f":"SUM(B30*25.4)","v":-37.053243537414957},{"$f":"SUM(C30*25.4)","v":-91.884499999999989}]
["Y2",{"$f":"Sheet1!C87","v":-5.0577891156462584},null,{"$f":"SUM(B31*25.4)","v":-128.46784353741495}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.59978911564626},{"$f":"Sheet1!A118","v":-1.5000000000000568E-3},{"$f":"SUM(B37*25.4)","v":-91.434643537414999},{"$f":"SUM(C37*25.4)","v":-3.8100000000001438E-2},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.6085000000000012},0,{"$f":"SUM(C38*25.4)","v":-91.655900000000031}]
["Y2",{"$f":"Sheet1!C68","v":-3.6017891156462625},null,{"$f":"SUM(B39*25.4)","v":-91.485443537415065}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.5977891156462576},{"$f":"Sheet1!C128","v":1.5000000000000568E-3},{"$f":"SUM(B43*25.4)","v":-91.383843537414933},{"$f":"SUM(C43*25.4)","v":3.8100000000001438E-2}]
["X1",0,{"$f":"Sheet1!D128","v":-3.5785},0,{"$f":"SUM(C44*25.4)","v":-90.893900000000002}]
["Y2",{"$f":"Sheet1!C96","v":-3.5967891156462599},null,{"$f":"SUM(B45*25.4)","v":-91.358443537414999}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-6.6147891156462606},{"$f":"Sheet1!A188","v":-0.25450000000000017},{"$f":"SUM(B49*25.4)","v":-168.015643537415},{"$f":"SUM(C49*25.4)","v":-6.4643000000000042}]
["B",{"$f":"Sheet1!B45","v":-2.079789115646264},null,{"$f":"SUM(B50*25.4)","v":-52.826643537415102}]
["C",{"$f":"Sheet1!C45","v":-0.31978911564625889},{"$f":"Sheet1!C188","v":-2.3985000000000003},{"$f":"SUM(B51*25.4)","v":-8.1226435374149748},{"$f":"SUM(C51*25.4)","v":-60.921900000000001}]
["D",{"$f":"Sheet1!D45","v":-0.31978911564625889},{"$f":"Sheet1!D188","v":-5.480500000000001},{"$f":"SUM(B52*25.4)","v":-8.1226435374149748},{"$f":"SUM(C52*25.4)","v":-139.20470000000003}]