{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator",13]
["Date:","2015-04-28"]
["Crew:","BR. MR"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",27.1]
["1st. Near",27.916]
["2nd. Far",30]
["2nd Near",28.667000000000002]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":28.201163331782226}]
["Near Should Read",28.201163331782226]
["LOS",28.201163331782226]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[32.262,32.256,32.261000000000003,32.262999999999998]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":33.262},{"$f":"SUM(B24:B25)","v":33.256},{"$f":"SUM(C24:C25)","v":33.261000000000003},{"$f":"SUM(D24:D25)","v":33.262999999999998}]
[{"$f":"B18","v":28.201163331782226},{"$f":"B18","v":28.201163331782226},{"$f":"B18","v":28.201163331782226},{"$f":"B18","v":28.201163331782226}]
[{"$f":"SUM(A27-A26)","v":-5.0608366682177746},{"$f":"SUM(B27-B26)","v":-5.0548366682177743},{"$f":"SUM(C27-C26)","v":-5.0598366682177769},{"$f":"SUM(D27-D26)","v":-5.0618366682177722}]
[]
["5)","6)","7)","8)"]
[22.481999999999999,22.484000000000002,22.484000000000002,22.483000000000001]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":23.481999999999999},{"$f":"SUM(B31:B32)","v":23.484000000000002},{"$f":"SUM(C31:C32)","v":23.484000000000002},{"$f":"SUM(D31:D32)","v":23.483000000000001}]
[{"$f":"B18","v":28.201163331782226},{"$f":"B18","v":28.201163331782226},{"$f":"B18","v":28.201163331782226},{"$f":"B18","v":28.201163331782226}]
[{"$f":"SUM(A34-A33)","v":4.7191633317822266},{"$f":"SUM(B34-B33)","v":4.7171633317822241},{"$f":"SUM(C34-C33)","v":4.7171633317822241},{"$f":"SUM(D34-D33)","v":4.7181633317822254}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[33.814999999999998,29.28,27.521999999999998,27.523]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":34.814999999999998},{"$f":"SUM(B41:B42)","v":30.28},{"$f":"SUM(C41:C42)","v":28.521999999999998},{"$f":"SUM(D41:D42)","v":28.523}]
[{"$f":"B18","v":28.201163331782226},{"$f":"B18","v":28.201163331782226},{"$f":"B18","v":28.201163331782226},{"$f":"B18","v":28.201163331782226}]
[{"$f":"SUM(A44-A43)","v":-6.6138366682177718},{"$f":"SUM(B44-B43)","v":-2.0788366682177752},{"$f":"SUM(C44-C43)","v":-0.32083666821777257},{"$f":"SUM(D44-D43)","v":-0.32183666821777379}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":28.201163331782226},"LOS"]
["Undulator",{"$f":"B5","v":13}]
["Date:",{"$f":"B6","v":"2015-04-28"}]
["Crew:",{"$f":"B7","v":"BR. MR"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,30.800999999999998,30.803000000000001]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":31.800999999999998},{"$f":"SUM(C64:C65)","v":31.803000000000001}]
[null,{"$f":"B18","v":28.201163331782226},{"$f":"B18","v":28.201163331782226}]
[0,{"$f":"SUM(B67-B66)","v":-3.5998366682177725},{"$f":"SUM(C67-C66)","v":-3.6018366682177749}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[28.667000000000002,32.264000000000003,32.262]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":29.667000000000002},{"$f":"SUM(B74:B75)","v":33.264000000000003},{"$f":"SUM(C74:C75)","v":33.262}]
[{"$f":"B18","v":28.201163331782226},{"$f":"B18","v":28.201163331782226},{"$f":"B18","v":28.201163331782226}]
[{"$f":"SUM(A77-A76)","v":-1.4658366682177757},{"$f":"SUM(B77-B76)","v":-5.062836668217777},{"$f":"SUM(C77-C76)","v":-5.0608366682177746}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[28.661999999999999,32.253,32.26]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":29.661999999999999},{"$f":"SUM(B83:B84)","v":33.253},{"$f":"SUM(C83:C84)","v":33.26}]
[{"$f":"B18","v":28.201163331782226},{"$f":"B18","v":28.201163331782226},{"$f":"B18","v":28.201163331782226}]
[{"$f":"SUM(A86-A85)","v":-1.4608366682177731},{"$f":"SUM(B86-B85)","v":-5.0518366682177742},{"$f":"SUM(C86-C85)","v":-5.0588366682177721}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,30.805,30.798999999999999]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":31.805},{"$f":"SUM(C92:C93)","v":31.798999999999999}]
[null,{"$f":"B18","v":28.201163331782226},{"$f":"B18","v":28.201163331782226}]
[0,{"$f":"SUM(B95-B94)","v":-3.6038366682177738},{"$f":"SUM(C95-C94)","v":-3.5978366682177736}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,9.2669999999999995,9.2620000000000005]
[null,null,1,1]
["Undulator",{"$f":"B5","v":13},{"$f":"SUM(C104+C105)","v":10.266999999999999},{"$f":"SUM(D104+D105)","v":10.262}]
["Date:",{"$f":"B6","v":"2015-04-28"}]
["Crew:",{"$f":"B7","v":"BR. MR"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":10.2645}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":9.2669999999999995},12.875,9.282,12.885]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":10.266999999999999},{"$f":"SUM(B114:B115)","v":13.875},{"$f":"SUM(C114:C115)","v":10.282},{"$f":"SUM(D114:D115)","v":13.885}]
[{"$f":"D109","v":10.2645},{"$f":"D109","v":10.2645},{"$f":"D109","v":10.2645},{"$f":"D109","v":10.2645}]
[{"$f":"SUM(A117-A116)","v":-2.4999999999995026E-3},{"$f":"SUM(B117-B116)","v":-3.6105},{"$f":"SUM(C117-C116)","v":-1.7500000000000071E-2},{"$f":"SUM(D117-D116)","v":-3.6204999999999998}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[9.2799999999999994,12.882,{"$f":"D104","v":9.2620000000000005},12.863]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":10.28},{"$f":"SUM(B124:B125)","v":13.882},{"$f":"SUM(C124:C125)","v":10.262},{"$f":"SUM(D124:D125)","v":13.863}]
[{"$f":"D109","v":10.2645},{"$f":"D109","v":10.2645},{"$f":"D109","v":10.2645},{"$f":"D109","v":10.2645}]
[{"$f":"SUM(A127-A126)","v":-1.5499999999999403E-2},{"$f":"SUM(B127-B126)","v":-3.6174999999999997},{"$f":"SUM(C127-C126)","v":2.4999999999995026E-3},{"$f":"SUM(D127-D126)","v":-3.5984999999999996}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[" ",null,-5.4640000000000004,"LOS"]
[{"$f":"D109","v":10.2645},null,4.2999999999999997E-2,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":{"$error":"#VALUE!"}},null,{"$f":"SUM(C137+C138)","v":-5.4210000000000003}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.46},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":13}]
["Date:",{"$f":"B6","v":42122}]
["Crew:","BR. MR"]
[]
[]
["HI =",{"$f":"D109","v":10.2645}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[5.7930000000000001,5.7919999999999998,5.7969999999999997,5.7949999999999999]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":6.7930000000000001},{"$f":"SUM(B165:B166)","v":6.7919999999999998},{"$f":"SUM(C165:C166)","v":6.7969999999999997},{"$f":"SUM(D165:D166)","v":6.7949999999999999}]
[{"$f":"D109","v":10.2645},{"$f":"D109","v":10.2645},{"$f":"D109","v":10.2645},{"$f":"D109","v":10.2645}]
[{"$f":"SUM(A168-A167)","v":3.4714999999999998},{"$f":"SUM(B168-B167)","v":3.4725000000000001},{"$f":"SUM(C168-C167)","v":3.4675000000000002},{"$f":"SUM(D168-D167)","v":3.4695}]
[]
[]
["5)","6)","7)","8)"]
[12.885999999999999,12.89,12.888,12.891999999999999]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":13.885999999999999},{"$f":"SUM(B173+B174)","v":13.89},{"$f":"SUM(C173+C174)","v":13.888},{"$f":"SUM(D173+D174)","v":13.891999999999999}]
[{"$f":"D109","v":10.2645},{"$f":"D109","v":10.2645},{"$f":"D109","v":10.2645},{"$f":"D109","v":10.2645}]
[{"$f":"SUM(A176-A175)","v":-3.6214999999999993},{"$f":"SUM(B176-B175)","v":-3.6255000000000006},{"$f":"SUM(C176-C175)","v":-3.6234999999999999},{"$f":"SUM(D176-D175)","v":-3.6274999999999995}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[9.5210000000000008,null,11.666,14.747]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":10.521000000000001},null,{"$f":"SUM(C184+C185)","v":12.666},{"$f":"SUM(D184+D185)","v":15.747}]
[{"$f":"D109","v":10.2645},null,{"$f":"D109","v":10.2645},{"$f":"D109","v":10.2645}]
[{"$f":"SUM(A187-A186)","v":-0.25650000000000084},0,{"$f":"SUM(C187-C186)","v":-2.4015000000000004},{"$f":"SUM(D187-D186)","v":-5.4824999999999999}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[8.5649999999999995,8.5640000000000001,8.5649999999999995,8.5630000000000006]
[{"$f":"D109","v":10.2645},{"$f":"D109","v":10.2645},{"$f":"D109","v":10.2645},{"$f":"D109","v":10.2645}]
[{"$f":"SUM(A196-A195)","v":1.6995000000000005},{"$f":"SUM(B196-B195)","v":1.7004999999999999},{"$f":"SUM(C196-C195)","v":1.6995000000000005},{"$f":"SUM(D196-D195)","v":1.7014999999999993}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":13}]
["Date"," ",{"$f":"Sheet1!B6","v":"2015-04-28"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"BR. MR"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.4714999999999998},{"$f":"B10*25.4","v":88.176099999999991},null,null,5,{"$f":"Sheet1!A35","v":4.7191633317822266},{"$f":"G10*25.4","v":119.86674862726855}]
[2,{"$f":"Sheet1!B169","v":3.4725000000000001},{"$f":"B11*25.4","v":88.201499999999996},null,null,6,{"$f":"Sheet1!B35","v":4.7171633317822241},{"$f":"G11*25.4","v":119.81594862726848}]
[3,{"$f":"Sheet1!C169","v":3.4675000000000002},{"$f":"B12*25.4","v":88.0745},null,null,7,{"$f":"Sheet1!C35","v":4.7171633317822241},{"$f":"G12*25.4","v":119.81594862726848}]
[4,{"$f":"Sheet1!D169","v":3.4695},{"$f":"B13*25.4","v":88.125299999999996},null,null,8,{"$f":"Sheet1!D35","v":4.7181633317822254},{"$f":"G13*25.4","v":119.84134862726852}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.0608366682177746},{"$f":"Sheet1!C118","v":-1.7500000000000071E-2},{"$f":"B20*25.4","v":-128.54525137273146},{"$f":"C20*25.4","v":-0.44450000000000178},null,{"$f":"H10-D21","v":157.09900000000005},{"$f":"C10-E20","v":88.620599999999996}]
["X1",{"$f":"Sheet1!A78","v":-1.4658366682177757},{"$f":"Sheet1!D118","v":-3.6204999999999998},{"$f":"B21*25.4","v":-37.232251372731504},{"$f":"C21*25.4","v":-91.960699999999989}]
["Y1",{"$f":"Sheet1!B78","v":-5.062836668217777},null,{"$f":"B22*25.4","v":-128.59605137273152}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.0518366682177742},{"$f":"Sheet1!A128","v":-1.5499999999999403E-2},{"$f":"B26*25.4","v":-128.31665137273146},{"$f":"C26*25.4","v":-0.39369999999998484},null,{"$f":"H13-D27","v":156.94659999999996},{"$f":"C13-E26","v":88.518999999999977}]
["X1",{"$f":"Sheet1!A87","v":-1.4608366682177731},{"$f":"Sheet1!B128","v":-3.6174999999999997},{"$f":"B27*25.4","v":-37.105251372731438},{"$f":"C27*25.4","v":-91.884499999999989}]
["Y2",{"$f":"Sheet1!C87","v":-5.0588366682177721},"\\",{"$f":"B28*25.4","v":-128.49445137273139}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.46},{"$f":"B36*25.4","v":-138.684},null,"US  +",{"$f":"Sheet1!A197","v":1.6995000000000005},{"$f":"F36*25.4","v":43.167300000000012}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.7004999999999999},{"$f":"F37*25.4","v":43.192699999999995}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.6995000000000005},{"$f":"F38*25.4","v":43.167300000000012}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.7014999999999993},{"$f":"F39*25.4","v":43.218099999999978}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":{"$error":"#VALUE!"}},{"$f":"B42*25.4","v":{"$error":"#VALUE!"}}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",13]
["Date"," ",{"$f":"Sheet1!B6","v":"2015-04-28"}]
["Crew"," ","MR,BR"]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.0608366682177746},{"$f":"Sheet1!A169","v":3.4714999999999998},{"$f":"SUM(B10*25.4)","v":-128.54525137273146},{"$f":"SUM(C10*25.4)","v":88.176099999999991}]
[2,{"$f":"Sheet1!B28","v":-5.0548366682177743},{"$f":"Sheet1!B169","v":3.4725000000000001},{"$f":"SUM(B11*25.4)","v":-128.39285137273146},{"$f":"SUM(C11*25.4)","v":88.201499999999996},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.0598366682177769},{"$f":"Sheet1!C169","v":3.4675000000000002},-128.51985137273152,88.0745,null,{"$f":"Sheet1!C141","v":-5.46},{"$f":"SUM(G12*25.4)","v":-138.684}]
[4,{"$f":"Sheet1!D28","v":-5.0618366682177722},{"$f":"Sheet1!D169","v":3.4695},-128.57065137273142,88.125299999999996]
[5,{"$f":"Sheet1!A35","v":4.7191633317822266},{"$f":"Sheet1!A177","v":-3.6214999999999993},119.86674862726855,-91.986099999999979]
[6,{"$f":"Sheet1!B35","v":4.7171633317822241},{"$f":"Sheet1!B177","v":-3.6255000000000006},119.81594862726848,-92.087700000000012,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.7171633317822241},{"$f":"Sheet1!C177","v":-3.6234999999999999},119.81594862726848,-92.036899999999989]
[8,{"$f":"Sheet1!D35","v":4.7181633317822254},{"$f":"Sheet1!D177","v":-3.6274999999999995},119.84134862726852,-92.138499999999979,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":{"$error":"#VALUE!"}},{"$f":"SUM(G18*25.4)","v":{"$error":"#VALUE!"}}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.4658366682177757},{"$f":"Sheet1!C118","v":-1.7500000000000071E-2},{"$f":"SUM(B23*25.4)","v":-37.232251372731504},{"$f":"SUM(C23*25.4)","v":-0.44450000000000178}]
["X1",{"$f":"Sheet1!A78","v":-1.4658366682177757},{"$f":"Sheet1!D118","v":-3.6204999999999998},{"$f":"SUM(B24*25.4)","v":-37.232251372731504},{"$f":"SUM(C24*25.4)","v":-91.960699999999989},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.062836668217777},null,{"$f":"SUM(B25*25.4)","v":-128.59605137273152},null,null,"US  +",{"$f":"Sheet1!A197","v":1.6995000000000005},{"$f":"SUM(H25*25.4)","v":43.167300000000012}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.7004999999999999},{"$f":"SUM(H26*25.4)","v":43.192699999999995}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.6995000000000005},{"$f":"SUM(H27*25.4)","v":43.167300000000012}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.7014999999999993},{"$f":"SUM(H28*25.4)","v":43.218099999999978}]
["Y1",{"$f":"Sheet1!B87","v":-5.0518366682177742},{"$f":"Sheet1!A128","v":-1.5499999999999403E-2},{"$f":"SUM(B29*25.4)","v":-128.31665137273146},{"$f":"SUM(C29*25.4)","v":-0.39369999999998484}]
["X1",{"$f":"Sheet1!A87","v":-1.4608366682177731},{"$f":"Sheet1!B128","v":-3.6174999999999997},{"$f":"SUM(B30*25.4)","v":-37.105251372731438},{"$f":"SUM(C30*25.4)","v":-91.884499999999989}]
["Y2",{"$f":"Sheet1!C87","v":-5.0588366682177721},null,{"$f":"SUM(B31*25.4)","v":-128.49445137273139}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.5998366682177725},{"$f":"Sheet1!A118","v":-2.4999999999995026E-3},{"$f":"SUM(B37*25.4)","v":-91.43585137273142},{"$f":"SUM(C37*25.4)","v":-6.3499999999987358E-2},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.6105},0,{"$f":"SUM(C38*25.4)","v":-91.706699999999998}]
["Y2",{"$f":"Sheet1!C68","v":-3.6018366682177749},null,{"$f":"SUM(B39*25.4)","v":-91.486651372731473}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.6038366682177738},{"$f":"Sheet1!C128","v":2.4999999999995026E-3},{"$f":"SUM(B43*25.4)","v":-91.537451372731454},{"$f":"SUM(C43*25.4)","v":6.3499999999987358E-2}]
["X1",0,{"$f":"Sheet1!D128","v":-3.5984999999999996},0,{"$f":"SUM(C44*25.4)","v":-91.401899999999983}]
["Y2",{"$f":"Sheet1!C96","v":-3.5978366682177736},null,{"$f":"SUM(B45*25.4)","v":-91.385051372731439}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-6.6138366682177718},{"$f":"Sheet1!A188","v":-0.25650000000000084},{"$f":"SUM(B49*25.4)","v":-167.9914513727314},{"$f":"SUM(C49*25.4)","v":-6.5151000000000208}]
["B",{"$f":"Sheet1!B45","v":-2.0788366682177752},null,{"$f":"SUM(B50*25.4)","v":-52.80245137273149}]
["C",{"$f":"Sheet1!C45","v":-0.32083666821777257},{"$f":"Sheet1!C188","v":-2.4015000000000004},{"$f":"SUM(B51*25.4)","v":-8.1492513727314222},{"$f":"SUM(C51*25.4)","v":-60.998100000000008}]
["D",{"$f":"Sheet1!D45","v":-0.32183666821777379},{"$f":"Sheet1!D188","v":-5.4824999999999999},{"$f":"SUM(B52*25.4)","v":-8.1746513727314536},{"$f":"SUM(C52*25.4)","v":-139.25549999999998}]