{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator","SN 15"]
["Date:","2010-04-08"]
["Crew:","JM, LG"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",26]
["1st. Near",27.363]
["2nd. Far",29]
["2nd Near",28.164000000000001]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":27.859481582537519}]
["Near Should Read",27.859481582537519]
["LOS",27.859481582537519]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[32.348999999999997,32.351999999999997,32.353000000000002,32.341000000000001]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":33.348999999999997},{"$f":"SUM(B24:B25)","v":33.351999999999997},{"$f":"SUM(C24:C25)","v":33.353000000000002},{"$f":"SUM(D24:D25)","v":33.341000000000001}]
[{"$f":"B18","v":27.859481582537519},{"$f":"B18","v":27.859481582537519},{"$f":"B18","v":27.859481582537519},{"$f":"B18","v":27.859481582537519}]
[{"$f":"SUM(A27-A26)","v":-5.4895184174624774},{"$f":"SUM(B27-B26)","v":-5.4925184174624775},{"$f":"SUM(C27-C26)","v":-5.4935184174624823},{"$f":"SUM(D27-D26)","v":-5.4815184174624818}]
[]
["5)","6)","7)","8)"]
[22.562000000000001,22.568999999999999,22.562999999999999,22.565000000000001]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":23.562000000000001},{"$f":"SUM(B31:B32)","v":23.568999999999999},{"$f":"SUM(C31:C32)","v":23.562999999999999},{"$f":"SUM(D31:D32)","v":23.565000000000001}]
[{"$f":"B18","v":27.859481582537519},{"$f":"B18","v":27.859481582537519},{"$f":"B18","v":27.859481582537519},{"$f":"B18","v":27.859481582537519}]
[{"$f":"SUM(A34-A33)","v":4.2974815825375181},{"$f":"SUM(B34-B33)","v":4.2904815825375202},{"$f":"SUM(C34-C33)","v":4.2964815825375204},{"$f":"SUM(D34-D33)","v":4.294481582537518}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[33.895000000000003,29.361999999999998,27.605,27.603999999999999]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":34.895000000000003},{"$f":"SUM(B41:B42)","v":30.361999999999998},{"$f":"SUM(C41:C42)","v":28.605},{"$f":"SUM(D41:D42)","v":28.603999999999999}]
[{"$f":"B18","v":27.859481582537519},{"$f":"B18","v":27.859481582537519},{"$f":"B18","v":27.859481582537519},{"$f":"B18","v":27.859481582537519}]
[{"$f":"SUM(A44-A43)","v":-7.0355184174624839},{"$f":"SUM(B44-B43)","v":-2.5025184174624791},{"$f":"SUM(C44-C43)","v":-0.74551841746248115},{"$f":"SUM(D44-D43)","v":-0.74451841746247993}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":27.859481582537519},"LOS"]
["Undulator",{"$f":"B5","v":"SN 15"}]
["Date:",{"$f":"B6","v":"2010-04-08"}]
["Crew:",{"$f":"B7","v":"JM, LG"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,30.46,30.463999999999999]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":31.46},{"$f":"SUM(C64:C65)","v":31.463999999999999}]
[null,{"$f":"B18","v":27.859481582537519},{"$f":"B18","v":27.859481582537519}]
[0,{"$f":"SUM(B67-B66)","v":-3.6005184174624816},{"$f":"SUM(C67-C66)","v":-3.6045184174624794}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[28.736000000000001,32.33,32.332999999999998]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":29.736000000000001},{"$f":"SUM(B74:B75)","v":33.33},{"$f":"SUM(C74:C75)","v":33.332999999999998}]
[{"$f":"B18","v":27.859481582537519},{"$f":"B18","v":27.859481582537519},{"$f":"B18","v":27.859481582537519}]
[{"$f":"SUM(A77-A76)","v":-1.8765184174624814},{"$f":"SUM(B77-B76)","v":-5.470518417462479},{"$f":"SUM(C77-C76)","v":-5.4735184174624791}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[28.74,32.335999999999999,32.338999999999999]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":29.74},{"$f":"SUM(B83:B84)","v":33.335999999999999},{"$f":"SUM(C83:C84)","v":33.338999999999999}]
[{"$f":"B18","v":27.859481582537519},{"$f":"B18","v":27.859481582537519},{"$f":"B18","v":27.859481582537519}]
[{"$f":"SUM(A86-A85)","v":-1.8805184174624792},{"$f":"SUM(B86-B85)","v":-5.4765184174624792},{"$f":"SUM(C86-C85)","v":-5.4795184174624794}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,30.46,30.452999999999999]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":31.46},{"$f":"SUM(C92:C93)","v":31.452999999999999}]
[null,{"$f":"B18","v":27.859481582537519},{"$f":"B18","v":27.859481582537519}]
[0,{"$f":"SUM(B95-B94)","v":-3.6005184174624816},{"$f":"SUM(C95-C94)","v":-3.5935184174624801}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,8.9890000000000008,8.9909999999999997]
[null,null,1,1]
["Undulator",{"$f":"B5","v":"SN 15"},{"$f":"SUM(C104+C105)","v":9.9890000000000008},{"$f":"SUM(D104+D105)","v":9.9909999999999997}]
["Date:",{"$f":"B6","v":"2010-04-08"}]
["Crew:",{"$f":"B7","v":"JM, LG"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":9.99}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":8.9890000000000008},12.596,8.9960000000000004,12.597]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":9.9890000000000008},{"$f":"SUM(B114:B115)","v":13.596},{"$f":"SUM(C114:C115)","v":9.9960000000000004},{"$f":"SUM(D114:D115)","v":13.597}]
[{"$f":"D109","v":9.99},{"$f":"D109","v":9.99},{"$f":"D109","v":9.99},{"$f":"D109","v":9.99}]
[{"$f":"SUM(A117-A116)","v":9.9999999999944578E-4},{"$f":"SUM(B117-B116)","v":-3.6059999999999999},{"$f":"SUM(C117-C116)","v":-6.0000000000002274E-3},{"$f":"SUM(D117-D116)","v":-3.6069999999999993}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[8.9949999999999992,12.595000000000001,{"$f":"D104","v":8.9909999999999997},12.595000000000001]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":9.9949999999999992},{"$f":"SUM(B124:B125)","v":13.595000000000001},{"$f":"SUM(C124:C125)","v":9.9909999999999997},{"$f":"SUM(D124:D125)","v":13.595000000000001}]
[{"$f":"D109","v":9.99},{"$f":"D109","v":9.99},{"$f":"D109","v":9.99},{"$f":"D109","v":9.99}]
[{"$f":"SUM(A127-A126)","v":-4.9999999999990052E-3},{"$f":"SUM(B127-B126)","v":-3.6050000000000004},{"$f":"SUM(C127-C126)","v":-9.9999999999944578E-4},{"$f":"SUM(D127-D126)","v":-3.6050000000000004}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[null,null,0.04]
[14.388999999999999,null,-5.4640000000000004,"LOS"]
[{"$f":"D109","v":9.99},null,null,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.3989999999999991},null,{"$f":"SUM(C137+C138)","v":-5.4640000000000004}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.5030000000000001},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":"SN 15"}]
["Date:","2010-04-08"]
["Crew:",{"$f":"B7","v":"JM, LG"}]
[]
[]
["HI =",{"$f":"D109","v":9.99}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[5.508,5.5090000000000003,5.5119999999999996,5.5110000000000001]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":6.508},{"$f":"SUM(B165:B166)","v":6.5090000000000003},{"$f":"SUM(C165:C166)","v":6.5119999999999996},{"$f":"SUM(D165:D166)","v":6.5110000000000001}]
[{"$f":"D109","v":9.99},{"$f":"D109","v":9.99},{"$f":"D109","v":9.99},{"$f":"D109","v":9.99}]
[{"$f":"SUM(A168-A167)","v":3.4820000000000002},{"$f":"SUM(B168-B167)","v":3.4809999999999999},{"$f":"SUM(C168-C167)","v":3.4780000000000006},{"$f":"SUM(D168-D167)","v":3.4790000000000001}]
[]
[]
["5)","6)","7)","8)"]
[12.590999999999999,12.590999999999999,12.596,12.598000000000001]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":13.590999999999999},{"$f":"SUM(B173+B174)","v":13.590999999999999},{"$f":"SUM(C173+C174)","v":13.596},{"$f":"SUM(D173+D174)","v":13.598000000000001}]
[{"$f":"D109","v":9.99},{"$f":"D109","v":9.99},{"$f":"D109","v":9.99},{"$f":"D109","v":9.99}]
[{"$f":"SUM(A176-A175)","v":-3.6009999999999991},{"$f":"SUM(B176-B175)","v":-3.6009999999999991},{"$f":"SUM(C176-C175)","v":-3.6059999999999999},{"$f":"SUM(D176-D175)","v":-3.6080000000000005}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[9.2309999999999999,null,11.375999999999999,14.457000000000001]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":10.231},null,{"$f":"SUM(C184+C185)","v":12.375999999999999},{"$f":"SUM(D184+D185)","v":15.457000000000001}]
[{"$f":"D109","v":9.99},null,{"$f":"D109","v":9.99},{"$f":"D109","v":9.99}]
[{"$f":"SUM(A187-A186)","v":-0.24099999999999966},0,{"$f":"SUM(C187-C186)","v":-2.3859999999999992},{"$f":"SUM(D187-D186)","v":-5.4670000000000005}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[8.2769999999999992,8.2769999999999992,8.2750000000000004,8.2759999999999998]
[{"$f":"D109","v":9.99},{"$f":"D109","v":9.99},{"$f":"D109","v":9.99},{"$f":"D109","v":9.99}]
[{"$f":"SUM(A196-A195)","v":1.713000000000001},{"$f":"SUM(B196-B195)","v":1.713000000000001},{"$f":"SUM(C196-C195)","v":1.7149999999999999},{"$f":"SUM(D196-D195)","v":1.7140000000000004}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":"SN 15"}]
["Date"," ",{"$f":"Sheet1!B6","v":"2010-04-08"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"JM, LG"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.4820000000000002},{"$f":"B10*25.4","v":88.442800000000005},null,null,5,{"$f":"Sheet1!A35","v":4.2974815825375181},{"$f":"G10*25.4","v":109.15603219645295}]
[2,{"$f":"Sheet1!B169","v":3.4809999999999999},{"$f":"B11*25.4","v":88.417399999999986},null,null,6,{"$f":"Sheet1!B35","v":4.2904815825375202},{"$f":"G11*25.4","v":108.97823219645301}]
[3,{"$f":"Sheet1!C169","v":3.4780000000000006},{"$f":"B12*25.4","v":88.341200000000015},null,null,7,{"$f":"Sheet1!C35","v":4.2964815825375204},{"$f":"G12*25.4","v":109.13063219645301}]
[4,{"$f":"Sheet1!D169","v":3.4790000000000001},{"$f":"B13*25.4","v":88.366599999999991},null,null,8,{"$f":"Sheet1!D35","v":4.294481582537518},{"$f":"G13*25.4","v":109.07983219645295}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.4735184174624791},{"$f":"Sheet1!C118","v":-6.0000000000002274E-3},{"$f":"B20*25.4","v":-139.02736780354695},{"$f":"C20*25.4","v":-0.15240000000000575},null,{"$f":"H10-D21","v":156.81959999999998},{"$f":"C10-E20","v":88.595200000000006}]
["X1",{"$f":"Sheet1!A78","v":-1.8765184174624814},{"$f":"Sheet1!D118","v":-3.6069999999999993},{"$f":"B21*25.4","v":-47.663567803547025},{"$f":"C21*25.4","v":-91.617799999999974}]
["Y1",{"$f":"Sheet1!B78","v":-5.470518417462479},null,{"$f":"B22*25.4","v":-138.95116780354695}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.4765184174624792},{"$f":"Sheet1!A128","v":-4.9999999999990052E-3},{"$f":"B26*25.4","v":-139.10356780354695},{"$f":"C26*25.4","v":-0.12699999999997472},null,{"$f":"H13-D27","v":156.84499999999991},{"$f":"C13-E26","v":88.493599999999972}]
["X1",{"$f":"Sheet1!A87","v":-1.8805184174624792},{"$f":"Sheet1!B128","v":-3.6050000000000004},{"$f":"B27*25.4","v":-47.765167803546966},{"$f":"C27*25.4","v":-91.567000000000007}]
["Y2",{"$f":"Sheet1!C87","v":-5.4795184174624794},"\\",{"$f":"B28*25.4","v":-139.17976780354698}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.5030000000000001},{"$f":"B36*25.4","v":-139.77619999999999},null,"US  +",{"$f":"Sheet1!A197","v":1.713000000000001},{"$f":"F36*25.4","v":43.510200000000019}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.713000000000001},{"$f":"F37*25.4","v":43.510200000000019}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.7149999999999999},{"$f":"F38*25.4","v":43.560999999999993}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.7140000000000004},{"$f":"F39*25.4","v":43.535600000000009}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.3989999999999991},{"$f":"B42*25.4","v":-111.73459999999997}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":"SN 15"}]
["Date"," ",{"$f":"Sheet1!B6","v":"2010-04-08"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"JM, LG"}]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.4895184174624774},{"$f":"Sheet1!A169","v":3.4820000000000002},{"$f":"SUM(B10*25.4)","v":-139.43376780354691},{"$f":"SUM(D10*25.4)","v":-3541.6177022100915}]
[2,{"$f":"Sheet1!B28","v":-5.4925184174624775},{"$f":"Sheet1!B169","v":3.4809999999999999},{"$f":"SUM(B11*25.4)","v":-139.50996780354691},{"$f":"SUM(D11*25.4)","v":-3543.5531822100916},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.4935184174624823},{"$f":"Sheet1!C169","v":3.4780000000000006},-139.53536780354705,-3544.1983422100948,null,{"$f":"Sheet1!C141","v":-5.5030000000000001},{"$f":"SUM(G12*25.4)","v":-139.77619999999999}]
[4,{"$f":"Sheet1!D28","v":-5.4815184174624818},{"$f":"Sheet1!D169","v":3.4790000000000001},-139.23056780354702,-3536.4564222100939]
[5,{"$f":"Sheet1!A35","v":4.2974815825375181},{"$f":"Sheet1!A177","v":-3.6009999999999991},109.15603219645295,2772.5632177899047]
[6,{"$f":"Sheet1!B35","v":4.2904815825375202},{"$f":"Sheet1!B177","v":-3.6009999999999991},108.97823219645301,2768.0470977899063,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.2964815825375204},{"$f":"Sheet1!C177","v":-3.6059999999999999},109.13063219645301,2771.918057789906]
[8,{"$f":"Sheet1!D35","v":4.294481582537518},{"$f":"Sheet1!D177","v":-3.6080000000000005},109.07983219645295,2770.627737789905,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.3989999999999991},{"$f":"SUM(G18*25.4)","v":-111.73459999999997}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.8765184174624814},{"$f":"Sheet1!C118","v":-6.0000000000002274E-3},{"$f":"SUM(B23*25.4)","v":-47.663567803547025},{"$f":"SUM(C23*25.4)","v":-0.15240000000000575}]
["X1",{"$f":"Sheet1!A78","v":-1.8765184174624814},{"$f":"Sheet1!D118","v":-3.6069999999999993},{"$f":"SUM(B24*25.4)","v":-47.663567803547025},{"$f":"SUM(C24*25.4)","v":-91.617799999999974},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.470518417462479},null,{"$f":"SUM(B25*25.4)","v":-138.95116780354695},null,null,"US  +",{"$f":"Sheet1!A197","v":1.713000000000001},{"$f":"SUM(H25*25.4)","v":43.510200000000019}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.713000000000001},{"$f":"SUM(H26*25.4)","v":43.510200000000019}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.7149999999999999},{"$f":"SUM(H27*25.4)","v":43.560999999999993}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.7140000000000004},{"$f":"SUM(H28*25.4)","v":43.535600000000009}]
["Y1",{"$f":"Sheet1!B87","v":-5.4765184174624792},{"$f":"Sheet1!A128","v":-4.9999999999990052E-3},{"$f":"SUM(B29*25.4)","v":-139.10356780354695},{"$f":"SUM(C29*25.4)","v":-0.12699999999997472}]
["X1",{"$f":"Sheet1!A87","v":-1.8805184174624792},{"$f":"Sheet1!B128","v":-3.6050000000000004},{"$f":"SUM(B30*25.4)","v":-47.765167803546966},{"$f":"SUM(C30*25.4)","v":-91.567000000000007}]
["Y2",{"$f":"Sheet1!C87","v":-5.4795184174624794},null,{"$f":"SUM(B31*25.4)","v":-139.17976780354698}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.6005184174624816},{"$f":"Sheet1!A118","v":9.9999999999944578E-4},{"$f":"SUM(B37*25.4)","v":-91.453167803547032},{"$f":"SUM(C37*25.4)","v":2.539999999998592E-2},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.6059999999999999},0,{"$f":"SUM(C38*25.4)","v":-91.592399999999998}]
["Y2",{"$f":"Sheet1!C68","v":-3.6045184174624794},null,{"$f":"SUM(B39*25.4)","v":-91.554767803546966}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.6005184174624816},{"$f":"Sheet1!C128","v":-9.9999999999944578E-4},{"$f":"SUM(B43*25.4)","v":-91.453167803547032},{"$f":"SUM(C43*25.4)","v":-2.539999999998592E-2}]
["X1",0,{"$f":"Sheet1!D128","v":-3.6050000000000004},0,{"$f":"SUM(C44*25.4)","v":-91.567000000000007}]
["Y2",{"$f":"Sheet1!C96","v":-3.5935184174624801},null,{"$f":"SUM(B45*25.4)","v":-91.275367803546985}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-7.0355184174624839},{"$f":"Sheet1!A188","v":-0.24099999999999966},{"$f":"SUM(B49*25.4)","v":-178.70216780354707},{"$f":"SUM(C49*25.4)","v":-6.1213999999999906}]
["B",{"$f":"Sheet1!B45","v":-2.5025184174624791},null,{"$f":"SUM(B50*25.4)","v":-63.563967803546966}]
["C",{"$f":"Sheet1!C45","v":-0.74551841746248115},{"$f":"Sheet1!C188","v":-2.3859999999999992},{"$f":"SUM(B51*25.4)","v":-18.936167803547022},{"$f":"SUM(C51*25.4)","v":-60.604399999999977}]
["D",{"$f":"Sheet1!D45","v":-0.74451841746247993},{"$f":"Sheet1!D188","v":-5.4670000000000005},{"$f":"SUM(B52*25.4)","v":-18.910767803546989},{"$f":"SUM(C52*25.4)","v":-138.86180000000002}]