{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator","SN 26"]
["Date:","2013-11-25"]
["Crew:","BR, MR"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",29]
["1st. Near",27.696999999999999]
["2nd. Far",27]
["2nd Near",27.190999999999999]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":27.255689424364121}]
["Near Should Read",27.255689424364121]
["LOS",27.255689424364121]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[31.754999999999999,31.753,31.75,31.751999999999999]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":32.754999999999995},{"$f":"SUM(B24:B25)","v":32.753},{"$f":"SUM(C24:C25)","v":32.75},{"$f":"SUM(D24:D25)","v":32.751999999999995}]
[{"$f":"B18","v":27.255689424364121},{"$f":"B18","v":27.255689424364121},{"$f":"B18","v":27.255689424364121},{"$f":"B18","v":27.255689424364121}]
[{"$f":"SUM(A27-A26)","v":-5.4993105756358744},{"$f":"SUM(B27-B26)","v":-5.4973105756358791},{"$f":"SUM(C27-C26)","v":-5.494310575635879},{"$f":"SUM(D27-D26)","v":-5.4963105756358743}]
[]
["5)","6)","7)","8)"]
[21.972999999999999,21.972000000000001,21.974,21.972999999999999]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":22.972999999999999},{"$f":"SUM(B31:B32)","v":22.972000000000001},{"$f":"SUM(C31:C32)","v":22.974},{"$f":"SUM(D31:D32)","v":22.972999999999999}]
[{"$f":"B18","v":27.255689424364121},{"$f":"B18","v":27.255689424364121},{"$f":"B18","v":27.255689424364121},{"$f":"B18","v":27.255689424364121}]
[{"$f":"SUM(A34-A33)","v":4.282689424364122},{"$f":"SUM(B34-B33)","v":4.2836894243641197},{"$f":"SUM(C34-C33)","v":4.2816894243641208},{"$f":"SUM(D34-D33)","v":4.282689424364122}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[33.332000000000001,28.768000000000001,27.01,27.01]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":34.332000000000001},{"$f":"SUM(B41:B42)","v":29.768000000000001},{"$f":"SUM(C41:C42)","v":28.01},{"$f":"SUM(D41:D42)","v":28.01}]
[{"$f":"B18","v":27.255689424364121},{"$f":"B18","v":27.255689424364121},{"$f":"B18","v":27.255689424364121},{"$f":"B18","v":27.255689424364121}]
[{"$f":"SUM(A44-A43)","v":-7.0763105756358797},{"$f":"SUM(B44-B43)","v":-2.5123105756358797},{"$f":"SUM(C44-C43)","v":-0.75431057563588055},{"$f":"SUM(D44-D43)","v":-0.75431057563588055}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":27.255689424364121},"LOS"]
["Undulator",{"$f":"B5","v":"SN 26"}]
["Date:",{"$f":"B6","v":"2013-11-25"}]
["Crew:",{"$f":"B7","v":"BR, MR"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,29.855,29.859000000000002]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":30.855},{"$f":"SUM(C64:C65)","v":30.859000000000002}]
[null,{"$f":"B18","v":27.255689424364121},{"$f":"B18","v":27.255689424364121}]
[0,{"$f":"SUM(B67-B66)","v":-3.5993105756358794},{"$f":"SUM(C67-C66)","v":-3.6033105756358808}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[28.15,31.744,31.744]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":29.15},{"$f":"SUM(B74:B75)","v":32.744},{"$f":"SUM(C74:C75)","v":32.744}]
[{"$f":"B18","v":27.255689424364121},{"$f":"B18","v":27.255689424364121},{"$f":"B18","v":27.255689424364121}]
[{"$f":"SUM(A77-A76)","v":-1.8943105756358776},{"$f":"SUM(B77-B76)","v":-5.4883105756358788},{"$f":"SUM(C77-C76)","v":-5.4883105756358788}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[28.152000000000001,31.747,31.745999999999999]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":29.152000000000001},{"$f":"SUM(B83:B84)","v":32.747},{"$f":"SUM(C83:C84)","v":32.745999999999995}]
[{"$f":"B18","v":27.255689424364121},{"$f":"B18","v":27.255689424364121},{"$f":"B18","v":27.255689424364121}]
[{"$f":"SUM(A86-A85)","v":-1.89631057563588},{"$f":"SUM(B86-B85)","v":-5.4913105756358789},{"$f":"SUM(C86-C85)","v":-5.4903105756358741}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,29.856999999999999,29.853000000000002]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":30.856999999999999},{"$f":"SUM(C92:C93)","v":30.853000000000002}]
[null,{"$f":"B18","v":27.255689424364121},{"$f":"B18","v":27.255689424364121}]
[0,{"$f":"SUM(B95-B94)","v":-3.6013105756358783},{"$f":"SUM(C95-C94)","v":-3.5973105756358805}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,9.484,9.49]
[null,null,1,1]
["Undulator",{"$f":"B5","v":"SN 26"},{"$f":"SUM(C104+C105)","v":10.484},{"$f":"SUM(D104+D105)","v":10.49}]
["Date:",{"$f":"B6","v":"2013-11-25"}]
["Crew:",{"$f":"B7","v":"BR, MR"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":10.487}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":9.484},13.090999999999999,9.4849999999999994,13.087]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":10.484},{"$f":"SUM(B114:B115)","v":14.090999999999999},{"$f":"SUM(C114:C115)","v":10.484999999999999},{"$f":"SUM(D114:D115)","v":14.087}]
[{"$f":"D109","v":10.487},{"$f":"D109","v":10.487},{"$f":"D109","v":10.487},{"$f":"D109","v":10.487}]
[{"$f":"SUM(A117-A116)","v":3.0000000000001137E-3},{"$f":"SUM(B117-B116)","v":-3.6039999999999992},{"$f":"SUM(C117-C116)","v":2.0000000000006679E-3},{"$f":"SUM(D117-D116)","v":-3.5999999999999996}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[9.4930000000000003,13.092000000000001,{"$f":"D104","v":9.49},13.092000000000001]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":10.493},{"$f":"SUM(B124:B125)","v":14.092000000000001},{"$f":"SUM(C124:C125)","v":10.49},{"$f":"SUM(D124:D125)","v":14.092000000000001}]
[{"$f":"D109","v":10.487},{"$f":"D109","v":10.487},{"$f":"D109","v":10.487},{"$f":"D109","v":10.487}]
[{"$f":"SUM(A127-A126)","v":-6.0000000000002274E-3},{"$f":"SUM(B127-B126)","v":-3.6050000000000004},{"$f":"SUM(C127-C126)","v":-3.0000000000001137E-3},{"$f":"SUM(D127-D126)","v":-3.6050000000000004}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[14.885,null,-5.4640000000000004,"LOS"]
[{"$f":"D109","v":10.487},null,0.03,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.3979999999999997},null,{"$f":"SUM(C137+C138)","v":-5.4340000000000002}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.4729999999999999},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":"SN 26"}]
["Date:",{"$f":"B6","v":41603}]
["Crew:","BR, MR"]
[]
[]
["HI =",{"$f":"D109","v":10.487}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[6.0060000000000002,6.0110000000000001,6.0110000000000001,6.0170000000000003]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":7.0060000000000002},{"$f":"SUM(B165:B166)","v":7.0110000000000001},{"$f":"SUM(C165:C166)","v":7.0110000000000001},{"$f":"SUM(D165:D166)","v":7.0170000000000003}]
[{"$f":"D109","v":10.487},{"$f":"D109","v":10.487},{"$f":"D109","v":10.487},{"$f":"D109","v":10.487}]
[{"$f":"SUM(A168-A167)","v":3.4809999999999999},{"$f":"SUM(B168-B167)","v":3.476},{"$f":"SUM(C168-C167)","v":3.476},{"$f":"SUM(D168-D167)","v":3.4699999999999998}]
[]
[]
["5)","6)","7)","8)"]
[13.087,13.087,13.084,13.087]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":14.087},{"$f":"SUM(B173+B174)","v":14.087},{"$f":"SUM(C173+C174)","v":14.084},{"$f":"SUM(D173+D174)","v":14.087}]
[{"$f":"D109","v":10.487},{"$f":"D109","v":10.487},{"$f":"D109","v":10.487},{"$f":"D109","v":10.487}]
[{"$f":"SUM(A176-A175)","v":-3.5999999999999996},{"$f":"SUM(B176-B175)","v":-3.5999999999999996},{"$f":"SUM(C176-C175)","v":-3.5969999999999995},{"$f":"SUM(D176-D175)","v":-3.5999999999999996}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[9.7260000000000009,null,11.87,14.951000000000001]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":10.726000000000001},null,{"$f":"SUM(C184+C185)","v":12.87},{"$f":"SUM(D184+D185)","v":15.951000000000001}]
[{"$f":"D109","v":10.487},null,{"$f":"D109","v":10.487},{"$f":"D109","v":10.487}]
[{"$f":"SUM(A187-A186)","v":-0.23900000000000077},0,{"$f":"SUM(C187-C186)","v":-2.3829999999999991},{"$f":"SUM(D187-D186)","v":-5.4640000000000004}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[8.7680000000000007,8.77,8.7729999999999997,8.7750000000000004]
[{"$f":"D109","v":10.487},{"$f":"D109","v":10.487},{"$f":"D109","v":10.487},{"$f":"D109","v":10.487}]
[{"$f":"SUM(A196-A195)","v":1.7189999999999994},{"$f":"SUM(B196-B195)","v":1.7170000000000005},{"$f":"SUM(C196-C195)","v":1.7140000000000004},{"$f":"SUM(D196-D195)","v":1.7119999999999997}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":"SN 26"}]
["Date"," ",{"$f":"Sheet1!B6","v":"2013-11-25"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"BR, MR"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.4809999999999999},{"$f":"B10*25.4","v":88.417399999999986},null,null,5,{"$f":"Sheet1!A35","v":4.282689424364122},{"$f":"G10*25.4","v":108.78031137884869}]
[2,{"$f":"Sheet1!B169","v":3.476},{"$f":"B11*25.4","v":88.290399999999991},null,null,6,{"$f":"Sheet1!B35","v":4.2836894243641197},{"$f":"G11*25.4","v":108.80571137884863}]
[3,{"$f":"Sheet1!C169","v":3.476},{"$f":"B12*25.4","v":88.290399999999991},null,null,7,{"$f":"Sheet1!C35","v":4.2816894243641208},{"$f":"G12*25.4","v":108.75491137884866}]
[4,{"$f":"Sheet1!D169","v":3.4699999999999998},{"$f":"B13*25.4","v":88.137999999999991},null,null,8,{"$f":"Sheet1!D35","v":4.282689424364122},{"$f":"G13*25.4","v":108.78031137884869}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.4883105756358788},{"$f":"Sheet1!C118","v":2.0000000000006679E-3},{"$f":"B20*25.4","v":-139.40308862115131},{"$f":"C20*25.4","v":5.0800000000016964E-2},null,{"$f":"H10-D21","v":156.89579999999998},{"$f":"C10-E20","v":88.366599999999963}]
["X1",{"$f":"Sheet1!A78","v":-1.8943105756358776},{"$f":"Sheet1!D118","v":-3.5999999999999996},{"$f":"B21*25.4","v":-48.115488621151286},{"$f":"C21*25.4","v":-91.439999999999984}]
["Y1",{"$f":"Sheet1!B78","v":-5.4883105756358788},null,{"$f":"B22*25.4","v":-139.40308862115131}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.4913105756358789},{"$f":"Sheet1!A128","v":-6.0000000000002274E-3},{"$f":"B26*25.4","v":-139.47928862115131},{"$f":"C26*25.4","v":-0.15240000000000575},null,{"$f":"H13-D27","v":156.94660000000005},{"$f":"C13-E26","v":88.290399999999991}]
["X1",{"$f":"Sheet1!A87","v":-1.89631057563588},{"$f":"Sheet1!B128","v":-3.6050000000000004},{"$f":"B27*25.4","v":-48.166288621151352},{"$f":"C27*25.4","v":-91.567000000000007}]
["Y2",{"$f":"Sheet1!C87","v":-5.4903105756358741},"\\",{"$f":"B28*25.4","v":-139.45388862115121}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.4729999999999999},{"$f":"B36*25.4","v":-139.01419999999999},null,"US  +",{"$f":"Sheet1!A197","v":1.7189999999999994},{"$f":"F36*25.4","v":43.662599999999983}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.7170000000000005},{"$f":"F37*25.4","v":43.611800000000009}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.7140000000000004},{"$f":"F38*25.4","v":43.535600000000009}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.7119999999999997},{"$f":"F39*25.4","v":43.484799999999993}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.3979999999999997},{"$f":"B42*25.4","v":-111.70919999999998}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",13]
["Date"," ",{"$f":"Sheet1!B6","v":"2013-11-25"}]
["Crew"," ","MR,BR"]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.4993105756358744},{"$f":"Sheet1!A169","v":3.4809999999999999},{"$f":"SUM(B10*25.4)","v":-139.68248862115121},{"$f":"SUM(C10*25.4)","v":88.417399999999986}]
[2,{"$f":"Sheet1!B28","v":-5.4973105756358791},{"$f":"Sheet1!B169","v":3.476},{"$f":"SUM(B11*25.4)","v":-139.63168862115131},{"$f":"SUM(C11*25.4)","v":88.290399999999991},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.494310575635879},{"$f":"Sheet1!C169","v":3.476},-139.55548862115131,88.290399999999991,null,{"$f":"Sheet1!C141","v":-5.4729999999999999},{"$f":"SUM(G12*25.4)","v":-139.01419999999999}]
[4,{"$f":"Sheet1!D28","v":-5.4963105756358743},{"$f":"Sheet1!D169","v":3.4699999999999998},-139.60628862115121,88.137999999999991]
[5,{"$f":"Sheet1!A35","v":4.282689424364122},{"$f":"Sheet1!A177","v":-3.5999999999999996},108.78031137884869,-91.439999999999984]
[6,{"$f":"Sheet1!B35","v":4.2836894243641197},{"$f":"Sheet1!B177","v":-3.5999999999999996},108.80571137884863,-91.439999999999984,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.2816894243641208},{"$f":"Sheet1!C177","v":-3.5969999999999995},108.75491137884866,-91.363799999999983]
[8,{"$f":"Sheet1!D35","v":4.282689424364122},{"$f":"Sheet1!D177","v":-3.5999999999999996},108.78031137884869,-91.439999999999984,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.3979999999999997},{"$f":"SUM(G18*25.4)","v":-111.70919999999998}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.8943105756358776},{"$f":"Sheet1!C118","v":2.0000000000006679E-3},{"$f":"SUM(B23*25.4)","v":-48.115488621151286},{"$f":"SUM(C23*25.4)","v":5.0800000000016964E-2}]
["X1",{"$f":"Sheet1!A78","v":-1.8943105756358776},{"$f":"Sheet1!D118","v":-3.5999999999999996},{"$f":"SUM(B24*25.4)","v":-48.115488621151286},{"$f":"SUM(C24*25.4)","v":-91.439999999999984},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.4883105756358788},null,{"$f":"SUM(B25*25.4)","v":-139.40308862115131},null,null,"US  +",{"$f":"Sheet1!A197","v":1.7189999999999994},{"$f":"SUM(H25*25.4)","v":43.662599999999983}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.7170000000000005},{"$f":"SUM(H26*25.4)","v":43.611800000000009}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.7140000000000004},{"$f":"SUM(H27*25.4)","v":43.535600000000009}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.7119999999999997},{"$f":"SUM(H28*25.4)","v":43.484799999999993}]
["Y1",{"$f":"Sheet1!B87","v":-5.4913105756358789},{"$f":"Sheet1!A128","v":-6.0000000000002274E-3},{"$f":"SUM(B29*25.4)","v":-139.47928862115131},{"$f":"SUM(C29*25.4)","v":-0.15240000000000575}]
["X1",{"$f":"Sheet1!A87","v":-1.89631057563588},{"$f":"Sheet1!B128","v":-3.6050000000000004},{"$f":"SUM(B30*25.4)","v":-48.166288621151352},{"$f":"SUM(C30*25.4)","v":-91.567000000000007}]
["Y2",{"$f":"Sheet1!C87","v":-5.4903105756358741},null,{"$f":"SUM(B31*25.4)","v":-139.45388862115121}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.5993105756358794},{"$f":"Sheet1!A118","v":3.0000000000001137E-3},{"$f":"SUM(B37*25.4)","v":-91.422488621151331},{"$f":"SUM(C37*25.4)","v":7.6200000000002877E-2},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.6039999999999992},0,{"$f":"SUM(C38*25.4)","v":-91.541599999999974}]
["Y2",{"$f":"Sheet1!C68","v":-3.6033105756358808},null,{"$f":"SUM(B39*25.4)","v":-91.524088621151364}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.6013105756358783},{"$f":"Sheet1!C128","v":-3.0000000000001137E-3},{"$f":"SUM(B43*25.4)","v":-91.473288621151298},{"$f":"SUM(C43*25.4)","v":-7.6200000000002877E-2}]
["X1",0,{"$f":"Sheet1!D128","v":-3.6050000000000004},0,{"$f":"SUM(C44*25.4)","v":-91.567000000000007}]
["Y2",{"$f":"Sheet1!C96","v":-3.5973105756358805},null,{"$f":"SUM(B45*25.4)","v":-91.371688621151364}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-7.0763105756358797},{"$f":"Sheet1!A188","v":-0.23900000000000077},{"$f":"SUM(B49*25.4)","v":-179.73828862115133},{"$f":"SUM(C49*25.4)","v":-6.0706000000000193}]
["B",{"$f":"Sheet1!B45","v":-2.5123105756358797},null,{"$f":"SUM(B50*25.4)","v":-63.812688621151338}]
["C",{"$f":"Sheet1!C45","v":-0.75431057563588055},{"$f":"Sheet1!C188","v":-2.3829999999999991},{"$f":"SUM(B51*25.4)","v":-19.159488621151365},{"$f":"SUM(C51*25.4)","v":-60.528199999999977}]
["D",{"$f":"Sheet1!D45","v":-0.75431057563588055},{"$f":"Sheet1!D188","v":-5.4640000000000004},{"$f":"SUM(B52*25.4)","v":-19.159488621151365},{"$f":"SUM(C52*25.4)","v":-138.78560000000002}]