{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator","SN 27"]
["Date:","2010-01-11"]
["Crew:","BR, LG"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",26.065999999999999]
["1st. Near",26.07]
["2nd. Far",26.07]
["2nd Near",26.07]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":26.07}]
["Near Should Read",26.07]
["LOS",26.07]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[30.545999999999999,30.552,30.552,30.556999999999999]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":31.545999999999999},{"$f":"SUM(B24:B25)","v":31.552},{"$f":"SUM(C24:C25)","v":31.552},{"$f":"SUM(D24:D25)","v":31.556999999999999}]
[{"$f":"B18","v":26.07},{"$f":"B18","v":26.07},{"$f":"B18","v":26.07},{"$f":"B18","v":26.07}]
[{"$f":"SUM(A27-A26)","v":-5.4759999999999991},{"$f":"SUM(B27-B26)","v":-5.4819999999999993},{"$f":"SUM(C27-C26)","v":-5.4819999999999993},{"$f":"SUM(D27-D26)","v":-5.4869999999999983}]
[]
["5)","6)","7)","8)"]
[20.765000000000001,20.768999999999998,20.771999999999998,20.771000000000001]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":21.765000000000001},{"$f":"SUM(B31:B32)","v":21.768999999999998},{"$f":"SUM(C31:C32)","v":21.771999999999998},{"$f":"SUM(D31:D32)","v":21.771000000000001}]
[{"$f":"B18","v":26.07},{"$f":"B18","v":26.07},{"$f":"B18","v":26.07},{"$f":"B18","v":26.07}]
[{"$f":"SUM(A34-A33)","v":4.3049999999999997},{"$f":"SUM(B34-B33)","v":4.3010000000000019},{"$f":"SUM(C34-C33)","v":4.2980000000000018},{"$f":"SUM(D34-D33)","v":4.2989999999999995}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[32.106999999999999,27.571999999999999,25.814,25.814]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":33.106999999999999},{"$f":"SUM(B41:B42)","v":28.571999999999999},{"$f":"SUM(C41:C42)","v":26.814},{"$f":"SUM(D41:D42)","v":26.814}]
[{"$f":"B18","v":26.07},{"$f":"B18","v":26.07},{"$f":"B18","v":26.07},{"$f":"B18","v":26.07}]
[{"$f":"SUM(A44-A43)","v":-7.036999999999999},{"$f":"SUM(B44-B43)","v":-2.5019999999999989},{"$f":"SUM(C44-C43)","v":-0.74399999999999977},{"$f":"SUM(D44-D43)","v":-0.74399999999999977}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":26.07},"LOS"]
["Undulator",{"$f":"B5","v":"SN 27"}]
["Date:",{"$f":"B6","v":"2010-01-11"}]
["Crew:",{"$f":"B7","v":"BR, LG"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,28.67,28.672999999999998]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":29.67},{"$f":"SUM(C64:C65)","v":29.672999999999998}]
[null,{"$f":"B18","v":26.07},{"$f":"B18","v":26.07}]
[0,{"$f":"SUM(B67-B66)","v":-3.6000000000000014},{"$f":"SUM(C67-C66)","v":-3.602999999999998}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[26.945,30.536999999999999,30.542999999999999]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":27.945},{"$f":"SUM(B74:B75)","v":31.536999999999999},{"$f":"SUM(C74:C75)","v":31.542999999999999}]
[{"$f":"B18","v":26.07},{"$f":"B18","v":26.07},{"$f":"B18","v":26.07}]
[{"$f":"SUM(A77-A76)","v":-1.875},{"$f":"SUM(B77-B76)","v":-5.4669999999999987},{"$f":"SUM(C77-C76)","v":-5.472999999999999}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[26.946000000000002,30.542999999999999,30.542999999999999]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":27.946000000000002},{"$f":"SUM(B83:B84)","v":31.542999999999999},{"$f":"SUM(C83:C84)","v":31.542999999999999}]
[{"$f":"B18","v":26.07},{"$f":"B18","v":26.07},{"$f":"B18","v":26.07}]
[{"$f":"SUM(A86-A85)","v":-1.8760000000000012},{"$f":"SUM(B86-B85)","v":-5.472999999999999},{"$f":"SUM(C86-C85)","v":-5.472999999999999}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,28.67,28.669]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":29.67},{"$f":"SUM(C92:C93)","v":29.669}]
[null,{"$f":"B18","v":26.07},{"$f":"B18","v":26.07}]
[0,{"$f":"SUM(B95-B94)","v":-3.6000000000000014},{"$f":"SUM(C95-C94)","v":-3.5990000000000002}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,9.4220000000000006,9.42]
[null,null,1,1]
["Undulator",{"$f":"B5","v":"SN 27"},{"$f":"SUM(C104+C105)","v":10.422000000000001},{"$f":"SUM(D104+D105)","v":10.42}]
["Date:",{"$f":"B6","v":"2010-01-11"}]
["Crew:",{"$f":"B7","v":"BR, LG"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":10.420999999999999}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":9.4220000000000006},13.031000000000001,9.4269999999999996,13.026999999999999]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":10.422000000000001},{"$f":"SUM(B114:B115)","v":14.031000000000001},{"$f":"SUM(C114:C115)","v":10.427},{"$f":"SUM(D114:D115)","v":14.026999999999999}]
[{"$f":"D109","v":10.420999999999999},{"$f":"D109","v":10.420999999999999},{"$f":"D109","v":10.420999999999999},{"$f":"D109","v":10.420999999999999}]
[{"$f":"SUM(A117-A116)","v":-1.0000000000012221E-3},{"$f":"SUM(B117-B116)","v":-3.6100000000000012},{"$f":"SUM(C117-C116)","v":-6.0000000000002274E-3},{"$f":"SUM(D117-D116)","v":-3.6059999999999999}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[9.4250000000000007,13.025,{"$f":"D104","v":9.42},13.026]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":10.425000000000001},{"$f":"SUM(B124:B125)","v":14.025},{"$f":"SUM(C124:C125)","v":10.42},{"$f":"SUM(D124:D125)","v":14.026}]
[{"$f":"D109","v":10.420999999999999},{"$f":"D109","v":10.420999999999999},{"$f":"D109","v":10.420999999999999},{"$f":"D109","v":10.420999999999999}]
[{"$f":"SUM(A127-A126)","v":-4.0000000000013358E-3},{"$f":"SUM(B127-B126)","v":-3.604000000000001},{"$f":"SUM(C127-C126)","v":9.9999999999944578E-4},{"$f":"SUM(D127-D126)","v":-3.6050000000000004}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[14.826000000000001,null,-5.4640000000000004,"LOS"]
[{"$f":"D109","v":10.420999999999999},null,1.7999999999999999E-2,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.4050000000000011},null,{"$f":"SUM(C137+C138)","v":-5.4460000000000006}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.4850000000000003},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":"SN 27"}]
["Date:",{"$f":"B6","v":"2010-01-11"}]
["Crew:",{"$f":"B7","v":"BR, LG"}]
[]
[]
["HI =",{"$f":"D109","v":10.420999999999999}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[5.9450000000000003,5.9480000000000004,5.9480000000000004,5.9429999999999996]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":6.9450000000000003},{"$f":"SUM(B165:B166)","v":6.9480000000000004},{"$f":"SUM(C165:C166)","v":6.9480000000000004},{"$f":"SUM(D165:D166)","v":6.9429999999999996}]
[{"$f":"D109","v":10.420999999999999},{"$f":"D109","v":10.420999999999999},{"$f":"D109","v":10.420999999999999},{"$f":"D109","v":10.420999999999999}]
[{"$f":"SUM(A168-A167)","v":3.4759999999999991},{"$f":"SUM(B168-B167)","v":3.472999999999999},{"$f":"SUM(C168-C167)","v":3.472999999999999},{"$f":"SUM(D168-D167)","v":3.4779999999999998}]
[]
[]
["5)","6)","7)","8)"]
[13.026999999999999,13.022,13.023,13.025499999999999]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":14.026999999999999},{"$f":"SUM(B173+B174)","v":14.022},{"$f":"SUM(C173+C174)","v":14.023},{"$f":"SUM(D173+D174)","v":14.025499999999999}]
[{"$f":"D109","v":10.420999999999999},{"$f":"D109","v":10.420999999999999},{"$f":"D109","v":10.420999999999999},{"$f":"D109","v":10.420999999999999}]
[{"$f":"SUM(A176-A175)","v":-3.6059999999999999},{"$f":"SUM(B176-B175)","v":-3.6010000000000009},{"$f":"SUM(C176-C175)","v":-3.6020000000000003},{"$f":"SUM(D176-D175)","v":-3.6044999999999998}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[9.6649999999999991,null,11.81,14.891]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":10.664999999999999},null,{"$f":"SUM(C184+C185)","v":12.81},{"$f":"SUM(D184+D185)","v":15.891}]
[{"$f":"D109","v":10.420999999999999},null,{"$f":"D109","v":10.420999999999999},{"$f":"D109","v":10.420999999999999}]
[{"$f":"SUM(A187-A186)","v":-0.24399999999999977},0,{"$f":"SUM(C187-C186)","v":-2.3890000000000011},{"$f":"SUM(D187-D186)","v":-5.4700000000000006}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[8.7089999999999996,8.7100000000000009,8.7059999999999995,8.7070000000000007]
[{"$f":"D109","v":10.420999999999999},{"$f":"D109","v":10.420999999999999},{"$f":"D109","v":10.420999999999999},{"$f":"D109","v":10.420999999999999}]
[{"$f":"SUM(A196-A195)","v":1.7119999999999997},{"$f":"SUM(B196-B195)","v":1.7109999999999985},{"$f":"SUM(C196-C195)","v":1.7149999999999999},{"$f":"SUM(D196-D195)","v":1.7139999999999986}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":"SN 27"}]
["Date"," ",{"$f":"Sheet1!B6","v":"2010-01-11"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"BR, LG"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.4759999999999991},{"$f":"B10*25.4","v":88.290399999999977},null,null,5,{"$f":"Sheet1!A35","v":4.3049999999999997},{"$f":"G10*25.4","v":109.34699999999998}]
[2,{"$f":"Sheet1!B169","v":3.472999999999999},{"$f":"B11*25.4","v":88.214199999999963},null,null,6,{"$f":"Sheet1!B35","v":4.3010000000000019},{"$f":"G11*25.4","v":109.24540000000005}]
[3,{"$f":"Sheet1!C169","v":3.472999999999999},{"$f":"B12*25.4","v":88.214199999999963},null,null,7,{"$f":"Sheet1!C35","v":4.2980000000000018},{"$f":"G12*25.4","v":109.16920000000005}]
[4,{"$f":"Sheet1!D169","v":3.4779999999999998},{"$f":"B13*25.4","v":88.341199999999986},null,null,8,{"$f":"Sheet1!D35","v":4.2989999999999995},{"$f":"G13*25.4","v":109.19459999999998}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.472999999999999},{"$f":"Sheet1!C118","v":-6.0000000000002274E-3},{"$f":"B20*25.4","v":-139.01419999999996},{"$f":"C20*25.4","v":-0.15240000000000575},null,{"$f":"H10-D21","v":156.97199999999998},{"$f":"C10-E20","v":88.442799999999977}]
["X1",{"$f":"Sheet1!A78","v":-1.875},{"$f":"Sheet1!D118","v":-3.6059999999999999},{"$f":"B21*25.4","v":-47.625},{"$f":"C21*25.4","v":-91.592399999999998}]
["Y1",{"$f":"Sheet1!B78","v":-5.4669999999999987},null,{"$f":"B22*25.4","v":-138.86179999999996}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.472999999999999},{"$f":"Sheet1!A128","v":-4.0000000000013358E-3},{"$f":"B26*25.4","v":-139.01419999999996},{"$f":"C26*25.4","v":-0.10160000000003393},null,{"$f":"H13-D27","v":156.845},{"$f":"C13-E26","v":88.44280000000002}]
["X1",{"$f":"Sheet1!A87","v":-1.8760000000000012},{"$f":"Sheet1!B128","v":-3.604000000000001},{"$f":"B27*25.4","v":-47.650400000000026},{"$f":"C27*25.4","v":-91.541600000000017}]
["Y2",{"$f":"Sheet1!C87","v":-5.472999999999999},"\\",{"$f":"B28*25.4","v":-139.01419999999996}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.4850000000000003},{"$f":"B36*25.4","v":-139.31899999999999},null,"US  +",{"$f":"Sheet1!A197","v":1.7119999999999997},{"$f":"F36*25.4","v":43.484799999999993}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.7109999999999985},{"$f":"F37*25.4","v":43.45939999999996}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.7149999999999999},{"$f":"F38*25.4","v":43.560999999999993}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.7139999999999986},{"$f":"F39*25.4","v":43.53559999999996}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.4050000000000011},{"$f":"B42*25.4","v":-111.88700000000003}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":"SN 27"}]
["Date"," ",{"$f":"Sheet1!B6","v":"2010-01-11"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"BR, LG"}]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.4759999999999991},{"$f":"Sheet1!A169","v":3.4759999999999991},{"$f":"SUM(B10*25.4)","v":-139.09039999999996},{"$f":"SUM(D10*25.4)","v":-3532.8961599999989}]
[2,{"$f":"Sheet1!B28","v":-5.4819999999999993},{"$f":"Sheet1!B169","v":3.472999999999999},{"$f":"SUM(B11*25.4)","v":-139.24279999999999},{"$f":"SUM(D11*25.4)","v":-3536.7671199999995},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.4819999999999993},{"$f":"Sheet1!C169","v":3.472999999999999},-139.24279999999999,-3536.7671199999995,null,{"$f":"Sheet1!C141","v":-5.4850000000000003},{"$f":"SUM(G12*25.4)","v":-139.31899999999999}]
[4,{"$f":"Sheet1!D28","v":-5.4869999999999983},{"$f":"Sheet1!D169","v":3.4779999999999998},-139.36979999999994,-3539.9929199999983]
[5,{"$f":"Sheet1!A35","v":4.3049999999999997},{"$f":"Sheet1!A177","v":-3.6059999999999999},109.34699999999998,2777.4137999999994]
[6,{"$f":"Sheet1!B35","v":4.3010000000000019},{"$f":"Sheet1!B177","v":-3.6010000000000009},109.24540000000005,2774.833160000001,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.2980000000000018},{"$f":"Sheet1!C177","v":-3.6020000000000003},109.16920000000005,2772.8976800000009]
[8,{"$f":"Sheet1!D35","v":4.2989999999999995},{"$f":"Sheet1!D177","v":-3.6044999999999998},109.19459999999998,2773.5428399999992,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.4050000000000011},{"$f":"SUM(G18*25.4)","v":-111.88700000000003}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.875},{"$f":"Sheet1!C118","v":-6.0000000000002274E-3},{"$f":"SUM(B23*25.4)","v":-47.625},{"$f":"SUM(C23*25.4)","v":-0.15240000000000575}]
["X1",{"$f":"Sheet1!A78","v":-1.875},{"$f":"Sheet1!D118","v":-3.6059999999999999},{"$f":"SUM(B24*25.4)","v":-47.625},{"$f":"SUM(C24*25.4)","v":-91.592399999999998},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.4669999999999987},null,{"$f":"SUM(B25*25.4)","v":-138.86179999999996},null,null,"US  +",{"$f":"Sheet1!A197","v":1.7119999999999997},{"$f":"SUM(H25*25.4)","v":43.484799999999993}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.7109999999999985},{"$f":"SUM(H26*25.4)","v":43.45939999999996}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.7149999999999999},{"$f":"SUM(H27*25.4)","v":43.560999999999993}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.7139999999999986},{"$f":"SUM(H28*25.4)","v":43.53559999999996}]
["Y1",{"$f":"Sheet1!B87","v":-5.472999999999999},{"$f":"Sheet1!A128","v":-4.0000000000013358E-3},{"$f":"SUM(B29*25.4)","v":-139.01419999999996},{"$f":"SUM(C29*25.4)","v":-0.10160000000003393}]
["X1",{"$f":"Sheet1!A87","v":-1.8760000000000012},{"$f":"Sheet1!B128","v":-3.604000000000001},{"$f":"SUM(B30*25.4)","v":-47.650400000000026},{"$f":"SUM(C30*25.4)","v":-91.541600000000017}]
["Y2",{"$f":"Sheet1!C87","v":-5.472999999999999},null,{"$f":"SUM(B31*25.4)","v":-139.01419999999996}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.6000000000000014},{"$f":"Sheet1!A118","v":-1.0000000000012221E-3},{"$f":"SUM(B37*25.4)","v":-91.440000000000026},{"$f":"SUM(C37*25.4)","v":-2.540000000003104E-2},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.6100000000000012},0,{"$f":"SUM(C38*25.4)","v":-91.694000000000031}]
["Y2",{"$f":"Sheet1!C68","v":-3.602999999999998},null,{"$f":"SUM(B39*25.4)","v":-91.516199999999941}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.6000000000000014},{"$f":"Sheet1!C128","v":9.9999999999944578E-4},{"$f":"SUM(B43*25.4)","v":-91.440000000000026},{"$f":"SUM(C43*25.4)","v":2.539999999998592E-2}]
["X1",0,{"$f":"Sheet1!D128","v":-3.6050000000000004},0,{"$f":"SUM(C44*25.4)","v":-91.567000000000007}]
["Y2",{"$f":"Sheet1!C96","v":-3.5990000000000002},null,{"$f":"SUM(B45*25.4)","v":-91.414599999999993}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-7.036999999999999},{"$f":"Sheet1!A188","v":-0.24399999999999977},{"$f":"SUM(B49*25.4)","v":-178.73979999999997},{"$f":"SUM(C49*25.4)","v":-6.1975999999999942}]
["B",{"$f":"Sheet1!B45","v":-2.5019999999999989},null,{"$f":"SUM(B50*25.4)","v":-63.550799999999967}]
["C",{"$f":"Sheet1!C45","v":-0.74399999999999977},{"$f":"Sheet1!C188","v":-2.3890000000000011},{"$f":"SUM(B51*25.4)","v":-18.897599999999994},{"$f":"SUM(C51*25.4)","v":-60.680600000000027}]
["D",{"$f":"Sheet1!D45","v":-0.74399999999999977},{"$f":"Sheet1!D188","v":-5.4700000000000006},{"$f":"SUM(B52*25.4)","v":-18.897599999999994},{"$f":"SUM(C52*25.4)","v":-138.93800000000002}]