{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator","SN 36"]
["Date:","2011-02-01"]
["Crew:","JM, LG"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",29]
["1st. Near",28.332999999999998]
["2nd. Far",27]
["2nd Near",27.803000000000001]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":28.092517006802719}]
["Near Should Read",28.092517006802719]
["LOS",28.092517006802719]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[32.584000000000003,32.576999999999998,32.575000000000003,32.58]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":33.584000000000003},{"$f":"SUM(B24:B25)","v":33.576999999999998},{"$f":"SUM(C24:C25)","v":33.575000000000003},{"$f":"SUM(D24:D25)","v":33.58}]
[{"$f":"B18","v":28.092517006802719},{"$f":"B18","v":28.092517006802719},{"$f":"B18","v":28.092517006802719},{"$f":"B18","v":28.092517006802719}]
[{"$f":"SUM(A27-A26)","v":-5.4914829931972839},{"$f":"SUM(B27-B26)","v":-5.4844829931972789},{"$f":"SUM(C27-C26)","v":-5.4824829931972836},{"$f":"SUM(D27-D26)","v":-5.4874829931972791}]
[]
["5)","6)","7)","8)"]
[22.806999999999999,22.795999999999999,22.797000000000001,22.802]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":23.806999999999999},{"$f":"SUM(B31:B32)","v":23.795999999999999},{"$f":"SUM(C31:C32)","v":23.797000000000001},{"$f":"SUM(D31:D32)","v":23.802}]
[{"$f":"B18","v":28.092517006802719},{"$f":"B18","v":28.092517006802719},{"$f":"B18","v":28.092517006802719},{"$f":"B18","v":28.092517006802719}]
[{"$f":"SUM(A34-A33)","v":4.2855170068027206},{"$f":"SUM(B34-B33)","v":4.2965170068027199},{"$f":"SUM(C34-C33)","v":4.2955170068027186},{"$f":"SUM(D34-D33)","v":4.2905170068027196}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[34.125999999999998,29.591999999999999,27.835999999999999,27.837]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":35.125999999999998},{"$f":"SUM(B41:B42)","v":30.591999999999999},{"$f":"SUM(C41:C42)","v":28.835999999999999},{"$f":"SUM(D41:D42)","v":28.837}]
[{"$f":"B18","v":28.092517006802719},{"$f":"B18","v":28.092517006802719},{"$f":"B18","v":28.092517006802719},{"$f":"B18","v":28.092517006802719}]
[{"$f":"SUM(A44-A43)","v":-7.0334829931972784},{"$f":"SUM(B44-B43)","v":-2.4994829931972795},{"$f":"SUM(C44-C43)","v":-0.74348299319727928},{"$f":"SUM(D44-D43)","v":-0.74448299319728051}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":28.092517006802719},"LOS"]
["Undulator",{"$f":"B5","v":"SN 36"}]
["Date:",{"$f":"B6","v":"2011-02-01"}]
["Crew:",{"$f":"B7","v":"JM, LG"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,30.693999999999999,30.696999999999999]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":31.693999999999999},{"$f":"SUM(C64:C65)","v":31.696999999999999}]
[null,{"$f":"B18","v":28.092517006802719},{"$f":"B18","v":28.092517006802719}]
[0,{"$f":"SUM(B67-B66)","v":-3.6014829931972798},{"$f":"SUM(C67-C66)","v":-3.6044829931972799}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[28.978999999999999,32.576000000000001,32.573999999999998]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":29.978999999999999},{"$f":"SUM(B74:B75)","v":33.576000000000001},{"$f":"SUM(C74:C75)","v":33.573999999999998}]
[{"$f":"B18","v":28.092517006802719},{"$f":"B18","v":28.092517006802719},{"$f":"B18","v":28.092517006802719}]
[{"$f":"SUM(A77-A76)","v":-1.88648299319728},{"$f":"SUM(B77-B76)","v":-5.4834829931972813},{"$f":"SUM(C77-C76)","v":-5.4814829931972788}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[28.98,32.578000000000003,32.576999999999998]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":29.98},{"$f":"SUM(B83:B84)","v":33.578000000000003},{"$f":"SUM(C83:C84)","v":33.576999999999998}]
[{"$f":"B18","v":28.092517006802719},{"$f":"B18","v":28.092517006802719},{"$f":"B18","v":28.092517006802719}]
[{"$f":"SUM(A86-A85)","v":-1.8874829931972812},{"$f":"SUM(B86-B85)","v":-5.4854829931972837},{"$f":"SUM(C86-C85)","v":-5.4844829931972789}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,30.695,30.689]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":31.695},{"$f":"SUM(C92:C93)","v":31.689}]
[null,{"$f":"B18","v":28.092517006802719},{"$f":"B18","v":28.092517006802719}]
[0,{"$f":"SUM(B95-B94)","v":-3.602482993197281},{"$f":"SUM(C95-C94)","v":-3.5964829931972808}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,8.5500000000000007,8.5519999999999996]
[null,null,1,1]
["Undulator",{"$f":"B5","v":"SN 36"},{"$f":"SUM(C104+C105)","v":9.5500000000000007},{"$f":"SUM(D104+D105)","v":9.5519999999999996}]
["Date:",{"$f":"B6","v":"2011-02-01"}]
["Crew:",{"$f":"B7","v":"JM, LG"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":9.5510000000000002}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":8.5500000000000007},12.154999999999999,8.5500000000000007,12.151]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":9.5500000000000007},{"$f":"SUM(B114:B115)","v":13.154999999999999},{"$f":"SUM(C114:C115)","v":9.5500000000000007},{"$f":"SUM(D114:D115)","v":13.151}]
[{"$f":"D109","v":9.5510000000000002},{"$f":"D109","v":9.5510000000000002},{"$f":"D109","v":9.5510000000000002},{"$f":"D109","v":9.5510000000000002}]
[{"$f":"SUM(A117-A116)","v":9.9999999999944578E-4},{"$f":"SUM(B117-B116)","v":-3.6039999999999992},{"$f":"SUM(C117-C116)","v":9.9999999999944578E-4},{"$f":"SUM(D117-D116)","v":-3.5999999999999996}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[8.5510000000000002,12.151,{"$f":"D104","v":8.5519999999999996},12.154]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":9.5510000000000002},{"$f":"SUM(B124:B125)","v":13.151},{"$f":"SUM(C124:C125)","v":9.5519999999999996},{"$f":"SUM(D124:D125)","v":13.154}]
[{"$f":"D109","v":9.5510000000000002},{"$f":"D109","v":9.5510000000000002},{"$f":"D109","v":9.5510000000000002},{"$f":"D109","v":9.5510000000000002}]
[{"$f":"SUM(A127-A126)","v":0},{"$f":"SUM(B127-B126)","v":-3.5999999999999996},{"$f":"SUM(C127-C126)","v":-9.9999999999944578E-4},{"$f":"SUM(D127-D126)","v":-3.6029999999999998}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[13.951000000000001,null,-5.4640000000000004,"LOS"]
[{"$f":"D109","v":9.5510000000000002},null,4.2999999999999997E-2,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.4000000000000004},null,{"$f":"SUM(C137+C138)","v":-5.4210000000000003}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.46},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":"SN 36"}]
["Date:",{"$f":"B6","v":"2011-02-01"}]
["Crew:",{"$f":"B7","v":"JM, LG"}]
[]
[]
["HI =",{"$f":"D109","v":9.5510000000000002}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[5.07,5.0720000000000001,5.0750000000000002,5.069]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":6.07},{"$f":"SUM(B165:B166)","v":6.0720000000000001},{"$f":"SUM(C165:C166)","v":6.0750000000000002},{"$f":"SUM(D165:D166)","v":6.069}]
[{"$f":"D109","v":9.5510000000000002},{"$f":"D109","v":9.5510000000000002},{"$f":"D109","v":9.5510000000000002},{"$f":"D109","v":9.5510000000000002}]
[{"$f":"SUM(A168-A167)","v":3.4809999999999999},{"$f":"SUM(B168-B167)","v":3.4790000000000001},{"$f":"SUM(C168-C167)","v":3.476},{"$f":"SUM(D168-D167)","v":3.4820000000000002}]
[]
[]
["5)","6)","7)","8)"]
[12.15,12.147,12.15,12.147]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":13.15},{"$f":"SUM(B173+B174)","v":13.147},{"$f":"SUM(C173+C174)","v":13.15},{"$f":"SUM(D173+D174)","v":13.147}]
[{"$f":"D109","v":9.5510000000000002},{"$f":"D109","v":9.5510000000000002},{"$f":"D109","v":9.5510000000000002},{"$f":"D109","v":9.5510000000000002}]
[{"$f":"SUM(A176-A175)","v":-3.5990000000000002},{"$f":"SUM(B176-B175)","v":-3.5960000000000001},{"$f":"SUM(C176-C175)","v":-3.5990000000000002},{"$f":"SUM(D176-D175)","v":-3.5960000000000001}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[8.7880000000000003,null,10.932,14.013]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":9.7880000000000003},null,{"$f":"SUM(C184+C185)","v":11.932},{"$f":"SUM(D184+D185)","v":15.013}]
[{"$f":"D109","v":9.5510000000000002},null,{"$f":"D109","v":9.5510000000000002},{"$f":"D109","v":9.5510000000000002}]
[{"$f":"SUM(A187-A186)","v":-0.2370000000000001},0,{"$f":"SUM(C187-C186)","v":-2.3810000000000002},{"$f":"SUM(D187-D186)","v":-5.4619999999999997}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[7.8310000000000004,7.8319999999999999,7.8310000000000004,7.8319999999999999]
[{"$f":"D109","v":9.5510000000000002},{"$f":"D109","v":9.5510000000000002},{"$f":"D109","v":9.5510000000000002},{"$f":"D109","v":9.5510000000000002}]
[{"$f":"SUM(A196-A195)","v":1.7199999999999998},{"$f":"SUM(B196-B195)","v":1.7190000000000003},{"$f":"SUM(C196-C195)","v":1.7199999999999998},{"$f":"SUM(D196-D195)","v":1.7190000000000003}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":"SN 36"}]
["Date"," ",{"$f":"Sheet1!B6","v":"2011-02-01"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"JM, LG"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.4809999999999999},{"$f":"B10*25.4","v":88.417399999999986},null,null,5,{"$f":"Sheet1!A35","v":4.2855170068027206},{"$f":"G10*25.4","v":108.8521319727891}]
[2,{"$f":"Sheet1!B169","v":3.4790000000000001},{"$f":"B11*25.4","v":88.366599999999991},null,null,6,{"$f":"Sheet1!B35","v":4.2965170068027199},{"$f":"G11*25.4","v":109.13153197278908}]
[3,{"$f":"Sheet1!C169","v":3.476},{"$f":"B12*25.4","v":88.290399999999991},null,null,7,{"$f":"Sheet1!C35","v":4.2955170068027186},{"$f":"G12*25.4","v":109.10613197278904}]
[4,{"$f":"Sheet1!D169","v":3.4820000000000002},{"$f":"B13*25.4","v":88.442800000000005},null,null,8,{"$f":"Sheet1!D35","v":4.2905170068027196},{"$f":"G13*25.4","v":108.97913197278908}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.4814829931972788},{"$f":"Sheet1!C118","v":9.9999999999944578E-4},{"$f":"B20*25.4","v":-139.22966802721086},{"$f":"C20*25.4","v":2.539999999998592E-2},null,{"$f":"H10-D21","v":156.7688},{"$f":"C10-E20","v":88.391999999999996}]
["X1",{"$f":"Sheet1!A78","v":-1.88648299319728},{"$f":"Sheet1!D118","v":-3.5999999999999996},{"$f":"B21*25.4","v":-47.91666802721091},{"$f":"C21*25.4","v":-91.439999999999984}]
["Y1",{"$f":"Sheet1!B78","v":-5.4834829931972813},null,{"$f":"B22*25.4","v":-139.28046802721093}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.4854829931972837},{"$f":"Sheet1!A128","v":0},{"$f":"B26*25.4","v":-139.331268027211},{"$f":"C26*25.4","v":0},null,{"$f":"H13-D27","v":156.9212},{"$f":"C13-E26","v":88.442800000000005}]
["X1",{"$f":"Sheet1!A87","v":-1.8874829931972812},{"$f":"Sheet1!B128","v":-3.5999999999999996},{"$f":"B27*25.4","v":-47.942068027210937},{"$f":"C27*25.4","v":-91.439999999999984}]
["Y2",{"$f":"Sheet1!C87","v":-5.4844829931972789},"\\",{"$f":"B28*25.4","v":-139.30586802721089}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.46},{"$f":"B36*25.4","v":-138.684},null,"US  +",{"$f":"Sheet1!A197","v":1.7199999999999998},{"$f":"F36*25.4","v":43.687999999999988}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.7190000000000003},{"$f":"F37*25.4","v":43.662600000000005}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.7199999999999998},{"$f":"F38*25.4","v":43.687999999999988}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.7190000000000003},{"$f":"F39*25.4","v":43.662600000000005}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.4000000000000004},{"$f":"B42*25.4","v":-111.76}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",13]
["Date"," ",{"$f":"Sheet1!B6","v":"2011-02-01"}]
["Crew"," ","MR,BR"]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.4914829931972839},{"$f":"Sheet1!A169","v":3.4809999999999999},{"$f":"SUM(B10*25.4)","v":-139.483668027211},{"$f":"SUM(C10*25.4)","v":88.417399999999986}]
[2,{"$f":"Sheet1!B28","v":-5.4844829931972789},{"$f":"Sheet1!B169","v":3.4790000000000001},{"$f":"SUM(B11*25.4)","v":-139.30586802721089},{"$f":"SUM(C11*25.4)","v":88.366599999999991},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.4824829931972836},{"$f":"Sheet1!C169","v":3.476},-139.255068027211,88.290399999999991,null,{"$f":"Sheet1!C141","v":-5.46},{"$f":"SUM(G12*25.4)","v":-138.684}]
[4,{"$f":"Sheet1!D28","v":-5.4874829931972791},{"$f":"Sheet1!D169","v":3.4820000000000002},-139.38206802721089,88.442800000000005]
[5,{"$f":"Sheet1!A35","v":4.2855170068027206},{"$f":"Sheet1!A177","v":-3.5990000000000002},108.8521319727891,-91.414599999999993]
[6,{"$f":"Sheet1!B35","v":4.2965170068027199},{"$f":"Sheet1!B177","v":-3.5960000000000001},109.13153197278908,-91.338399999999993,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.2955170068027186},{"$f":"Sheet1!C177","v":-3.5990000000000002},109.10613197278904,-91.414599999999993]
[8,{"$f":"Sheet1!D35","v":4.2905170068027196},{"$f":"Sheet1!D177","v":-3.5960000000000001},108.97913197278908,-91.338399999999993,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.4000000000000004},{"$f":"SUM(G18*25.4)","v":-111.76}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.88648299319728},{"$f":"Sheet1!C118","v":9.9999999999944578E-4},{"$f":"SUM(B23*25.4)","v":-47.91666802721091},{"$f":"SUM(C23*25.4)","v":2.539999999998592E-2}]
["X1",{"$f":"Sheet1!A78","v":-1.88648299319728},{"$f":"Sheet1!D118","v":-3.5999999999999996},{"$f":"SUM(B24*25.4)","v":-47.91666802721091},{"$f":"SUM(C24*25.4)","v":-91.439999999999984},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.4834829931972813},null,{"$f":"SUM(B25*25.4)","v":-139.28046802721093},null,null,"US  +",{"$f":"Sheet1!A197","v":1.7199999999999998},{"$f":"SUM(H25*25.4)","v":43.687999999999988}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.7190000000000003},{"$f":"SUM(H26*25.4)","v":43.662600000000005}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.7199999999999998},{"$f":"SUM(H27*25.4)","v":43.687999999999988}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.7190000000000003},{"$f":"SUM(H28*25.4)","v":43.662600000000005}]
["Y1",{"$f":"Sheet1!B87","v":-5.4854829931972837},{"$f":"Sheet1!A128","v":0},{"$f":"SUM(B29*25.4)","v":-139.331268027211},{"$f":"SUM(C29*25.4)","v":0}]
["X1",{"$f":"Sheet1!A87","v":-1.8874829931972812},{"$f":"Sheet1!B128","v":-3.5999999999999996},{"$f":"SUM(B30*25.4)","v":-47.942068027210937},{"$f":"SUM(C30*25.4)","v":-91.439999999999984}]
["Y2",{"$f":"Sheet1!C87","v":-5.4844829931972789},null,{"$f":"SUM(B31*25.4)","v":-139.30586802721089}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.6014829931972798},{"$f":"Sheet1!A118","v":9.9999999999944578E-4},{"$f":"SUM(B37*25.4)","v":-91.477668027210896},{"$f":"SUM(C37*25.4)","v":2.539999999998592E-2},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.6039999999999992},0,{"$f":"SUM(C38*25.4)","v":-91.541599999999974}]
["Y2",{"$f":"Sheet1!C68","v":-3.6044829931972799},null,{"$f":"SUM(B39*25.4)","v":-91.55386802721091}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.602482993197281},{"$f":"Sheet1!C128","v":-9.9999999999944578E-4},{"$f":"SUM(B43*25.4)","v":-91.503068027210929},{"$f":"SUM(C43*25.4)","v":-2.539999999998592E-2}]
["X1",0,{"$f":"Sheet1!D128","v":-3.6029999999999998},0,{"$f":"SUM(C44*25.4)","v":-91.516199999999984}]
["Y2",{"$f":"Sheet1!C96","v":-3.5964829931972808},null,{"$f":"SUM(B45*25.4)","v":-91.350668027210929}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-7.0334829931972784},{"$f":"Sheet1!A188","v":-0.2370000000000001},{"$f":"SUM(B49*25.4)","v":-178.65046802721085},{"$f":"SUM(C49*25.4)","v":-6.0198000000000018}]
["B",{"$f":"Sheet1!B45","v":-2.4994829931972795},null,{"$f":"SUM(B50*25.4)","v":-63.486868027210896}]
["C",{"$f":"Sheet1!C45","v":-0.74348299319727928},{"$f":"Sheet1!C188","v":-2.3810000000000002},{"$f":"SUM(B51*25.4)","v":-18.884468027210893},{"$f":"SUM(C51*25.4)","v":-60.477400000000003}]
["D",{"$f":"Sheet1!D45","v":-0.74448299319728051},{"$f":"Sheet1!D188","v":-5.4619999999999997},{"$f":"SUM(B52*25.4)","v":-18.909868027210923},{"$f":"SUM(C52*25.4)","v":-138.73479999999998}]