{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator","SN 37"]
["Date:","2011-06-01"]
["Crew:","BR, LG"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",28]
["1st. Near",28.779]
["2nd. Far",29.8]
["2nd Near",29.239000000000001]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":29.046417910447762}]
["Near Should Read",29.046417910447762]
["LOS",29.046417910447762]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[33.533000000000001,33.524000000000001,33.534999999999997,33.524999999999999]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":34.533000000000001},{"$f":"SUM(B24:B25)","v":34.524000000000001},{"$f":"SUM(C24:C25)","v":34.534999999999997},{"$f":"SUM(D24:D25)","v":34.524999999999999}]
[{"$f":"B18","v":29.046417910447762},{"$f":"B18","v":29.046417910447762},{"$f":"B18","v":29.046417910447762},{"$f":"B18","v":29.046417910447762}]
[{"$f":"SUM(A27-A26)","v":-5.4865820895522397},{"$f":"SUM(B27-B26)","v":-5.4775820895522394},{"$f":"SUM(C27-C26)","v":-5.488582089552235},{"$f":"SUM(D27-D26)","v":-5.478582089552237}]
[]
["5)","6)","7)","8)"]
[23.75,23.751000000000001,23.751000000000001,23.75]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":24.75},{"$f":"SUM(B31:B32)","v":24.751000000000001},{"$f":"SUM(C31:C32)","v":24.751000000000001},{"$f":"SUM(D31:D32)","v":24.75}]
[{"$f":"B18","v":29.046417910447762},{"$f":"B18","v":29.046417910447762},{"$f":"B18","v":29.046417910447762},{"$f":"B18","v":29.046417910447762}]
[{"$f":"SUM(A34-A33)","v":4.2964179104477616},{"$f":"SUM(B34-B33)","v":4.2954179104477603},{"$f":"SUM(C34-C33)","v":4.2954179104477603},{"$f":"SUM(D34-D33)","v":4.2964179104477616}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[35.082999999999998,30.552,28.79,28.79]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":36.082999999999998},{"$f":"SUM(B41:B42)","v":31.552},{"$f":"SUM(C41:C42)","v":29.79},{"$f":"SUM(D41:D42)","v":29.79}]
[{"$f":"B18","v":29.046417910447762},{"$f":"B18","v":29.046417910447762},{"$f":"B18","v":29.046417910447762},{"$f":"B18","v":29.046417910447762}]
[{"$f":"SUM(A44-A43)","v":-7.0365820895522369},{"$f":"SUM(B44-B43)","v":-2.505582089552238},{"$f":"SUM(C44-C43)","v":-0.74358208955223759},{"$f":"SUM(D44-D43)","v":-0.74358208955223759}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":29.046417910447762},"LOS"]
["Undulator",{"$f":"B5","v":"SN 37"}]
["Date:",{"$f":"B6","v":"2011-06-01"}]
["Crew:",{"$f":"B7","v":"BR, LG"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,31.646999999999998,31.651]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":32.646999999999998},{"$f":"SUM(C64:C65)","v":32.650999999999996}]
[null,{"$f":"B18","v":29.046417910447762},{"$f":"B18","v":29.046417910447762}]
[0,{"$f":"SUM(B67-B66)","v":-3.6005820895522369},{"$f":"SUM(C67-C66)","v":-3.6045820895522347}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[29.927,33.521999999999998,33.524000000000001]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":30.927},{"$f":"SUM(B74:B75)","v":34.521999999999998},{"$f":"SUM(C74:C75)","v":34.524000000000001}]
[{"$f":"B18","v":29.046417910447762},{"$f":"B18","v":29.046417910447762},{"$f":"B18","v":29.046417910447762}]
[{"$f":"SUM(A77-A76)","v":-1.880582089552238},{"$f":"SUM(B77-B76)","v":-5.4755820895522369},{"$f":"SUM(C77-C76)","v":-5.4775820895522394}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[29.925999999999998,33.524000000000001,33.524000000000001]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":30.925999999999998},{"$f":"SUM(B83:B84)","v":34.524000000000001},{"$f":"SUM(C83:C84)","v":34.524000000000001}]
[{"$f":"B18","v":29.046417910447762},{"$f":"B18","v":29.046417910447762},{"$f":"B18","v":29.046417910447762}]
[{"$f":"SUM(A86-A85)","v":-1.8795820895522368},{"$f":"SUM(B86-B85)","v":-5.4775820895522394},{"$f":"SUM(C86-C85)","v":-5.4775820895522394}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,31.652000000000001,31.648]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":32.652000000000001},{"$f":"SUM(C92:C93)","v":32.647999999999996}]
[null,{"$f":"B18","v":29.046417910447762},{"$f":"B18","v":29.046417910447762}]
[0,{"$f":"SUM(B95-B94)","v":-3.6055820895522395},{"$f":"SUM(C95-C94)","v":-3.6015820895522346}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,10.14,10.146000000000001]
[null,null,1,1]
["Undulator",{"$f":"B5","v":"SN 37"},{"$f":"SUM(C104+C105)","v":11.14},{"$f":"SUM(D104+D105)","v":11.146000000000001}]
["Date:",{"$f":"B6","v":"2011-06-01"}]
["Crew:",{"$f":"B7","v":"BR, LG"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":11.143000000000001}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":10.14},13.747,10.144,13.743]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":11.14},{"$f":"SUM(B114:B115)","v":14.747},{"$f":"SUM(C114:C115)","v":11.144},{"$f":"SUM(D114:D115)","v":14.743}]
[{"$f":"D109","v":11.143000000000001},{"$f":"D109","v":11.143000000000001},{"$f":"D109","v":11.143000000000001},{"$f":"D109","v":11.143000000000001}]
[{"$f":"SUM(A117-A116)","v":3.0000000000001137E-3},{"$f":"SUM(B117-B116)","v":-3.6039999999999992},{"$f":"SUM(C117-C116)","v":-9.9999999999944578E-4},{"$f":"SUM(D117-D116)","v":-3.5999999999999996}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[10.147,13.747,{"$f":"D104","v":10.146000000000001},13.746]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":11.147},{"$f":"SUM(B124:B125)","v":14.747},{"$f":"SUM(C124:C125)","v":11.146000000000001},{"$f":"SUM(D124:D125)","v":14.746}]
[{"$f":"D109","v":11.143000000000001},{"$f":"D109","v":11.143000000000001},{"$f":"D109","v":11.143000000000001},{"$f":"D109","v":11.143000000000001}]
[{"$f":"SUM(A127-A126)","v":-3.9999999999995595E-3},{"$f":"SUM(B127-B126)","v":-3.6039999999999992},{"$f":"SUM(C127-C126)","v":-3.0000000000001137E-3},{"$f":"SUM(D127-D126)","v":-3.6029999999999998}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[15.538,null,-5.4640000000000004,"LOS"]
[{"$f":"D109","v":11.143000000000001},null,5.0999999999999997E-2,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.3949999999999996},null,{"$f":"SUM(C137+C138)","v":-5.4130000000000003}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.452},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":"SN 37"}]
["Date:",{"$f":"B6","v":"2011-06-01"}]
["Crew:",{"$f":"B7","v":"BR, LG"}]
[]
[]
["HI =",{"$f":"D109","v":11.143000000000001}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[6.6609999999999996,6.657,6.6619999999999999,6.66]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":7.6609999999999996},{"$f":"SUM(B165:B166)","v":7.657},{"$f":"SUM(C165:C166)","v":7.6619999999999999},{"$f":"SUM(D165:D166)","v":7.66}]
[{"$f":"D109","v":11.143000000000001},{"$f":"D109","v":11.143000000000001},{"$f":"D109","v":11.143000000000001},{"$f":"D109","v":11.143000000000001}]
[{"$f":"SUM(A168-A167)","v":3.4820000000000011},{"$f":"SUM(B168-B167)","v":3.4860000000000007},{"$f":"SUM(C168-C167)","v":3.4810000000000008},{"$f":"SUM(D168-D167)","v":3.4830000000000005}]
[]
[]
["5)","6)","7)","8)"]
[13.742000000000001,13.739000000000001,13.744999999999999,13.747]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":14.742000000000001},{"$f":"SUM(B173+B174)","v":14.739000000000001},{"$f":"SUM(C173+C174)","v":14.744999999999999},{"$f":"SUM(D173+D174)","v":14.747}]
[{"$f":"D109","v":11.143000000000001},{"$f":"D109","v":11.143000000000001},{"$f":"D109","v":11.143000000000001},{"$f":"D109","v":11.143000000000001}]
[{"$f":"SUM(A176-A175)","v":-3.5990000000000002},{"$f":"SUM(B176-B175)","v":-3.5960000000000001},{"$f":"SUM(C176-C175)","v":-3.6019999999999985},{"$f":"SUM(D176-D175)","v":-3.6039999999999992}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[10.378,null,12.523,15.605]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":11.378},null,{"$f":"SUM(C184+C185)","v":13.523},{"$f":"SUM(D184+D185)","v":16.605}]
[{"$f":"D109","v":11.143000000000001},null,{"$f":"D109","v":11.143000000000001},{"$f":"D109","v":11.143000000000001}]
[{"$f":"SUM(A187-A186)","v":-0.23499999999999943},0,{"$f":"SUM(C187-C186)","v":-2.379999999999999},{"$f":"SUM(D187-D186)","v":-5.4619999999999997}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[9.423,9.4239999999999995,9.4269999999999996,9.4269999999999996]
[{"$f":"D109","v":11.143000000000001},{"$f":"D109","v":11.143000000000001},{"$f":"D109","v":11.143000000000001},{"$f":"D109","v":11.143000000000001}]
[{"$f":"SUM(A196-A195)","v":1.7200000000000006},{"$f":"SUM(B196-B195)","v":1.7190000000000012},{"$f":"SUM(C196-C195)","v":1.7160000000000011},{"$f":"SUM(D196-D195)","v":1.7160000000000011}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":"SN 37"}]
["Date"," ",{"$f":"Sheet1!B6","v":"2011-06-01"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"BR, LG"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.4820000000000011},{"$f":"B10*25.4","v":88.44280000000002},null,null,5,{"$f":"Sheet1!A35","v":4.2964179104477616},{"$f":"G10*25.4","v":109.12901492537314}]
[2,{"$f":"Sheet1!B169","v":3.4860000000000007},{"$f":"B11*25.4","v":88.54440000000001},null,null,6,{"$f":"Sheet1!B35","v":4.2954179104477603},{"$f":"G11*25.4","v":109.10361492537311}]
[3,{"$f":"Sheet1!C169","v":3.4810000000000008},{"$f":"B12*25.4","v":88.417400000000015},null,null,7,{"$f":"Sheet1!C35","v":4.2954179104477603},{"$f":"G12*25.4","v":109.10361492537311}]
[4,{"$f":"Sheet1!D169","v":3.4830000000000005},{"$f":"B13*25.4","v":88.46820000000001},null,null,8,{"$f":"Sheet1!D35","v":4.2964179104477616},{"$f":"G13*25.4","v":109.12901492537314}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.4775820895522394},{"$f":"Sheet1!C118","v":-9.9999999999944578E-4},{"$f":"B20*25.4","v":-139.13058507462688},{"$f":"C20*25.4","v":-2.539999999998592E-2},null,{"$f":"H10-D21","v":156.89579999999998},{"$f":"C10-E20","v":88.46820000000001}]
["X1",{"$f":"Sheet1!A78","v":-1.880582089552238},{"$f":"Sheet1!D118","v":-3.5999999999999996},{"$f":"B21*25.4","v":-47.766785074626846},{"$f":"C21*25.4","v":-91.439999999999984}]
["Y1",{"$f":"Sheet1!B78","v":-5.4755820895522369},null,{"$f":"B22*25.4","v":-139.07978507462681}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.4775820895522394},{"$f":"Sheet1!A128","v":-3.9999999999995595E-3},{"$f":"B26*25.4","v":-139.13058507462688},{"$f":"C26*25.4","v":-0.10159999999998881},null,{"$f":"H13-D27","v":156.87039999999996},{"$f":"C13-E26","v":88.569800000000001}]
["X1",{"$f":"Sheet1!A87","v":-1.8795820895522368},{"$f":"Sheet1!B128","v":-3.6039999999999992},{"$f":"B27*25.4","v":-47.741385074626812},{"$f":"C27*25.4","v":-91.541599999999974}]
["Y2",{"$f":"Sheet1!C87","v":-5.4775820895522394},"\\",{"$f":"B28*25.4","v":-139.13058507462688}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.452},{"$f":"B36*25.4","v":-138.48079999999999},null,"US  +",{"$f":"Sheet1!A197","v":1.7200000000000006},{"$f":"F36*25.4","v":43.688000000000017}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.7190000000000012},{"$f":"F37*25.4","v":43.662600000000026}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.7160000000000011},{"$f":"F38*25.4","v":43.586400000000026}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.7160000000000011},{"$f":"F39*25.4","v":43.586400000000026}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.3949999999999996},{"$f":"B42*25.4","v":-111.63299999999998}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",13]
["Date"," ",{"$f":"Sheet1!B6","v":"2011-06-01"}]
["Crew"," ","MR,BR"]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.4865820895522397},{"$f":"Sheet1!A169","v":3.4820000000000011},{"$f":"SUM(B10*25.4)","v":-139.35918507462688},{"$f":"SUM(C10*25.4)","v":88.44280000000002}]
[2,{"$f":"Sheet1!B28","v":-5.4775820895522394},{"$f":"Sheet1!B169","v":3.4860000000000007},{"$f":"SUM(B11*25.4)","v":-139.13058507462688},{"$f":"SUM(C11*25.4)","v":88.54440000000001},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.488582089552235},{"$f":"Sheet1!C169","v":3.4810000000000008},-139.40998507462677,88.417400000000015,null,{"$f":"Sheet1!C141","v":-5.452},{"$f":"SUM(G12*25.4)","v":-138.48079999999999}]
[4,{"$f":"Sheet1!D28","v":-5.478582089552237},{"$f":"Sheet1!D169","v":3.4830000000000005},-139.15598507462681,88.46820000000001]
[5,{"$f":"Sheet1!A35","v":4.2964179104477616},{"$f":"Sheet1!A177","v":-3.5990000000000002},109.12901492537314,-91.414599999999993]
[6,{"$f":"Sheet1!B35","v":4.2954179104477603},{"$f":"Sheet1!B177","v":-3.5960000000000001},109.10361492537311,-91.338399999999993,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.2954179104477603},{"$f":"Sheet1!C177","v":-3.6019999999999985},109.10361492537311,-91.490799999999965]
[8,{"$f":"Sheet1!D35","v":4.2964179104477616},{"$f":"Sheet1!D177","v":-3.6039999999999992},109.12901492537314,-91.541599999999974,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.3949999999999996},{"$f":"SUM(G18*25.4)","v":-111.63299999999998}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.880582089552238},{"$f":"Sheet1!C118","v":-9.9999999999944578E-4},{"$f":"SUM(B23*25.4)","v":-47.766785074626846},{"$f":"SUM(C23*25.4)","v":-2.539999999998592E-2}]
["X1",{"$f":"Sheet1!A78","v":-1.880582089552238},{"$f":"Sheet1!D118","v":-3.5999999999999996},{"$f":"SUM(B24*25.4)","v":-47.766785074626846},{"$f":"SUM(C24*25.4)","v":-91.439999999999984},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.4755820895522369},null,{"$f":"SUM(B25*25.4)","v":-139.07978507462681},null,null,"US  +",{"$f":"Sheet1!A197","v":1.7200000000000006},{"$f":"SUM(H25*25.4)","v":43.688000000000017}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.7190000000000012},{"$f":"SUM(H26*25.4)","v":43.662600000000026}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.7160000000000011},{"$f":"SUM(H27*25.4)","v":43.586400000000026}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.7160000000000011},{"$f":"SUM(H28*25.4)","v":43.586400000000026}]
["Y1",{"$f":"Sheet1!B87","v":-5.4775820895522394},{"$f":"Sheet1!A128","v":-3.9999999999995595E-3},{"$f":"SUM(B29*25.4)","v":-139.13058507462688},{"$f":"SUM(C29*25.4)","v":-0.10159999999998881}]
["X1",{"$f":"Sheet1!A87","v":-1.8795820895522368},{"$f":"Sheet1!B128","v":-3.6039999999999992},{"$f":"SUM(B30*25.4)","v":-47.741385074626812},{"$f":"SUM(C30*25.4)","v":-91.541599999999974}]
["Y2",{"$f":"Sheet1!C87","v":-5.4775820895522394},null,{"$f":"SUM(B31*25.4)","v":-139.13058507462688}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.6005820895522369},{"$f":"Sheet1!A118","v":3.0000000000001137E-3},{"$f":"SUM(B37*25.4)","v":-91.454785074626813},{"$f":"SUM(C37*25.4)","v":7.6200000000002877E-2},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.6039999999999992},0,{"$f":"SUM(C38*25.4)","v":-91.541599999999974}]
["Y2",{"$f":"Sheet1!C68","v":-3.6045820895522347},null,{"$f":"SUM(B39*25.4)","v":-91.55638507462676}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.6055820895522395},{"$f":"Sheet1!C128","v":-3.0000000000001137E-3},{"$f":"SUM(B43*25.4)","v":-91.581785074626879},{"$f":"SUM(C43*25.4)","v":-7.6200000000002877E-2}]
["X1",0,{"$f":"Sheet1!D128","v":-3.6029999999999998},0,{"$f":"SUM(C44*25.4)","v":-91.516199999999984}]
["Y2",{"$f":"Sheet1!C96","v":-3.6015820895522346},null,{"$f":"SUM(B45*25.4)","v":-91.480185074626746}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-7.0365820895522369},{"$f":"Sheet1!A188","v":-0.23499999999999943},{"$f":"SUM(B49*25.4)","v":-178.7291850746268},{"$f":"SUM(C49*25.4)","v":-5.9689999999999852}]
["B",{"$f":"Sheet1!B45","v":-2.505582089552238},null,{"$f":"SUM(B50*25.4)","v":-63.641785074626846}]
["C",{"$f":"Sheet1!C45","v":-0.74358208955223759},{"$f":"Sheet1!C188","v":-2.379999999999999},{"$f":"SUM(B51*25.4)","v":-18.886985074626836},{"$f":"SUM(C51*25.4)","v":-60.45199999999997}]
["D",{"$f":"Sheet1!D45","v":-0.74358208955223759},{"$f":"Sheet1!D188","v":-5.4619999999999997},{"$f":"SUM(B52*25.4)","v":-18.886985074626836},{"$f":"SUM(C52*25.4)","v":-138.73479999999998}]