{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator","SN 39"]
["Date:","2013-03-13"]
["Crew:","HI, LG"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",28.1]
["1st. Near",28.029]
["2nd. Far",27.9]
["2nd Near",27.975000000000001]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":28.002739726027396}]
["Near Should Read",28.002739726027396]
["LOS",28.002739726027396]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[32.494999999999997,32.491,32.491,32.49]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":33.494999999999997},{"$f":"SUM(B24:B25)","v":33.491},{"$f":"SUM(C24:C25)","v":33.491},{"$f":"SUM(D24:D25)","v":33.49}]
[{"$f":"B18","v":28.002739726027396},{"$f":"B18","v":28.002739726027396},{"$f":"B18","v":28.002739726027396},{"$f":"B18","v":28.002739726027396}]
[{"$f":"SUM(A27-A26)","v":-5.492260273972601},{"$f":"SUM(B27-B26)","v":-5.4882602739726032},{"$f":"SUM(C27-C26)","v":-5.4882602739726032},{"$f":"SUM(D27-D26)","v":-5.4872602739726055}]
[]
["5)","6)","7)","8)"]
[22.710999999999999,22.712,22.713000000000001,22.715]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":23.710999999999999},{"$f":"SUM(B31:B32)","v":23.712},{"$f":"SUM(C31:C32)","v":23.713000000000001},{"$f":"SUM(D31:D32)","v":23.715}]
[{"$f":"B18","v":28.002739726027396},{"$f":"B18","v":28.002739726027396},{"$f":"B18","v":28.002739726027396},{"$f":"B18","v":28.002739726027396}]
[{"$f":"SUM(A34-A33)","v":4.2917397260273979},{"$f":"SUM(B34-B33)","v":4.2907397260273967},{"$f":"SUM(C34-C33)","v":4.2897397260273955},{"$f":"SUM(D34-D33)","v":4.2877397260273966}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[34.036999999999999,26.503,27.745000000000001,27.745000000000001]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":35.036999999999999},{"$f":"SUM(B41:B42)","v":27.503},{"$f":"SUM(C41:C42)","v":28.745000000000001},{"$f":"SUM(D41:D42)","v":28.745000000000001}]
[{"$f":"B18","v":28.002739726027396},{"$f":"B18","v":28.002739726027396},{"$f":"B18","v":28.002739726027396},{"$f":"B18","v":28.002739726027396}]
[{"$f":"SUM(A44-A43)","v":-7.0342602739726026},{"$f":"SUM(B44-B43)","v":0.49973972602739636},{"$f":"SUM(C44-C43)","v":-0.74226027397260452},{"$f":"SUM(D44-D43)","v":-0.74226027397260452}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":28.002739726027396},"LOS"]
["Undulator",{"$f":"B5","v":"SN 39"}]
["Date:",{"$f":"B6","v":"2013-03-13"}]
["Crew:",{"$f":"B7","v":"HI, LG"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,30.602,30.603999999999999]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":31.602},{"$f":"SUM(C64:C65)","v":31.603999999999999}]
[null,{"$f":"B18","v":28.002739726027396},{"$f":"B18","v":28.002739726027396}]
[0,{"$f":"SUM(B67-B66)","v":-3.5992602739726038},{"$f":"SUM(C67-C66)","v":-3.6012602739726027}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[28.888000000000002,32.481999999999999,32.482999999999997]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":29.888000000000002},{"$f":"SUM(B74:B75)","v":33.481999999999999},{"$f":"SUM(C74:C75)","v":33.482999999999997}]
[{"$f":"B18","v":28.002739726027396},{"$f":"B18","v":28.002739726027396},{"$f":"B18","v":28.002739726027396}]
[{"$f":"SUM(A77-A76)","v":-1.8852602739726052},{"$f":"SUM(B77-B76)","v":-5.4792602739726028},{"$f":"SUM(C77-C76)","v":-5.4802602739726005}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[28.893999999999998,32.488,32.49]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":29.893999999999998},{"$f":"SUM(B83:B84)","v":33.488},{"$f":"SUM(C83:C84)","v":33.49}]
[{"$f":"B18","v":28.002739726027396},{"$f":"B18","v":28.002739726027396},{"$f":"B18","v":28.002739726027396}]
[{"$f":"SUM(A86-A85)","v":-1.8912602739726019},{"$f":"SUM(B86-B85)","v":-5.4852602739726031},{"$f":"SUM(C86-C85)","v":-5.4872602739726055}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,30.605,30.600999999999999]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":31.605},{"$f":"SUM(C92:C93)","v":31.600999999999999}]
[null,{"$f":"B18","v":28.002739726027396},{"$f":"B18","v":28.002739726027396}]
[0,{"$f":"SUM(B95-B94)","v":-3.602260273972604},{"$f":"SUM(C95-C94)","v":-3.5982602739726026}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,9.7390000000000008,9.7289999999999992]
[null,null,1,1]
["Undulator",{"$f":"B5","v":"SN 39"},{"$f":"SUM(C104+C105)","v":10.739000000000001},{"$f":"SUM(D104+D105)","v":10.728999999999999}]
["Date:",{"$f":"B6","v":"2013-03-13"}]
["Crew:",{"$f":"B7","v":"HI, LG"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":10.734}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":9.7390000000000008},13.345000000000001,9.7420000000000009,13.342000000000001]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":10.739000000000001},{"$f":"SUM(B114:B115)","v":14.345000000000001},{"$f":"SUM(C114:C115)","v":10.742000000000001},{"$f":"SUM(D114:D115)","v":14.342000000000001}]
[{"$f":"D109","v":10.734},{"$f":"D109","v":10.734},{"$f":"D109","v":10.734},{"$f":"D109","v":10.734}]
[{"$f":"SUM(A117-A116)","v":-5.0000000000007816E-3},{"$f":"SUM(B117-B116)","v":-3.6110000000000007},{"$f":"SUM(C117-C116)","v":-8.0000000000008953E-3},{"$f":"SUM(D117-D116)","v":-3.6080000000000005}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[9.7439999999999998,13.343999999999999,{"$f":"D104","v":9.7289999999999992},13.332000000000001]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":10.744},{"$f":"SUM(B124:B125)","v":14.343999999999999},{"$f":"SUM(C124:C125)","v":10.728999999999999},{"$f":"SUM(D124:D125)","v":14.332000000000001}]
[{"$f":"D109","v":10.734},{"$f":"D109","v":10.734},{"$f":"D109","v":10.734},{"$f":"D109","v":10.734}]
[{"$f":"SUM(A127-A126)","v":-9.9999999999997868E-3},{"$f":"SUM(B127-B126)","v":-3.6099999999999994},{"$f":"SUM(C127-C126)","v":5.0000000000007816E-3},{"$f":"SUM(D127-D126)","v":-3.5980000000000008}]
[]
[]
[]
[null," "]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[15.138,null,-5.4640000000000004,"LOS"]
[{"$f":"D109","v":10.734},null,4.2000000000000003E-2,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.4039999999999999},null,{"$f":"SUM(C137+C138)","v":-5.4220000000000006}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.4610000000000003},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":"SN 39"}]
["Date:",{"$f":"B6","v":"2013-03-13"}]
["Crew:",{"$f":"B7","v":"HI, LG"}]
[]
[]
["HI =",{"$f":"D109","v":10.734}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[6.2649999999999997,6.2619999999999996,6.2629999999999999,6.2640000000000002]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":7.2649999999999997},{"$f":"SUM(B165:B166)","v":7.2619999999999996},{"$f":"SUM(C165:C166)","v":7.2629999999999999},{"$f":"SUM(D165:D166)","v":7.2640000000000002}]
[{"$f":"D109","v":10.734},{"$f":"D109","v":10.734},{"$f":"D109","v":10.734},{"$f":"D109","v":10.734}]
[{"$f":"SUM(A168-A167)","v":3.4690000000000003},{"$f":"SUM(B168-B167)","v":3.4720000000000004},{"$f":"SUM(C168-C167)","v":3.4710000000000001},{"$f":"SUM(D168-D167)","v":3.4699999999999998}]
[]
[]
["5)","6)","7)","8)"]
[13.335000000000001,13.34,13.337,13.337999999999999]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":14.335000000000001},{"$f":"SUM(B173+B174)","v":14.34},{"$f":"SUM(C173+C174)","v":14.337},{"$f":"SUM(D173+D174)","v":14.337999999999999}]
[{"$f":"D109","v":10.734},{"$f":"D109","v":10.734},{"$f":"D109","v":10.734},{"$f":"D109","v":10.734}]
[{"$f":"SUM(A176-A175)","v":-3.6010000000000009},{"$f":"SUM(B176-B175)","v":-3.6059999999999999},{"$f":"SUM(C176-C175)","v":-3.6029999999999998},{"$f":"SUM(D176-D175)","v":-3.6039999999999992}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[9.9809999999999999,null,12.125,15.205]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":10.981},null,{"$f":"SUM(C184+C185)","v":13.125},{"$f":"SUM(D184+D185)","v":16.204999999999998}]
[{"$f":"D109","v":10.734},null,{"$f":"D109","v":10.734},{"$f":"D109","v":10.734}]
[{"$f":"SUM(A187-A186)","v":-0.24699999999999989},0,{"$f":"SUM(C187-C186)","v":-2.391},{"$f":"SUM(D187-D186)","v":-5.4709999999999983}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[9.0250000000000004,9.0250000000000004,9.0239999999999991,9.0239999999999991]
[{"$f":"D109","v":10.734},{"$f":"D109","v":10.734},{"$f":"D109","v":10.734},{"$f":"D109","v":10.734}]
[{"$f":"SUM(A196-A195)","v":1.7089999999999996},{"$f":"SUM(B196-B195)","v":1.7089999999999996},{"$f":"SUM(C196-C195)","v":1.7100000000000009},{"$f":"SUM(D196-D195)","v":1.7100000000000009}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":"SN 39"}]
["Date"," ",{"$f":"Sheet1!B6","v":"2013-03-13"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"HI, LG"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.4690000000000003},{"$f":"B10*25.4","v":88.1126},null,null,5,{"$f":"Sheet1!A35","v":4.2917397260273979},{"$f":"G10*25.4","v":109.0101890410959}]
[2,{"$f":"Sheet1!B169","v":3.4720000000000004},{"$f":"B11*25.4","v":88.188800000000001},null,null,6,{"$f":"Sheet1!B35","v":4.2907397260273967},{"$f":"G11*25.4","v":108.98478904109587}]
[3,{"$f":"Sheet1!C169","v":3.4710000000000001},{"$f":"B12*25.4","v":88.163399999999996},null,null,7,{"$f":"Sheet1!C35","v":4.2897397260273955},{"$f":"G12*25.4","v":108.95938904109585}]
[4,{"$f":"Sheet1!D169","v":3.4699999999999998},{"$f":"B13*25.4","v":88.137999999999991},null,null,8,{"$f":"Sheet1!D35","v":4.2877397260273966},{"$f":"G13*25.4","v":108.90858904109587}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.4802602739726005},{"$f":"Sheet1!C118","v":-8.0000000000008953E-3},{"$f":"B20*25.4","v":-139.19861095890406},{"$f":"C20*25.4","v":-0.20320000000002272},null,{"$f":"H10-D21","v":156.89580000000007},{"$f":"C10-E20","v":88.315800000000024}]
["X1",{"$f":"Sheet1!A78","v":-1.8852602739726052},{"$f":"Sheet1!D118","v":-3.6080000000000005},{"$f":"B21*25.4","v":-47.885610958904167},{"$f":"C21*25.4","v":-91.643200000000007}]
["Y1",{"$f":"Sheet1!B78","v":-5.4792602739726028},null,{"$f":"B22*25.4","v":-139.17321095890409}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.4852602739726031},{"$f":"Sheet1!A128","v":-9.9999999999997868E-3},{"$f":"B26*25.4","v":-139.32561095890412},{"$f":"C26*25.4","v":-0.25399999999999456},null,{"$f":"H13-D27","v":156.94659999999996},{"$f":"C13-E26","v":88.391999999999982}]
["X1",{"$f":"Sheet1!A87","v":-1.8912602739726019},{"$f":"Sheet1!B128","v":-3.6099999999999994},{"$f":"B27*25.4","v":-48.038010958904088},{"$f":"C27*25.4","v":-91.693999999999974}]
["Y2",{"$f":"Sheet1!C87","v":-5.4872602739726055},"\\",{"$f":"B28*25.4","v":-139.37641095890416}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.4610000000000003},{"$f":"B36*25.4","v":-138.70939999999999},null,"US  +",{"$f":"Sheet1!A197","v":1.7089999999999996},{"$f":"F36*25.4","v":43.408599999999986}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.7089999999999996},{"$f":"F37*25.4","v":43.408599999999986}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.7100000000000009},{"$f":"F38*25.4","v":43.434000000000019}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.7100000000000009},{"$f":"F39*25.4","v":43.434000000000019}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.4039999999999999},{"$f":"B42*25.4","v":-111.8616}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",13]
["Date"," ",{"$f":"Sheet1!B6","v":"2013-03-13"}]
["Crew"," ","MR,BR"]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.492260273972601},{"$f":"Sheet1!A169","v":3.4690000000000003},{"$f":"SUM(B10*25.4)","v":-139.50341095890406},{"$f":"SUM(C10*25.4)","v":88.1126}]
[2,{"$f":"Sheet1!B28","v":-5.4882602739726032},{"$f":"Sheet1!B169","v":3.4720000000000004},{"$f":"SUM(B11*25.4)","v":-139.40181095890412},{"$f":"SUM(C11*25.4)","v":88.188800000000001},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.4882602739726032},{"$f":"Sheet1!C169","v":3.4710000000000001},-139.40181095890412,88.163399999999996,null,{"$f":"Sheet1!C141","v":-5.4610000000000003},{"$f":"SUM(G12*25.4)","v":-138.70939999999999}]
[4,{"$f":"Sheet1!D28","v":-5.4872602739726055},{"$f":"Sheet1!D169","v":3.4699999999999998},-139.37641095890416,88.137999999999991]
[5,{"$f":"Sheet1!A35","v":4.2917397260273979},{"$f":"Sheet1!A177","v":-3.6010000000000009},109.0101890410959,-91.465400000000017]
[6,{"$f":"Sheet1!B35","v":4.2907397260273967},{"$f":"Sheet1!B177","v":-3.6059999999999999},108.98478904109587,-91.592399999999998,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.2897397260273955},{"$f":"Sheet1!C177","v":-3.6029999999999998},108.95938904109585,-91.516199999999984]
[8,{"$f":"Sheet1!D35","v":4.2877397260273966},{"$f":"Sheet1!D177","v":-3.6039999999999992},108.90858904109587,-91.541599999999974,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.4039999999999999},{"$f":"SUM(G18*25.4)","v":-111.8616}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.8852602739726052},{"$f":"Sheet1!C118","v":-8.0000000000008953E-3},{"$f":"SUM(B23*25.4)","v":-47.885610958904167},{"$f":"SUM(C23*25.4)","v":-0.20320000000002272}]
["X1",{"$f":"Sheet1!A78","v":-1.8852602739726052},{"$f":"Sheet1!D118","v":-3.6080000000000005},{"$f":"SUM(B24*25.4)","v":-47.885610958904167},{"$f":"SUM(C24*25.4)","v":-91.643200000000007},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.4792602739726028},null,{"$f":"SUM(B25*25.4)","v":-139.17321095890409},null,null,"US  +",{"$f":"Sheet1!A197","v":1.7089999999999996},{"$f":"SUM(H25*25.4)","v":43.408599999999986}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.7089999999999996},{"$f":"SUM(H26*25.4)","v":43.408599999999986}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.7100000000000009},{"$f":"SUM(H27*25.4)","v":43.434000000000019}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.7100000000000009},{"$f":"SUM(H28*25.4)","v":43.434000000000019}]
["Y1",{"$f":"Sheet1!B87","v":-5.4852602739726031},{"$f":"Sheet1!A128","v":-9.9999999999997868E-3},{"$f":"SUM(B29*25.4)","v":-139.32561095890412},{"$f":"SUM(C29*25.4)","v":-0.25399999999999456}]
["X1",{"$f":"Sheet1!A87","v":-1.8912602739726019},{"$f":"Sheet1!B128","v":-3.6099999999999994},{"$f":"SUM(B30*25.4)","v":-48.038010958904088},{"$f":"SUM(C30*25.4)","v":-91.693999999999974}]
["Y2",{"$f":"Sheet1!C87","v":-5.4872602739726055},null,{"$f":"SUM(B31*25.4)","v":-139.37641095890416}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.5992602739726038},{"$f":"Sheet1!A118","v":-5.0000000000007816E-3},{"$f":"SUM(B37*25.4)","v":-91.421210958904126},{"$f":"SUM(C37*25.4)","v":-0.12700000000001985},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.6110000000000007},0,{"$f":"SUM(C38*25.4)","v":-91.719400000000007}]
["Y2",{"$f":"Sheet1!C68","v":-3.6012602739726027},null,{"$f":"SUM(B39*25.4)","v":-91.472010958904107}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.602260273972604},{"$f":"Sheet1!C128","v":5.0000000000007816E-3},{"$f":"SUM(B43*25.4)","v":-91.49741095890414},{"$f":"SUM(C43*25.4)","v":0.12700000000001985}]
["X1",0,{"$f":"Sheet1!D128","v":-3.5980000000000008},0,{"$f":"SUM(C44*25.4)","v":-91.389200000000017}]
["Y2",{"$f":"Sheet1!C96","v":-3.5982602739726026},null,{"$f":"SUM(B45*25.4)","v":-91.395810958904107}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-7.0342602739726026},{"$f":"Sheet1!A188","v":-0.24699999999999989},{"$f":"SUM(B49*25.4)","v":-178.67021095890411},{"$f":"SUM(C49*25.4)","v":-6.2737999999999969}]
["B",{"$f":"Sheet1!B45","v":0.49973972602739636},null,{"$f":"SUM(B50*25.4)","v":12.693389041095866}]
["C",{"$f":"Sheet1!C45","v":-0.74226027397260452},{"$f":"Sheet1!C188","v":-2.391},{"$f":"SUM(B51*25.4)","v":-18.853410958904153},{"$f":"SUM(C51*25.4)","v":-60.731399999999994}]
["D",{"$f":"Sheet1!D45","v":-0.74226027397260452},{"$f":"Sheet1!D188","v":-5.4709999999999983},{"$f":"SUM(B52*25.4)","v":-18.853410958904153},{"$f":"SUM(C52*25.4)","v":-138.96339999999995}]