{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator",40]
["Date:","2009-10-19"]
["Crew:","FG, BR"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",21.71]
["1st. Near",21.702999999999999]
["2nd. Far",21.7]
["2nd Near",21.702000000000002]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":21.702222222222222}]
["Near Should Read",21.702222222222222]
["LOS",21.702222222222222]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[26.195,26.19,26.186,26.192]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":27.195},{"$f":"SUM(B24:B25)","v":27.19},{"$f":"SUM(C24:C25)","v":27.186},{"$f":"SUM(D24:D25)","v":27.192}]
[{"$f":"B18","v":21.702222222222222},{"$f":"B18","v":21.702222222222222},{"$f":"B18","v":21.702222222222222},{"$f":"B18","v":21.702222222222222}]
[{"$f":"SUM(A27-A26)","v":-5.4927777777777784},{"$f":"SUM(B27-B26)","v":-5.4877777777777794},{"$f":"SUM(C27-C26)","v":-5.4837777777777781},{"$f":"SUM(D27-D26)","v":-5.4897777777777783}]
[]
["5)","6)","7)","8)"]
[16.405000000000001,16.408000000000001,16.408999999999999,16.414000000000001]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":17.405000000000001},{"$f":"SUM(B31:B32)","v":17.408000000000001},{"$f":"SUM(C31:C32)","v":17.408999999999999},{"$f":"SUM(D31:D32)","v":17.414000000000001}]
[{"$f":"B18","v":21.702222222222222},{"$f":"B18","v":21.702222222222222},{"$f":"B18","v":21.702222222222222},{"$f":"B18","v":21.702222222222222}]
[{"$f":"SUM(A34-A33)","v":4.2972222222222207},{"$f":"SUM(B34-B33)","v":4.2942222222222206},{"$f":"SUM(C34-C33)","v":4.2932222222222229},{"$f":"SUM(D34-D33)","v":4.2882222222222204}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[27.738,23.204999999999998,21.445,21.445]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":28.738},{"$f":"SUM(B41:B42)","v":24.204999999999998},{"$f":"SUM(C41:C42)","v":22.445},{"$f":"SUM(D41:D42)","v":22.445}]
[{"$f":"B18","v":21.702222222222222},{"$f":"B18","v":21.702222222222222},{"$f":"B18","v":21.702222222222222},{"$f":"B18","v":21.702222222222222}]
[{"$f":"SUM(A44-A43)","v":-7.0357777777777777},{"$f":"SUM(B44-B43)","v":-2.5027777777777764},{"$f":"SUM(C44-C43)","v":-0.74277777777777843},{"$f":"SUM(D44-D43)","v":-0.74277777777777843}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":21.702222222222222},"LOS"]
["Undulator",{"$f":"B5","v":40}]
["Date:",{"$f":"B6","v":"2009-10-19"}]
["Crew:",{"$f":"B7","v":"FG, BR"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,24.300999999999998,24.305]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":25.300999999999998},{"$f":"SUM(C64:C65)","v":25.305}]
[null,{"$f":"B18","v":21.702222222222222},{"$f":"B18","v":21.702222222222222}]
[0,{"$f":"SUM(B67-B66)","v":-3.5987777777777765},{"$f":"SUM(C67-C66)","v":-3.6027777777777779}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[22.585999999999999,26.184000000000001,26.184000000000001]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":23.585999999999999},{"$f":"SUM(B74:B75)","v":27.184000000000001},{"$f":"SUM(C74:C75)","v":27.184000000000001}]
[{"$f":"B18","v":21.702222222222222},{"$f":"B18","v":21.702222222222222},{"$f":"B18","v":21.702222222222222}]
[{"$f":"SUM(A77-A76)","v":-1.8837777777777767},{"$f":"SUM(B77-B76)","v":-5.4817777777777792},{"$f":"SUM(C77-C76)","v":-5.4817777777777792}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[22.588000000000001,26.181000000000001,26.184999999999999]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":23.588000000000001},{"$f":"SUM(B83:B84)","v":27.181000000000001},{"$f":"SUM(C83:C84)","v":27.184999999999999}]
[{"$f":"B18","v":21.702222222222222},{"$f":"B18","v":21.702222222222222},{"$f":"B18","v":21.702222222222222}]
[{"$f":"SUM(A86-A85)","v":-1.8857777777777791},{"$f":"SUM(B86-B85)","v":-5.4787777777777791},{"$f":"SUM(C86-C85)","v":-5.4827777777777769}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,24.300999999999998,24.3]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":25.300999999999998},{"$f":"SUM(C92:C93)","v":25.3}]
[null,{"$f":"B18","v":21.702222222222222},{"$f":"B18","v":21.702222222222222}]
[0,{"$f":"SUM(B95-B94)","v":-3.5987777777777765},{"$f":"SUM(C95-C94)","v":-3.5977777777777789}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,6.7530000000000001,6.7590000000000003]
[null,null,1,1]
["Undulator",40,{"$f":"SUM(C104+C105)","v":7.7530000000000001},{"$f":"SUM(D104+D105)","v":7.7590000000000003}]
["Date:","2009-10-19"]
["Crew:","BH, FG"]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":7.7560000000000002}]
[]
["PM4",null,"PM2"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":6.7530000000000001},null,6.7569999999999997,10.355]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":7.7530000000000001},{"$f":"SUM(B114:B115)","v":1},{"$f":"SUM(C114:C115)","v":7.7569999999999997},{"$f":"SUM(D114:D115)","v":11.355}]
[{"$f":"D109","v":7.7560000000000002},{"$f":"D109","v":7.7560000000000002},{"$f":"D109","v":7.7560000000000002},{"$f":"D109","v":7.7560000000000002}]
[{"$f":"SUM(A117-A116)","v":3.0000000000001137E-3},{"$f":"SUM(B117-B116)","v":6.7560000000000002},{"$f":"SUM(C117-C116)","v":-9.9999999999944578E-4},{"$f":"SUM(D117-D116)","v":-3.5990000000000002}]
[]
[]
["PM3",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[6.7629999999999999,10.36,{"$f":"D104","v":6.7590000000000003},10.364000000000001]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":7.7629999999999999},{"$f":"SUM(B124:B125)","v":11.36},{"$f":"SUM(C124:C125)","v":7.7590000000000003},{"$f":"SUM(D124:D125)","v":11.364000000000001}]
[{"$f":"D109","v":7.7560000000000002},{"$f":"D109","v":7.7560000000000002},{"$f":"D109","v":7.7560000000000002},{"$f":"D109","v":7.7560000000000002}]
[{"$f":"SUM(A127-A126)","v":-6.9999999999996732E-3},{"$f":"SUM(B127-B126)","v":-3.6039999999999992},{"$f":"SUM(C127-C126)","v":-3.0000000000001137E-3},{"$f":"SUM(D127-D126)","v":-3.6080000000000005}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[12.153,null,-5.4640000000000004,"LOS"]
[{"$f":"D109","v":7.7560000000000002},null,0.03,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.3970000000000002},null,{"$f":"SUM(C137+C138)","v":-5.4340000000000002}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.4729999999999999},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":40}]
["Date:",{"$f":"B6","v":"2009-10-19"}]
["Crew:",{"$f":"B7","v":"FG, BR"}]
[]
[]
["HI =",{"$f":"D109","v":7.7560000000000002}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[3.28,3.2850000000000001,3.2850000000000001,3.2829999999999999]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":4.2799999999999994},{"$f":"SUM(B165:B166)","v":4.2850000000000001},{"$f":"SUM(C165:C166)","v":4.2850000000000001},{"$f":"SUM(D165:D166)","v":4.2829999999999995}]
[{"$f":"D109","v":7.7560000000000002},{"$f":"D109","v":7.7560000000000002},{"$f":"D109","v":7.7560000000000002},{"$f":"D109","v":7.7560000000000002}]
[{"$f":"SUM(A168-A167)","v":3.4760000000000009},{"$f":"SUM(B168-B167)","v":3.4710000000000001},{"$f":"SUM(C168-C167)","v":3.4710000000000001},{"$f":"SUM(D168-D167)","v":3.4730000000000008}]
[]
[]
["5)","6)","7)","8)"]
[10.356999999999999,10.36,10.362,10.362]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":11.356999999999999},{"$f":"SUM(B173+B174)","v":11.36},{"$f":"SUM(C173+C174)","v":11.362},{"$f":"SUM(D173+D174)","v":11.362}]
[{"$f":"D109","v":7.7560000000000002},{"$f":"D109","v":7.7560000000000002},{"$f":"D109","v":7.7560000000000002},{"$f":"D109","v":7.7560000000000002}]
[{"$f":"SUM(A176-A175)","v":-3.6009999999999991},{"$f":"SUM(B176-B175)","v":-3.6039999999999992},{"$f":"SUM(C176-C175)","v":-3.6059999999999999},{"$f":"SUM(D176-D175)","v":-3.6059999999999999}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[6.9950000000000001,null,9.1419999999999995,12.221]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":7.9950000000000001},null,{"$f":"SUM(C184+C185)","v":10.141999999999999},{"$f":"SUM(D184+D185)","v":13.221}]
[{"$f":"D109","v":7.7560000000000002},null,{"$f":"D109","v":7.7560000000000002},{"$f":"D109","v":7.7560000000000002}]
[{"$f":"SUM(A187-A186)","v":-0.23899999999999988},0,{"$f":"SUM(C187-C186)","v":-2.3859999999999992},{"$f":"SUM(D187-D186)","v":-5.4649999999999999}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[6.0430000000000001,6.0430000000000001,6.048,6.0490000000000004]
[{"$f":"D109","v":7.7560000000000002},{"$f":"D109","v":7.7560000000000002},{"$f":"D109","v":7.7560000000000002},{"$f":"D109","v":7.7560000000000002}]
[{"$f":"SUM(A196-A195)","v":1.7130000000000001},{"$f":"SUM(B196-B195)","v":1.7130000000000001},{"$f":"SUM(C196-C195)","v":1.7080000000000002},{"$f":"SUM(D196-D195)","v":1.7069999999999999}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":40}]
["Date"," ",{"$f":"Sheet1!B6","v":"2009-10-19"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"FG, BR"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.4760000000000009},{"$f":"B10*25.4","v":88.29040000000002},null,null,5,{"$f":"Sheet1!A35","v":4.2972222222222207},{"$f":"G10*25.4","v":109.1494444444444}]
[2,{"$f":"Sheet1!B169","v":3.4710000000000001},{"$f":"B11*25.4","v":88.163399999999996},null,null,6,{"$f":"Sheet1!B35","v":4.2942222222222206},{"$f":"G11*25.4","v":109.0732444444444}]
[3,{"$f":"Sheet1!C169","v":3.4710000000000001},{"$f":"B12*25.4","v":88.163399999999996},null,null,7,{"$f":"Sheet1!C35","v":4.2932222222222229},{"$f":"G12*25.4","v":109.04784444444445}]
[4,{"$f":"Sheet1!D169","v":3.4730000000000008},{"$f":"B13*25.4","v":88.214200000000019},null,null,8,{"$f":"Sheet1!D35","v":4.2882222222222204},{"$f":"G13*25.4","v":108.9208444444444}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.4817777777777792},{"$f":"Sheet1!C118","v":-9.9999999999944578E-4},{"$f":"B20*25.4","v":-139.23715555555557},{"$f":"C20*25.4","v":-2.539999999998592E-2},null,{"$f":"H10-D21","v":156.99739999999991},{"$f":"C10-E20","v":88.31580000000001}]
["X1",{"$f":"Sheet1!A78","v":-1.8837777777777767},{"$f":"Sheet1!D118","v":-3.5990000000000002},{"$f":"B21*25.4","v":-47.847955555555522},{"$f":"C21*25.4","v":-91.414599999999993}]
["Y1",{"$f":"Sheet1!B78","v":-5.4817777777777792},null,{"$f":"B22*25.4","v":-139.23715555555557}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.4787777777777791},{"$f":"Sheet1!A128","v":-6.9999999999996732E-3},{"$f":"B26*25.4","v":-139.16095555555557},{"$f":"C26*25.4","v":-0.17779999999999169},null,{"$f":"H13-D27","v":156.81959999999998},{"$f":"C13-E26","v":88.39200000000001}]
["X1",{"$f":"Sheet1!A87","v":-1.8857777777777791},{"$f":"Sheet1!B128","v":-3.6039999999999992},{"$f":"B27*25.4","v":-47.898755555555589},{"$f":"C27*25.4","v":-91.541599999999974}]
["Y2",{"$f":"Sheet1!C87","v":-5.4827777777777769},"\\",{"$f":"B28*25.4","v":-139.26255555555554}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.4729999999999999},{"$f":"B36*25.4","v":-139.01419999999999},null,"US  +",{"$f":"Sheet1!A197","v":1.7130000000000001},{"$f":"F36*25.4","v":43.510199999999998}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.7130000000000001},{"$f":"F37*25.4","v":43.510199999999998}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.7080000000000002},{"$f":"F38*25.4","v":43.383200000000002}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.7069999999999999},{"$f":"F39*25.4","v":43.35779999999999}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.3970000000000002},{"$f":"B42*25.4","v":-111.68380000000001}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":40}]
["Date"," ",{"$f":"Sheet1!B6","v":"2009-10-19"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"FG, BR"}]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.4927777777777784},{"$f":"Sheet1!A169","v":3.4760000000000009},{"$f":"SUM(B10*25.4)","v":-139.51655555555556},{"$f":"SUM(D10*25.4)","v":-3543.7205111111111}]
[2,{"$f":"Sheet1!B28","v":-5.4877777777777794},{"$f":"Sheet1!B169","v":3.4710000000000001},{"$f":"SUM(B11*25.4)","v":-139.3895555555556},{"$f":"SUM(D11*25.4)","v":-3540.4947111111123},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.4837777777777781},{"$f":"Sheet1!C169","v":3.4710000000000001},-139.28795555555556,-3537.9140711111108,null,{"$f":"Sheet1!C141","v":-5.4729999999999999},{"$f":"SUM(G12*25.4)","v":-139.01419999999999}]
[4,{"$f":"Sheet1!D28","v":-5.4897777777777783},{"$f":"Sheet1!D169","v":3.4730000000000008},-139.44035555555556,-3541.785031111111]
[5,{"$f":"Sheet1!A35","v":4.2972222222222207},{"$f":"Sheet1!A177","v":-3.6009999999999991},109.1494444444444,2772.3958888888874]
[6,{"$f":"Sheet1!B35","v":4.2942222222222206},{"$f":"Sheet1!B177","v":-3.6039999999999992},109.0732444444444,2770.4604088888877,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.2932222222222229},{"$f":"Sheet1!C177","v":-3.6059999999999999},109.04784444444445,2769.8152488888891]
[8,{"$f":"Sheet1!D35","v":4.2882222222222204},{"$f":"Sheet1!D177","v":-3.6059999999999999},108.9208444444444,2766.5894488888875,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.3970000000000002},{"$f":"SUM(G18*25.4)","v":-111.68380000000001}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.8837777777777767},{"$f":"Sheet1!C118","v":-9.9999999999944578E-4},{"$f":"SUM(B23*25.4)","v":-47.847955555555522},{"$f":"SUM(C23*25.4)","v":-2.539999999998592E-2}]
["X1",{"$f":"Sheet1!A78","v":-1.8837777777777767},{"$f":"Sheet1!D118","v":-3.5990000000000002},{"$f":"SUM(B24*25.4)","v":-47.847955555555522},{"$f":"SUM(C24*25.4)","v":-91.414599999999993},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.4817777777777792},null,{"$f":"SUM(B25*25.4)","v":-139.23715555555557},null,null,"US  +",{"$f":"Sheet1!A197","v":1.7130000000000001},{"$f":"SUM(H25*25.4)","v":43.510199999999998}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.7130000000000001},{"$f":"SUM(H26*25.4)","v":43.510199999999998}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.7080000000000002},{"$f":"SUM(H27*25.4)","v":43.383200000000002}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.7069999999999999},{"$f":"SUM(H28*25.4)","v":43.35779999999999}]
["Y1",{"$f":"Sheet1!B87","v":-5.4787777777777791},{"$f":"Sheet1!A128","v":-6.9999999999996732E-3},{"$f":"SUM(B29*25.4)","v":-139.16095555555557},{"$f":"SUM(C29*25.4)","v":-0.17779999999999169}]
["X1",{"$f":"Sheet1!A87","v":-1.8857777777777791},{"$f":"Sheet1!B128","v":-3.6039999999999992},{"$f":"SUM(B30*25.4)","v":-47.898755555555589},{"$f":"SUM(C30*25.4)","v":-91.541599999999974}]
["Y2",{"$f":"Sheet1!C87","v":-5.4827777777777769},null,{"$f":"SUM(B31*25.4)","v":-139.26255555555554}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.5987777777777765},{"$f":"Sheet1!A118","v":3.0000000000001137E-3},{"$f":"SUM(B37*25.4)","v":-91.408955555555522},{"$f":"SUM(C37*25.4)","v":7.6200000000002877E-2},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":6.7560000000000002},0,{"$f":"SUM(C38*25.4)","v":171.60239999999999}]
["Y2",{"$f":"Sheet1!C68","v":-3.6027777777777779},null,{"$f":"SUM(B39*25.4)","v":-91.510555555555555}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.5987777777777765},{"$f":"Sheet1!C128","v":-3.0000000000001137E-3},{"$f":"SUM(B43*25.4)","v":-91.408955555555522},{"$f":"SUM(C43*25.4)","v":-7.6200000000002877E-2}]
["X1",0,{"$f":"Sheet1!D128","v":-3.6080000000000005},0,{"$f":"SUM(C44*25.4)","v":-91.643200000000007}]
["Y2",{"$f":"Sheet1!C96","v":-3.5977777777777789},null,{"$f":"SUM(B45*25.4)","v":-91.383555555555574}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-7.0357777777777777},{"$f":"Sheet1!A188","v":-0.23899999999999988},{"$f":"SUM(B49*25.4)","v":-178.70875555555554},{"$f":"SUM(C49*25.4)","v":-6.0705999999999962}]
["B",{"$f":"Sheet1!B45","v":-2.5027777777777764},null,{"$f":"SUM(B50*25.4)","v":-63.570555555555515}]
["C",{"$f":"Sheet1!C45","v":-0.74277777777777843},{"$f":"Sheet1!C188","v":-2.3859999999999992},{"$f":"SUM(B51*25.4)","v":-18.866555555555571},{"$f":"SUM(C51*25.4)","v":-60.604399999999977}]
["D",{"$f":"Sheet1!D45","v":-0.74277777777777843},{"$f":"Sheet1!D188","v":-5.4649999999999999},{"$f":"SUM(B52*25.4)","v":-18.866555555555571},{"$f":"SUM(C52*25.4)","v":-138.81099999999998}]